## ESS Bid Form
CLIN | LOCATION | Control Panel | Additional RS2 NCL8-SPW Enclosure | Card reader (M) – single door (electric strike) | Card reader (M) – single door (magnetic lock) | Card reader (M) – double door (electric strike) | Card reader (M) – double door (magnetic lock) | Card reader (M) – double door (delayed egress) | Standard interior ANALOG Camera | Standard exterior ANALOG Camera | IP Camera interior | IP Camera exterior | 180/360 interior Degree Megapixel IP Camera | 180/360 exterior Degree Megapixel IP Camera | Milestone Video Surveillance Head-End Infrastructure for up to 32 Cameras | Network IP camera POE switch, rack, power supply and misc support material | Command center monitor, bracket, power supply and misc support material | Alarm Control Panel Assembly | Each Additional DMP Alarm Keypad | Motion Detector | Door Contact | Duress Button | Door Release Button | Intercom Master Station | Intercom Power Supply | Intercom Door Station | Low voltage data cabling system per devices when distance exceeds 150' | 1” EMT conduit, per foot (includes conduit, backboxes, etc.) | Conduit in Feet | Rack Mount UPS | Trenching per foot includes conduit and backbox | Hardware Conduit | Exterior Camera Pole | Cabling | Connect DVR to Citywide ESS (Section C.5) | Firm Fixed RATE (Parts and Labor)
0001 | Deanwood Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 14 | 2 | 4 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250 | 0 | 4 | 500 | 0 | 1 | 1 | 1
0002 | Sherwood Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 16 | 9 | 16 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 750 | 0 | 0 | 0 | 0 | 2 | 0 | 1
0003 | Fort Stanton Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 30 | 16 | 30 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 100 | 0 | 0 | 40 | 0 | 0 | 0 | 1
0004 | Fort Davis Recreation center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 17 | 8 | 17 | 1 | 4 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 300 | 0 | 0 | 750 | 0 | 3 | 0 | 1
0005 | Takoma Rec. and Pool | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 53 | 0 | 53 | 3 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1000 | 2 | 4 | 2 | 1
0006 | North Michigan Park Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 18 | 15 | 18 | 1 | 6 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 250 | 0 | 0 | 350 | 0 | 2 | 0 | 1
0007 | Hillcrest Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0008 | Riggs LaSalle Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 25 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1750 | 750 | 2 | 1000 | 2 | 6 | 2 | 1
0009 | Banneker Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 16 | 30 | 16 | 2 | 6 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 1000 | 0 | 0 | 2000 | 0 | 6 | 0 | 1
0010 | Southeast Tennis and Learning Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 46 | 4 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 2 | 0 | 2 | 1
0011 | William Rumsey Aquatic Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2 | 1
0012 | Lamond Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 22 | 10 | 22 | 1 | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 350 | 0 | 0 | 500 | 0 | 2 | 0 | 1
0013 | Volta Park Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 21 | 21 | 21 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 2 | 800 | 2 | 4 | 2 | 1
0014 | Wilson Aquatic Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 24 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1500 | 2 | 0 | 2 | 6 | 2 | 1
0015 | Guy Mason Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 17 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 50 | 0 | 0 | 350 | 0 | 2 | 0 | 1
0016 | New York Ave. Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 14 | 6 | 14 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 150 | 0 | 0 | 200 | 0 | 1 | 0 | 1
0017 | Anacostia Recreation Center and Pool | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0018 | Arboretum Recreation Center | 1 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0019 | Chevy Chase Community Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0020 | Chevy Chase Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0021 | Douglass Pool House | 1 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0022 | Fort Stanton Pool House | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0023 | Francis Pool House | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0024 | Hamilton Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0025 | Harrison Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0026 | Harry Thomas Recreation Center | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0027 | Jelleff Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0028 | Kalorama Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0029 | Lafayette Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0030 | Langdon Park Pool House | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0031 | Lederer Garden house | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0032 | Macomb Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0033 | Mitchell Park Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0034 | Oxon Run Pool House | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0035 | Randall Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0036 | Rose Park Recreation Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0037 | Stead Recreation Center | 0 | 1 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 27 | 27 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0038 | Theodore Hagan Community Center | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0039 | Bald Eagle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTALS |  | 3 | 1 | 23 | 1 | 0 | 0 | 0 | 0 | 0 | 208 | 597 | 196 | 267 | 52 | 65 | 15 | 1 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 500 | 8650 | [7 empty] | 0