## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-013000 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 136 | Low | Left | WF-10142020-013000 | 2021-03-22 | FT-FY21-032021-013000-A | <1 | FT-FY21-032021-013000-B | <1
WS-013001 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 136 | Low | Left | WF-05282020-013001 | 2021-03-22 | FT-FY21-032021-013001-A | <1 | FT-FY21-032021-013001-B | <1
WS-013002 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 136 | High | Right | WF-10142020-013002 | 2021-03-22 | FT-FY21-032021-013002-A | <1 | FT-FY21-032021-013002-B | <1
WS-013003 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 136 | High | Right | WF-05282020-013003 | 2021-03-22 | FT-FY21-032021-013003-A | <1 | FT-FY21-032021-013003-B | <1
WS-013004 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 137 | High | Left | WF-10142020-013004 | 2021-03-22 | FT-FY21-032021-013004-A | <1 | FT-FY21-032021-013004-B | <1
WS-013005 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 137 | High | Left | WF-05282020-013005 | 2021-03-22 | FT-FY21-032021-013005-A | <1 | FT-FY21-032021-013005-B | <1
WS-013006 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 137 | Low | Right | WF-10142020-013006 | 2021-03-22 | FT-FY21-032021-013006-A | <1 | FT-FY21-032021-013006-B | <1
WS-013007 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 137 | Low | Right | WF-05282020-013007 | 2021-03-22 | FT-FY21-032021-013007-A | <1 | FT-FY21-032021-013007-B | <1
WS-013008 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 134 | High | Left | WF-10142020-013008 | 2021-03-22 | FT-FY21-032021-013008-A | <1 | FT-FY21-032021-013008-B | <1
WS-013009 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 134 | High | Left | WF-05282020-013009 | 2021-03-22 | FT-FY21-032021-013009-A | <1 | FT-FY21-032021-013009-B | <1
WS-013010 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 134 | Low | Right | WF-10142020-013010 | 2021-03-22 | FT-FY21-032021-013010-A | <1 | FT-FY21-032021-013010-B | <1
WS-013011 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 134 | Low | Right | WF-05282020-013011 | 2021-03-22 | FT-FY21-032021-013011-A | <1 | FT-FY21-032021-013011-B | <1
WS-013012 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 135 | Low | Left | WF-10142020-013012 | 2021-03-22 | FT-FY21-032021-013012-A | <1 | FT-FY21-032021-013012-B | <1
WS-013013 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 135 | Low | Left | WF-05282020-013013 | 2021-03-22 | FT-FY21-032021-013013-A | <1 | FT-FY21-032021-013013-B | <1
WS-013014 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 135 | High | Right | WF-10142020-013014 | 2021-03-22 | FT-FY21-032021-013014-A | <1 | FT-FY21-032021-013014-B | <1
WS-013015 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 135 | High | Right | WF-05282020-013015 | 2021-03-22 | FT-FY21-032021-013015-A | <1 | FT-FY21-032021-013015-B | <1
WS-013016 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 133 | High | Left | WF-10142020-013016 | 2021-03-22 | FT-FY21-032021-013016-A | <1 | FT-FY21-032021-013016-B | <1
WS-013017 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 133 | High | Left | WF-05282020-013017 | 2021-03-22 | FT-FY21-032021-013017-A | <1 | FT-FY21-032021-013017-B | <1
WS-013018 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 133 | Low | Right | WF-10142020-013018 | 2021-03-22 | FT-FY21-032021-013018-A | <1 | FT-FY21-032021-013018-B | <1
WS-013019 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 133 | Low | Right | WF-05282020-013019 | 2021-03-22 | FT-FY21-032021-013019-A | <1 | FT-FY21-032021-013019-B | <1
WS-013021 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In workroom 132 |  |  | WF-05282020-013021 | 2021-03-22 | FT-FY21-032021-013021-A | <1 | FT-FY21-032021-013021-B | <1
WS-013023 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In academic resource room 139 |  |  | WF-05282020-013023 | 2021-03-22 | FT-FY21-032021-013023-A | 1.4 | FT-FY21-032021-013023-B | 1.2
WS-013024 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 131 | Low | Left | WF-10142020-013024 | 2021-03-22 | FT-FY21-032021-013024-A | <1 | FT-FY21-032021-013024-B | <1
WS-013025 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 131 | Low | Left | WF-05282020-013025 | 2021-03-22 | FT-FY21-032021-013025-A | <1 | FT-FY21-032021-013025-B | <1
WS-013026 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 131 | High | Right | WF-10142020-013026 | 2021-03-22 | FT-FY21-032021-013026-A | <1 | FT-FY21-032021-013026-B | <1
WS-013027 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 131 | High | Right | WF-05282020-013027 | 2021-03-22 | FT-FY21-032021-013027-A | <1 | FT-FY21-032021-013027-B | <1
WS-013028 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 128 | Low | Left | WF-10142020-013028 | 2021-03-22 | FT-FY21-032021-013028-A | <1 | FT-FY21-032021-013028-B | <1
WS-013029 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 128 | Low | Left | WF-05282020-013029 | 2021-03-22 | FT-FY21-032021-013029-A | <1 | FT-FY21-032021-013029-B | <1
WS-013030 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 128 | High | Right | WF-10142020-013030 | 2021-03-22 | FT-FY21-032021-013030-A | <1 | FT-FY21-032021-013030-B | <1
WS-013031 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 128 | High | Right | WF-05282020-013031 | 2021-03-22 | FT-FY21-032021-013031-A | <1 | FT-FY21-032021-013031-B | <1
WS-013032 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 126 | High | Left | WF-10142020-013032 | 2021-03-22 | FT-FY21-032021-013032-A | <1 | FT-FY21-032021-013032-B | <1
WS-013033 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 126 | High | Left | WF-05282020-013033 | 2021-03-22 | FT-FY21-032021-013033-A | <1 | FT-FY21-032021-013033-B | <1
WS-013034 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 126 | Low | Right | WF-10142020-013034 | 2021-03-22 | FT-FY21-032021-013034-A | <1 | FT-FY21-032021-013034-B | <1
WS-013035 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 126 | Low | Right | WF-05282020-013035 | 2021-03-22 | FT-FY21-032021-013035-A | <1 | FT-FY21-032021-013035-B | <1
WS-013036 | 2020-05-28 | 2021-05-28 | 1 | Cooler | In hallway across from classroom 127 | Low | Right | WF-05282020-013036 | 2021-03-22 | FT-FY21-032021-013036-A | <1 | FT-FY21-032021-013036-B | <1
WS-013037 | 2020-05-28 | 2021-05-28 | 1 | Cooler | In hallway across from classroom 127 | High | Left | WF-05282020-013037 | 2021-03-22 | FT-FY21-032021-013037-A | <1 | FT-FY21-032021-013037-B | <1
WS-013038 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 127 | High | Left | WF-10142020-013038 | 2021-03-22 | FT-FY21-032021-013038-A | <1 | FT-FY21-032021-013038-B | <1
WS-013039 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 127 | High | Left | WF-05282020-013039 | 2021-03-22 | FT-FY21-032021-013039-A | <1 | FT-FY21-032021-013039-B | <1
WS-013040 | 2020-10-14 | 2021-10-14 | 1 | Combo Faucet | In classroom 127 | Low | Right | WF-10142020-013040 | 2021-03-22 | FT-FY21-032021-013040-A | <1 | FT-FY21-032021-013040-B | <1
WS-013041 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In classroom 127 | Low | Right | WF-05282020-013041 | 2021-03-22 | FT-FY21-032021-013041-A | <1 | FT-FY21-032021-013041-B | <1
WS-013052 | 2020-05-28 | 2021-05-28 | 1 | Cooler | In cafeteria | High | Left | WF-05282020-013052 | 2021-03-22 | FT-FY21-032021-013052-A | <1 | FT-FY21-032021-013052-B | <1
WS-013053 | 2020-05-28 | 2021-05-28 | 1 | Cooler | In cafeteria | Low | Right | WF-05282020-013053 | 2021-03-22 | FT-FY21-032021-013053-A | <1 | FT-FY21-032021-013053-B | <1
WS-013054 | 2020-05-28 | 2021-05-28 | 1 | Health Suite | In treatment room 110b |  |  | WF-05282020-013054 | 2021-03-22 | FT-FY21-032021-013054-A | <1 | FT-FY21-032021-013054-B | <1
WS-013055 | 2020-05-28 | 2021-05-28 | 1 | Combo Fountain | In treatment room 110b |  |  | WF-05282020-013055 | 2021-03-22 | FT-FY21-032021-013055-A | <1 | FT-FY21-032021-013055-B | <1
WS-013056 | 2020-05-28 | 2021-05-28 | 1 | Bottle Filler | In hallway across from extended day office 101 |  |  | WF-05282020-013056 | 2021-03-22 | FT-FY21-032021-013056-A | <1 | FT-FY21-032021-013056-B | <1
WS-013057 | 2020-05-28 | 2021-05-28 | 1 | Fountain | In hallway across from extended day office 101 | Low | Left | WF-05282020-013057 | 2021-03-22 | FT-FY21-032021-013057-A | <1 | FT-FY21-032021-013057-B | <1
WS-013065 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In science classroom 245 second clockwise from entry door |  |  | WF-05282020-013065 | 2021-03-22 | FT-FY21-032021-013065-A | <1 | FT-FY21-032021-013065-B | <1
WS-013067 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In science classroom 245 first clockwise from entry door |  |  | WF-05282020-013067 | 2021-03-22 | FT-FY21-032021-013067-A | 1.0 | FT-FY21-032021-013067-B | <1
WS-013069 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In classroom 243 |  |  | WF-05282020-013069 | 2021-03-22 | FT-FY21-032021-013069-A | <1 | FT-FY21-032021-013069-B | <1
WS-013071 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In classroom 244 |  |  | WF-05282020-013071 | 2021-03-22 | FT-FY21-032021-013071-A | <1 | FT-FY21-032021-013071-B | <1
WS-013073 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In classroom 242 |  |  | WF-05282020-013073 | 2021-03-22 | FT-FY21-032021-013073-A | <1 | FT-FY21-032021-013073-B | <1
WS-013075 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In classroom 241 |  |  | WF-05282020-013075 | 2021-03-22 | FT-FY21-032021-013075-A | <1 | FT-FY21-032021-013075-B | <1
WS-013077 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In workroom 239 |  |  | WF-05282020-013077 | 2021-03-22 | FT-FY21-032021-013077-A | <1 | FT-FY21-032021-013077-B | <1
WS-013079 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In room 237b inside reading learning center 237 |  |  | WF-05282020-013079 | 2021-03-22 | FT-FY21-032021-013079-A | <1 | FT-FY21-032021-013079-B | <1
WS-013080 | 2020-05-28 | 2021-05-28 | 2 | Cooler | In hallway across from classroom 234 | High | Left | WF-05282020-013080 | 2021-03-22 | FT-FY21-032021-013080-A | <1 | FT-FY21-032021-013080-B | <1
WS-013081 | 2020-05-28 | 2021-05-28 | 2 | Cooler | In hallway across from classroom 234 | Low | Right | WF-05282020-013081 | 2021-03-22 | FT-FY21-032021-013081-A | <1 | FT-FY21-032021-013081-B | <1
WS-013083 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In classroom 234 |  |  | WF-05282020-013083 | 2021-03-22 | FT-FY21-032021-013083-A | <1 | FT-FY21-032021-013083-B | <1
WS-013085 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In classroom 232 |  |  | WF-05282020-013085 | 2021-03-22 | FT-FY21-032021-013085-A | <1 | FT-FY21-032021-013085-B | <1
WS-013087 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In classroom 231 |  |  | WF-05282020-013087 | 2021-03-22 | FT-FY21-032021-013087-A | <1 | FT-FY21-032021-013087-B | <1
WS-013091 | 2020-05-28 | 2021-05-28 | 2 | Break Room | In staff lounge 209 |  |  | WF-05282020-013091 | 2021-03-22 | FT-FY21-032021-013091-A | <1 | FT-FY21-032021-013091-B | <1
WS-013094 | 2020-05-28 | 2021-05-28 | 2 | Cooler | In hallway adjacent to security room 212 | High | Left | WF-05282020-013094 | 2021-03-22 | FT-FY21-032021-013094-A | <1 | FT-FY21-032021-013094-B | <1
WS-013095 | 2020-05-28 | 2021-05-28 | 2 | Cooler | In hallway adjacent to security room 212 | Low | Right | WF-05282020-013095 | 2021-03-22 | FT-FY21-032021-013095-A | <1 | FT-FY21-032021-013095-B | <1
WS-013097 | 2020-05-28 | 2021-05-28 | 2 | Combo Fountain | In music room 214 |  |  | WF-05282020-013097 | 2021-03-22 | FT-FY21-032021-013097-A | <1 | FT-FY21-032021-013097-B | <1
WS-013098 | 2020-05-28 | 2021-05-28 | 2 | Cooler | In music room 214 |  |  | WF-05282020-013098 | 2021-03-22 | FT-FY21-032021-013098-A | <1 | FT-FY21-032021-013098-B | <1
WS-013100 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 318 |  |  | WF-05282020-013100 | 2021-03-22 | FT-FY21-032021-013100-A | <1 | FT-FY21-032021-013100-B | <1
WS-013102 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 317 |  |  | WF-05282020-013102 | 2021-03-22 | FT-FY21-032021-013102-A | <1 | FT-FY21-032021-013102-B | <1
WS-013104 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 316 |  |  | WF-05282020-013104 | 2021-03-22 | FT-FY21-032021-013104-A | <1 | FT-FY21-032021-013104-B | <1
WS-013106 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 315 |  |  | WF-05282020-013106 | 2021-03-22 | FT-FY21-032021-013106-A | <1 | FT-FY21-032021-013106-B | <1
WS-013108 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 314 |  |  | WF-05282020-013108 | 2021-03-22 | FT-FY21-032021-013108-A | <1 | FT-FY21-032021-013108-B | <1
WS-013110 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 313 |  |  | WF-05282020-013110 | 2021-03-22 | FT-FY21-032021-013110-A | <1 | FT-FY21-032021-013110-B | <1
WS-013111 | 2020-05-28 | 2021-05-28 | 3 | Break Room | In workroom 309 |  |  | WF-05282020-013111 | 2021-03-22 | FT-FY21-032021-013111-A | <1 | FT-FY21-032021-013111-B | <1
WS-013112 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In workroom 309 |  |  | WF-05282020-013112 | 2021-03-22 | FT-FY21-032021-013112-A | <1 | FT-FY21-032021-013112-B | <1
WS-013114 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In instructional coach room 308 |  |  | WF-05282020-013114 | 2021-03-22 | FT-FY21-032021-013114-A | <1 | FT-FY21-032021-013114-B | <1
WS-013116 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 310 |  |  | WF-05282020-013116 | 2021-03-22 | FT-FY21-032021-013116-A | <1 | FT-FY21-032021-013116-B | <1
WS-013117 | 2020-05-28 | 2021-05-28 | 3 | Cooler | In hallway across from classroom 310 | High | Left | WF-05282020-013117 | 2021-03-22 | FT-FY21-032021-013117-A | <1 | FT-FY21-032021-013117-B | <1
WS-013118 | 2020-05-28 | 2021-05-28 | 3 | Cooler | In hallway across from classroom 310 | Low | Right | WF-05282020-013118 | 2021-03-22 | FT-FY21-032021-013118-A | <1 | FT-FY21-032021-013118-B | <1
WS-013120 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 306 |  |  | WF-05282020-013120 | 2021-03-22 | FT-FY21-032021-013120-A | <1 | FT-FY21-032021-013120-B | <1
WS-013122 | 2020-05-28 | 2021-05-28 | 3 | Combo Fountain | In classroom 305 |  |  | WF-05282020-013122 | 2021-03-22 | FT-FY21-032021-013122-A | <1 | FT-FY21-032021-013122-B | <1
WS-013123 | 2020-05-28 | 2021-05-28 | 1 | Fountain | In hallway across from extended day office 101 | High | Right | WF-05282020-013123 | 2021-03-22 | FT-FY21-032021-013123-A | <1 | FT-FY21-032021-013123-B | <1
WS-013124 | 2020-05-28 | 2021-05-28 | 1 | Bottle Filler | In hallway across from classroom 127 |  |  | WF-05282020-013124 | 2021-03-22 | FT-FY21-032021-013124-A | <1 | FT-FY21-032021-013124-B | <1
WS-013125 | 2020-05-28 | 2021-05-28 | 1 | Bottle Filler | In cafeteria |  |  | WF-05282020-013125 | 2021-03-22 | FT-FY21-032021-013125-A | <1 | FT-FY21-032021-013125-B | <1
WS-013126 | 2020-05-28 | 2021-05-28 | 2 | Bottle Filler | In hallway adjacent to security room 212 |  |  | WF-05282020-013126 | 2021-03-22 | FT-FY21-032021-013126-A | <1 | FT-FY21-032021-013126-B | <1
WS-013127 | 2020-05-28 | 2021-05-28 | 2 | Bottle Filler | In hallway across from classroom 234 |  |  | WF-05282020-013127 | 2021-03-22 | FT-FY21-032021-013127-A | <1 | FT-FY21-032021-013127-B | <1
WS-013128 | 2020-05-28 | 2021-05-28 | 3 | Bottle Filler | In hallway across from classroom 310 |  |  | WF-05282020-013128 | 2021-03-22 | FT-FY21-032021-013128-A | <1 | FT-FY21-032021-013128-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-013048 | 2021-01-21 | 2022-01-21 | 1 | Food Prep Sink | In rear of kitchen | WF-01212021-013048 | 2021-03-22 | FT-FY21-032021-013048-A | <1 | FT-FY21-032021-013048-B | <1