## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-013000 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 136 | Low | Left | WF-09182023-013000 | 2023-10-26 | FT-FY24-09282023-013000-A | 1.2 | FT-FY24-09282023-013000-B | <1
WS-013001 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 136 | Low | Left | WF-04102023-013001 | 2023-10-26 | FT-FY24-09282023-013001-A | 2.2 | FT-FY24-09282023-013001-B | <1
WS-013002 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 136 | High | Right | WF-09182023-013002 | 2023-10-26 | FT-FY24-09282023-013002-A | 1.5 | FT-FY24-09282023-013002-B | <1
WS-013003 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 136 | High | Right | WF-04102023-013003 | 2023-10-26 | FT-FY24-09282023-013003-A | <1 | FT-FY24-09282023-013003-B | <1
WS-013004 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 137 | High | Left | WF-09182023-013004 | 2023-10-26 | FT-FY24-09282023-013004-A | 1.7 | FT-FY24-09282023-013004-B | <1
WS-013005 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 137 | High | Left | WF-04102023-013005 | 2023-10-26 | FT-FY24-09282023-013005-A | <1 | FT-FY24-09282023-013005-B | <1
WS-013006 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 137 | Low | Right | WF-09182023-013006 | 2023-10-26 | FT-FY24-09282023-013006-A | 1.6 | FT-FY24-09282023-013006-B | <1
WS-013007 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 137 | Low | Right | WF-04102023-013007 | 2023-10-26 | FT-FY24-09282023-013007-A | <1 | FT-FY24-09282023-013007-B | <1
WS-013008 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 134 | High | Left | WF-09182023-013008 | 2023-10-26 | FT-FY24-09282023-013008-A | 1.1 | FT-FY24-09282023-013008-B | <1
WS-013010 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 134 | Low | Right | WF-09182023-013010 | 2023-10-26 | FT-FY24-09282023-013010-A | <1 | FT-FY24-09282023-013010-B | <1
WS-013011 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 134 | Low | Right | WF-04102023-013011 | 2023-10-26 | FT-FY24-09282023-013011-A | 1.7 | FT-FY24-09282023-013011-B | <1
WS-013012 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 135 | Low | Left | WF-09182023-013012 | 2023-10-26 | FT-FY24-09282023-013012-A | 1.6 | FT-FY24-09282023-013012-B | <1
WS-013013 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 135 | Low | Left | WF-04102023-013013 | 2023-10-26 | FT-FY24-09282023-013013-A | 1.1 | FT-FY24-09282023-013013-B | <1
WS-013014 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 135 | High | Right | WF-09182023-013014 | 2023-10-26 | FT-FY24-09282023-013014-A | <1 | FT-FY24-09282023-013014-B | 1.4
WS-013015 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 135 | High | Right | WF-04102023-013015 | 2023-10-26 | FT-FY24-09282023-013015-A | 1.1 | FT-FY24-09282023-013015-B | <1
WS-013016 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 133 | High | Left | WF-09182023-013016 | 2023-10-26 | FT-FY24-09282023-013016-A | 3.2 | FT-FY24-09282023-013016-B | <1
WS-013018 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 133 | Low | Right | WF-09182023-013018 | 2023-10-26 | FT-FY24-09282023-013018-A | 2.0 | FT-FY24-09282023-013018-B | <1
WS-013019 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 133 | Low | Right | WF-04102023-013019 | 2023-10-26 | FT-FY24-09282023-013019-A | <1 | FT-FY24-09282023-013019-B | <1
WS-013021 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In workroom 132 |  |  | WF-04102023-013021 | 2023-10-26 | FT-FY24-09282023-013021-A | 14.9 | FT-FY24-09282023-013021-B | <1
WS-013023 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In academic resource room 139 |  |  | WF-04102023-013023 | 2023-10-26 | FT-FY24-09282023-013023-A | <1 | FT-FY24-09282023-013023-B | <1
WS-013024 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 131 | Low | Left | WF-09182023-013024 | 2023-10-26 | FT-FY24-09282023-013024-A | 2.0 | FT-FY24-09282023-013024-B | <1
WS-013025 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 131 | Low | Left | WF-04102023-013025 | 2023-10-26 | FT-FY24-09282023-013025-A | <1 | FT-FY24-09282023-013025-B | <1
WS-013026 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 131 | High | Right | WF-09182023-013026 | 2023-10-26 | FT-FY24-09282023-013026-A | 1.7 | FT-FY24-09282023-013026-B | <1
WS-013027 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 131 | High | Right | WF-04102023-013027 | 2023-10-26 | FT-FY24-09282023-013027-A | 3.3 | FT-FY24-09282023-013027-B | <1
WS-013028 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 128 | Low | Left | WF-09182023-013028 | 2023-10-26 | FT-FY24-09282023-013028-A | 1.2 | FT-FY24-09282023-013028-B | <1
WS-013029 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 128 | Low | Left | WF-04102023-013029 | 2023-10-26 | FT-FY24-09282023-013029-A | <1 | FT-FY24-09282023-013029-B | <1
WS-013030 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 128 | High | Right | WF-09182023-013030 | 2023-10-26 | FT-FY24-09282023-013030-A | 1.8 | FT-FY24-09282023-013030-B | <1
WS-013031 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 128 | High | Right | WF-04102023-013031 | 2023-10-26 | FT-FY24-09282023-013031-A | <1 | FT-FY24-09282023-013031-B | <1
WS-013032 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 126 | High | Left | WF-09182023-013032 | 2023-10-26 | FT-FY24-09282023-013032-A | 2.2 | FT-FY24-09282023-013032-B | <1
WS-013033 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 126 | High | Left | WF-04102023-013033 | 2023-10-26 | FT-FY24-09282023-013033-A | <1 | FT-FY24-09282023-013033-B | <1
WS-013034 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 126 | Low | Right | WF-09182023-013034 | 2023-10-26 | FT-FY24-09282023-013034-A | 1.8 | FT-FY24-09282023-013034-B | <1
WS-013035 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 126 | Low | Right | WF-04102023-013035 | 2023-10-26 | FT-FY24-09282023-013035-A | <1 | FT-FY24-09282023-013035-B | <1
WS-013036 | 2023-04-10 | 2024-04-10 | 1 | Cooler | In hallway across from classroom 127 | Low | Right | WF-04102023-013036 | 2023-10-26 | FT-FY24-09282023-013036-A | <1 | FT-FY24-09282023-013036-B | <1
WS-013037 | 2023-04-10 | 2024-04-10 | 1 | Cooler | In hallway across from classroom 127 | High | Left | WF-04102023-013037 | 2023-10-26 | FT-FY24-09282023-013037-A | <1 | FT-FY24-09282023-013037-B | <1
WS-013038 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 127 | High | Left | WF-09182023-013038 | 2023-10-26 | FT-FY24-09282023-013038-A | 2.0 | FT-FY24-09282023-013038-B | <1
WS-013039 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 127 | High | Left | WF-04102023-013039 | 2023-10-26 | FT-FY24-09282023-013039-A | 2.2 | FT-FY24-09282023-013039-B | <1
WS-013040 | 2023-09-18 | 2024-09-18 | 1 | Combo Faucet | In classroom 127 | Low | Right | WF-09182023-013040 | 2023-10-26 | FT-FY24-09282023-013040-A | 1.3 | FT-FY24-09282023-013040-B | <1
WS-013041 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In classroom 127 | Low | Right | WF-04102023-013041 | 2023-10-26 | FT-FY24-09282023-013041-A | <1 | FT-FY24-09282023-013041-B | <1
WS-013054 | 2023-04-10 | 2024-04-10 | 1 | Health Suite | In treatment room 110b |  |  | WF-04102023-013054 | 2023-10-26 | FT-FY24-09282023-013054-A | <1 | FT-FY24-09282023-013054-B | <1
WS-013055 | 2023-04-10 | 2024-04-10 | 1 | Combo Fountain | In treatment room 110b |  |  | WF-04102023-013055 | 2023-10-26 | FT-FY24-09282023-013055-A | 1.3 | FT-FY24-09282023-013055-B | <1
WS-013069 | 2023-04-10 | 2024-04-10 | 2 | Combo Fountain | In classroom 243 |  |  | WF-04102023-013069 | 2023-10-26 | FT-FY24-09282023-013069-A | <1 | FT-FY24-09282023-013069-B | <1
WS-013071 | 2023-04-10 | 2024-04-10 | 2 | Combo Fountain | In classroom 244 |  |  | WF-04102023-013071 | 2023-10-26 | FT-FY24-09282023-013071-A | <1 | FT-FY24-09282023-013071-B | <1
WS-013073 | 2023-04-10 | 2024-04-10 | 2 | Combo Fountain | In classroom 242 |  |  | WF-04102023-013073 | 2023-10-26 | FT-FY24-09282023-013073-A | <1 | FT-FY24-09282023-013073-B | <1
WS-013075 | 2023-04-10 | 2024-04-10 | 2 | Combo Fountain | In classroom 241 |  |  | WF-04102023-013075 | 2023-10-26 | FT-FY24-09282023-013075-A | <1 | FT-FY24-09282023-013075-B | <1
WS-013077 | 2023-04-10 | 2024-04-10 | 2 | Combo Fountain | In workroom 239 |  |  | WF-04102023-013077 | 2023-10-26 | FT-FY24-09282023-013077-A | 9.1 | FT-FY24-09282023-013077-B | 1.2
WS-013079 | 2023-04-10 | 2024-04-10 | 2 | Combo Fountain | In room 237b inside reading learning center 237 |  |  | WF-04102023-013079 | 2023-10-26 | FT-FY24-09282023-013079-A | 9.1 | FT-FY24-09282023-013079-B | 1.1
WS-013080 | 2023-04-10 | 2024-04-10 | 2 | Cooler | In hallway across from classroom 234 | High | Left | WF-04102023-013080 | 2023-10-26 | FT-FY24-09282023-013080-A | <1 | FT-FY24-09282023-013080-B | <1
WS-013081 | 2023-04-10 | 2024-04-10 | 2 | Cooler | In hallway across from classroom 234 | Low | Right | WF-04102023-013081 | 2023-10-26 | FT-FY24-09282023-013081-A | <1 | FT-FY24-09282023-013081-B | <1
WS-013083 | 2023-04-10 | 2024-04-10 | 2 | Combo Fountain | In classroom 234 |  |  | WF-04102023-013083 | 2023-10-26 | FT-FY24-09282023-013083-A | <1 | FT-FY24-09282023-013083-B | <1
WS-013091 | 2023-04-10 | 2024-04-10 | 2 | Break Room | In staff lounge 209 |  |  | WF-04102023-013091 | 2023-10-26 | FT-FY24-09282023-013091-A | <1 | FT-FY24-09282023-013091-B | <1
WS-013094 | 2023-04-10 | 2024-04-10 | 2 | Cooler | In hallway adjacent to security room 212 | High | Left | WF-04102023-013094 | 2023-10-26 | FT-FY24-09282023-013094-A | <1 | FT-FY24-09282023-013094-B | <1
WS-013095 | 2023-04-10 | 2024-04-10 | 2 | Cooler | In hallway adjacent to security room 212 | Low | Right | WF-04102023-013095 | 2023-10-26 | FT-FY24-09282023-013095-A | <1 | FT-FY24-09282023-013095-B | <1
WS-013097 | 2023-04-10 | 2024-04-10 | 2 | Combo Fountain | In music room 214 |  |  | WF-04102023-013097 | 2023-10-26 | FT-FY24-09282023-013097-A | <1 | FT-FY24-09282023-013097-B | <1
WS-013098 | 2023-04-10 | 2024-04-10 | 2 | Cooler | In music room 214 |  |  | WF-04102023-013098 | 2023-10-26 | FT-FY24-09282023-013098-A | <1 | FT-FY24-09282023-013098-B | <1
WS-013100 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 318 |  |  | WF-04102023-013100 | 2023-10-26 | FT-FY24-09282023-013100-A | <1 | FT-FY24-09282023-013100-B | <1
WS-013102 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 317 |  |  | WF-04102023-013102 | 2023-10-26 | FT-FY24-09282023-013102-A | <1 | FT-FY24-09282023-013102-B | <1
WS-013104 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 316 |  |  | WF-04102023-013104 | 2023-10-26 | FT-FY24-09282023-013104-A | <1 | FT-FY24-09282023-013104-B | <1
WS-013106 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 315 |  |  | WF-04102023-013106 | 2023-10-26 | FT-FY24-09282023-013106-A | <1 | FT-FY24-09282023-013106-B | <1
WS-013108 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 314 |  |  | WF-04102023-013108 | 2023-10-26 | FT-FY24-09282023-013108-A | <1 | FT-FY24-09282023-013108-B | <1
WS-013110 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 313 |  |  | WF-04102023-013110 | 2023-10-26 | FT-FY24-09282023-013110-A | <1 | FT-FY24-09282023-013110-B | <1
WS-013111 | 2023-04-10 | 2024-04-10 | 3 | Break Room | In workroom 309 |  |  | WF-04102023-013111 | 2023-10-26 | FT-FY24-09282023-013111-A | <1 | FT-FY24-09282023-013111-B | <1
WS-013112 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In workroom 309 |  |  | WF-04102023-013112 | 2023-10-26 | FT-FY24-09282023-013112-A | 5.2 | FT-FY24-09282023-013112-B | <1
WS-013114 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In instructional coach room 308 |  |  | WF-04102023-013114 | 2023-10-26 | FT-FY24-09282023-013114-A | 3.0 | FT-FY24-09282023-013114-B | <1
WS-013116 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 310 |  |  | WF-04102023-013116 | 2023-10-26 | FT-FY24-09282023-013116-A | <1 | FT-FY24-09282023-013116-B | <1
WS-013117 | 2023-04-10 | 2024-04-10 | 3 | Cooler | In hallway across from classroom 310 | High | Left | WF-04102023-013117 | 2023-10-26 | FT-FY24-09282023-013117-A | <1 | FT-FY24-09282023-013117-B | <1
WS-013118 | 2023-04-10 | 2024-04-10 | 3 | Cooler | In hallway across from classroom 310 | Low | Right | WF-04102023-013118 | 2023-10-26 | FT-FY24-09282023-013118-A | <1 | FT-FY24-09282023-013118-B | <1
WS-013120 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 306 |  |  | WF-04102023-013120 | 2023-10-26 | FT-FY24-09282023-013120-A | <1 | FT-FY24-09282023-013120-B | <1
WS-013122 | 2023-04-10 | 2024-04-10 | 3 | Combo Fountain | In classroom 305 |  |  | WF-04102023-013122 | 2023-10-26 | FT-FY24-09282023-013122-A | <1 | FT-FY24-09282023-013122-B | <1
WS-013126 | 2023-04-10 | 2024-04-10 | 2 | Bottle Filler | In hallway adjacent to security room 212 |  |  | WF-04102023-013126 | 2023-10-26 | FT-FY24-09282023-013126-A | <1 | FT-FY24-09282023-013126-B | <1
WS-013128 | 2023-04-10 | 2024-04-10 | 3 | Bottle Filler | In hallway across from classroom 310 |  |  | WF-04102023-013128 | 2023-10-26 | FT-FY24-09282023-013128-A | <1 | FT-FY24-09282023-013128-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-013048 | 2022-12-21 | 2023-12-21 | 1 | Food Prep Sink | In rear of kitchen | WF-12212022-013048 | 2023-10-26 | FT-FY24-09282023-013048-A | <1 | FT-FY24-09282023-013048-B | <1