## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004122 | 2020-05-18 | 2021-05-18 | 3 | Cooler | In hallway across from 3502 | High | Left | WF-05182020-004122 | 2021-03-27 | FT-FY21-032021-004122-A | <1 | FT-FY21-032021-004122-B | <1
WS- 004123 | 2020-05-18 | 2021-05-18 | 3 | Cooler | In hallway across from 3502 | Low | Right | WF-05182020-004123 | 2021-03-27 | FT-FY21-032021-004123-A | <1 | FT-FY21-032021-004123-B | <1
WS- 004132 | 2020-05-18 | 2021-05-18 | Basement | Cooler | On T level, gym lobby adjacent to T04A | High | Left | WF-05182020-004132 | 2021-03-27 | FT-FY21-032021-004132-A | <1 | FT-FY21-032021-004132-B | <1
WS- 004133 | 2020-05-18 | 2021-05-18 | Basement | Cooler | On T level, gym lobby adjacent to T04A | Low | Right | WF-05182020-004133 | 2021-03-27 | FT-FY21-032021-004133-A | <1 | FT-FY21-032021-004133-B | <1
WS- 004136 | 2020-05-18 | 2021-05-18 | Basement | Cooler | On LT level, in LT410 (pool) | High | Left | WF-05182020-004136 | 2021-03-27 | FT-FY21-032021-004136-A | <1 | FT-FY21-032021-004136-B | <1
WS- 004137 | 2020-05-18 | 2021-05-18 | Basement | Cooler | On LT level, in LT410 (pool) | Low | Right | WF-05182020-004137 | 2021-03-27 | FT-FY21-032021-004137-A | <1 | FT-FY21-032021-004137-B | <1
WS- 004139 | 2020-05-18 | 2021-05-18 | Basement | Cooler | In stadium locker room |  |  | WF-05182020-004139 | 2021-03-27 | FT-FY21-032021-004139-A | <1 | FT-FY21-032021-004139-B | <1
WS- 004803 | 2020-05-18 | 2021-05-18 | 1 | Break Room | In office room 1130 in room 1119 |  |  | WF-05182020-004803 | 2021-03-27 | FT-FY21-032021-004803-A | <1 | FT-FY21-032021-004803-B | <1
WS- 004805 | 2020-05-18 | 2021-05-18 | 2 | Break Room | In staff workroom 2501 |  |  | WF-05182020-004805 | 2021-03-27 | FT-FY21-032021-004805-A | <1 | FT-FY21-032021-004805-B | <1
WS- 004807 | 2020-05-18 | 2021-05-18 | Basement | Cooler | In stadium locker room east side |  |  | WF-05182020-004807 | 2021-03-27 | FT-FY21-032021-004807-A | <1 | FT-FY21-032021-004807-B | <1
WS- 008321 | 2020-05-18 | 2021-05-18 | Ground Floor | Health Suite | On C level, in health suite C137 |  |  | WF-05182020-008321 | 2021-03-27 | FT-FY21-032021-008321-A | <1 | FT-FY21-032021-008321-B | <1
WS- 008323 | 2020-05-18 | 2021-05-18 | Ground Floor | Health Suite | On C level, in health suite C140 |  |  | WF-05182020-008323 | 2021-03-27 | FT-FY21-032021-008323-A | <1 | FT-FY21-032021-008323-B | <1
WS- 008324 | 2020-05-18 | 2021-05-18 | Ground Floor | Health Suite | On C level, in health suite C144 |  |  | WF-05182020-008324 | 2021-03-27 | FT-FY21-032021-008324-A | <1 | FT-FY21-032021-008324-B | <1
WS- 008325 | 2020-05-18 | 2021-05-18 | Ground Floor | Health Suite | On C level, in health suite C151 |  |  | WF-05182020-008325 | 2021-03-27 | FT-FY21-032021-008325-A | <1 | FT-FY21-032021-008325-B | <1
WS- 008326 | 2020-05-18 | 2021-05-18 | Ground Floor | Health Suite | On C level, in health suite C146 |  |  | WF-05182020-008326 | 2021-03-27 | FT-FY21-032021-008326-A | <1 | FT-FY21-032021-008326-B | <1
WS- 008332 | 2020-05-18 | 2021-05-18 | Ground Floor | Cooler | On C level, in hallway across from room C205 | High | Left | WF-05182020-008332 | 2021-03-27 | FT-FY21-032021-008332-A | <1 | FT-FY21-032021-008332-B | <1
WS- 008333 | 2020-05-18 | 2021-05-18 | Ground Floor | Cooler | On C level, in hallway across from room C205 | Low | Right | WF-05182020-008333 | 2021-03-27 | FT-FY21-032021-008333-A | <1 | FT-FY21-032021-008333-B | <1
WS- 008346 | 2020-05-18 | 2021-05-18 | Basement | Cooler | On T level, in hallway across from room T203 |  |  | WF-05182020-008346 | 2021-03-27 | FT-FY21-032021-008346-A | <1 | FT-FY21-032021-008346-B | <1
WS- 008363 | 2020-05-18 | 2021-05-18 | 1 | Cooler | In hallway across from 1203 | High | Left | WF-05182020-008363 | 2021-03-27 | FT-FY21-032021-008363-A | <1 | FT-FY21-032021-008363-B | <1
WS- 008364 | 2020-05-18 | 2021-05-18 | 1 | Cooler | In hallway across from 1203 | Low | Right | WF-05182020-008364 | 2021-03-27 | FT-FY21-032021-008364-A | <1 | FT-FY21-032021-008364-B | <1
WS- 008369 | 2020-05-18 | 2021-05-18 | 1 | Break Room | In staff lounge 1304 |  |  | WF-05182020-008369 | 2021-03-27 | FT-FY21-032021-008369-A | <1 | FT-FY21-032021-008369-B | <1
WS- 008395 | 2020-05-18 | 2021-05-18 | 1 | Cooler | In hallway across from room 1603 | High | Left | WF-05182020-008395 | 2021-03-27 | FT-FY21-032021-008395-A | <1 | FT-FY21-032021-008395-B | <1
WS- 008396 | 2020-05-18 | 2021-05-18 | 1 | Cooler | In hallway across from room 1603 | Low | Right | WF-05182020-008396 | 2021-03-27 | FT-FY21-032021-008396-A | <1 | FT-FY21-032021-008396-B | <1
WS- 008408 | 2020-05-18 | 2021-05-18 | 1 | Break Room | In staff lounge 1611 |  |  | WF-05182020-008408 | 2021-03-27 | FT-FY21-032021-008408-A | <1 | FT-FY21-032021-008408-B | <1
WS- 008410 | 2020-10-07 | 2021-10-07 | 1 | Classroom Faucet | In office room 1610 in room 1611 |  |  | WF-10072020-008410 | 2021-03-27 | FT-FY21-032021-008410-A | <1 | FT-FY21-032021-008410-B | <1
WS- 008416 | 2020-05-18 | 2021-05-18 | 2 | Cooler | In hallway across from room 2204 | High | Left | WF-05182020-008416 | 2021-03-27 | FT-FY21-032021-008416-A | <1 | FT-FY21-032021-008416-B | <1
WS- 008417 | 2020-05-18 | 2021-05-18 | 2 | Cooler | In hallway across from room 2205 | Low | Right | WF-05182020-008417 | 2021-03-27 | FT-FY21-032021-008417-A | <1 | FT-FY21-032021-008417-B | <1
WS- 008419 | 2020-05-18 | 2021-05-18 | 2 | Cooler | In hallway across from room 2602 | High | Left | WF-05182020-008419 | 2021-03-27 | FT-FY21-032021-008419-A | <1 | FT-FY21-032021-008419-B | <1
WS- 008420 | 2020-05-18 | 2021-05-18 | 2 | Cooler | In hallway across from room 2602 | Low | Right | WF-05182020-008420 | 2021-03-27 | FT-FY21-032021-008420-A | <1 | FT-FY21-032021-008420-B | <1
WS- 008465 | 2020-05-18 | 2021-05-18 | 3 | Health Suite | In health suite 3202 |  |  | WF-05182020-008465 | 2021-03-27 | FT-FY21-032021-008465-A | <1 | FT-FY21-032021-008465-B | <1
WS- 008467 | 2020-05-18 | 2021-05-18 | 3 | Cooler | In hallway adjacent to room 3204 | High | Left | WF-05182020-008467 | 2021-03-27 | FT-FY21-032021-008467-A | <1 | FT-FY21-032021-008467-B | <1
WS- 008468 | 2020-05-18 | 2021-05-18 | 3 | Cooler | In hallway adjacent to room 3204 | Low | Right | WF-05182020-008468 | 2021-03-27 | FT-FY21-032021-008468-A | <1 | FT-FY21-032021-008468-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004134 | 2021-01-04 | 2022-01-04 | Basement | Food Prep Sink | On T level, in T02 concession stand (sink) | WF-01042021-004134 | 2021-03-27 | FT-FY21-032021-004134-A | <1 | FT-FY21-032021-004134-B | <1
WS- 008335 | 2021-01-04 | 2022-01-04 | Ground Floor | Food Prep Sink | On C level, in kitchen room C122 west wall | WF-01042021-008335 | 2021-03-27 | FT-FY21-032021-008335-A | <1 | FT-FY21-032021-008335-B | <1
WS- 008336 | 2021-01-04 | 2022-01-04 | Ground Floor | Food Prep Sink | On C level, in kitchen C122 middle | WF-01042021-008336 | 2021-03-27 | FT-FY21-032021-008336-A | <1 | FT-FY21-032021-008336-B | <1