## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003992 | 2020-03-23 | 2021-03-23 | Ground Floor | Health Suite | In health suite G07 in unisex restroom |  |  | WF-03232020-003992 | 2021-02-20 | FT-FY21-022021-003992-A | <1 | FT-FY21-022021-003992-B | <1
WS- 003993 | 2020-03-23 | 2021-03-23 | Ground Floor | Cooler | In hallway adjacent to room G31 | High | Left | WF-03232020-003993 | 2021-02-20 | FT-FY21-022021-003993-A | <1 | FT-FY21-022021-003993-B | <1
WS- 003994 | 2020-03-23 | 2021-03-23 | Ground Floor | Cooler | In hallway adjacent to room G32 | Low | Right | WF-03232020-003994 | 2021-02-20 | FT-FY21-022021-003994-A | <1 | FT-FY21-022021-003994-B | <1
WS- 003998 | 2020-03-23 | 2021-03-23 | Ground Floor | Break Room | In conference room G17 |  |  | WF-03232020-003998 | 2021-02-20 | FT-FY21-022021-003998-A | <1 | FT-FY21-022021-003998-B | <1
WS- 004001 | 2020-03-23 | 2021-03-23 | 1 | Combo Fountain | In classroom 106 |  |  | WF-03232020-004001 | 2021-02-20 | FT-FY21-022021-004001-A | 1.0 | FT-FY21-022021-004001-B | <1
WS- 004002 | 2020-08-31 | 2021-08-31 | 1 | Combo Faucet | In classroom 111 |  |  | WF-08312020-004002 | 2021-02-20 | FT-FY21-022021-004002-A | <1 | FT-FY21-022021-004002-B | <1
WS- 004003 | 2020-08-31 | 2021-08-31 | 1 | Combo Faucet | In classroom 106 |  |  | WF-08312020-004003 | 2021-02-20 | FT-FY21-022021-004003-A | 1.1 | FT-FY21-022021-004003-B | <1
WS- 004004 | 2020-03-23 | 2021-03-23 | 1 | Combo Fountain | In classroom 111 |  |  | WF-03232020-004004 | 2021-02-20 | FT-FY21-022021-004004-A | <1 | FT-FY21-022021-004004-B | <1
WS- 004005 | 2020-08-31 | 2021-08-31 | 1 | Combo Faucet | In classroom 115 |  |  | WF-08312020-004005 | 2021-02-20 | FT-FY21-022021-004005-A | <1 | FT-FY21-022021-004005-B | <1
WS- 004006 | 2020-03-23 | 2021-03-23 | 1 | Combo Fountain | In classroom 115 |  |  | WF-03232020-004006 | 2021-02-20 | FT-FY21-022021-004006-A | <1 | FT-FY21-022021-004006-B | <1
WS- 004007 | 2020-08-31 | 2021-08-31 | 1 | Combo Faucet | In classroom 117 |  |  | WF-08312020-004007 | 2021-02-20 | FT-FY21-022021-004007-A | <1 | FT-FY21-022021-004007-B | <1
WS- 004008 | 2020-03-23 | 2021-03-23 | 1 | Combo Fountain | In classroom 117 |  |  | WF-03232020-004008 | 2021-02-20 | FT-FY21-022021-004008-A | <1 | FT-FY21-022021-004008-B | <1
WS- 004009 | 2020-08-31 | 2021-08-31 | 1 | Combo Faucet | In classroom 120 |  |  | WF-08312020-004009 | 2021-02-20 | FT-FY21-022021-004009-A | <1 | FT-FY21-022021-004009-B | <1
WS- 004010 | 2020-03-23 | 2021-03-23 | 1 | Combo Fountain | In classroom 120 |  |  | WF-03232020-004010 | 2021-02-20 | FT-FY21-022021-004010-A | <1 | FT-FY21-022021-004010-B | <1
WS- 004011 | 2020-03-23 | 2021-03-23 | 2 | Cooler | In hallway adjacent to south stairwell | High | Left | WF-03232020-004011 | 2021-02-20 | FT-FY21-022021-004011-A | <1 | FT-FY21-022021-004011-B | <1
WS- 004012 | 2020-08-31 | 2021-08-31 | 1 | Combo Faucet | In classroom 101 |  |  | WF-08312020-004012 | 2021-02-20 | FT-FY21-022021-004012-A | 2.0 | FT-FY21-022021-004012-B | <1
WS- 004013 | 2020-03-23 | 2021-03-23 | 1 | Combo Fountain | In classroom 101 |  |  | WF-03232020-004013 | 2021-02-20 | FT-FY21-022021-004013-A | <1 | FT-FY21-022021-004013-B | <1
WS- 004014 | 2020-03-23 | 2021-03-23 | 2 | Cooler | In hallway adjacent to south stairwell | Low | Right | WF-03232020-004014 | 2021-02-20 | FT-FY21-022021-004014-A | <1 | FT-FY21-022021-004014-B | <1
WS- 004015 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 207 |  |  | WF-08312020-004015 | 2021-02-20 | FT-FY21-022021-004015-A | <1 | FT-FY21-022021-004015-B | <1
WS- 004016 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 207 |  |  | WF-03232020-004016 | 2021-02-20 | FT-FY21-022021-004016-A | <1 | FT-FY21-022021-004016-B | <1
WS- 004017 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 212 |  |  | WF-08312020-004017 | 2021-02-20 | FT-FY21-022021-004017-A | <1 | FT-FY21-022021-004017-B | <1
WS- 004018 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 212 |  |  | WF-03232020-004018 | 2021-02-20 | FT-FY21-022021-004018-A | <1 | FT-FY21-022021-004018-B | <1
WS- 004019 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 216 |  | Left | WF-08312020-004019 | 2021-02-20 | FT-FY21-022021-004019-A | 2.2 | FT-FY21-022021-004019-B | <1
WS- 004020 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 216 |  | Left | WF-03232020-004020 | 2021-02-20 | FT-FY21-022021-004020-A | <1 | FT-FY21-022021-004020-B | <1
WS- 004021 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 216 |  | Right | WF-08312020-004021 | 2021-02-20 | FT-FY21-022021-004021-A | <1 | FT-FY21-022021-004021-B | <1
WS- 004022 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 216 |  | Right | WF-03232020-004022 | 2021-02-20 | FT-FY21-022021-004022-A | 1.1 | FT-FY21-022021-004022-B | <1
WS- 004023 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 218 |  |  | WF-08312020-004023 | 2021-02-20 | FT-FY21-022021-004023-A | <1 | FT-FY21-022021-004023-B | <1
WS- 004024 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 218 |  |  | WF-03232020-004024 | 2021-02-20 | FT-FY21-022021-004024-A | <1 | FT-FY21-022021-004024-B | <1
WS- 004025 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 201 |  |  | WF-08312020-004025 | 2021-02-20 | FT-FY21-022021-004025-A | 1.4 | FT-FY21-022021-004025-B | <1
WS- 004026 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 201 |  |  | WF-03232020-004026 | 2021-02-20 | FT-FY21-022021-004026-A | <1 | FT-FY21-022021-004026-B | <1
WS- 004027 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 203 |  |  | WF-08312020-004027 | 2021-02-20 | FT-FY21-022021-004027-A | 1.4 | FT-FY21-022021-004027-B | <1
WS- 004028 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 203 |  |  | WF-03232020-004028 | 2021-02-20 | FT-FY21-022021-004028-A | <1 | FT-FY21-022021-004028-B | <1
WS- 004029 | 2020-03-23 | 2021-03-23 | 3 | Cooler | In hallway adjacent to south stairwell | High | Left | WF-03232020-004029 | 2021-02-20 | FT-FY21-022021-004029-A | <1 | FT-FY21-022021-004029-B | <1
WS- 004030 | 2020-03-23 | 2021-03-23 | 3 | Cooler | In hallway adjacent to south stairwell | Low | Right | WF-03232020-004030 | 2021-02-20 | FT-FY21-022021-004030-A | <1 | FT-FY21-022021-004030-B | <1
WS- 004034 | 2020-08-31 | 2021-08-31 | 3 | Combo Faucet | In classroom 304 |  |  | WF-08312020-004034 | 2021-02-20 | FT-FY21-022021-004034-A | 10 | FT-FY21-022021-004034-B | <1
WS- 004035 | 2020-03-23 | 2021-03-23 | 3 | Combo Fountain | In classroom 304 |  |  | WF-03232020-004035 | 2021-02-20 | FT-FY21-022021-004035-A | <1 | FT-FY21-022021-004035-B | <1
WS- 004036 | 2020-08-31 | 2021-08-31 | 3 | Combo Faucet | In classroom 308 |  |  | WF-08312020-004036 | 2021-02-20 | FT-FY21-022021-004036-A | <1 | FT-FY21-022021-004036-B | <1
WS- 004037 | 2020-03-23 | 2021-03-23 | 3 | Combo Fountain | In classroom 308 |  |  | WF-03232020-004037 | 2021-02-20 | FT-FY21-022021-004037-A | <1 | FT-FY21-022021-004037-B | <1
WS- 004038 | 2020-03-23 | 2021-03-23 | 3 | Break Room | In staff lounge 313 |  |  | WF-03232020-004038 | 2021-02-20 | FT-FY21-022021-004038-A | <1 | FT-FY21-022021-004038-B | <1
WS- 004039 | 2020-03-23 | 2021-03-23 | 3 | Combo Fountain | In staff lounge 313 |  |  | WF-03232020-004039 | 2021-02-20 | FT-FY21-022021-004039-A | <1 | FT-FY21-022021-004039-B | <1
WS- 004040 | 2020-08-31 | 2021-08-31 | 3 | Combo Faucet | In classroom 302 |  |  | WF-08312020-004040 | 2021-02-20 | FT-FY21-022021-004040-A | 1.1 | FT-FY21-022021-004040-B | <1
WS- 004041 | 2020-03-23 | 2021-03-23 | 3 | Combo Fountain | In classroom 302 |  |  | WF-03232020-004041 | 2021-02-20 | FT-FY21-022021-004041-A | <1 | FT-FY21-022021-004041-B | <1
WS- 004042 | 2020-08-31 | 2021-08-31 | 3 | Combo Faucet | In classroom 301 |  |  | WF-08312020-004042 | 2021-02-20 | FT-FY21-022021-004042-A | <1 | FT-FY21-022021-004042-B | <1
WS- 004043 | 2020-03-23 | 2021-03-23 | 3 | Combo Fountain | In classroom 301 |  |  | WF-03232020-004043 | 2021-02-20 | FT-FY21-022021-004043-A | <1 | FT-FY21-022021-004043-B | <1
WS- 004044 | 2020-08-31 | 2021-08-31 | 3 | Combo Faucet | In classroom 315 |  |  | WF-08312020-004044 | 2021-02-20 | FT-FY21-022021-004044-A | <1 | FT-FY21-022021-004044-B | <1
WS- 004045 | 2020-03-23 | 2021-03-23 | 3 | Combo Fountain | In classroom 315 |  |  | WF-03232020-004045 | 2021-02-20 | FT-FY21-022021-004045-A | <1 | FT-FY21-022021-004045-B | <1
WS- 004046 | 2020-08-31 | 2021-08-31 | 1 | Combo Faucet | In classroom 103 |  |  | WF-08312020-004046 | 2021-02-20 | FT-FY21-022021-004046-A | <1 | FT-FY21-022021-004046-B | <1
WS- 004047 | 2020-03-23 | 2021-03-23 | 1 | Combo Fountain | In classroom 103 |  |  | WF-03232020-004047 | 2021-02-20 | FT-FY21-022021-004047-A | <1 | FT-FY21-022021-004047-B | <1
WS- 004048 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 216 |  | Left | WF-08312020-004048 | 2021-02-20 | FT-FY21-022021-004048-A | <1 | FT-FY21-022021-004048-B | <1
WS- 004049 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 216 |  | Left | WF-03232020-004049 | 2021-02-20 | FT-FY21-022021-004049-A | <1 | FT-FY21-022021-004049-B | <1
WS- 004050 | 2020-08-31 | 2021-08-31 | 2 | Combo Faucet | In classroom 216 |  | Right | WF-08312020-004050 | 2021-02-20 | FT-FY21-022021-004050-A | <1 | FT-FY21-022021-004050-B | <1
WS- 004051 | 2020-03-23 | 2021-03-23 | 2 | Combo Fountain | In classroom 216 |  | Right | WF-03232020-004051 | 2021-02-20 | FT-FY21-022021-004051-A | <1 | FT-FY21-022021-004051-B | <1
WS- 004269 | 2020-08-31 | 2021-08-31 | 1 | Bathroom | In classroom 101 in bathroom |  |  | WF-08312020-004269 | 2021-02-20 | FT-FY21-022021-004269-A | <1 | FT-FY21-022021-004269-B | <1
WS- 004270 | 2020-08-31 | 2021-08-31 | 1 | Bathroom | In classroom 103 in bathroom |  |  | WF-08312020-004270 | 2021-02-20 | FT-FY21-022021-004270-A | 2.1 | FT-FY21-022021-004270-B | <1
WS- 004271 | 2020-08-31 | 2021-08-31 | 1 | Bathroom | In classroom 106 in bathroom |  |  | WF-08312020-004271 | 2021-02-20 | FT-FY21-022021-004271-A | <1 | FT-FY21-022021-004271-B | <1
WS- 004272 | 2020-08-31 | 2021-08-31 | 1 | Bathroom | In classroom 111 in bathroom |  |  | WF-08312020-004272 | 2021-02-20 | FT-FY21-022021-004272-A | <1 | FT-FY21-022021-004272-B | <1
WS- 004273 | 2020-08-31 | 2021-08-31 | 1 | Bathroom | In classroom 115 in bathroom |  |  | WF-08312020-004273 | 2021-02-20 | FT-FY21-022021-004273-A | <1 | FT-FY21-022021-004273-B | <1
WS- 004274 | 2020-08-31 | 2021-08-31 | 1 | Bathroom | In classroom 117 in bathroom |  |  | WF-08312020-004274 | 2021-02-20 | FT-FY21-022021-004274-A | <1 | FT-FY21-022021-004274-B | <1
WS- 004275 | 2020-08-31 | 2021-08-31 | 1 | Bathroom | In classroom 120 in bathroom |  |  | WF-08312020-004275 | 2021-02-20 | FT-FY21-022021-004275-A | <1 | FT-FY21-022021-004275-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003997 | 2020-01-15 | 2021-01-15 | Ground Floor | Food Prep Sink | In kitchen east wall | Right | WF-01152020-003997 | 2021-02-20 | FT-FY21-022021-003997-A | <1 | FT-FY21-022021-003997-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004034 | 2021-02-26 | 2022-02-26 | 3 | Combo Faucet | In classroom 304 | WF-02262021-004034 | 2021-03-05 | FT-FY21-032021-004034-A | <1 | FT-FY21-032021-004034-B | <1