## Sheet1
MEP - Equipment Listing
Agency | Facility | Address | Equipment Type | Manufactor | Model No. | Serial No. | Refrigerant | RPM | Voltage | AMPS | Horse Power | Installation Date | BTU | Fuel Type | Filter Size | Size/Capacity | Room Number | Floor Number
|  |  | AHU-1 | McQuay | OAH065GDAC |  |  | 836 | 460 | N/A | 20 | 05.06.2014 | 1026193 | Merv 13 | 2" | 67 Tons | Roof
|  |  | AHU-2 | McQuay | OAH021GDDC |  |  | 2238 | 460 | N/A | 7.5 | 05.06.2014 | 406188 | Merv 13 | 2" | 26 Tons | Roof
|  |  | AHU-3 | McQuay | OAH080GDAC |  |  | 3500 | 460 | N/A | 30 | 05.06.2014 | 1423699 | Merv 13 | 2" | 88 Tons | Roof
|  |  | CH-1 | McQuay | AWS280BDH |  | R134-a | 850 | 460 | N/A | 1.4 | 05.06.2014 |  |  |  | 270.6 Tons
|  |  | FCU-1 | McQuay | FCHH104 |  |  |  | 115 | N/A | 1/12 | 05.06.2014 | 9925 | None | None | 0.9 Ton
|  |  | FCU-2 | McQuay | FCHH102 |  |  |  | 115 | N/A | 1/12 | 05.06.2014 | 4158 | None | None | 0.76 Ton
|  |  | FCU-3 & FCU-7 | McQuay | FCHH102 |  |  |  | 115 | N/A | 1/30 | 05.06.2014 | 5696 | None | None | 0.65 Ton
|  |  | FCU-4 | McQuay | FCHC103 |  |  |  | 115 | N/A | 1/30 | 05.06.2014 | 9514 | None | None | 0.84 Ton
|  |  | FCU-9~12 | McQuay | FCVH106 |  |  |  | 115 | N/A | 0.04 | 05.06.2014 | 10857 | Merv 4 | 1" | 1.0 Ton
|  |  | FCU-5 & 6 | McQuay | LAH010A |  |  | 973 | 460 | N/A | 3 | 05.06.2014 | 85682 | Merv 7 | 20X25 | 10 Tons
|  |  | FCU-8 | McQuay | LAH007A |  |  | 1015 | 460 | N/A | 2 | 05.06.2014 | 74256 | Merv 7 | 24X24 | 7 Tons
|  |  | CRAC 1-2 | Data Aire | DACD-2234 |  |  |  | 460 | 49 | 7.5 | 05.06.2014 | 216700 | Merv 11 | 16X25X4 & 16X20X4 | 22 Tons
|  |  | CRAC 3 | Data Aire | DACD-1834 |  |  |  | 460 | 49 | 10 | 05.06.2014 | 170400 | Merv 11 | 16X25X4 & 16X20X4 | 18 Tons
|  |  | Boiler-1 & 2 | Lochinvar | FBN1500 |  |  |  | 120 | 6 | 45 | 05.06.2014 | 1500000 |  |  | 1 Ton
|  |  | P-1/2 | Bell & Gossett | B-335.4F |  |  | 1800 | 208-230/460 |  | 2 | 05.06.2014
|  |  | P-3 | Bell & Gossett | B-133B |  |  | 1800 | 208-230/460 |  | 1.5 | 05.06.2014
|  |  | P-4 | Bell & Gossett | B131.4E |  |  | 1800 | 208-230/460 |  | 2 | 05.06.2014
|  |  | P-5 | Bell & Gossett | B-141.2 |  |  | 1800 | 208-230/460 |  | 1 | 05.06.2014
|  |  | P-6 | Bell & Gossett | B-141.2 |  |  | 1800 | 115/208-230 |  | 0.75 | 05.06.2014
|  |  | P-7 | Bell & Gossett | B-135F |  |  | 1800 | 115/230 |  | 1.5 | 05.06.2014
|  |  | P-8 | Bell & Gossett | B-141.2 |  |  | 1800 | 115/208-230 |  | 0.75 | 05.06.2014
|  |  | P-11 | Bell & Gossett | B-135.3F |  |  | 1800 | 230/460 |  | 5 | 05.06.2014
|  |  | P-12 | Bell & Gossett | B-131.2E |  |  | 1800 | 208-230/460 |  | 1.5 | 05.06.2014
|  |  | P-13 | Bell & Gossett | B-135.2F |  |  | 1800 | 230/460 |  | 3 | 05.06.2014
|  |  | P-14 | Bell & Gossett | B-135.2F |  |  | 1800 | 230/460 |  | 2 | 05.06.2014
|  |  | P-15/15A | Bell & Gossett | B-132A |  |  | 1800 | 115/208-230 |  | 1 | 05.06.2014
|  |  | P-16 | Bell & Gossett | B-141.5 |  |  | 1800 | 208-230/460 |  | 0.75 | 05.06.2014
|  |  | P-17 | Bell & Gossett | B-141.3 |  |  | 1800 | 115/208-230 |  | 0.5 | 05.06.2014
|  |  | P-18 | Bell & Gossett | B-133B |  |  | 1800 | 208-230/460 |  | 1.5 | 05.06.2014
|  |  | P-B-1/2 | Bell & Gossett | B-131.5E |  |  | 1800 | 208-230/460 |  | 0.75 | 05.06.2014