## Sheet1
MEP - Equipment Listing
Agency | Facility | Address | Equipment Type | Manufactor | Model No. | Serial No. | Refrigerant | RPM | Voltage | AMPS | Horse Power | Installation Date | BTU | Fuel Type | Filter Size | Size/Capacity | Room Number | Floor Number
OCT | OCT | 1899 9th st NE Washington DC 20018 | UPS | GE | SG225 | 2300-3713-B-180C |  |  | 480/277 |  |  | 2014-03-01 |  |  |  | 225KVA | 45 | Bsmt
|  |  | UPS External bypass | GE | MBC224 | 416-111-300-677 |  |  | 480/277 |  |  | 2014-03-01 |  |  |  | 225KVA | 45 | Bsmt
|  |  | UPS Battery cabinet | GE | BC55 | 400-1113UE05770 |  |  | 480DC | 600 |  | 2014-03-01 |  |  |  |  | 45 | Bsmt
|  |  | Generator | GENERAC | 16463040400 | 8714474 |  |  | 480/277 |  |  | 2014-03-08 |  | Diesel |  | 600kw | outside
|  |  | Auto transfer Switch | GENERAC | SMK04730941 | B1C3C3X30600XSU |  |  | 480/277 | 600 |  | 2014-02-21 |  |  |  |  | 44 | Bsmt
|  |  | Auto transfer Switch | GENERAC | 16463040200 | 8688186 |  |  | 480 | 800 |  | 2014-02-21 |  |  |  |  | 44 | Bsmt
|  |  | Auto transfer Switch | GENERAC | 16463040300 | 8688187 |  |  | 480/277 | 100 |  | 2014-02-21 |  |  |  |  | 48 | Bsmt
|  |  | Fire Alarm control Panel | NOTIFIER | NFS-320E | None (date of final assembly 1-14-14) |  |  | 120v |  |  | 2014-02-01 |  |  |  |  | 47 | Bsmt
|  |  | Fire Alarm Annunciator | NOTIFIER | QED-1818 | None (date of final assembly 1-24-14) |  |  | 120v |  |  | 2014-02-14 |  |  |  |  | 102 | ground
|  |  | Fire Alarm NAC panel | NOTIFIER | FCPS-24S8 | ECN# 13-201 6-11-13 |  |  | 120v |  |  | 2014-02-01
|  |  | Auto Dialer | Silent Knight | 5104 | PN#151054 |  |  | 120v |  |  | 2014-02-01