## Plumbing Equipment List
Project Name/Address: Office of Cable TV
Plumbing Equipment List
Equipment Type/Use | Model Name/No. | Serial No. | Manufacturer's Name | Capacity/Rating | Installation Date | Comments
P-1 & P-1A Water Closet
Bowl | Kingston/K4325-0 |  | Kohler | 1.28 gal (4.8 L) or 1.6 gal (6 L)* |  | ﻿ASME A112.19.2/CSA B45.1
Flushometer | K10956-CP |  | Kohler
Toilet Seat | B1055SSC000 |  | Bemis
P-2A Water Closet
High Efficiency Bowl | Highline/K4405-0 |  | Kohler | 1.28 gal (4.8 L) or 1.6 gal (6 L)* |  | ASME A112.19.2/CSA B45.1
Flushometer | K10956-CP |  | Kohler
Toilet Seat | B1055SSC000 |  | Bemis
P-3A Urinal
High Efficiency Urinal (HEU) | Bardon 1/8th GPF K4904-ET-0 |  | Kohler | 0.125 gpf (0.47 lpf) to 1.0 gpf (3.8 lpf)* |  | ASME A112.19.2/CSA B45.1
Flush Valve | K10949-CP |  | Kohler |  |  | ASSE 1037 & A112.18.1
P-4A Lavatory
Undercounter Lavatory | Caxton K2211-0 |  | Kohler |  |  | ASME A112.19.2
Electronic Faucet | K13461-CP |  | Kohler |  |  | ASME A112.18.1/CSA B125.1
Thermostatic Mixing Valves | Series MMV/WMMVUTM1D |  | Watts
Drains | K-7129-A-CP |  | Kohler |  |  | ASME A112.18.1/CSA B125.1
P-5A Lavatory
Wall-Mount Lavatory | Pinoir/K-2035-4-0 |  | Kohler |  |  | ASME A112.19.2/CSA B45.1
Centerset Lavatory Faucet | Coralais/K-15597-5P-CP |  | Kohler | 0.5 gallons (1.9 L) |  | ASME A112.18.1/CSA B125.1
P-6A Shower
One-Piece Barrier Free Transfer Shower Module | Freewill/K12101-C-0 |  | Kohler
Euro-Flo Hand Shower Wand | S96300B30LVX |  | Symmons | 2.5 gpm (9.5 L/min) |  | ASME A112.18.1-2005/CSA B125.1-05
P-7 Mop Sink
Mop Basins | PFMB Series PFMB2424 |  | Proflo
Sink Faucets | 897-RCF |  | Chicago |  |  | ASME A112.18.1/CSA B125.1
P-8 Drinking Fountain
Bi-Level Fountain | OVL-II SEBP |  | Halsey Taylor
Remote Chiller Only
Chiller | SJ10-Q |  | Halsey Taylor
P-9 Sink
Undercounter Lavatory | Verticyl/K2881-0 |  | Kohler |  |  | ASME A112.19.2/CSA B45.1
Kitchen Sink Highspout Faucet | Forte/K10430-CP |  | Kohler | 2.2 gallons (8.3 L) |  | ASME A112.18.1
P-10 Pantry Sink
Undermount Double Bowl Sink | Lustertone*/EELUHAD321655 |  | Elkay
Kitchen Sink Highspout Faucet | Forte/K10430-CP |  | Kohler | 2.2 gallons (8.3 L) |  | ASME A112.18.1
Food Waste Disposers | Evolution Series/IESSENTAIL |  | ISE | 1/4 Gallon
Emergency Eye/Face Station
WideArea Eye/Face Washes | GG1704HFC |  | Guardian
Tempering Units | GG3600 |  | Guardian | 6 Gallon
SEP-1 Submersible Elevator Pump
61 HD Series | Z61240213 |  | Zoeller
ESP-1 Elevator Sump Pump
Oil Guard System | Z9400007 |  | Zoeller
EWH-1 & EWH-2 Water Heater
Electric Mini Tank | EEMT1 |  | EEMAX | 1.3 Gallon
EWH-3 Water Heater
Light Duty Commercial Electric | Patriot SPCE201OMSA4520 |  | State | 20 Gallon
EWH-4 Water Heater
Light Duty Commercial Electric | SPCE302OLSA6208 |  | State | 30 Gallon
EWH-5 Water Heater
Three Phase Models Therostatic | EED024480T3EE |  | EEMAX
Water Meter
Displacement Disc Meters | 400 Series IIS HVPOKS201 |  | Mueller
Backflow Preventer
Double Check Valve | Model DC4A A4A10003 |  | Apollo
Double Check Valve Lead Free | Model DCLF4A A4A105T2 |  | Apollo