## FY20 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011967 | 2019-04-22 | 2020-04-22 | 1 | Cooler | In hallway adjacent to boys' restroom | WF-04222019-011967 | 2020-01-15 | FT-FY20-122019-011967-A | <1 | FT-FY20-122019-011967-B | <1
WS- 011968 | 2019-04-22 | 2020-04-22 | 1 | Cooler | In hallway adjacent to room 106 | WF-04222019-011968 | 2020-01-15 | FT-FY20-122019-011968-A | <1 | FT-FY20-122019-011968-B | <1
WS- 011969 | 2019-04-22 | 2020-04-22 | 1 | Ice Maker | In kitchen (ice maker) | WF-04222019-011969 | 2020-01-15 | FT-FY20-122019-011969-A | <1 | FT-FY20-122019-011969-B | <1
WS- 011973 | 2019-04-22 | 2020-04-22 | 2 | Cooler | In hallway adjacent to boys' restroom | WF-04222019-011973 | 2020-01-15 | FT-FY20-122019-011973-A | <1 | FT-FY20-122019-011973-B | <1
WS- 011974 | 2019-04-22 | 2020-04-22 | 2 | Cooler | In hallway adjacent to room 210 | WF-04222019-011974 | 2020-01-15 | FT-FY20-122019-011974-A | <1 | FT-FY20-122019-011974-B | <1
WS- 011975 | 2019-04-22 | 2020-04-22 | 3 | Cooler | In hallway adjacent to room 312 | WF-04222019-011975 | 2020-01-15 | FT-FY20-122019-011975-A | <1 | FT-FY20-122019-011975-B | <1
WS- 011976 | 2019-04-22 | 2020-04-22 | 3 | Cooler | In hallway adjacent to room 303 | WF-04222019-011976 | 2020-01-15 | FT-FY20-122019-011976-A | <1 | FT-FY20-122019-011976-B | <1
WS- 011981 | 2019-04-22 | 2020-04-22 | 1 | Health Suite | In health suite in restroom | WF-04222019-011981 | 2020-01-15 | FT-FY20-122019-011981-A | <1 | FT-FY20-122019-011981-B | <1
WS- 011982 | 2019-04-22 | 2020-04-22 | 1 | Cooler | In health suite | WF-04222019-011982 | 2020-01-15 | FT-FY20-122019-011982-A | <1 | FT-FY20-122019-011982-B | 1.2
WS- 011983 | 2019-04-22 | 2020-04-22 | 1 | Cooler | In cafeteria | WF-04222019-011983 | 2020-01-15 | FT-FY20-122019-011983-A | <1 | FT-FY20-122019-011983-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011970 | 2019-07-23 | 2020-07-23 | 1 | Food Prep Sink | In kitchen first clockwise from entry door | Left | WF-07232019-011970 | 2020-01-15 | FT-FY20-122019-011970-A | <1 | FT-FY20-122019-011970-B | <1