## FY19 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000004 | 2018-04-03 | 2019-03-29 | 1 | Break Room | Annex building in staff lounge area. |  |  | WF-04032018-000004 | 2018-11-30 | FT-FY19-112018-000004-A | <1 | FT-FY19-112018-000004-B | <1
WS- 000015 | 2018-04-03 | 2019-03-29 | 1 | Cooler | Annex building water fountain adjacent to staff restroom |  |  | WF-04032018-000015 | 2018-11-30 | FT-FY19-112018-000015-A | <1 | FT-FY19-112018-000015-B | <1
WS- 000016 | 2018-04-03 | 2019-03-30 | 1 | Cooler | Annex building water fountain adjacent to staff restroom | Low | Right | WF-04032018-000016 | 2018-11-30 | FT-FY19-112018-000016-A | <1 | FT-FY19-112018-000016-B | <1
WS- 000017 | 2018-04-03 | 2019-03-30 | 1 | Cooler | Annex building water fountain adjacent to staff restroom | High | Left | WF-04032018-000017 | 2018-11-30 | FT-FY19-112018-000017-A | <1 | FT-FY19-112018-000017-B | <1
WS- 000031 | 2018-04-03 | 2019-03-30 | Basement | Cooler | In cafeteria near kitchen entry |  |  | WF-04032018-000031 | 2018-11-30 | FT-FY19-112018-000031-A | <1 | FT-FY19-112018-000031-B | <1
WS- 000034 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 108 (nap room) |  |  | WF-10082018-000034 | 2018-11-30 | FT-FY19-112018-000034-A | 1.5 | FT-FY19-112018-000034-B | <1
WS- 000035 | 2018-11-19 | 2019-11-19 | 1 | Bathroom | In classroom 108 restroom | High | Left | WF-11192018-000035 | 2018-11-30 | FT-FY19-112018-000035-A | <1 | FT-FY19-112018-000035-B | <1
WS- 000036 | 2018-11-19 | 2019-11-19 | 1 | Bathroom | In classroom 108 restroom | Low | Right | WF-11192018-000036 | 2018-11-30 | FT-FY19-112018-000036-A | <1 | FT-FY19-112018-000036-B | <1
WS- 000037 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 109 |  |  | WF-10082018-000037 | 2018-11-30 | FT-FY19-112018-000037-A | <1 | FT-FY19-112018-000037-B | <1
WS- 000042 | 2018-04-03 | 2019-03-30 | 1 | Cooler | In hallway adjacent to classroom 109 |  |  | WF-04032018-000042 | 2018-11-30 | FT-FY19-112018-000042-A | <1 | FT-FY19-112018-000042-B | <1
WS- 000046 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 107 |  |  | WF-10082018-000046 | 2018-11-30 | FT-FY19-112018-000046-A | <1 | FT-FY19-112018-000046-B | <1
WS- 000047 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 110 |  |  | WF-10082018-000047 | 2018-11-30 | FT-FY19-112018-000047-A | <1 | FT-FY19-112018-000047-B | <1
WS- 000050 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 111 |  |  | WF-10082018-000050 | 2018-11-30 | FT-FY19-112018-000050-A | <1 | FT-FY19-112018-000050-B | <1
WS- 000051 | 2018-04-03 | 2019-03-30 | 1 | Break Room | In admin 106 personnel kitchen |  |  | WF-04032018-000051 | 2018-11-30 | FT-FY19-112018-000051-A | <1 | FT-FY19-112018-000051-B | <1
WS- 000054 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 105 - Library | High | Left | WF-10082018-000054 | 2018-11-30 | FT-FY19-112018-000054-A | <1 | FT-FY19-112018-000054-B | <1
WS- 000055 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 105 - Library | Low | Right | WF-10082018-000055 | 2018-11-30 | FT-FY19-112018-000055-A | <1 | FT-FY19-112018-000055-B | <1
WS- 000056 | 2018-04-03 | 2019-03-30 | 1 | Health Suite | In health suite 100 |  |  | WF-04032018-000056 | 2018-11-30 | FT-FY19-112018-000056-A | <1 | FT-FY19-112018-000056-B | <1
WS- 000058 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 101 |  |  | WF-10082018-000058 | 2018-11-30 | FT-FY19-112018-000058-A | <1 | FT-FY19-112018-000058-B | <1
WS- 000061 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 104 |  |  | WF-10082018-000061 | 2018-11-30 | FT-FY19-112018-000061-A | <1 | FT-FY19-112018-000061-B | <1
WS- 000062 | 2018-04-03 | 2019-03-30 | 1 | Cooler | In hallway adjacent to classroom 101 |  |  | WF-04032018-000062 | 2018-11-30 | FT-FY19-112018-000062-A | <1 | FT-FY19-112018-000062-B | <1
WS- 000064 | 2018-10-08 | 2019-10-08 | 1 | Classroom Faucet | In classroom 102 |  |  | WF-10082018-000064 | 2018-11-30 | FT-FY19-112018-000064-A | <1 | FT-FY19-112018-000064-B | <1
WS- 000067 | 2018-04-03 | 2019-03-30 | 2 | Break Room | In teachers lounge 214 |  |  | WF-04032018-000067 | 2018-11-30 | FT-FY19-112018-000067-A | <1 | FT-FY19-112018-000067-B | <1
WS- 000070 | 2018-10-08 | 2019-10-08 | 2 | Classroom Faucet | In art room 213 sink |  | Left | WF-10082018-000070 | 2018-11-30 | FT-FY19-112018-000070-A | <1 | FT-FY19-112018-000070-B | <1
WS- 000071 | 2018-10-08 | 2019-10-08 | 2 | Classroom Faucet | In art room 213 |  | Right | WF-10082018-000071 | 2018-11-30 | FT-FY19-112018-000071-A | <1 | FT-FY19-112018-000071-B | <1
WS- 000073 | 2018-04-03 | 2019-03-30 | 2 | Cooler | In hallway adjacent to library 212 |  |  | WF-04032018-000073 | 2018-11-30 | FT-FY19-112018-000073-A | <1 | FT-FY19-112018-000073-B | <1
WS- 000076 | 2018-10-08 | 2019-10-08 | 2 | Classroom Faucet | In classroom 203 |  |  | WF-10082018-000076 | 2018-11-30 | FT-FY19-112018-000076-A | <1 | FT-FY19-112018-000076-B | <1
WS- 000078 | 2018-10-08 | 2019-10-08 | 2 | Classroom Faucet | In classroom 202 |  |  | WF-10082018-000078 | 2018-11-30 | FT-FY19-112018-000078-A | 2.9 | FT-FY19-112018-000078-B | <1
WS- 000081 | 2018-04-03 | 2019-03-30 | 2 | Cooler | In hallway adjacent to classroom 202 | High | Left | WF-04032018-000081 | 2018-11-30 | FT-FY19-112018-000081-A | <1 | FT-FY19-112018-000081-B | <1
WS- 000082 | 2018-04-03 | 2019-03-30 | 2 | Cooler | In hallway adjacent to classroom 202 | Low | Right | WF-04032018-000082 | 2018-11-30 | FT-FY19-112018-000082-A | <1 | FT-FY19-112018-000082-B | <1
WS- 000084 | 2018-10-08 | 2019-10-08 | 2 | Classroom Faucet | In classroom 201 |  |  | WF-10082018-000084 | 2018-11-30 | FT-FY19-112018-000084-A | <1 | FT-FY19-112018-000084-B | <1

## Food Prep Sink
Record ID | Floor | Device Type | Device Location |  | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000028 | Basement | Food Prep Sink | In kitchen | Left | 2018-11-30 | FT-FY19-112018-000028-A | <1 | FT-FY19-112018-000028-B | <1
WS- 000029 | Basement | Food Prep Sink | In kitchen | Mid | 2018-11-30 | FT-FY19-112018-000029-A | <1 | FT-FY19-112018-000029-B | <1