## FY19 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003992 | 2018-04-11 | 2019-04-11 | Ground Floor | Health Suite | In health suite G07 in unisex restroom |  |  | WF-04112018-003992 | 2018-11-21 | FT-FY19-112018-003992-A | < 1 | FT-FY19-112018-003992-B | < 1
WS- 003993 | 2018-07-20 | 2019-07-20 | Ground Floor | Cooler | In hallway adjacent to room G31 | High | Left | WF-07202018-003993 | 2018-11-21 | FT-FY19-112018-003993-A | < 1 | FT-FY19-112018-003993-B | < 1
WS- 003994 | 2018-07-20 | 2019-07-20 | Ground Floor | Cooler | In hallway adjacent to room G32 | Low | Right | WF-07202018-003994 | 2018-11-21 | FT-FY19-112018-003994-A | < 1 | FT-FY19-112018-003994-B | < 1
WS- 003998 | 2018-11-09 | 2019-11-09 | Ground Floor | Break Room | In conference room G17 |  |  | WF-11092018-003998 | 2018-11-21 | FT-FY19-112018-003998-A | < 1 | FT-FY19-112018-003998-B | < 1
WS- 003999 | 2018-07-20 | 2019-07-20 | 1 | Cooler | In hallway adjacent to south stairwell | High | Left | WF-07202018-003999 | 2018-11-21 | FT-FY19-112018-003999-A | < 1 | FT-FY19-112018-003999-B | < 1
WS- 004000 | 2018-07-20 | 2019-07-20 | 1 | Cooler | In hallway adjacent to south stairwell | Low | Right | WF-07202018-004000 | 2018-11-21 | FT-FY19-112018-004000-A | < 1 | FT-FY19-112018-004000-B | < 1
WS- 004001 | 2018-04-11 | 2019-04-11 | 1 | Combo Fountain | In classroom 106 |  |  | WF-04112018-004001 | 2018-11-21 | FT-FY19-112018-004001-A | < 1 | FT-FY19-112018-004001-B | < 1
WS- 004002 | 2018-09-19 | 2019-09-19 | 1 | Combo Faucet | In classroom 111 |  |  | WF-09192018-004002 | 2018-11-21 | FT-FY19-112018-004002-A | < 1 | FT-FY19-112018-004002-B | < 1
WS- 004003 | 2018-09-19 | 2019-09-19 | 1 | Combo Faucet | In classroom 106 |  |  | WF-09192018-004003 | 2018-11-21 | FT-FY19-112018-004003-A | < 1 | FT-FY19-112018-004003-B | < 1
WS- 004004 | 2018-04-11 | 2019-04-11 | 1 | Combo Fountain | In classroom 111 |  |  | WF-04112018-004004 | 2018-11-21 | FT-FY19-112018-004004-A | < 1 | FT-FY19-112018-004004-B | < 1
WS- 004005 | 2018-09-19 | 2019-09-19 | 1 | Combo Faucet | In classroom 115 |  |  | WF-09192018-004005 | 2018-11-21 | FT-FY19-112018-004005-A | < 1 | FT-FY19-112018-004005-B | < 1
WS- 004006 | 2018-04-11 | 2019-04-11 | 1 | Combo Fountain | In classroom 115 |  |  | WF-04112018-004006 | 2018-11-21 | FT-FY19-112018-004006-A | < 1 | FT-FY19-112018-004006-B | < 1
WS- 004007 | 2018-09-19 | 2019-09-19 | 1 | Combo Faucet | In classroom 117 |  |  | WF-09192018-004007 | 2018-11-21 | FT-FY19-112018-004007-A | < 1 | FT-FY19-112018-004007-B | < 1
WS- 004008 | 2018-04-11 | 2019-04-11 | 1 | Combo Fountain | In classroom 117 |  |  | WF-04112018-004008 | 2018-11-21 | FT-FY19-112018-004008-A | < 1 | FT-FY19-112018-004008-B | < 1
WS- 004009 | 2018-09-19 | 2019-09-19 | 1 | Combo Faucet | In classroom 120 |  |  | WF-09192018-004009 | 2018-11-21 | FT-FY19-112018-004009-A | < 1 | FT-FY19-112018-004009-B | < 1
WS- 004010 | 2018-04-11 | 2019-04-11 | 1 | Combo Fountain | In classroom 120 |  |  | WF-04112018-004010 | 2018-11-21 | FT-FY19-112018-004010-A | < 1 | FT-FY19-112018-004010-B | < 1
WS- 004011 | 2018-07-20 | 2019-07-20 | 2 | Cooler | In hallway adjacent to south stairwell | High | Left | WF-07202018-004011 | 2018-11-21 | FT-FY19-112018-004011-A | < 1 | FT-FY19-112018-004011-B | < 1
WS- 004012 | 2018-09-19 | 2019-09-19 | 1 | Combo Faucet | In classroom 101 |  |  | WF-09192018-004012 | 2018-11-21 | FT-FY19-112018-004012-A | < 1 | FT-FY19-112018-004012-B | < 1
WS- 004013 | 2018-04-11 | 2019-04-11 | 1 | Combo Fountain | In classroom 101 |  |  | WF-04112018-004013 | 2018-11-21 | FT-FY19-112018-004013-A | < 1 | FT-FY19-112018-004013-B | < 1
WS- 004014 | 2018-07-20 | 2019-07-20 | 2 | Cooler | In hallway adjacent to south stairwell | Low | Right | WF-07202018-004014 | 2018-11-21 | FT-FY19-112018-004014-A | < 1 | FT-FY19-112018-004014-B | < 1
WS- 004015 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 207 |  |  | WF-09192018-004015 | 2018-11-21 | FT-FY19-112018-004015-A | < 1 | FT-FY19-112018-004015-B | < 1
WS- 004016 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 207 |  |  | WF-04112018-004016 | 2018-11-21 | FT-FY19-112018-004016-A | < 1 | FT-FY19-112018-004016-B | < 1
WS- 004017 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 212 |  |  | WF-09192018-004017 | 2018-11-21 | FT-FY19-112018-004017-A | < 1 | FT-FY19-112018-004017-B | < 1
WS- 004018 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 212 |  |  | WF-04112018-004018 | 2018-11-21 | FT-FY19-112018-004018-A | < 1 | FT-FY19-112018-004018-B | < 1
WS- 004019 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 216 |  | Left | WF-09192018-004019 | 2018-11-21 | FT-FY19-112018-004019-A | < 1 | FT-FY19-112018-004019-B | < 1
WS- 004020 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 216 |  | Left | WF-04112018-004020 | 2018-11-21 | FT-FY19-112018-004020-A | < 1 | FT-FY19-112018-004020-B | < 1
WS- 004021 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 216 |  | Right | WF-09192018-004021 | 2018-11-21 | FT-FY19-112018-004021-A | 1.4 | FT-FY19-112018-004021-B | 1.3
WS- 004022 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 216 |  | Right | WF-04112018-004022 | 2018-11-21 | FT-FY19-112018-004022-A | 1 | FT-FY19-112018-004022-B | < 1
WS- 004023 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 218 |  |  | WF-09192018-004023 | 2018-11-21 | FT-FY19-112018-004023-A | < 1 | FT-FY19-112018-004023-B | < 1
WS- 004024 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 218 |  |  | WF-04112018-004024 | 2018-11-21 | FT-FY19-112018-004024-A | < 1 | FT-FY19-112018-004024-B | < 1
WS- 004025 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 201 |  |  | WF-09192018-004025 | 2018-11-21 | FT-FY19-112018-004025-A | < 1 | FT-FY19-112018-004025-B | < 1
WS- 004026 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 201 |  |  | WF-04112018-004026 | 2018-11-21 | FT-FY19-112018-004026-A | < 1 | FT-FY19-112018-004026-B | < 1
WS- 004027 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 203 |  |  | WF-09192018-004027 | 2018-11-21 | FT-FY19-112018-004027-A | < 1 | FT-FY19-112018-004027-B | < 1
WS- 004028 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 203 |  |  | WF-04112018-004028 | 2018-11-21 | FT-FY19-112018-004028-A | < 1 | FT-FY19-112018-004028-B | < 1
WS- 004029 | 2018-07-20 | 2019-07-20 | 3 | Cooler | In hallway adjacent to south stairwell | High | Left | WF-07202018-004029 | 2018-11-21 | FT-FY19-112018-004029-A | < 1 | FT-FY19-112018-004029-B | < 1
WS- 004030 | 2018-07-20 | 2019-07-20 | 3 | Cooler | In hallway adjacent to south stairwell | Low | Right | WF-07202018-004030 | 2018-11-21 | FT-FY19-112018-004030-A | < 1 | FT-FY19-112018-004030-B | < 1
WS- 004034 | 2018-09-19 | 2019-09-19 | 3 | Combo Faucet | In classroom 304 |  |  | WF-09192018-004034 | 2018-11-21 | FT-FY19-112018-004034-A | < 1 | FT-FY19-112018-004034-B | < 1
WS- 004035 | 2018-04-11 | 2019-04-11 | 3 | Combo Fountain | In classroom 304 |  |  | WF-04112018-004035 | 2018-11-21 | FT-FY19-112018-004035-A | < 1 | FT-FY19-112018-004035-B | < 1
WS- 004036 | 2018-09-19 | 2019-09-19 | 3 | Combo Faucet | In classroom 308 |  |  | WF-09192018-004036 | 2018-11-21 | FT-FY19-112018-004036-A | < 1 | FT-FY19-112018-004036-B | < 1
WS- 004037 | 2018-04-11 | 2019-04-11 | 3 | Combo Fountain | In classroom 308 |  |  | WF-04112018-004037 | 2018-11-21 | FT-FY19-112018-004037-A | < 1 | FT-FY19-112018-004037-B | < 1
WS- 004038 | 2018-04-11 | 2019-04-11 | 3 | Break Room | In staff lounge 313 |  |  | WF-04112018-004038 | 2018-11-21 | FT-FY19-112018-004038-A | < 1 | FT-FY19-112018-004038-B | < 1
WS- 004039 | 2018-04-11 | 2019-04-11 | 3 | Combo Fountain | In staff lounge 313 |  |  | WF-04112018-004039 | 2018-11-21 | FT-FY19-112018-004039-A | < 1 | FT-FY19-112018-004039-B | < 1
WS- 004040 | 2018-09-19 | 2019-09-19 | 3 | Combo Faucet | In classroom 302 |  |  | WF-09192018-004040 | 2018-11-21 | FT-FY19-112018-004040-A | < 1 | FT-FY19-112018-004040-B | < 1
WS- 004041 | 2018-04-11 | 2019-04-11 | 3 | Combo Fountain | In classroom 302 |  |  | WF-04112018-004041 | 2018-11-21 | FT-FY19-112018-004041-A | < 1 | FT-FY19-112018-004041-B | < 1
WS- 004042 | 2018-09-19 | 2019-09-19 | 3 | Combo Faucet | In classroom 301 |  |  | WF-09192018-004042 | 2018-11-21 | FT-FY19-112018-004042-A | < 1 | FT-FY19-112018-004042-B | < 1
WS- 004043 | 2018-04-11 | 2019-04-11 | 3 | Combo Fountain | In classroom 301 |  |  | WF-04112018-004043 | 2018-11-21 | FT-FY19-112018-004043-A | < 1 | FT-FY19-112018-004043-B | < 1
WS- 004044 | 2018-09-19 | 2019-09-19 | 3 | Combo Faucet | In classroom 315 |  |  | WF-09192018-004044 | 2018-11-21 | FT-FY19-112018-004044-A | < 1 | FT-FY19-112018-004044-B | < 1
WS- 004045 | 2018-04-11 | 2019-04-11 | 3 | Combo Fountain | In classroom 315 |  |  | WF-04112018-004045 | 2018-11-21 | FT-FY19-112018-004045-A | < 1 | FT-FY19-112018-004045-B | < 1
WS- 004046 | 2018-09-19 | 2019-09-19 | 1 | Combo Faucet | In classroom 103 |  |  | WF-09192018-004046 | 2018-11-21 | FT-FY19-112018-004046-A | < 1 | FT-FY19-112018-004046-B | < 1
WS- 004047 | 2018-04-11 | 2019-04-11 | 1 | Combo Fountain | In classroom 103 |  |  | WF-04112018-004047 | 2018-11-21 | FT-FY19-112018-004047-A | < 1 | FT-FY19-112018-004047-B | < 1
WS- 004048 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 216 |  | Left | WF-09192018-004048 | 2018-11-21 | FT-FY19-112018-004048-A | < 1 | FT-FY19-112018-004048-B | < 1
WS- 004049 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 216 |  | Left | WF-04112018-004049 | 2018-11-21 | FT-FY19-112018-004049-A | < 1 | FT-FY19-112018-004049-B | < 1
WS- 004050 | 2018-09-19 | 2019-09-19 | 2 | Combo Faucet | In classroom 216 |  | Right | WF-09192018-004050 | 2018-11-21 | FT-FY19-112018-004050-A | < 1 | FT-FY19-112018-004050-B | < 1
WS- 004051 | 2018-04-11 | 2019-04-11 | 2 | Combo Fountain | In classroom 216 |  | Right | WF-04112018-004051 | 2018-11-21 | FT-FY19-112018-004051-A | < 1 | FT-FY19-112018-004051-B | < 1
WS- 004269 | 2018-09-19 | 2019-09-19 | 1 | Bathroom | In classroom 101 in bathroom |  |  | WF-09192018-004269 | 2018-11-21 | FT-FY19-112018-004269-A | < 1 | FT-FY19-112018-004269-B | < 1
WS- 004270 | 2018-09-19 | 2019-09-19 | 1 | Bathroom | In classroom 103 in bathroom |  |  | WF-09192018-004270 | 2018-11-21 | FT-FY19-112018-004270-A | < 1 | FT-FY19-112018-004270-B | < 1
WS- 004271 | 2018-09-19 | 2019-09-19 | 1 | Bathroom | In classroom 106 in bathroom |  |  | WF-09192018-004271 | 2018-11-21 | FT-FY19-112018-004271-A | < 1 | FT-FY19-112018-004271-B | < 1
WS- 004272 | 2018-09-19 | 2019-09-19 | 1 | Bathroom | In classroom 111 in bathroom |  |  | WF-09192018-004272 | 2018-11-21 | FT-FY19-112018-004272-A | < 1 | FT-FY19-112018-004272-B | < 1
WS- 004273 | 2018-09-19 | 2019-09-19 | 1 | Bathroom | In classroom 115 in bathroom |  |  | WF-09192018-004273 | 2018-11-21 | FT-FY19-112018-004273-A | < 1 | FT-FY19-112018-004273-B | < 1
WS- 004274 | 2018-09-19 | 2019-09-19 | 1 | Bathroom | In classroom 117 in bathroom |  |  | WF-09192018-004274 | 2018-11-21 | FT-FY19-112018-004274-A | < 1 | FT-FY19-112018-004274-B | < 1
WS- 004275 | 2018-09-19 | 2019-09-19 | 1 | Bathroom | In classroom 120 in bathroom |  |  | WF-09192018-004275 | 2018-11-21 | FT-FY19-112018-004275-A | < 1 | FT-FY19-112018-004275-B | < 1

## Food Prep Sink
Record ID | Floor | Device Type | Device Location |  | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003997 | Ground Floor | Food Prep Sink | In kitchen east wall | Right | 2018-11-21 | FT-FY19-112018-003997-A | < 1 | FT-FY19-112018-003997-B | < 1