## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-015350 | 2020-08-28 | 2021-08-28 | 1 | Bottle Filler | In hallway adjacent to 127 all gender restroom |  |  | WF-08282020-015350 | 2020-09-04 | FT-FY20-082020-015350-A | <1 | FT-FY20-082020-015350-B | <1
WS-015351 | 2020-08-28 | 2021-08-28 | 1 | Cooler | In hallway adjacent to 127 all gender restroom | High | Left | WF-08282020-015351 | 2020-09-04 | FT-FY20-082020-015351-A | <1 | FT-FY20-082020-015351-B | <1
WS-015352 | 2020-08-28 | 2021-08-28 | 1 | Cooler | In hallway adjacent to 127 all gender restroom | Low | Right | WF-08282020-015352 | 2020-09-04 | FT-FY20-082020-015352-A | <1 | FT-FY20-082020-015352-B | <1
WS-015353 | 2020-08-28 | 2021-08-28 | 1 | Health Suite | In room 130 inside health suite 131 |  |  | WF-08282020-015353 | 2020-09-04 | FT-FY20-082020-015353-A | <1 | FT-FY20-082020-015353-B | <1
WS-015361 | 2020-08-28 | 2021-08-28 | 1 | Combo Fountain | In room 100 infant |  | Left | WF-08282020-015361 | 2020-09-04 | FT-FY20-082020-015361-A | 1.6 | FT-FY20-082020-015361-B | <1
WS-015362 | 2020-08-28 | 2021-08-28 | 1 | Combo Fountain | In room 100 infant |  | Right | WF-08282020-015362 | 2020-09-04 | FT-FY20-082020-015362-A | 1.8 | FT-FY20-082020-015362-B | <1
WS-015363 | 2020-08-25 | 2021-08-25 | 1 | Combo Faucet | In room 100 infant |  | Right | WF-08252020-015363 | 2020-09-04 | FT-FY20-082020-015363-A | 1.9 | FT-FY20-082020-015363-B | <1
WS-015365 | 2020-08-28 | 2021-08-28 | 1 | Combo Fountain | In room 101 toddler room 1 |  |  | WF-08282020-015365 | 2020-09-04 | FT-FY20-082020-015365-A | <1 | FT-FY20-082020-015365-B | <1
WS-015366 | 2020-08-28 | 2021-08-28 | 1 | Combo Faucet | In room 101 toddler room 1 |  |  | WF-08282020-015366 | 2020-09-04 | FT-FY20-082020-015366-A | <1 | FT-FY20-082020-015366-B | <1
WS-015367 | 2020-08-28 | 2021-08-28 | 1 | Break Room | In room 105 workroom |  |  | WF-08282020-015367 | 2020-09-04 | FT-FY20-082020-015367-A | <1 | FT-FY20-082020-015367-B | <1
WS-015368 | 2020-08-25 | 2021-08-25 | 2 | Combo Faucet | In room 215 pre-s/pre-k 4 |  |  | WF-08252020-015368 | 2020-09-04 | FT-FY20-082020-015368-A | <1 | FT-FY20-082020-015368-B | <1
WS-015369 | 2020-08-25 | 2021-08-25 | 2 | Combo Fountain | In room 215 pre-s/pre-k 4 |  |  | WF-08252020-015369 | 2020-09-04 | FT-FY20-082020-015369-A | <1 | FT-FY20-082020-015369-B | <1
WS-015370 | 2020-08-25 | 2021-08-25 | 2 | Combo Faucet | In room 218 pre-s/pre-k 5 |  |  | WF-08252020-015370 | 2020-09-04 | FT-FY20-082020-015370-A | <1 | FT-FY20-082020-015370-B | <1
WS-015371 | 2020-08-25 | 2021-08-25 | 2 | Combo Fountain | In room 218 pre-s/pre-k 5 |  |  | WF-08252020-015371 | 2020-09-04 | FT-FY20-082020-015371-A | <1 | FT-FY20-082020-015371-B | <1
WS-015372 | 2020-08-28 | 2021-08-28 | 2 | Combo Faucet | In room 200 toddler room 2 |  |  | WF-08282020-015372 | 2020-09-04 | FT-FY20-082020-015372-A | <1 | FT-FY20-082020-015372-B | <1
WS-015373 | 2020-08-25 | 2021-08-25 | 2 | Combo Fountain | In room 200 toddler room 2 |  |  | WF-08252020-015373 | 2020-09-04 | FT-FY20-082020-015373-A | <1 | FT-FY20-082020-015373-B | <1
WS-015376 | 2020-08-25 | 2021-08-25 | 2 | Combo Fountain | In room 206 toddler room 3 |  |  | WF-08252020-015376 | 2020-09-04 | FT-FY20-082020-015376-A | <1 | FT-FY20-082020-015376-B | <1
WS-015377 | 2020-08-28 | 2021-08-28 | 2 | Combo Faucet | In room 206 toddler room 3 |  |  | WF-08282020-015377 | 2020-09-04 | FT-FY20-082020-015377-A | <1 | FT-FY20-082020-015377-B | <1
WS-015378 | 2020-08-25 | 2021-08-25 | 2 | Bottle Filler | In hallway adjacent to room 212 |  |  | WF-08252020-015378 | 2020-09-04 | FT-FY20-082020-015378-A | <1 | FT-FY20-082020-015378-B | <1
WS-015379 | 2020-08-25 | 2021-08-25 | 2 | Cooler | In hallway adjacent to room 212 | High | Left | WF-08252020-015379 | 2020-09-04 | FT-FY20-082020-015379-A | <1 | FT-FY20-082020-015379-B | <1
WS-015380 | 2020-08-25 | 2021-08-25 | 2 | Cooler | In hallway adjacent to room 212 | Low | Right | WF-08252020-015380 | 2020-09-04 | FT-FY20-082020-015380-A | <1 | FT-FY20-082020-015380-B | <1
WS-015383 | 2020-08-26 | 2021-08-26 | 3 | Combo Faucet | In room 312 pre-s/pre-k 7 |  |  | WF-08262020-015383 | 2020-09-04 | FT-FY20-082020-015383-A | <1 | FT-FY20-082020-015383-B | <1
WS-015384 | 2020-08-25 | 2021-08-25 | 3 | Combo Fountain | In room 312 pre-s/pre-k 7 |  |  | WF-08252020-015384 | 2020-09-04 | FT-FY20-082020-015384-A | <1 | FT-FY20-082020-015384-B | <1
WS-015385 | 2020-08-25 | 2021-08-25 | 3 | Combo Faucet | In room 315 pre-s/pre-k 8 |  |  | WF-08252020-015385 | 2020-09-04 | FT-FY20-082020-015385-A | <1 | FT-FY20-082020-015385-B | <1
WS-015386 | 2020-08-25 | 2021-08-25 | 3 | Combo Fountain | In room 315 pre-s/pre-k 8 |  |  | WF-08252020-015386 | 2020-09-04 | FT-FY20-082020-015386-A | <1 | FT-FY20-082020-015386-B | <1
WS-015388 | 2020-08-25 | 2021-08-25 | 3 | Combo Fountain | In room 324 pre-s/pre-k 8 |  |  | WF-08252020-015388 | 2020-09-04 | FT-FY20-082020-015388-A | <1 | FT-FY20-082020-015388-B | <1
WS-015389 | 2020-08-26 | 2021-08-26 | 3 | Combo Faucet | In room 300 pre-s/pre-k 6 |  |  | WF-08262020-015389 | 2020-09-04 | FT-FY20-082020-015389-A | <1 | FT-FY20-082020-015389-B | <1
WS-015390 | 2020-08-25 | 2021-08-25 | 3 | Combo Fountain | In room 300 pre-s/pre-k 6 |  |  | WF-08252020-015390 | 2020-09-04 | FT-FY20-082020-015390-A | <1 | FT-FY20-082020-015390-B | <1
WS-015392 | 2020-08-25 | 2021-08-25 | 3 | Combo Fountain | In room 304 music |  |  | WF-08252020-015392 | 2020-09-04 | FT-FY20-082020-015392-A | <1 | FT-FY20-082020-015392-B | <1
WS-015393 | 2020-08-25 | 2021-08-25 | 3 | Bottle Filler | In hallway adjacent to room 304 |  |  | WF-08252020-015393 | 2020-09-04 | FT-FY20-082020-015393-A | <1 | FT-FY20-082020-015393-B | <1
WS-015394 | 2020-08-25 | 2021-08-25 | 3 | Cooler | In hallway adjacent to room 304 | High | Left | WF-08252020-015394 | 2020-09-04 | FT-FY20-082020-015394-A | <1 | FT-FY20-082020-015394-B | <1
WS-015395 | 2020-08-25 | 2021-08-25 | 3 | Cooler | In hallway adjacent to room 304 | Low | Right | WF-08252020-015395 | 2020-09-04 | FT-FY20-082020-015395-A | <1 | FT-FY20-082020-015395-B | <1
WS-015397 | 2020-08-28 | 2021-08-28 | 3 | Combo Fountain | In room 308 art lab |  |  | WF-08282020-015397 | 2020-09-04 | FT-FY20-082020-015397-A | <1 | FT-FY20-082020-015397-B | <1
WS-015399 | 2020-08-25 | 2021-08-25 | 4 | Combo Faucet | In room 413 pre-s/pre-k 9 |  |  | WF-08252020-015399 | 2020-09-04 | FT-FY20-082020-015399-A | <1 | FT-FY20-082020-015399-B | <1
WS-015400 | 2020-08-28 | 2021-08-28 | 4 | Combo Fountain | In room 413 pre-s/pre-k 9 |  |  | WF-08282020-015400 | 2020-09-04 | FT-FY20-082020-015400-A | 2.6 | FT-FY20-082020-015400-B | <1
WS-015401 | 2020-08-25 | 2021-08-25 | 4 | Combo Faucet | In room 419 pre-s/pre-k 10 |  |  | WF-08252020-015401 | 2020-09-04 | FT-FY20-082020-015401-A | <1 | FT-FY20-082020-015401-B | <1
WS-015402 | 2020-08-25 | 2021-08-25 | 4 | Combo Fountain | In room 419 pre-s/pre-k 10 |  |  | WF-08252020-015402 | 2020-09-04 | FT-FY20-082020-015402-A | <1 | FT-FY20-082020-015402-B | <1
WS-015404 | 2020-08-25 | 2021-08-25 | 4 | Combo Fountain | In room 425 specials lab |  |  | WF-08252020-015404 | 2020-09-04 | FT-FY20-082020-015404-A | <1 | FT-FY20-082020-015404-B | <1
WS-015405 | 2020-08-25 | 2021-08-25 | 4 | Break Room | In break room area across from room 404 |  |  | WF-08252020-015405 | 2020-09-04 | FT-FY20-082020-015405-A | <1 | FT-FY20-082020-015405-B | <1
WS-015406 | 2020-08-25 | 2021-08-25 | 4 | Break Room | In room 403 lactation |  |  | WF-08252020-015406 | 2020-09-04 | FT-FY20-082020-015406-A | <1 | FT-FY20-082020-015406-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-015358 | 2020-08-25 | 2021-08-25 | 1 | Food Prep Sink | In kitchen fifth clockwise from entry | WF-08252020-015358 | 2020-09-04 | FT-FY20-082020-015358-A | <1 | FT-FY20-082020-015358-B | <1