## FY18 Filter Test
RECORD ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | WATER FILTERS Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 010261 | 2017-06-20 | 2018-06-20 | Ground Floor | Combo Fountain | In classroom G010 | WF-62017-010261 | 2017-11-30 | FT-FY18--62017-010261-A | <1 | FT-FY18--62017-010261-B | <1
WS- 010262 | 2017-11-15 | 2018-11-15 | Ground Floor | Combo Faucet | In classroom G010 | WF-112017-010262 | 2017-11-30 | FT-FY18-112017-010262-A | <1 | FT-FY18-112017-010262-B | <1
WS- 010263 | 2017-11-15 | 2018-11-15 | Ground Floor | Combo Faucet | In classroom G009 | WF-112017-010263 | 2017-11-30 | FT-FY18-112017-010263-A | <1 | FT-FY18-112017-010263-B | <1
WS- 010267 | 2017-11-15 | 2018-11-15 | Ground Floor | Combo Faucet | In classroom G005 | WF-112017-010267 | 2017-11-30 | FT-FY18-112017-010267-A | <1 | FT-FY18-112017-010267-B | <1
WS- 010268 | 2017-06-20 | 2018-06-20 | Ground Floor | Combo Fountain | In classroom G005 | WF-62017-010268 | 2017-11-30 | FT-FY18--62017-010268-A | <1 | FT-FY18--62017-010268-B | <1
WS- 010274 | 2017-06-20 | 2018-06-20 | 1 | Cooler | In hallway adjacent to room 104 | WF-62017-010274 | 2017-11-30 | FT-FY18--62017-010274-A | <1 | FT-FY18--62017-010274-B | <1
WS- 010283 | 2017-06-20 | 2018-06-20 | 3 | Cooler | In hallway adjacent to room 308 | WF-62017-010283 | 2017-11-30 | FT-FY18--62017-010283-A | <1 | FT-FY18--62017-010283-B | <1
WS- 010279 | 2017-06-20 | 2018-06-20 | 2 | Break Room | In staff lounge | WF-62017-010279 | 2017-11-30 | FT-FY18--62017-010279-A | 51 | FT-FY18--62017-010279-B | <1

## Food Prep Sink
RECORD ID | Floor | Device Type | Device Location | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 010269 | Ground Floor | Food Prep Sink | In kitchen | 2017-11-30 | FT-FY18-102017-010269-A | <1 | FT-FY18-102017-010269-B | <1

## Remediation (Plumbing Check)
RECORD ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | WATER FILTERS Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 010279 | 2017-06-20 | 2018-06-20 | 2 | Break Room | In staff lounge | WF-62017-010279 | 2017-12-13 | FT-FY18--62017-010279-A | 20 | FT-FY18--62017-010279-B | 1.7

## Remediation (Device Replacement
RECORD ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | WATER FILTERS Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 010279 | 2017-06-20 | 2018-06-20 | 2 | Break Room | In staff lounge | WF-62017-010279 | 2018-12-29 | FT-FY18--62017-010279-A | <1 | FT-FY18--62017-010279-B | <1