## FY20 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-014600 | 2019-08-15 | 2020-08-15 | 1 | Health Suite | In room 102C treatment |  |  | WF-08152019-014600 | 2019-08-21 | FT-FY20-082019-014600-A | <1 | FT-FY20-082019-014600-B | <1
WS-014601 | 2019-08-15 | 2020-08-15 | 1 | Break Room | In room 105D staff lounge |  |  | WF-08152019-014601 | 2019-08-21 | FT-FY20-082019-014601-A | <1 | FT-FY20-082019-014601-B | <1
WS-014602 | 2019-08-15 | 2020-08-15 | 1 | Health Suite | In room 105A wellness room |  |  | WF-08152019-014602 | 2019-08-21 | FT-FY20-082019-014602-A | <1 | FT-FY20-082019-014602-B | <1
WS-014604 | 2019-08-15 | 2020-08-15 | 1 | Combo Fountain | In room 137 art |  |  | WF-08152019-014604 | 2019-08-23 | FT-FY20-082019-014604-A | <1 | FT-FY20-082019-014604-B | <1
WS-014606 | 2019-08-15 | 2020-08-15 | 1 | Bottle Filler | In room 134 cafeteria adjacent to kitchen entrance |  |  | WF-08152019-014606 | 2019-08-21 | FT-FY20-082019-014606-A | <1 | FT-FY20-082019-014606-B | <1
WS-014607 | 2019-08-15 | 2020-08-15 | 1 | Cooler | In room 134 cafeteria adjacent to kitchen entrance | High | Left | WF-08152019-014607 | 2019-08-21 | FT-FY20-082019-014607-A | <1 | FT-FY20-082019-014607-B | <1
WS-014608 | 2019-08-15 | 2020-08-15 | 1 | Cooler | In room 134 cafeteria adjacent to kitchen entrance | Low | Right | WF-08152019-014608 | 2019-08-21 | FT-FY20-082019-014608-A | <1 | FT-FY20-082019-014608-B | <1
WS-014616 | 2019-08-15 | 2020-08-15 | 1 | Bottle Filler | In room 135 gymnasium adjacent to 139 restroom |  |  | WF-08152019-014616 | 2019-08-21 | FT-FY20-082019-014616-A | <1 | FT-FY20-082019-014616-B | <1
WS-014617 | 2019-08-15 | 2020-08-15 | 1 | Cooler | In room 135 gymnasium adjacent to 139 restroom | High | Left | WF-08152019-014617 | 2019-08-21 | FT-FY20-082019-014617-A | <1 | FT-FY20-082019-014617-B | <1
WS-014618 | 2019-08-15 | 2020-08-15 | 1 | Cooler | In room 135 gymnasium adjacent to 139 restroom | Low | Right | WF-08152019-014618 | 2019-08-21 | FT-FY20-082019-014618-A | <1 | FT-FY20-082019-014618-B | <1
WS-014619 | 2019-08-15 | 2020-08-15 | 1 | Bottle Filler | In room 133 atrium between restroom |  |  | WF-08152019-014619 | 2019-08-21 | FT-FY20-082019-014619-A | <1 | FT-FY20-082019-014619-B | <1
WS-014620 | 2019-08-15 | 2020-08-15 | 1 | Cooler | In room 133 atrium between restroom | High | Left | WF-08152019-014620 | 2019-08-21 | FT-FY20-082019-014620-A | <1 | FT-FY20-082019-014620-B | <1
WS-014621 | 2019-08-15 | 2020-08-15 | 1 | Cooler | In room 133 atrium between restroom | Low | Right | WF-08152019-014621 | 2019-08-21 | FT-FY20-082019-014621-A | <1 | FT-FY20-082019-014621-B | <1
WS-014623 | 2019-08-15 | 2020-08-15 | 1 | Break Room | In room 120 pantry |  |  | WF-08152019-014623 | 2019-08-21 | FT-FY20-082019-014623-A | <1 | FT-FY20-082019-014623-B | <1
WS-014625 | 2019-08-15 | 2020-08-15 | 1 | Combo Fountain | In room 122 think tank |  |  | WF-08152019-014625 | 2019-08-21 | FT-FY20-082019-014625-A | <1 | FT-FY20-082019-014625-B | <1
WS-014628 | 2019-08-15 | 2020-08-15 | 1 | Combo Faucet | In room 121 pre-k |  |  | WF-08152019-014628 | 2019-08-21 | FT-FY20-082019-014628-A | 1.3 | FT-FY20-082019-014628-B | <1
WS-014629 | 2019-08-15 | 2020-08-15 | 1 | Combo Fountain | In room 121 pre-k |  |  | WF-08152019-014629 | 2019-08-21 | FT-FY20-082019-014629-A | <1 | FT-FY20-082019-014629-B | <1
WS-014631 | 2019-08-15 | 2020-08-15 | 1 | Combo Fountain | In room 124 music |  |  | WF-08152019-014631 | 2019-08-23 | FT-FY20-082019-014631-A | <1 | FT-FY20-082019-014631-B | <1
WS-014632 | 2019-08-15 | 2020-08-15 | 1 | Combo Faucet | In room 123 pre-k |  |  | WF-08152019-014632 | 2019-08-21 | FT-FY20-082019-014632-A | <1 | FT-FY20-082019-014632-B | <1
WS-014633 | 2019-08-15 | 2020-08-15 | 1 | Combo Fountain | In room 123 pre-k |  |  | WF-08152019-014633 | 2019-08-21 | FT-FY20-082019-014633-A | <1 | FT-FY20-082019-014633-B | <1
WS-014637 | 2019-08-15 | 2020-08-15 | 1 | Combo Faucet | In room 125 pre-k |  |  | WF-08152019-014637 | 2019-08-21 | FT-FY20-082019-014637-A | <1 | FT-FY20-082019-014637-B | <1
WS-014638 | 2019-08-15 | 2020-08-15 | 1 | Combo Fountain | In room 125 pre-k |  |  | WF-08152019-014638 | 2019-08-21 | FT-FY20-082019-014638-A | <1 | FT-FY20-082019-014638-B | <1
WS-014640 | 2019-08-15 | 2020-08-15 | 1 | Combo Faucet | In room 127 pre-k |  |  | WF-08152019-014640 | 2019-08-21 | FT-FY20-082019-014640-A | <1 | FT-FY20-082019-014640-B | <1
WS-014641 | 2019-08-15 | 2020-08-15 | 1 | Combo Fountain | In room 127 pre-k |  |  | WF-08152019-014641 | 2019-08-21 | FT-FY20-082019-014641-A | <1 | FT-FY20-082019-014641-B | <1
WS-014642 | 2019-08-15 | 2020-08-15 | 1 | Combo Faucet | In room 128 pre-k |  |  | WF-08152019-014642 | 2019-08-21 | FT-FY20-082019-014642-A | <1 | FT-FY20-082019-014642-B | <1
WS-014643 | 2019-08-15 | 2020-08-15 | 1 | Combo Fountain | In room 128 pre-k |  |  | WF-08152019-014643 | 2019-08-21 | FT-FY20-082019-014643-A | <1 | FT-FY20-082019-014643-B | <1
WS-014645 | 2019-08-15 | 2020-08-15 | 2 | Break Room | In room 209 pantry |  |  | WF-08152019-014645 | 2019-08-21 | FT-FY20-082019-014645-A | <1 | FT-FY20-082019-014645-B | <1
WS-014646 | 2019-08-15 | 2020-08-15 | 2 | Bottle Filler | In hallway adjacent to 210A janitor |  |  | WF-08152019-014646 | 2019-08-21 | FT-FY20-082019-014646-A | <1 | FT-FY20-082019-014646-B | <1
WS-014647 | 2019-08-15 | 2020-08-15 | 2 | Cooler | In hallway adjacent to 210A janitor | High | Left | WF-08152019-014647 | 2019-08-21 | FT-FY20-082019-014647-A | <1 | FT-FY20-082019-014647-B | <1
WS-014648 | 2019-08-15 | 2020-08-15 | 2 | Cooler | In hallway adjacent to 210A janitor | Low | Right | WF-08152019-014648 | 2019-08-21 | FT-FY20-082019-014648-A | <1 | FT-FY20-082019-014648-B | <1
WS-014650 | 2019-08-15 | 2020-08-15 | 2 | Combo Faucet | In room 211 kindergarten |  |  | WF-08152019-014650 | 2019-08-23 | FT-FY20-082019-014650-A | <1 | FT-FY20-082019-014650-B | <1
WS-014651 | 2019-08-15 | 2020-08-15 | 2 | Combo Fountain | In room 211 kindergarten |  |  | WF-08152019-014651 | 2019-08-23 | FT-FY20-082019-014651-A | <1 | FT-FY20-082019-014651-B | <1
WS-014652 | 2019-08-15 | 2020-08-15 | 2 | Food Prep Sink | In room 214 discovery cave |  |  | WF-08152019-014652 | 2019-08-21 | FT-FY20-082019-014652-A | <1 | FT-FY20-082019-014652-B | <1
WS-014653 | 2019-08-15 | 2020-08-15 | 2 | Combo Faucet | In room 216 kindergarten |  |  | WF-08152019-014653 | 2019-08-21 | FT-FY20-082019-014653-A | <1 | FT-FY20-082019-014653-B | <1
WS-014654 | 2019-08-15 | 2020-08-15 | 2 | Combo Fountain | In room 216 kindergarten |  |  | WF-08152019-014654 | 2019-08-21 | FT-FY20-082019-014654-A | <1 | FT-FY20-082019-014654-B | <1
WS-014657 | 2019-08-15 | 2020-08-15 | 2 | Combo Faucet | In room 213 kindergarten |  |  | WF-08152019-014657 | 2019-08-21 | FT-FY20-082019-014657-A | <1 | FT-FY20-082019-014657-B | <1
WS-014658 | 2019-08-15 | 2020-08-15 | 2 | Combo Fountain | In room 213 kindergarten |  |  | WF-08152019-014658 | 2019-08-21 | FT-FY20-082019-014658-A | <1 | FT-FY20-082019-014658-B | <1
WS-014660 | 2019-08-15 | 2020-08-15 | 2 | Combo Faucet | In room 215 kindergarten |  |  | WF-08152019-014660 | 2019-08-21 | FT-FY20-082019-014660-A | <1 | FT-FY20-082019-014660-B | <1
WS-014661 | 2019-08-15 | 2020-08-15 | 2 | Combo Fountain | In room 215 kindergarten |  |  | WF-08152019-014661 | 2019-08-21 | FT-FY20-082019-014661-A | <1 | FT-FY20-082019-014661-B | <1
WS-014664 | 2019-08-15 | 2020-08-15 | 2 | Combo Fountain | In room 217 first grade |  |  | WF-08152019-014664 | 2019-08-21 | FT-FY20-082019-014664-A | <1 | FT-FY20-082019-014664-B | <1
WS-014667 | 2019-08-15 | 2020-08-15 | 2 | Combo Fountain | In room 218 first grade |  |  | WF-08152019-014667 | 2019-08-21 | FT-FY20-082019-014667-A | <1 | FT-FY20-082019-014667-B | <1
WS-014670 | 2019-08-15 | 2020-08-15 | 2 | Combo Fountain | In room 219 first grade |  |  | WF-08152019-014670 | 2019-08-21 | FT-FY20-082019-014670-A | <1 | FT-FY20-082019-014670-B | <1
WS-014673 | 2019-08-15 | 2020-08-15 | 2 | Combo Fountain | In room 222 first grade |  |  | WF-08152019-014673 | 2019-08-21 | FT-FY20-082019-014673-A | <1 | FT-FY20-082019-014673-B | <1
WS-014675 | 2019-08-15 | 2020-08-15 | 3 | Combo Fountain | In room 308 maker space |  |  | WF-08152019-014675 | 2019-08-21 | FT-FY20-082019-014675-A | <1 | FT-FY20-082019-014675-B | <1
WS-014677 | 2019-08-15 | 2020-08-15 | 3 | Break Room | In room 313 pantry |  |  | WF-08152019-014677 | 2019-08-21 | FT-FY20-082019-014677-A | <1 | FT-FY20-082019-014677-B | <1
WS-014678 | 2019-08-15 | 2020-08-15 | 3 | Bottle Filler | In hallway adjacent to 312A janitor |  |  | WF-08152019-014678 | 2019-08-21 | FT-FY20-082019-014678-A | <1 | FT-FY20-082019-014678-B | <1
WS-014679 | 2019-08-15 | 2020-08-15 | 3 | Cooler | In hallway adjacent to 312A janitor | High | Left | WF-08152019-014679 | 2019-08-21 | FT-FY20-082019-014679-A | <1 | FT-FY20-082019-014679-B | <1
WS-014680 | 2019-08-15 | 2020-08-15 | 3 | Cooler | In hallway adjacent to 312A janitor | Low | Right | WF-08152019-014680 | 2019-08-21 | FT-FY20-082019-014680-A | <1 | FT-FY20-082019-014680-B | <1
WS-014682 | 2019-08-15 | 2020-08-15 | 3 | Combo Fountain | In room 319 fourth grade |  |  | WF-08152019-014682 | 2019-08-21 | FT-FY20-082019-014682-A | <1 | FT-FY20-082019-014682-B | <1
WS-014684 | 2019-08-15 | 2020-08-15 | 3 | Combo Fountain | In room 318 fourth grade |  |  | WF-08152019-014684 | 2019-08-21 | FT-FY20-082019-014684-A | <1 | FT-FY20-082019-014684-B | <1
WS-014686 | 2019-08-15 | 2020-08-15 | 3 | Combo Fountain | In room 320 fourth grade |  |  | WF-08152019-014686 | 2019-08-21 | FT-FY20-082019-014686-A | <1 | FT-FY20-082019-014686-B | <1
WS-014688 | 2019-08-15 | 2020-08-15 | 3 | Combo Fountain | In room 323 fifth grade |  |  | WF-08152019-014688 | 2019-08-21 | FT-FY20-082019-014688-A | <1 | FT-FY20-082019-014688-B | <1
WS-014690 | 2019-08-15 | 2020-08-15 | 3 | Combo Fountain | In room 324 fifth grade |  |  | WF-08152019-014690 | 2019-08-21 | FT-FY20-082019-014690-A | <1 | FT-FY20-082019-014690-B | <1
WS-014692 | 2019-08-15 | 2020-08-15 | 3 | Combo Fountain | In room 326 fifth grade |  |  | WF-08152019-014692 | 2019-08-21 | FT-FY20-082019-014692-A | <1 | FT-FY20-082019-014692-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-014615 | 2019-08-15 | 2020-08-15 | 1 | Food Prep Sink | In kitchen sixth clockwise from entry | WF-08152019-014615 | 2019-08-21 | FT-FY20-082019-014615-A | <1 | FT-FY20-082019-014615-B | <1