## FY20 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003183 | 2019-04-11 | 2020-04-11 | 1 | Ice Maker | In kitchen (Icemaker) | WF-04112019-003183 | 2020-01-08 | FT-FY20-122019-003183-A | <1 | FT-FY20-122019-003183-B | <1
WS- 003184 | 2019-04-11 | 2020-04-11 | 1 | Cooler | In hallway across from athletic storage 1241 | WF-04112019-003184 | 2020-01-08 | FT-FY20-122019-003184-A | <1 | FT-FY20-122019-003184-B | <1
WS- 003185 | 2019-04-11 | 2020-04-11 | 1 | Bottle Filler | In hallway across from athletic storage 1241 (bottle filler) | WF-04112019-003185 | 2020-01-08 | FT-FY20-122019-003185-A | <1 | FT-FY20-122019-003185-B | <1
WS- 003186 | 2019-04-11 | 2020-04-11 | 1 | Cooler | In hallway across from coaches room 1245 | WF-04112019-003186 | 2020-01-08 | FT-FY20-122019-003186-A | <1 | FT-FY20-122019-003186-B | <1
WS- 003187 | 2019-04-11 | 2020-04-11 | 1 | Bottle Filler | In hallway across from coaches room 1245 (bottle filler) | WF-04112019-003187 | 2020-01-08 | FT-FY20-122019-003187-A | <1 | FT-FY20-122019-003187-B | <1
WS- 003188 | 2019-04-11 | 2020-04-11 | 1 | Cooler | In hallway adjacent to restroom 1181 | WF-04112019-003188 | 2020-01-08 | FT-FY20-122019-003188-A | <1 | FT-FY20-122019-003188-B | <1
WS- 003189 | 2019-04-11 | 2020-04-11 | 1 | Bottle Filler | In hallway adjacent to restroom 1181 (bottle filler) | WF-04112019-003189 | 2020-01-08 | FT-FY20-122019-003189-A | <1 | FT-FY20-122019-003189-B | <1
WS- 003190 | 2019-04-11 | 2020-04-11 | 1 | Cooler | In hallway adjacent to restroom 1141 | WF-04112019-003190 | 2020-01-08 | FT-FY20-122019-003190-A | <1 | FT-FY20-122019-003190-B | <1
WS- 003191 | 2019-04-11 | 2020-04-11 | 1 | Bottle Filler | In hallway adjacent to restroom 1141 (bottle filler) | WF-04112019-003191 | 2020-01-08 | FT-FY20-122019-003191-A | <1 | FT-FY20-122019-003191-B | <1
WS- 003192 | 2019-04-11 | 2020-04-11 | 1 | Health Suite | In health suite in treatment room 113 | WF-04112019-003192 | 2020-01-08 | FT-FY20-122019-003192-A | <1 | FT-FY20-122019-003192-B | <1
WS- 003193 | 2019-04-11 | 2020-04-11 | 1 | Break Room | In staff lounge 1174 | WF-04112019-003193 | 2020-01-08 | FT-FY20-122019-003193-A | <1 | FT-FY20-122019-003193-B | <1
WS- 003210 | 2019-04-11 | 2020-04-11 | 2 | Bottle Filler | In hallway adjacent to room 2131 | WF-04112019-003210 | 2020-01-08 | FT-FY20-122019-003210-A | <1 | FT-FY20-122019-003210-B | <1
WS- 003211 | 2019-04-11 | 2020-04-11 | 2 | Cooler | In hallway adjacent to room 2131 | WF-04112019-003211 | 2020-01-08 | FT-FY20-122019-003211-A | <1 | FT-FY20-122019-003211-B | <1
WS- 003212 | 2019-04-11 | 2020-04-11 | 2 | Bottle Filler | In hallway adjacent to room 2171 | WF-04112019-003212 | 2020-01-08 | FT-FY20-122019-003212-A | <1 | FT-FY20-122019-003212-B | <1
WS- 003213 | 2019-04-11 | 2020-04-11 | 2 | Cooler | In hallway adjacent to room 2171 | WF-04112019-003213 | 2020-01-08 | FT-FY20-122019-003213-A | <1 | FT-FY20-122019-003213-B | <1
WS- 003214 | 2019-04-11 | 2020-04-11 | 2 | Bottle Filler | In hallway adjacent to stairwell B7 | WF-04112019-003214 | 2020-01-08 | FT-FY20-122019-003214-A | <1 | FT-FY20-122019-003214-B | <1
WS- 003215 | 2019-04-11 | 2020-04-11 | 2 | Cooler | In hallway adjacent to stairwell B7 | WF-04112019-003215 | 2020-01-08 | FT-FY20-122019-003215-A | <1 | FT-FY20-122019-003215-B | <1
WS- 003216 | 2019-04-11 | 2020-04-11 | 2 | Bottle Filler | In hallway adjacent to auditorium | WF-04112019-003216 | 2020-01-08 | FT-FY20-122019-003216-A | <1 | FT-FY20-122019-003216-B | <1
WS- 003217 | 2019-04-11 | 2020-04-11 | 2 | Cooler | In hallway adjacent to auditorium | WF-04112019-003217 | 2020-01-08 | FT-FY20-122019-003217-A | <1 | FT-FY20-122019-003217-B | <1
WS- 003218 | 2019-04-11 | 2020-04-11 | 3 | Bottle Filler | In hallway adjacent to stairwell A1 | WF-04112019-003218 | 2020-01-08 | FT-FY20-122019-003218-A | <1 | FT-FY20-122019-003218-B | <1
WS- 003219 | 2019-04-11 | 2020-04-11 | 3 | Cooler | In hallway adjacent to stairwell A1 | WF-04112019-003219 | 2020-01-08 | FT-FY20-122019-003219-A | <1 | FT-FY20-122019-003219-B | <1
WS- 003220 | 2019-04-11 | 2020-04-11 | 3 | Bottle Filler | In hallway adjacent to room 3182 | WF-04112019-003220 | 2020-01-08 | FT-FY20-122019-003220-A | <1 | FT-FY20-122019-003220-B | <1
WS- 003221 | 2019-04-11 | 2020-04-11 | 3 | Cooler | In hallway adjacent to room 3182 | WF-04112019-003221 | 2020-01-08 | FT-FY20-122019-003221-A | <1 | FT-FY20-122019-003221-B | <1
WS- 003222 | 2019-04-11 | 2020-04-11 | 2 | Break Room | In staff lounge 2183 | WF-04112019-003222 | 2020-01-08 | FT-FY20-122019-003222-A | <1 | FT-FY20-122019-003222-B | <1
WS- 003223 | 2019-04-11 | 2020-04-11 | 3 | Break Room | In staff lounge 3183 | WF-04112019-003223 | 2020-01-08 | FT-FY20-122019-003223-A | <1 | FT-FY20-122019-003223-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003182 | 2019-07-17 | 2020-07-17 | 1 | Food Prep Sink | In kitchen adjacent to the freezer | WF-07172019-003182 | 2020-01-08 | FT-FY20-122019-003182-A | <1 | FT-FY20-122019-003182-B | <1