## FY20 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002535 | 2019-05-20 | 2020-05-20 | 1 | Health Suite | In health suite 101 |  |  | WF-05202019-002535 | 2019-11-08 | FT-FY20-102019-002535-A | <1 | FT-FY20-102019-002535-B | <1
WS- 002536 | 2019-05-20 | 2020-05-20 | 1 | Break Room | In break room 130F |  |  | WF-05202019-002536 | 2019-11-08 | FT-FY20-102019-002536-A | <1 | FT-FY20-102019-002536-B | <1
WS- 009848 | 2019-05-20 | 2020-05-20 | Basement | Cooler | In hallway adjacent to cafeteria | High | Left | WF-05202019-009848 | 2019-11-08 | FT-FY20-102019-009848-A | <1 | FT-FY20-102019-009848-B | <1
WS- 009849 | 2019-05-20 | 2020-05-20 | Basement | Cooler | In hallway adjacent to cafeteria | Low | Right | WF-05202019-009849 | 2019-11-08 | FT-FY20-102019-009849-A | <1 | FT-FY20-102019-009849-B | <1
WS- 009850 | 2019-05-20 | 2020-05-20 | Basement | Cooler | In cafeteria |  |  | WF-05202019-009850 | 2019-11-08 | FT-FY20-102019-009850-A | <1 | FT-FY20-102019-009850-B | <1
WS- 009853 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 102 |  |  | WF-09302019-009853 | 2019-11-08 | FT-FY20-102019-009853-A | <1 | FT-FY20-102019-009853-B | <1
WS- 009854 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 106 |  |  | WF-09302019-009854 | 2019-11-08 | FT-FY20-102019-009854-A | <1 | FT-FY20-102019-009854-B | <1
WS- 009855 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 116 |  |  | WF-09302019-009855 | 2019-11-08 | FT-FY20-102019-009855-A | <1 | FT-FY20-102019-009855-B | <1
WS- 009856 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 120 |  |  | WF-09302019-009856 | 2019-11-08 | FT-FY20-102019-009856-A | <1 | FT-FY20-102019-009856-B | <1
WS- 009859 | 2019-05-20 | 2020-05-20 | 1 | Cooler | In hallway across from room 106 | High | Left | WF-05202019-009859 | 2019-11-08 | FT-FY20-102019-009859-A | <1 | FT-FY20-102019-009859-B | <1
WS- 009860 | 2019-05-20 | 2020-05-20 | 1 | Cooler | In hallway across from room 106 | Low | Right | WF-05202019-009860 | 2019-11-08 | FT-FY20-102019-009860-A | <1 | FT-FY20-102019-009860-B | <1
WS- 009861 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 131 | Low | Left | WF-09302019-009861 | 2019-11-08 | FT-FY20-102019-009861-A | <1 | FT-FY20-102019-009861-B | <1
WS- 009862 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 131 | High | Right | WF-09302019-009862 | 2019-11-08 | FT-FY20-102019-009862-A | <1 | FT-FY20-102019-009862-B | <1
WS- 009863 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 132 | High | Left | WF-09302019-009863 | 2019-11-08 | FT-FY20-102019-009863-A | <1 | FT-FY20-102019-009863-B | <1
WS- 009864 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 132 | Low | Right | WF-09302019-009864 | 2019-11-08 | FT-FY20-102019-009864-A | <1 | FT-FY20-102019-009864-B | <1
WS- 009865 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 133 | Low | Left | WF-09302019-009865 | 2019-11-08 | FT-FY20-102019-009865-A | <1 | FT-FY20-102019-009865-B | <1
WS- 009866 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 133 | High | Right | WF-09302019-009866 | 2019-11-08 | FT-FY20-102019-009866-A | 6 | FT-FY20-102019-009866-B | <1
WS- 009867 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 134 | High | Left | WF-09302019-009867 | 2019-11-08 | FT-FY20-102019-009867-A | <1 | FT-FY20-102019-009867-B | <1
WS- 009868 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 134 | Low | Right | WF-09302019-009868 | 2019-11-08 | FT-FY20-102019-009868-A | <1 | FT-FY20-102019-009868-B | <1
WS- 009869 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 135 | Low | Left | WF-09302019-009869 | 2019-11-08 | FT-FY20-102019-009869-A | 1.1 | FT-FY20-102019-009869-B | <1
WS- 009870 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 135 | High | Right | WF-09302019-009870 | 2019-11-08 | FT-FY20-102019-009870-A | <1 | FT-FY20-102019-009870-B | <1
WS- 009871 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 136 | High | Left | WF-09302019-009871 | 2019-11-08 | FT-FY20-102019-009871-A | <1 | FT-FY20-102019-009871-B | <1
WS- 009872 | 2019-09-30 | 2020-09-30 | 1 | Classroom Faucet | In classroom 136 | Low | Right | WF-09302019-009872 | 2019-11-08 | FT-FY20-102019-009872-A | <1 | FT-FY20-102019-009872-B | <1
WS- 009873 | 2019-05-20 | 2020-05-20 | 2 | Break Room | In teacher workroom 223 |  |  | WF-05202019-009873 | 2019-11-08 | FT-FY20-102019-009873-A | <1 | FT-FY20-102019-009873-B | <1
WS- 009874 | 2019-09-30 | 2020-09-30 | 2 | Classroom Faucet | In classroom 207 |  | Left | WF-09302019-009874 | 2019-11-08 | FT-FY20-102019-009874-A | <1 | FT-FY20-102019-009874-B | <1
WS- 009875 | 2019-09-30 | 2020-09-30 | 2 | Classroom Faucet | In classroom 207 |  | Right | WF-09302019-009875 | 2019-11-08 | FT-FY20-102019-009875-A | <1 | FT-FY20-102019-009875-B | <1
WS- 009876 | 2019-05-20 | 2020-05-20 | 2 | Cooler | In hallway across from room 207 | High | Left | WF-05202019-009876 | 2019-11-08 | FT-FY20-102019-009876-A | <1 | FT-FY20-102019-009876-B | <1
WS- 009877 | 2019-05-20 | 2020-05-20 | 2 | Cooler | In hallway across from room 207 | Low | Right | WF-05202019-009877 | 2019-11-08 | FT-FY20-102019-009877-A | <1 | FT-FY20-102019-009877-B | <1
WS- 009878 | 2019-05-20 | 2020-05-20 | 2 | Cooler | In hallway across from room 214 | High | Left | WF-05202019-009878 | 2019-11-08 | FT-FY20-102019-009878-A | <1 | FT-FY20-102019-009878-B | <1
WS- 009879 | 2019-05-20 | 2020-05-20 | 2 | Cooler | In hallway across from room 214 | Low | Right | WF-05202019-009879 | 2019-11-08 | FT-FY20-102019-009879-A | <1 | FT-FY20-102019-009879-B | <1
WS- 009880 | 2019-05-20 | 2020-05-20 | 3 | Cooler | In hallway across from room 307 | High | Left | WF-05202019-009880 | 2019-11-08 | FT-FY20-102019-009880-A | <1 | FT-FY20-102019-009880-B | <1
WS- 009881 | 2019-05-20 | 2020-05-20 | 3 | Cooler | In hallway across from room 307 | Low | Right | WF-05202019-009881 | 2019-11-08 | FT-FY20-102019-009881-A | <1 | FT-FY20-102019-009881-B | <1
WS- 009882 | 2019-05-20 | 2020-05-20 | 3 | Break Room | In staff lounge 312 |  |  | WF-05202019-009882 | 2019-11-08 | FT-FY20-102019-009882-A | <1 | FT-FY20-102019-009882-B | <1
WS- 009883 | 2019-05-20 | 2020-05-20 | 3 | Cooler | In hallway across from room 315 | High | Left | WF-05202019-009883 | 2019-11-08 | FT-FY20-102019-009883-A | <1 | FT-FY20-102019-009883-B | <1
WS- 009884 | 2019-05-20 | 2020-05-20 | 3 | Cooler | In hallway across from room 315 | Low | Right | WF-05202019-009884 | 2019-11-08 | FT-FY20-102019-009884-A | <1 | FT-FY20-102019-009884-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 009851 | 2019-07-02 | 2020-07-02 | Basement | Food Prep Sink | In kitchen first clockwise from entry door | WF-07022019-009851 | 2019-11-08 | FT-FY20-102019-009851-A | <1 | FT-FY20-102019-009851-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 009866 | 2019-11-13 | 2020-11-13 | 1 | Classroom Faucet | In classroom 133 | High | Right | WF-11132019-009866 | 2019-11-27 | FT-FY20-112019-009866-A | <1 | FT-FY20-112019-009866-B | <1