## FY20 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003762 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to room 110 | Low | Right | WF-04012019-003762 | 2019-11-03 | FT-FY20-102019-003762-A | <1 | FT-FY20-102019-003762-B | <1
WS- 003840 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 106, in bathroom |  |  | WF-09092019-003840 | 2019-11-03 | FT-FY20-102019-003840-A | <1 | FT-FY20-102019-003840-B | <1
WS- 003842 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to room 102 | High | Left | WF-04012019-003842 | 2019-11-03 | FT-FY20-102019-003842-A | <1 | FT-FY20-102019-003842-B | <1
WS- 003843 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to room 102 | Low | Right | WF-04012019-003843 | 2019-11-03 | FT-FY20-102019-003843-A | <1 | FT-FY20-102019-003843-B | <1
WS- 003844 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 106 |  | Left | WF-04012019-003844 | 2019-11-03 | FT-FY20-102019-003844-A | <1 | FT-FY20-102019-003844-B | <1
WS- 003845 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 106 |  | Mid | WF-09092019-003845 | 2019-11-03 | FT-FY20-102019-003845-A | <1 | FT-FY20-102019-003845-B | <1
WS- 003846 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 106 |  | Right | WF-09092019-003846 | 2019-11-03 | FT-FY20-102019-003846-A | <1 | FT-FY20-102019-003846-B | <1
WS- 003847 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 107 |  | Left | WF-09092019-003847 | 2019-11-03 | FT-FY20-102019-003847-A | 1.6 | FT-FY20-102019-003847-B | <1
WS- 003848 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 107 |  | Mid | WF-09092019-003848 | 2019-11-03 | FT-FY20-102019-003848-A | <1 | FT-FY20-102019-003848-B | <1
WS- 003849 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 107 |  | Right | WF-04012019-003849 | 2019-11-03 | FT-FY20-102019-003849-A | <1 | FT-FY20-102019-003849-B | <1
WS- 003850 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 108 |  | Left | WF-09092019-003850 | 2019-11-03 | FT-FY20-102019-003850-A | 6.2 | FT-FY20-102019-003850-B | <1
WS- 003851 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 108 |  | Mid | WF-09092019-003851 | 2019-11-03 | FT-FY20-102019-003851-A | <1 | FT-FY20-102019-003851-B | <1
WS- 003852 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 108 |  | Right | WF-04012019-003852 | 2019-11-03 | FT-FY20-102019-003852-A | <1 | FT-FY20-102019-003852-B | <1
WS- 003853 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to room 110 | High | Left | WF-04012019-003853 | 2019-11-03 | FT-FY20-102019-003853-A | <1 | FT-FY20-102019-003853-B | <1
WS- 003854 | 2019-04-01 | 2020-04-01 | 1 | Bottle Filler | In hallway adjacent to room 110 (bottle filler) |  |  | WF-04012019-003854 | 2019-11-03 | FT-FY20-102019-003854-A | <1 | FT-FY20-102019-003854-B | <1
WS- 003855 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 109B |  | Left | WF-09092019-003855 | 2019-11-03 | FT-FY20-102019-003855-A | <1 | FT-FY20-102019-003855-B | <1
WS- 003856 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 109B |  | Right | WF-04012019-003856 | 2019-11-03 | FT-FY20-102019-003856-A | 1.6 | FT-FY20-102019-003856-B | <1
WS- 003857 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 109A |  | Left | WF-09092019-003857 | 2019-11-03 | FT-FY20-102019-003857-A | 1.1 | FT-FY20-102019-003857-B | <1
WS- 003858 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 109A |  | Right | WF-04012019-003858 | 2019-11-03 | FT-FY20-102019-003858-A | 1.2 | FT-FY20-102019-003858-B | <1
WS- 003859 | 2019-04-01 | 2020-04-01 | 1 | Other | Laundry room sink (outside sign says Health Suite) |  | Mid | WF-04012019-003859 | 2019-11-03 | FT-FY20-102019-003859-A | <1 | FT-FY20-102019-003859-B | <1
WS- 003860 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 113 |  | Left | WF-04012019-003860 | 2019-11-03 | FT-FY20-102019-003860-A | <1 | FT-FY20-102019-003860-B | <1
WS- 003861 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 113 |  | Mid | WF-09092019-003861 | 2019-11-03 | FT-FY20-102019-003861-A | <1 | FT-FY20-102019-003861-B | <1
WS- 003862 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 113 |  | Right | WF-09092019-003862 | 2019-11-03 | FT-FY20-102019-003862-A | <1 | FT-FY20-102019-003862-B | <1
WS- 003863 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 112 |  | Mid | WF-09092019-003863 | 2019-11-03 | FT-FY20-102019-003863-A | <1 | FT-FY20-102019-003863-B | <1
WS- 003864 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 112 |  | Left | WF-09092019-003864 | 2019-11-03 | FT-FY20-102019-003864-A | 1.6 | FT-FY20-102019-003864-B | <1
WS- 003865 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 112 |  | Right | WF-04012019-003865 | 2019-11-03 | FT-FY20-102019-003865-A | <1 | FT-FY20-102019-003865-B | <1
WS- 003866 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to elevator | High | Left | WF-04012019-003866 | 2019-11-03 | FT-FY20-102019-003866-A | <1 | FT-FY20-102019-003866-B | <1
WS- 003867 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to elevator | Low | Right | WF-04012019-003867 | 2019-11-03 | FT-FY20-102019-003867-A | <1 | FT-FY20-102019-003867-B | <1
WS- 003868 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 116 |  | Left | WF-09092019-003868 | 2019-11-03 | FT-FY20-102019-003868-A | 1.8 | FT-FY20-102019-003868-B | <1
WS- 003869 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 116 | Low | Right | WF-04012019-003869 | 2019-11-03 | FT-FY20-102019-003869-A | <1 | FT-FY20-102019-003869-B | <1
WS- 003870 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 116 |  | Mid | WF-09092019-003870 | 2019-11-03 | FT-FY20-102019-003870-A | <1 | FT-FY20-102019-003870-B | <1
WS- 003871 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 117 |  | Left | WF-09092019-003871 | 2019-11-03 | FT-FY20-102019-003871-A | 1.2 | FT-FY20-102019-003871-B | <1
WS- 003872 | 2019-09-09 | 2020-09-09 | 1 | Combo Faucet | In classroom 117 |  | Mid | WF-09092019-003872 | 2019-11-03 | FT-FY20-102019-003872-A | 1.2 | FT-FY20-102019-003872-B | <1
WS- 003873 | 2019-04-01 | 2020-04-01 | 1 | Combo Fountain | In classroom 117 | Low | Right | WF-04012019-003873 | 2019-11-03 | FT-FY20-102019-003873-A | <1 | FT-FY20-102019-003873-B | <1
WS- 003874 | 2019-04-01 | 2020-04-01 | 1 | Health Suite | In health suite |  |  | WF-04012019-003874 | 2019-11-03 | FT-FY20-102019-003874-A | <1 | FT-FY20-102019-003874-B | <1
WS- 003875 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to stairwell A | Low | Right | WF-04012019-003875 | 2019-11-03 | FT-FY20-102019-003875-A | <1 | FT-FY20-102019-003875-B | <1
WS- 003876 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to stairwell A | High | Left | WF-04012019-003876 | 2019-11-03 | FT-FY20-102019-003876-A | <1 | FT-FY20-102019-003876-B | <1
WS- 003883 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to room 131 | High | Left | WF-04012019-003883 | 2019-11-03 | FT-FY20-102019-003883-A | <1 | FT-FY20-102019-003883-B | <1
WS- 003884 | 2019-04-01 | 2020-04-01 | 1 | Cooler | In hallway adjacent to room 131 | Low | Right | WF-04012019-003884 | 2019-11-03 | FT-FY20-102019-003884-A | <1 | FT-FY20-102019-003884-B | <1
WS- 003885 | 2019-04-01 | 2020-04-01 | 2 | Cooler | In hallway adjacent to stairwell A | High | Left | WF-04012019-003885 | 2019-11-03 | FT-FY20-102019-003885-A | <1 | FT-FY20-102019-003885-B | <1
WS- 003886 | 2019-04-01 | 2020-04-01 | 2 | Cooler | In hallway adjacent to stairwell A | Low | Right | WF-04012019-003886 | 2019-11-03 | FT-FY20-102019-003886-A | <1 | FT-FY20-102019-003886-B | <1
WS- 003894 | 2019-04-01 | 2020-04-01 | 2 | Cooler | In hallway adjacent to stairwell B | High | Left | WF-04012019-003894 | 2019-11-03 | FT-FY20-102019-003894-A | <1 | FT-FY20-102019-003894-B | <1
WS- 003895 | 2019-04-01 | 2020-04-01 | 2 | Cooler | In hallway adjacent to stairwell B | Low | Right | WF-04012019-003895 | 2019-11-03 | FT-FY20-102019-003895-A | <1 | FT-FY20-102019-003895-B | <1
WS- 003896 | 2019-04-01 | 2020-04-01 | 2 | Break Room | In staff lounge 213 |  |  | WF-04012019-003896 | 2019-11-03 | FT-FY20-102019-003896-A | <1 | FT-FY20-102019-003896-B | <1
WS- 003897 | 2019-04-01 | 2020-04-01 | 2 | Cooler | In hallway adjacent to media center | High | Left | WF-04012019-003897 | 2019-11-03 | FT-FY20-102019-003897-A | <1 | FT-FY20-102019-003897-B | <1
WS- 003898 | 2019-04-01 | 2020-04-01 | 2 | Cooler | In hallway adjacent to media center | Low | Right | WF-04012019-003898 | 2019-11-03 | FT-FY20-102019-003898-A | <1 | FT-FY20-102019-003898-B | <1
WS- 003899 | 2019-09-09 | 2020-09-09 | 2 | Classroom Faucet | In classroom 206 |  |  | WF-09092019-003899 | 2019-11-03 | FT-FY20-102019-003899-A | <1 | FT-FY20-102019-003899-B | <1
WS- 003900 | 2019-04-01 | 2020-04-01 | 2 | Cooler | In hallway adjacent to room 202 | High | Left | WF-04012019-003900 | 2019-11-03 | FT-FY20-102019-003900-A | <1 | FT-FY20-102019-003900-B | <1
WS- 003901 | 2019-04-01 | 2020-04-01 | 2 | Cooler | In hallway adjacent to room 202 | Low | Right | WF-04012019-003901 | 2019-11-03 | FT-FY20-102019-003901-A | <1 | FT-FY20-102019-003901-B | <1
WS- 003902 | 2019-04-01 | 2020-04-01 | 3 | Cooler | In hallway adjacent to room 302 | High | Left | WF-04012019-003902 | 2019-11-03 | FT-FY20-102019-003902-A | <1 | FT-FY20-102019-003902-B | <1
WS- 003903 | 2019-04-01 | 2020-04-01 | 3 | Cooler | In hallway adjacent to room 302 | Low | Right | WF-04012019-003903 | 2019-11-03 | FT-FY20-102019-003903-A | <1 | FT-FY20-102019-003903-B | <1
WS- 003908 | 2019-04-01 | 2020-04-01 | 3 | Cooler | In hallway adjacent to room 313 | High | Left | WF-04012019-003908 | 2019-11-03 | FT-FY20-102019-003908-A | <1 | FT-FY20-102019-003908-B | <1
WS- 003909 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 107, in bathroom |  |  | WF-09092019-003909 | 2019-11-03 | FT-FY20-102019-003909-A | <1 | FT-FY20-102019-003909-B | <1
WS- 003912 | 2019-04-01 | 2020-04-01 | 3 | Cooler | In hallway adjacent to room 313 | Low | Right | WF-04012019-003912 | 2019-11-03 | FT-FY20-102019-003912-A | <1 | FT-FY20-102019-003912-B | <1
WS- 003913 | 2019-04-01 | 2020-04-01 | 3 | Break Room | In break room 316 |  |  | WF-04012019-003913 | 2019-11-03 | FT-FY20-102019-003913-A | <1 | FT-FY20-102019-003913-B | <1
WS- 003915 | 2019-04-01 | 2020-04-01 | 3 | Cooler | In hallway adjacent to room 316 | Low | Right | WF-04012019-003915 | 2019-11-03 | FT-FY20-102019-003915-A | <1 | FT-FY20-102019-003915-B | <1
WS- 003924 | 2019-04-01 | 2020-04-01 | 3 | Cooler | In hallway adjacent to stairwell A | High | Left | WF-04012019-003924 | 2019-11-03 | FT-FY20-102019-003924-A | <1 | FT-FY20-102019-003924-B | <1
WS- 003925 | 2019-04-01 | 2020-04-01 | 3 | Cooler | In hallway adjacent to stairwell A | Low | Right | WF-04012019-003925 | 2019-11-03 | FT-FY20-102019-003925-A | <1 | FT-FY20-102019-003925-B | <1
WS- 003926 | 2019-04-01 | 2020-04-01 | Basement | Combo Fountain | In art room B06 first clockwise from entry door |  |  | WF-04012019-003926 | 2019-11-03 | FT-FY20-102019-003926-A | <1 | FT-FY20-102019-003926-B | <1
WS- 004533 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 108, in bathroom |  |  | WF-09092019-004533 | 2019-11-03 | FT-FY20-102019-004533-A | <1 | FT-FY20-102019-004533-B | <1
WS- 004534 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 109, in bathroom |  |  | WF-09092019-004534 | 2019-11-03 | FT-FY20-102019-004534-A | <1 | FT-FY20-102019-004534-B | <1
WS- 004535 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 113, in bathroom |  |  | WF-09092019-004535 | 2019-11-03 | FT-FY20-102019-004535-A | <1 | FT-FY20-102019-004535-B | <1
WS- 004536 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 112, in bathroom |  |  | WF-09092019-004536 | 2019-11-03 | FT-FY20-102019-004536-A | <1 | FT-FY20-102019-004536-B | <1
WS- 004537 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 116, in bathroom |  |  | WF-09092019-004537 | 2019-11-03 | FT-FY20-102019-004537-A | <1 | FT-FY20-102019-004537-B | <1
WS- 004538 | 2019-09-09 | 2020-09-09 | 1 | Classroom Faucet | In classroom 117, in bathroom |  |  | WF-09092019-004538 | 2019-11-03 | FT-FY20-102019-004538-A | <1 | FT-FY20-102019-004538-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003878 | 2019-07-02 | 2020-07-02 | 1 | Food Prep Sink | In servery room in kitchen on south wall | WF-07022019-003878 | 2019-11-03 | FT-FY20-102019-003878-A | <1 | FT-FY20-102019-003878-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003850 | 2019-11-06 | 2020-11-06 | 1 | Classroom Faucet | In classroom 108 | Left | WF-11062019-003850 | 2019-11-17 | FT-FY20-112019-003850-A | <1 | FT-FY20-112019-003850-B | <1