## FY18 Filter Test
RECORD ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | WATER FILTERS Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002058 | 2017-06-07 | 2018-06-07 | 1 | Combo Fountain | In classroom 105 |  |  | WF-62017-002058 | 2017-12-06 | FT-FY18--62017-002058-A | <1 | FT-FY18--62017-002058-B | <1
WS- 002060 | 2017-11-20 | 2018-11-20 | 1 | Combo Faucet | In classroom 103 |  |  | WF-112017-002060 | 2017-12-06 | FT-FY18-112017-002060-A | <1 | FT-FY18-112017-002060-B | <1
WS- 002063 | 2017-06-07 | 2018-06-07 | 1 | Combo Fountain | In classroom 108 |  |  | WF-62017-002063 | 2017-12-06 | FT-FY18--62017-002063-A | <1 | FT-FY18--62017-002063-B | <1
WS- 002064 | 2017-11-20 | 2018-11-20 | 1 | Combo Faucet | In classroom 108 |  |  | WF-112017-002064 | 2017-12-06 | FT-FY18-112017-002064-A | <1 | FT-FY18-112017-002064-B | <1
WS- 002065 | 2017-06-07 | 2018-06-07 | 1 | Cooler | In hallway adjacent to restroom 111 | Left | High | WF-62017-002065 | 2017-12-06 | FT-FY18--62017-002065-A | <1 | FT-FY18--62017-002065-B | <1
WS- 002068 | 2017-06-07 | 2018-06-07 | 1 | Break Room | In staff lounge 112 |  |  | WF-62017-002068 | 2017-12-06 | FT-FY18--62017-002068-A | <1 | FT-FY18--62017-002068-B | <1
WS- 002070 | 2017-06-07 | 2018-06-07 | 1 | Combo Fountain | In classroom 115 |  |  | WF-62017-002070 | 2017-12-06 | FT-FY18--62017-002070-A | <1 | FT-FY18--62017-002070-B | <1
WS- 002073 | 2017-11-20 | 2018-11-20 | 1 | Combo Faucet | In classroom 122 |  |  | WF-112017-002073 | 2017-12-06 | FT-FY18-112017-002073-A | <1 | FT-FY18-112017-002073-B | <1
WS- 002075 | 2017-06-07 | 2018-06-07 | 1 | Combo Fountain | In classroom 117 |  |  | WF-62017-002075 | 2017-12-06 | FT-FY18--62017-002075-A | <1 | FT-FY18--62017-002075-B | <1
WS- 002076 | 2017-11-20 | 2018-11-20 | 1 | Combo Faucet | In classroom 117 |  |  | WF-112017-002076 | 2017-12-06 | FT-FY18-112017-002076-A | 4.1 | FT-FY18-112017-002076-B | <1
WS- 002077 | 2017-11-20 | 2018-11-20 | 1 | Combo Faucet | In classroom 119 |  |  | WF-112017-002077 | 2017-12-06 | FT-FY18-112017-002077-A | <1 | FT-FY18-112017-002077-B | <1
WS- 002081 | 2017-06-07 | 2018-06-07 | 1 | Combo Fountain | In classroom 126 |  |  | WF-62017-002081 | 2017-12-06 | FT-FY18--62017-002081-A | <1 | FT-FY18--62017-002081-B | <1
WS- 002083 | 2017-06-07 | 2018-06-07 | 1 | Combo Fountain | In health suite 123A |  |  | WF-62017-002083 | 2017-12-06 | FT-FY18--62017-002083-A | <1 | FT-FY18--62017-002083-B | <1
WS- 002097 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 227 |  |  | WF-62017-002097 | 2017-12-06 | FT-FY18--62017-002097-A | <1 | FT-FY18--62017-002097-B | <1
WS- 002101 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 226 |  |  | WF-62017-002101 | 2017-12-06 | FT-FY18--62017-002101-A | <1 | FT-FY18--62017-002101-B | <1
WS- 002103 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 221 |  |  | WF-62017-002103 | 2017-12-06 | FT-FY18--62017-002103-A | <1 | FT-FY18--62017-002103-B | <1
WS- 002106 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 224 |  |  | WF-62017-002106 | 2017-12-06 | FT-FY18--62017-002106-A | <1 | FT-FY18--62017-002106-B | <1
WS- 002107 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 219 |  |  | WF-62017-002107 | 2017-12-06 | FT-FY18--62017-002107-A | <1 | FT-FY18--62017-002107-B | <1
WS- 002113 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 220 |  |  | WF-62017-002113 | 2017-12-06 | FT-FY18--62017-002113-A | <1 | FT-FY18--62017-002113-B | <1
WS- 002115 | 2017-06-07 | 2018-06-07 | 2 | Cooler | In hallway across from room 212 | Left | High | WF-62017-002115 | 2017-12-06 | FT-FY18--62017-002115-A | <1 | FT-FY18--62017-002115-B | <1
WS- 002119 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 205 | Right |  | WF-62017-002119 | 2017-12-06 | FT-FY18--62017-002119-A | <1 | FT-FY18--62017-002119-B | <1
WS- 002127 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 201 |  |  | WF-62017-002127 | 2017-12-06 | FT-FY18--62017-002127-A | <1 | FT-FY18--62017-002127-B | <1
WS- 002133 | 2017-06-07 | 2018-06-07 | 3 | Combo Fountain | In classroom 300 |  |  | WF-62017-002133 | 2017-12-06 | FT-FY18--62017-002133-A | <1 | FT-FY18--62017-002133-B | <1
WS- 002137 | 2017-06-07 | 2018-06-07 | 3 | Combo Fountain | In science lab room 310 second clockwise from entry door | Right |  | WF-62017-002137 | 2017-12-06 | FT-FY18--62017-002137-A | 2.6 | FT-FY18--62017-002137-B | <1
WS- 006084 | 2017-06-07 | 2018-06-07 | 2 | Combo Fountain | In classroom 227 |  |  | WF-62017-006084 | 2017-12-06 | FT-FY18--62017-006084-A | <1 | FT-FY18--62017-006084-B | <1
WS- 002074 | 2017-06-07 | 2018-06-07 | 1 | Combo Fountain | In classroom 122 |  |  | WF-62017-002074 | 2017-12-06 | FT-FY18--62017-002074-A | 5.5 | FT-FY18--62017-002074-B | <1

## Food Prep Sink
RECORD ID | Floor | Device Type | Device Location | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002050 | 1 | Food Prep Sink | In kitchen first clockwise from entry door | 2017-12-06 | FT-FY18-102017-002050-A | <1 | FT-FY18-102017-002050-B | <1

## Remediation (Plumbing Check)
RECORD ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | WATER FILTERS Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002074 | 2017-06-07 | 2018-06-07 | 1 | Combo Fountain | In classroom 122 | WF-62017-002074 | 2017-12-14 | FT-FY18--62017-002074-A | <1 | FT-FY18--62017-002074-B | <1