## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000436 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In resource room 110P |  |  | WF-08022021-000436 | 2021-08-18 | FT-FY21-082021-000436-A | <1 | FT-FY21-082021-000436-B | <1
WS- 000438 | 2021-08-02 | 2022-08-02 | 1 | Health Suite | In health suite treatment room 133 |  |  | WF-08022021-000438 | 2021-08-18 | FT-FY21-082021-000438-A | <1 | FT-FY21-082021-000438-B | <1
WS- 000439 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In health suite treatment room 133 |  |  | WF-08022021-000439 | 2021-08-18 | FT-FY21-082021-000439-A | <1 | FT-FY21-082021-000439-B | <1
WS- 000441 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In reading room 120 |  |  | WF-08022021-000441 | 2021-08-18 | FT-FY21-082021-000441-A | <1 | FT-FY21-082021-000441-B | <1
WS- 000443 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 150 |  |  | WF-08022021-000443 | 2021-08-18 | FT-FY21-082021-000443-A | <1 | FT-FY21-082021-000443-B | <1
WS- 000444 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 150 (bathroom) |  |  | WF-08022021-000444 | 2021-08-18 | FT-FY21-082021-000444-A | <1 | FT-FY21-082021-000444-B | <1
WS- 000446 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 151 |  |  | WF-08022021-000446 | 2021-08-18 | FT-FY21-082021-000446-A | <1 | FT-FY21-082021-000446-B | <1
WS- 000447 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 151 (bathroom) |  |  | WF-08022021-000447 | 2021-08-18 | FT-FY21-082021-000447-A | 2.3 | FT-FY21-082021-000447-B | <1
WS- 000449 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 154 |  |  | WF-08022021-000449 | 2021-08-18 | FT-FY21-082021-000449-A | <1 | FT-FY21-082021-000449-B | <1
WS- 000450 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 154 (bathroom) |  |  | WF-08022021-000450 | 2021-08-18 | FT-FY21-082021-000450-A | <1 | FT-FY21-082021-000450-B | <1
WS- 000452 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 155 |  |  | WF-08022021-000452 | 2021-08-18 | FT-FY21-082021-000452-A | <1 | FT-FY21-082021-000452-B | <1
WS- 000453 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 155 (bathroom) |  |  | WF-08022021-000453 | 2021-08-18 | FT-FY21-082021-000453-A | 1.1 | FT-FY21-082021-000453-B | <1
WS- 000455 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 160 |  |  | WF-08022021-000455 | 2021-08-18 | FT-FY21-082021-000455-A | <1 | FT-FY21-082021-000455-B | <1
WS- 000456 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 160 (bathroom) |  |  | WF-08022021-000456 | 2021-08-18 | FT-FY21-082021-000456-A | <1 | FT-FY21-082021-000456-B | <1
WS- 000458 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 161 |  |  | WF-08022021-000458 | 2021-08-18 | FT-FY21-082021-000458-A | <1 | FT-FY21-082021-000458-B | <1
WS- 000459 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 161 (bathroom) |  |  | WF-08022021-000459 | 2021-08-18 | FT-FY21-082021-000459-A | 3.7 | FT-FY21-082021-000459-B | <1
WS- 000467 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 164 |  |  | WF-08022021-000467 | 2021-08-18 | FT-FY21-082021-000467-A | <1 | FT-FY21-082021-000467-B | <1
WS- 000468 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 164 (bathroom) |  |  | WF-08022021-000468 | 2021-08-18 | FT-FY21-082021-000468-A | <1 | FT-FY21-082021-000468-B | <1
WS- 000473 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 165 |  |  | WF-08022021-000473 | 2021-08-18 | FT-FY21-082021-000473-A | <1 | FT-FY21-082021-000473-B | <1
WS- 000474 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 165 (bathroom) |  |  | WF-08022021-000474 | 2021-08-18 | FT-FY21-082021-000474-A | <1 | FT-FY21-082021-000474-B | <1
WS- 000475 | 2021-08-02 | 2022-08-02 | 1 | Bottle Filler | In hallway across from room 144 |  |  | WF-08022021-000475 | 2021-08-18 | FT-FY21-082021-000475-A | <1 | FT-FY21-082021-000475-B | <1
WS- 000476 | 2021-08-02 | 2022-08-02 | 1 | Cooler | In hallway across from room 144 | High | Left | WF-08022021-000476 | 2021-08-18 | FT-FY21-082021-000476-A | <1 | FT-FY21-082021-000476-B | <1
WS- 000477 | 2021-08-02 | 2022-08-02 | 1 | Cooler | In hallway across from room 144 | Low | Right | WF-08022021-000477 | 2021-08-18 | FT-FY21-082021-000477-A | <1 | FT-FY21-082021-000477-B | <1
WS- 000478 | 2021-08-02 | 2022-08-02 | 1 | Break Room | In teacher collaboration room 144 |  |  | WF-08022021-000478 | 2021-08-18 | FT-FY21-082021-000478-A | <1 | FT-FY21-082021-000478-B | <1
WS- 000479 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In teacher collaboration room 144 |  |  | WF-08022021-000479 | 2021-08-18 | FT-FY21-082021-000479-A | <1 | FT-FY21-082021-000479-B | <1
WS- 000481 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In OT/PT room 170 |  |  | WF-08022021-000481 | 2021-08-18 | FT-FY21-082021-000481-A | <1 | FT-FY21-082021-000481-B | <1
WS- 000483 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 171 |  |  | WF-08022021-000483 | 2021-08-18 | FT-FY21-082021-000483-A | <1 | FT-FY21-082021-000483-B | <1
WS- 000485 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 174 |  |  | WF-08022021-000485 | 2021-08-18 | FT-FY21-082021-000485-A | <1 | FT-FY21-082021-000485-B | <1
WS- 000487 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 175 |  |  | WF-08022021-000487 | 2021-08-18 | FT-FY21-082021-000487-A | <1 | FT-FY21-082021-000487-B | <1
WS- 000566 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 180 |  |  | WF-08022021-000566 | 2021-08-18 | FT-FY21-082021-000566-A | <1 | FT-FY21-082021-000566-B | <1
WS- 000567 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 180 (bathroom) |  |  | WF-08022021-000567 | 2021-08-18 | FT-FY21-082021-000567-A | <1 | FT-FY21-082021-000567-B | <1
WS- 000569 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 181 |  |  | WF-08022021-000569 | 2021-08-18 | FT-FY21-082021-000569-A | <1 | FT-FY21-082021-000569-B | <1
WS- 000572 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 181 (bathroom) |  |  | WF-08022021-000572 | 2021-08-18 | FT-FY21-082021-000572-A | <1 | FT-FY21-082021-000572-B | <1
WS- 000574 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 184 |  |  | WF-08022021-000574 | 2021-08-18 | FT-FY21-082021-000574-A | <1 | FT-FY21-082021-000574-B | <1
WS- 000575 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 184 (bathroom) |  |  | WF-08022021-000575 | 2021-08-18 | FT-FY21-082021-000575-A | <1 | FT-FY21-082021-000575-B | <1
WS- 000577 | 2021-08-02 | 2022-08-02 | 1 | Combo Fountain | In classroom 185 |  |  | WF-08022021-000577 | 2021-08-18 | FT-FY21-082021-000577-A | <1 | FT-FY21-082021-000577-B | <1
WS- 000578 | 2021-08-02 | 2022-08-02 | 1 | Bathroom | In classroom 185 (bathroom) |  |  | WF-08022021-000578 | 2021-08-18 | FT-FY21-082021-000578-A | <1 | FT-FY21-082021-000578-B | <1
WS- 000579 | 2021-08-02 | 2022-08-02 | 2 | Bottle Filler | In gym |  |  | WF-08022021-000579 | 2021-08-18 | FT-FY21-082021-000579-A | <1 | FT-FY21-082021-000579-B | <1
WS- 000582 | 2021-08-02 | 2022-08-02 | 2 | Cooler | In gym | High | Left | WF-08022021-000582 | 2021-08-18 | FT-FY21-082021-000582-A | <1 | FT-FY21-082021-000582-B | <1
WS- 000583 | 2021-08-02 | 2022-08-02 | 2 | Cooler | In gym | Low | Right | WF-08022021-000583 | 2021-08-18 | FT-FY21-082021-000583-A | <1 | FT-FY21-082021-000583-B | <1
WS- 000586 | 2021-08-02 | 2022-08-02 | 2 | Bottle Filler | In hallway adjacent to room 228T |  |  | WF-08022021-000586 | 2021-08-18 | FT-FY21-082021-000586-A | <1 | FT-FY21-082021-000586-B | <1
WS- 000587 | 2021-08-02 | 2022-08-02 | 2 | Cooler | In hallway adjacent to room 228T | High | Left | WF-08022021-000587 | 2021-08-18 | FT-FY21-082021-000587-A | <1 | FT-FY21-082021-000587-B | <1
WS- 000588 | 2021-08-02 | 2022-08-02 | 2 | Cooler | In hallway adjacent to room 228T | Low | Right | WF-08022021-000588 | 2021-08-18 | FT-FY21-082021-000588-A | <1 | FT-FY21-082021-000588-B | <1
WS- 000590 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 250 |  |  | WF-08022021-000590 | 2021-08-18 | FT-FY21-082021-000590-A | <1 | FT-FY21-082021-000590-B | <1
WS- 000592 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 251 | High | Left | WF-08022021-000592 | 2021-08-18 | FT-FY21-082021-000592-A | <1 | FT-FY21-082021-000592-B | <1
WS- 000594 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 251 | Low | Right | WF-08022021-000594 | 2021-08-18 | FT-FY21-082021-000594-A | <1 | FT-FY21-082021-000594-B | <1
WS- 000596 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 254 |  |  | WF-08022021-000596 | 2021-08-18 | FT-FY21-082021-000596-A | <1 | FT-FY21-082021-000596-B | <1
WS- 000598 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 255 |  |  | WF-08022021-000598 | 2021-08-18 | FT-FY21-082021-000598-A | <1 | FT-FY21-082021-000598-B | <1
WS- 000600 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 260 |  |  | WF-08022021-000600 | 2021-08-18 | FT-FY21-082021-000600-A | <1 | FT-FY21-082021-000600-B | <1
WS- 000668 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 261 |  |  | WF-08022021-000668 | 2021-08-18 | FT-FY21-082021-000668-A | <1 | FT-FY21-082021-000668-B | <1
WS- 000672 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 264 |  |  | WF-08022021-000672 | 2021-08-18 | FT-FY21-082021-000672-A | <1 | FT-FY21-082021-000672-B | <1
WS- 000674 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 265 |  |  | WF-08022021-000674 | 2021-08-18 | FT-FY21-082021-000674-A | <1 | FT-FY21-082021-000674-B | <1
WS- 000676 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 202 |  |  | WF-08022021-000676 | 2021-08-18 | FT-FY21-082021-000676-A | <1 | FT-FY21-082021-000676-B | <1
WS- 000677 | 2021-08-02 | 2022-08-02 | 2 | Bottle Filler | In hallway across from cafeteria entrance |  |  | WF-08022021-000677 | 2021-08-18 | FT-FY21-082021-000677-A | <1 | FT-FY21-082021-000677-B | <1
WS- 000678 | 2021-08-02 | 2022-08-02 | 2 | Cooler | In hallway across from cafeteria entrance | High | Left | WF-08022021-000678 | 2021-08-18 | FT-FY21-082021-000678-A | <1 | FT-FY21-082021-000678-B | <1
WS- 000679 | 2021-08-02 | 2022-08-02 | 2 | Cooler | In hallway across from cafeteria entrance | Low | Right | WF-08022021-000679 | 2021-08-18 | FT-FY21-082021-000679-A | <1 | FT-FY21-082021-000679-B | <1
WS- 000680 | 2021-08-02 | 2022-08-02 | 2 | Bottle Filler | In cafeteria |  |  | WF-08022021-000680 | 2021-08-18 | FT-FY21-082021-000680-A | <1 | FT-FY21-082021-000680-B | <1
WS- 000681 | 2021-08-02 | 2022-08-02 | 2 | Cooler | In cafeteria | High | Left | WF-08022021-000681 | 2021-08-18 | FT-FY21-082021-000681-A | <1 | FT-FY21-082021-000681-B | <1
WS- 000682 | 2021-08-02 | 2022-08-02 | 2 | Cooler | In cafeteria | Low | Right | WF-08022021-000682 | 2021-08-18 | FT-FY21-082021-000682-A | <1 | FT-FY21-082021-000682-B | <1
WS- 000692 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 270 | High | Right | WF-08022021-000692 | 2021-08-18 | FT-FY21-082021-000692-A | <1 | FT-FY21-082021-000692-B | <1
WS- 000694 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 271 |  |  | WF-08022021-000694 | 2021-08-18 | FT-FY21-082021-000694-A | <1 | FT-FY21-082021-000694-B | <1
WS- 000696 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 274 |  |  | WF-08022021-000696 | 2021-08-18 | FT-FY21-082021-000696-A | <1 | FT-FY21-082021-000696-B | <1
WS- 000698 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 275 |  |  | WF-08022021-000698 | 2021-08-18 | FT-FY21-082021-000698-A | <1 | FT-FY21-082021-000698-B | <1
WS- 000700 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 280 |  |  | WF-08022021-000700 | 2021-08-18 | FT-FY21-082021-000700-A | <1 | FT-FY21-082021-000700-B | <1
WS- 000702 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 281 |  |  | WF-08022021-000702 | 2021-08-18 | FT-FY21-082021-000702-A | <1 | FT-FY21-082021-000702-B | <1
WS- 000703 | 2021-08-02 | 2022-08-02 | 2 | Break Room | In teacher collaboration room 283 |  |  | WF-08022021-000703 | 2021-08-18 | FT-FY21-082021-000703-A | <1 | FT-FY21-082021-000703-B | <1
WS- 000705 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 284 |  |  | WF-08022021-000705 | 2021-08-18 | FT-FY21-082021-000705-A | <1 | FT-FY21-082021-000705-B | <1
WS- 000707 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 285 |  |  | WF-08022021-000707 | 2021-08-18 | FT-FY21-082021-000707-A | <1 | FT-FY21-082021-000707-B | <1
WS- 000709 | 2021-08-02 | 2022-08-02 | 2 | Combo Fountain | In classroom 270 | Low | Left | WF-08022021-000709 | 2021-08-18 | FT-FY21-082021-000709-A | <1 | FT-FY21-082021-000709-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000689 | 2021-08-02 | 2022-08-02 | 2 | Food Prep Sink | In kitchen 7th clockwise from entry | WF-08022021-000689 | 2021-08-18 | FT-FY21-082021-000689-A | <1 | FT-FY21-082021-000689-B | <1