## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011155 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In cafeteria room NG20 | High | Left | WF-03232021-011155 | 2021-04-05 | FT-FY21-032021-011155-A | <1 | FT-FY21-032021-011155-B | <1
WS- 011156 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In cafeteria room NG20 | Low | Right | WF-03232021-011156 | 2021-04-05 | FT-FY21-032021-011156-A | <1 | FT-FY21-032021-011156-B | <1
WS- 011157 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In hallway adjacent to room NG20 | High | Left | WF-03232021-011157 | 2021-04-05 | FT-FY21-032021-011157-A | <1 | FT-FY21-032021-011157-B | <1
WS- 011158 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In hallway adjacent to room NG20 | Low | Right | WF-03232021-011158 | 2021-04-05 | FT-FY21-032021-011158-A | <1 | FT-FY21-032021-011158-B | <1
WS- 011161 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In gym NG01 | High | Left | WF-03232021-011161 | 2021-04-05 | FT-FY21-032021-011161-A | <1 | FT-FY21-032021-011161-B | <1
WS- 011162 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In gym NG01 | Low | Left | WF-03232021-011162 | 2021-04-05 | FT-FY21-032021-011162-A | <1 | FT-FY21-032021-011162-B | <1
WS- 011165 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In hallway adjacent to boys' locker room NG12 | High | Left | WF-03232021-011165 | 2021-04-05 | FT-FY21-032021-011165-A | <1 | FT-FY21-032021-011165-B | <1
WS- 011166 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In hallway adjacent to boys' locker room NG12 | Low | Right | WF-03232021-011166 | 2021-04-05 | FT-FY21-032021-011166-A | <1 | FT-FY21-032021-011166-B | <1
WS- 011168 | 2021-03-23 | 2022-03-23 | Ground Floor | Combo Fountain | In classroom RG02 second clockwise from entry door |  |  | WF-03232021-011168 | 2021-04-05 | FT-FY21-032021-011168-A | <1 | FT-FY21-032021-011168-B | <1
WS- 011170 | 2021-03-23 | 2022-03-23 | Ground Floor | Combo Fountain | In classroom RG02 first clockwise from entry door |  |  | WF-03232021-011170 | 2021-04-05 | FT-FY21-032021-011170-A | <1 | FT-FY21-032021-011170-B | <1
WS- 011172 | 2021-03-23 | 2022-03-23 | Ground Floor | Combo Fountain | In classroom RG02 third clockwise from entry door |  |  | WF-03232021-011172 | 2021-04-05 | FT-FY21-032021-011172-A | <1 | FT-FY21-032021-011172-B | <1
WS- 011174 | 2021-03-23 | 2022-03-23 | Ground Floor | Combo Fountain | In classroom RG02 fourth clockwise from entry door |  |  | WF-03232021-011174 | 2021-04-05 | FT-FY21-032021-011174-A | <1 | FT-FY21-032021-011174-B | <1
WS- 011175 | 2021-03-23 | 2022-03-23 | Ground Floor | Bottle Filler | In hallway across from RG03 (bottle filler) |  |  | WF-03232021-011175 | 2021-04-05 | FT-FY21-032021-011175-A | <1 | FT-FY21-032021-011175-B | <1
WS- 011176 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In hallway across from RG03 |  |  | WF-03232021-011176 | 2021-04-05 | FT-FY21-032021-011176-A | <1 | FT-FY21-032021-011176-B | <1
WS- 011177 | 2021-03-23 | 2022-03-23 | Ground Floor | Bottle Filler | In hallway across from elevator (bottle filler) |  |  | WF-03232021-011177 | 2021-04-05 | FT-FY21-032021-011177-A | <1 | FT-FY21-032021-011177-B | <1
WS- 011178 | 2021-03-23 | 2022-03-23 | Ground Floor | Cooler | In hallway across from elevator |  |  | WF-03232021-011178 | 2021-04-05 | FT-FY21-032021-011178-A | <1 | FT-FY21-032021-011178-B | <1
WS- 011179 | 2021-03-23 | 2022-03-23 | 1 | Bottle Filler | In hallway across from room R109 (bottle filler) |  |  | WF-03232021-011179 | 2021-04-05 | FT-FY21-032021-011179-A | <1 | FT-FY21-032021-011179-B | <1
WS- 011180 | 2021-03-23 | 2022-03-23 | 1 | Cooler | In hallway across from room R109 | Low | Left | WF-03232021-011180 | 2021-04-05 | FT-FY21-032021-011180-A | <1 | FT-FY21-032021-011180-B | <1
WS- 011181 | 2021-03-23 | 2022-03-23 | 1 | Cooler | In hallway across from room R109 | Low | Right | WF-03232021-011181 | 2021-04-05 | FT-FY21-032021-011181-A | <1 | FT-FY21-032021-011181-B | <1
WS- 011183 | 2021-03-23 | 2022-03-23 | 1 | Combo Fountain | In classroom R111 |  | Right | WF-03232021-011183 | 2021-04-05 | FT-FY21-032021-011183-A | <1 | FT-FY21-032021-011183-B | <1
WS- 011186 | 2021-03-23 | 2022-03-23 | 1 | Bottle Filler | In hallway adjacent to restrooms (bottle filler) |  |  | WF-03232021-011186 | 2021-04-05 | FT-FY21-032021-011186-A | <1 | FT-FY21-032021-011186-B | <1
WS- 011187 | 2021-03-23 | 2022-03-23 | 1 | Cooler | In hallway adjacent to restrooms |  |  | WF-03232021-011187 | 2021-04-05 | FT-FY21-032021-011187-A | <1 | FT-FY21-032021-011187-B | <1
WS- 011189 | 2021-03-23 | 2022-03-23 | 1 | Combo Fountain | In classroom R102 first clockwise from entry door |  |  | WF-03232021-011189 | 2021-04-05 | FT-FY21-032021-011189-A | <1 | FT-FY21-032021-011189-B | <1
WS- 011191 | 2021-03-23 | 2022-03-23 | 1 | Combo Fountain | In classroom R102 second clockwise from entry door |  |  | WF-03232021-011191 | 2021-04-05 | FT-FY21-032021-011191-A | <1 | FT-FY21-032021-011191-B | <1
WS- 011195 | 2021-03-23 | 2022-03-23 | 1 | Combo Fountain | In classroom R102 fourth clockwise from entry door |  |  | WF-03232021-011195 | 2021-04-05 | FT-FY21-032021-011195-A | <1 | FT-FY21-032021-011195-B | <1
WS- 011197 | 2021-03-23 | 2022-03-23 | 1 | Health Suite | In health suite |  |  | WF-03232021-011197 | 2021-04-05 | FT-FY21-032021-011197-A | 3.4 | FT-FY21-032021-011197-B | <1
WS- 011206 | 2021-03-23 | 2022-03-23 | 1 | Cooler | In hallway adjacent to room E100 | High | Left | WF-03232021-011206 | 2021-04-05 | FT-FY21-032021-011206-A | <1 | FT-FY21-032021-011206-B | <1
WS- 011207 | 2021-03-23 | 2022-03-23 | 1 | Cooler | In hallway adjacent to room E100 | Low | Right | WF-03232021-011207 | 2021-04-05 | FT-FY21-032021-011207-A | <1 | FT-FY21-032021-011207-B | <1
WS- 011209 | 2021-03-23 | 2022-03-23 | 1 | Cooler | In hallway across from stairwell C2 | High | Left | WF-03232021-011209 | 2021-04-05 | FT-FY21-032021-011209-A | <1 | FT-FY21-032021-011209-B | <1
WS- 011210 | 2021-03-23 | 2022-03-23 | 1 | Cooler | In hallway across from stairwell C2 | Low | Right | WF-03232021-011210 | 2021-04-05 | FT-FY21-032021-011210-A | <1 | FT-FY21-032021-011210-B | <1
WS- 011264 | 2021-03-23 | 2022-03-23 | 2 | Break Room | In staff lounge C216 |  |  | WF-03232021-011264 | 2021-04-05 | FT-FY21-032021-011264-A | <1 | FT-FY21-032021-011264-B | <1
WS- 011266 | 2021-03-23 | 2022-03-23 | 2 | Cooler | In hallway adjacent to room E200 | High | Left | WF-03232021-011266 | 2021-04-05 | FT-FY21-032021-011266-A | <1 | FT-FY21-032021-011266-B | <1
WS- 011267 | 2021-03-23 | 2022-03-23 | 2 | Cooler | In hallway adjacent to room E200 | Low | Right | WF-03232021-011267 | 2021-04-05 | FT-FY21-032021-011267-A | <1 | FT-FY21-032021-011267-B | <1
WS- 011276 | 2021-03-23 | 2022-03-23 | 3 | Cooler | In hallway adjacent to stairwell C1 | High | Left | WF-03232021-011276 | 2021-04-05 | FT-FY21-032021-011276-A | <1 | FT-FY21-032021-011276-B | <1
WS- 011277 | 2021-03-23 | 2022-03-23 | 3 | Cooler | In hallway adjacent to stairwell C1 | Low | Right | WF-03232021-011277 | 2021-04-05 | FT-FY21-032021-011277-A | <1 | FT-FY21-032021-011277-B | <1
WS- 011278 | 2021-03-23 | 2022-03-23 | 3 | Cooler | In hallway adjacent to room W300 | High | Left | WF-03232021-011278 | 2021-04-05 | FT-FY21-032021-011278-A | <1 | FT-FY21-032021-011278-B | <1
WS- 011279 | 2021-03-23 | 2022-03-23 | 3 | Cooler | In hallway adjacent to room W300 | Low | Right | WF-03232021-011279 | 2021-04-05 | FT-FY21-032021-011279-A | <1 | FT-FY21-032021-011279-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 010535 | 2021-01-26 | 2022-01-26 | Ground Floor | Food Prep Sink | In kitchen on west wall | Left | WF-01262021-010535 | 2021-04-05 | FT-FY21-032021-010535-A | 13.0 | FT-FY21-032021-010535-B | <1
WS- 011153 | 2021-01-26 | 2022-01-26 | Ground Floor | Food Prep Sink | In kitchen on north wall | Mid | WF-01262021-011153 | 2021-04-05 | FT-FY21-032021-011153-A | <1 | FT-FY21-032021-011153-B | <1
WS- 011154 | 2021-01-26 | 2022-01-26 | Ground Floor | Food Prep Sink | In kitchen on north wall | Right | WF-01262021-011154 | 2021-04-05 | FT-FY21-032021-011154-A | <1 | FT-FY21-032021-011154-B | <1