## FY23 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-015505 | 2022-05-23 | 2023-05-23 | Ground Floor | Break Room | In room G23 |  |  | WF-05232022-015505 | 2023-01-30 | FT-FY23-01102023-015505-A | <1 | FT-FY23-01102023-015505-B | <1
WS-015506 | 2022-05-23 | 2023-05-23 | Ground Floor | Bottle Filler | In cafeteria |  |  | WF-05232022-015506 | 2023-01-30 | FT-FY23-01102023-015506-A | <1 | FT-FY23-01102023-015506-B | <1
WS-015507 | 2022-05-23 | 2023-05-23 | Ground Floor | Cooler | In cafeteria | High | Left | WF-05232022-015507 | 2023-01-30 | FT-FY23-01102023-015507-A | <1 | FT-FY23-01102023-015507-B | <1
WS-015508 | 2022-05-23 | 2023-05-23 | Ground Floor | Cooler | In cafeteria | Low | Right | WF-05232022-015508 | 2023-01-30 | FT-FY23-01102023-015508-A | <1 | FT-FY23-01102023-015508-B | <1
WS-015511 | 2022-05-23 | 2023-05-23 | Ground Floor | Bottle Filler | In hallway adjacent to room G66 |  | Left | WF-05232022-015511 | 2023-01-30 | FT-FY23-01102023-015511-A | <1 | FT-FY23-01102023-015511-B | <1
WS-015512 | 2022-05-23 | 2023-05-23 | Ground Floor | Cooler | In hallway adjacent to room G66 |  | Left | WF-05232022-015512 | 2023-01-30 | FT-FY23-01102023-015512-A | <1 | FT-FY23-01102023-015512-B | <1
WS-015513 | 2022-05-23 | 2023-05-23 | Ground Floor | Bottle Filler | In hallway adjacent to room G66 |  | Mid | WF-05232022-015513 | 2023-01-30 | FT-FY23-01102023-015513-A | <1 | FT-FY23-01102023-015513-B | <1
WS-015514 | 2022-05-23 | 2023-05-23 | Ground Floor | Cooler | In hallway adjacent to room G66 |  | Mid | WF-05232022-015514 | 2023-01-30 | FT-FY23-01102023-015514-A | <1 | FT-FY23-01102023-015514-B | <1
WS-015515 | 2022-05-23 | 2023-05-23 | Ground Floor | Bottle Filler | In hallway adjacent to room G66 |  | Right | WF-05232022-015515 | 2023-01-30 | FT-FY23-01102023-015515-A | <1 | FT-FY23-01102023-015515-B | <1
WS-015516 | 2022-05-23 | 2023-05-23 | Ground Floor | Cooler | In hallway adjacent to room G66 |  | Right | WF-05232022-015516 | 2023-01-30 | FT-FY23-01102023-015516-A | <1 | FT-FY23-01102023-015516-B | <1
WS-015528 | 2022-05-23 | 2023-05-23 | 1 | Health Suite | Inside heath suite 130 in room 132 |  |  | WF-05232022-015528 | 2023-01-30 | FT-FY23-01102023-015528-A | <1 | FT-FY23-01102023-015528-B | <1
WS-015529 | 2022-05-23 | 2023-05-23 | 1 | Bottle Filler | In hallway adjacent to room 130 |  |  | WF-05232022-015529 | 2023-01-30 | FT-FY23-01102023-015529-A | <1 | FT-FY23-01102023-015529-B | <1
WS-015530 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In hallway adjacent to room 130 | High | Left | WF-05232022-015530 | 2023-01-30 | FT-FY23-01102023-015530-A | <1 | FT-FY23-01102023-015530-B | <1
WS-015531 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In hallway adjacent to room 130 | Low | Right | WF-05232022-015531 | 2023-01-30 | FT-FY23-01102023-015531-A | <1 | FT-FY23-01102023-015531-B | <1
WS-015532 | 2022-05-23 | 2023-05-23 | 1 | Break Room | In room 120 |  |  | WF-05232022-015532 | 2023-01-30 | FT-FY23-01102023-015532-A | <1 | FT-FY23-01102023-015532-B | <1
WS-015533 | 2022-05-23 | 2023-05-23 | 1 | Bottle Filler | In hallway adjacent to room 120 |  |  | WF-05232022-015533 | 2023-01-30 | FT-FY23-01102023-015533-A | <1 | FT-FY23-01102023-015533-B | <1
WS-015534 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In hallway adjacent to room 120 | High | Left | WF-05232022-015534 | 2023-01-30 | FT-FY23-01102023-015534-A | <1 | FT-FY23-01102023-015534-B | <1
WS-015535 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In hallway adjacent to room 120 | Low | Right | WF-05232022-015535 | 2023-01-30 | FT-FY23-01102023-015535-A | <1 | FT-FY23-01102023-015535-B | <1
WS-015538 | 2022-05-23 | 2023-05-23 | 1 | Bottle Filler | In hallway adjacent to stairwell outside of gym |  |  | WF-05232022-015538 | 2023-01-30 | FT-FY23-01102023-015538-A | <1 | FT-FY23-01102023-015538-B | <1
WS-015539 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In hallway adjacent to stairwell outside of gym | High | Left | WF-05232022-015539 | 2023-01-30 | FT-FY23-01102023-015539-A | <1 | FT-FY23-01102023-015539-B | <1
WS-015540 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In hallway adjacent to stairwell outside of gym | Low | Right | WF-05232022-015540 | 2023-01-30 | FT-FY23-01102023-015540-A | <1 | FT-FY23-01102023-015540-B | <1
WS-015541 | 2022-05-23 | 2023-05-23 | 1 | Bottle Filler | In gym |  |  | WF-05232022-015541 | 2023-01-30 | FT-FY23-01102023-015541-A | <1 | FT-FY23-01102023-015541-B | <1
WS-015542 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In gym | High | Left | WF-05232022-015542 | 2023-01-30 | FT-FY23-01102023-015542-A | <1 | FT-FY23-01102023-015542-B | <1
WS-015543 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In gym | Low | Right | WF-05232022-015543 | 2023-01-30 | FT-FY23-01102023-015543-A | <1 | FT-FY23-01102023-015543-B | <1
WS-015547 | 2022-05-23 | 2023-05-23 | 1 | Combo Fountain | In room 134 |  |  | WF-05232022-015547 | 2023-01-30 | FT-FY23-01102023-015547-A | <1 | FT-FY23-01102023-015547-B | <1
WS-015548 | 2022-05-23 | 2023-05-23 | 1 | Bottle Filler | In hallway adjacent to room 134 |  |  | WF-05232022-015548 | 2023-01-30 | FT-FY23-01102023-015548-A | <1 | FT-FY23-01102023-015548-B | <1
WS-015549 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In hallway adjacent to room 134 | High | Left | WF-05232022-015549 | 2023-01-30 | FT-FY23-01102023-015549-A | <1 | FT-FY23-01102023-015549-B | <1
WS-015550 | 2022-05-23 | 2023-05-23 | 1 | Cooler | In hallway adjacent to room 134 | Low | Right | WF-05232022-015550 | 2023-01-30 | FT-FY23-01102023-015550-A | <1 | FT-FY23-01102023-015550-B | <1
WS-015554 | 2022-05-23 | 2023-05-23 | 2 | Break Room | In room 242 |  |  | WF-05232022-015554 | 2023-01-30 | FT-FY23-01102023-015554-A | <1 | FT-FY23-01102023-015554-B | <1
WS-015557 | 2022-05-23 | 2023-05-23 | 2 | Break Room | Inside room 211 in room 211A |  |  | WF-05232022-015557 | 2023-01-30 | FT-FY23-01102023-015557-A | <1 | FT-FY23-01102023-015557-B | <1
WS-015560 | 2022-05-23 | 2023-05-23 | 2 | Health Suite | In room 212 |  |  | WF-05232022-015560 | 2023-01-30 | FT-FY23-01102023-015560-A | <1 | FT-FY23-01102023-015560-B | <1
WS-015561 | 2022-05-23 | 2023-05-23 | 2 | Bottle Filler | In hallway adjacent to room 216 |  |  | WF-05232022-015561 | 2023-01-30 | FT-FY23-01102023-015561-A | <1 | FT-FY23-01102023-015561-B | <1
WS-015562 | 2022-05-23 | 2023-05-23 | 2 | Cooler | In hallway adjacent to room 216 | High | Left | WF-05232022-015562 | 2023-01-30 | FT-FY23-01102023-015562-A | <1 | FT-FY23-01102023-015562-B | <1
WS-015563 | 2022-05-23 | 2023-05-23 | 2 | Cooler | In hallway adjacent to room 216 | Low | Right | WF-05232022-015563 | 2023-01-30 | FT-FY23-01102023-015563-A | <1 | FT-FY23-01102023-015563-B | <1
WS-015564 | 2022-07-18 | 2023-07-18 | 2 | Cooler | In hallway adjacent to room 263 | Low | Left | WF-07182022-015564 | 2023-01-30 | FT-FY23-01102023-015564-A | <1 | FT-FY23-01102023-015564-B | <1
WS-015565 | 2022-05-23 | 2023-05-23 | 2 | Cooler | In hallway adjacent to room 263 | High | Right | WF-05232022-015565 | 2023-01-30 | FT-FY23-01102023-015565-A | <1 | FT-FY23-01102023-015565-B | <1
WS-015567 | 2022-05-23 | 2023-05-23 | 2 | Combo Fountain | In room 236 |  |  | WF-05232022-015567 | 2023-01-30 | FT-FY23-01102023-015567-A | <1 | FT-FY23-01102023-015567-B | <1
WS-015568 | 2022-05-23 | 2023-05-23 | 2 | Break Room | In room 234 between 236 and 232 |  |  | WF-05232022-015568 | 2023-01-30 | FT-FY23-01102023-015568-A | <1 | FT-FY23-01102023-015568-B | <1
WS-015591 | 2022-05-23 | 2023-05-23 | 3 | Break Room | In room 328 |  |  | WF-05232022-015591 | 2023-01-30 | FT-FY23-01102023-015591-A | <1 | FT-FY23-01102023-015591-B | <1
WS-015592 | 2022-05-23 | 2023-05-23 | 3 | Bottle Filler | In hallway adjacent to room 318 |  |  | WF-05232022-015592 | 2023-01-30 | FT-FY23-01102023-015592-A | <1 | FT-FY23-01102023-015592-B | <1
WS-015593 | 2022-05-23 | 2023-05-23 | 3 | Cooler | In hallway adjacent to room 318 | High | Left | WF-05232022-015593 | 2023-01-30 | FT-FY23-01102023-015593-A | <1 | FT-FY23-01102023-015593-B | <1
WS-015594 | 2022-05-23 | 2023-05-23 | 3 | Cooler | In hallway adjacent to room 318 | Low | Right | WF-05232022-015594 | 2023-01-30 | FT-FY23-01102023-015594-A | <1 | FT-FY23-01102023-015594-B | <1
WS-015595 | 2022-05-23 | 2023-05-23 | 3 | Bottle Filler | In hallway adjacent to room 334 |  |  | WF-05232022-015595 | 2023-01-30 | FT-FY23-01102023-015595-A | <1 | FT-FY23-01102023-015595-B | <1
WS-015596 | 2022-05-23 | 2023-05-23 | 3 | Cooler | In hallway adjacent to room 334 | High | Left | WF-05232022-015596 | 2023-01-30 | FT-FY23-01102023-015596-A | <1 | FT-FY23-01102023-015596-B | <1
WS-015597 | 2022-05-23 | 2023-05-23 | 3 | Cooler | In hallway adjacent to room 334 | Low | Right | WF-05232022-015597 | 2023-01-30 | FT-FY23-01102023-015597-A | <1 | FT-FY23-01102023-015597-B | <1
WS-015598 | 2022-05-23 | 2023-05-23 | 3 | Break Room | In room 330 |  |  | WF-05232022-015598 | 2023-01-30 | FT-FY23-01102023-015598-A | <1 | FT-FY23-01102023-015598-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-015524 | 2022-02-22 | 2023-02-22 | Ground Floor | Food Prep Sink | In kitchen seventh clockwise from entry | WF-02222022-015524 | 2023-01-30 | FT-FY23-01102023-015524-A | <1 | FT-FY23-01102023-015524-B | <1