## FY26 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000809 | 2026-04-13 | 2027-04-13 | Ground Floor | Bottle Filler | In hallway adjacent to 117 |  |  | WF-04132026-000809 | 2026-06-10 | FT-FY26-05062026-000809-A | <2 | FT-FY26-05062026-000809-B | <2
WS- 000810 | 2026-04-13 | 2027-04-13 | Ground Floor | Cooler | In hallway adjacent to 117 | High | Right | WF-04132026-000810 | 2026-06-10 | FT-FY26-05062026-000810-A | <2 | FT-FY26-05062026-000810-B | <2
WS- 000811 | 2026-04-13 | 2027-04-13 | Ground Floor | Cooler | In hallway adjacent to 117 | Low | Left | WF-04132026-000811 | 2026-06-10 | FT-FY26-05062026-000811-A | <2 | FT-FY26-05062026-000811-B | <2
WS- 000812 | 2025-12-19 | 2026-12-19 | Ground Floor | Food Prep Sink | In community room 101 |  |  | WF-12192025-000812 | 2026-06-10 | FT-FY26-05062026-000812-A | 4.8 | FT-FY26-05062026-000812-B | <2