## FY26 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002434 | 2025-05-20 | 2026-05-20 | 1 | Bottle Filler | In cafeteria |  |  | WF-05202025-002434 | 2026-02-17 | FT-FY26-01122026-002434-A | <2 | FT-FY26-01122026-002434-B | <2
WS- 002435 | 2025-05-20 | 2026-05-20 | 1 | Cooler | In cafeteria | Low | Left | WF-05202025-002435 | 2026-02-17 | FT-FY26-01122026-002435-A | <2 | FT-FY26-01122026-002435-B | <2
WS- 002436 | 2025-05-20 | 2026-05-20 | 1 | Cooler | In cafeteria | High | Right | WF-05202025-002436 | 2026-02-17 | FT-FY26-01122026-002436-A | <2 | FT-FY26-01122026-002436-B | <2
WS- 002438 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In 104 parent resource room |  |  | WF-05202025-002438 | 2026-02-17 | FT-FY26-01122026-002438-A | <2 | FT-FY26-01122026-002438-B | <2
WS- 002459 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In room 108 OT/PT |  |  | WF-05202025-002459 | 2026-02-17 | FT-FY26-01122026-002459-A | <2 | FT-FY26-01122026-002459-B | <2
WS- 002460 | 2025-05-20 | 2026-05-20 | 1 | Health Suite | In treatment room 141C |  |  | WF-05202025-002460 | 2026-02-17 | FT-FY26-01122026-002460-A | <2 | FT-FY26-01122026-002460-B | <2
WS- 002461 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In treatment room 141C |  |  | WF-05202025-002461 | 2026-02-17 | FT-FY26-01122026-002461-A | <2 | FT-FY26-01122026-002461-B | <2
WS- 002467 | 2025-05-20 | 2026-05-20 | 1 | Bottle Filler | In hallway adjacent to 143 |  |  | WF-05202025-002467 | 2026-02-17 | FT-FY26-01122026-002467-A | <2 | FT-FY26-01122026-002467-B | <2
WS- 002468 | 2025-05-20 | 2026-05-20 | 1 | Cooler | In hallway adjacent to 143 | High | Left | WF-05202025-002468 | 2026-02-17 | FT-FY26-01122026-002468-A | <2 | FT-FY26-01122026-002468-B | <2
WS- 002480 | 2025-05-20 | 2026-05-20 | 1 | Cooler | In hallway adjacent to 143 | Low | Left | WF-05202025-002480 | 2026-02-17 | FT-FY26-01122026-002480-A | <2 | FT-FY26-01122026-002480-B | <2
WS- 002481 | 2025-09-22 | 2026-09-22 | 1 | Combo Faucet | In classroom 142 | Low | Left | WF-09222025-002481 | 2026-02-17 | FT-FY26-01122026-002481-A | <2 | FT-FY26-01122026-002481-B | <2
WS- 002482 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 142 | Low | Left | WF-05202025-002482 | 2026-02-17 | FT-FY26-01122026-002482-A | <2 | FT-FY26-01122026-002482-B | <2
WS- 002484 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 142 | High | Right | WF-05202025-002484 | 2026-02-17 | FT-FY26-01122026-002484-A | <2 | FT-FY26-01122026-002484-B | <2
WS- 002486 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 145 | High | Left | WF-05202025-002486 | 2026-02-17 | FT-FY26-01122026-002486-A | <2 | FT-FY26-01122026-002486-B | <2
WS- 002487 | 2025-09-22 | 2026-09-22 | 1 | Combo Faucet | In classroom 145 | Low | Right | WF-09222025-002487 | 2026-02-17 | FT-FY26-01122026-002487-A | <2 | FT-FY26-01122026-002487-B | <2
WS- 002488 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 145 | Low | Right | WF-05202025-002488 | 2026-02-17 | FT-FY26-01122026-002488-A | <2 | FT-FY26-01122026-002488-B | <2
WS- 002490 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 144 | High | Left | WF-05202025-002490 | 2026-02-17 | FT-FY26-01122026-002490-A | <2 | FT-FY26-01122026-002490-B | <2
WS- 002491 | 2025-09-22 | 2026-09-22 | 1 | Combo Faucet | In classroom 144 | Low | Right | WF-09222025-002491 | 2026-02-17 | FT-FY26-01122026-002491-A | <2 | FT-FY26-01122026-002491-B | <2
WS- 002492 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 144 | Low | Right | WF-05202025-002492 | 2026-02-17 | FT-FY26-01122026-002492-A | <2 | FT-FY26-01122026-002492-B | <2
WS- 002493 | 2025-09-22 | 2026-09-22 | 1 | Combo Faucet | In classroom 147 | Low | Left | WF-09222025-002493 | 2026-02-17 | FT-FY26-01122026-002493-A | <2 | FT-FY26-01122026-002493-B | <2
WS- 002494 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 147 | Low | Left | WF-05202025-002494 | 2026-02-17 | FT-FY26-01122026-002494-A | <2 | FT-FY26-01122026-002494-B | <2
WS- 002544 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 147 | High | Right | WF-05202025-002544 | 2026-02-17 | FT-FY26-01122026-002544-A | <2 | FT-FY26-01122026-002544-B | <2
WS- 002546 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In room 164 OT/PT |  |  | WF-05202025-002546 | 2026-02-17 | FT-FY26-01122026-002546-A | 2.1 | FT-FY26-01122026-002546-B | <2
WS- 002548 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In room 161 teacher collaboration |  |  | WF-05202025-002548 | 2026-02-17 | FT-FY26-01122026-002548-A | <2 | FT-FY26-01122026-002548-B | <2
WS- 002550 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In 172 specials lab |  | Left | WF-05202025-002550 | 2026-02-17 | FT-FY26-01122026-002550-A | <2 | FT-FY26-01122026-002550-B | <2
WS- 002552 | 2025-05-20 | 2026-05-20 | 1 | Bottle Filler | In hallway opposite 175 |  |  | WF-05202025-002552 | 2026-02-17 | FT-FY26-01122026-002552-A | <2 | FT-FY26-01122026-002552-B | <2
WS- 002553 | 2025-05-20 | 2026-05-20 | 1 | Cooler | In hallway opposite 175 |  | Left | WF-05202025-002553 | 2026-02-17 | FT-FY26-01122026-002553-A | <2 | FT-FY26-01122026-002553-B | <2
WS- 002554 | 2025-05-20 | 2026-05-20 | 1 | Cooler | In hallway opposite 175 |  | Right | WF-05202025-002554 | 2026-02-17 | FT-FY26-01122026-002554-A | <2 | FT-FY26-01122026-002554-B | <2
WS- 002556 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 175 | High | Left | WF-05202025-002556 | 2026-02-17 | FT-FY26-01122026-002556-A | <2 | FT-FY26-01122026-002556-B | <2
WS- 002557 | 2025-09-22 | 2026-09-22 | 1 | Combo Faucet | In classroom 175 | Low | Right | WF-09222025-002557 | 2026-02-17 | FT-FY26-01122026-002557-A | <2 | FT-FY26-01122026-002557-B | <2
WS- 002558 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 175 | Low | Right | WF-05202025-002558 | 2026-02-17 | FT-FY26-01122026-002558-A | <2 | FT-FY26-01122026-002558-B | <2
WS- 002566 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 184 | High | Left | WF-05202025-002566 | 2026-02-17 | FT-FY26-01122026-002566-A | <2 | FT-FY26-01122026-002566-B | <2
WS- 002567 | 2025-09-22 | 2026-09-22 | 1 | Combo Faucet | In classroom 184 | Low | Right | WF-09222025-002567 | 2026-02-17 | FT-FY26-01122026-002567-A | <2 | FT-FY26-01122026-002567-B | <2
WS- 002568 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 184 | Low | Right | WF-05202025-002568 | 2026-02-17 | FT-FY26-01122026-002568-A | <2 | FT-FY26-01122026-002568-B | <2
WS- 002570 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 179 | High | Left | WF-05202025-002570 | 2026-02-17 | FT-FY26-01122026-002570-A | <2 | FT-FY26-01122026-002570-B | <2
WS- 002573 | 2025-09-22 | 2026-09-22 | 1 | Combo Faucet | In classroom 179 | Low | Right | WF-09222025-002573 | 2026-02-17 | FT-FY26-01122026-002573-A | <2 | FT-FY26-01122026-002573-B | <2
WS- 002574 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 179 | Low | Right | WF-05202025-002574 | 2026-02-17 | FT-FY26-01122026-002574-A | <2 | FT-FY26-01122026-002574-B | <2
WS- 002576 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 180 | High | Left | WF-05202025-002576 | 2026-02-17 | FT-FY26-01122026-002576-A | <2 | FT-FY26-01122026-002576-B | <2
WS- 002577 | 2025-09-22 | 2026-09-22 | 1 | Combo Faucet | In classroom 180 | Low | Right | WF-09222025-002577 | 2026-02-17 | FT-FY26-01122026-002577-A | <2 | FT-FY26-01122026-002577-B | <2
WS- 002578 | 2025-05-20 | 2026-05-20 | 1 | Combo Fountain | In classroom 180 | Low | Right | WF-05202025-002578 | 2026-02-17 | FT-FY26-01122026-002578-A | <2 | FT-FY26-01122026-002578-B | <2
WS- 002580 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 261 |  |  | WF-05202025-002580 | 2026-02-17 | FT-FY26-01122026-002580-A | <2 | FT-FY26-01122026-002580-B | <2
WS- 002582 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 257 |  |  | WF-05202025-002582 | 2026-02-17 | FT-FY26-01122026-002582-A | <2 | FT-FY26-01122026-002582-B | <2
WS- 002584 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 256 |  |  | WF-05202025-002584 | 2026-02-17 | FT-FY26-01122026-002584-A | <2 | FT-FY26-01122026-002584-B | <2
WS- 002585 | 2025-05-20 | 2026-05-20 | 2 | Bottle Filler | In hallway adjacent to 256 |  |  | WF-05202025-002585 | 2026-02-17 | FT-FY26-01122026-002585-A | <2 | FT-FY26-01122026-002585-B | <2
WS- 002586 | 2025-05-20 | 2026-05-20 | 2 | Cooler | In hallway adjacent to 256 |  | Left | WF-05202025-002586 | 2026-02-17 | FT-FY26-01122026-002586-A | <2 | FT-FY26-01122026-002586-B | <2
WS- 002587 | 2025-05-20 | 2026-05-20 | 2 | Cooler | In hallway adjacent to 256 |  | Right | WF-05202025-002587 | 2026-02-17 | FT-FY26-01122026-002587-A | <2 | FT-FY26-01122026-002587-B | <2
WS- 002596 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 255 |  |  | WF-05202025-002596 | 2026-02-17 | FT-FY26-01122026-002596-A | <2 | FT-FY26-01122026-002596-B | <2
WS- 002598 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 254 |  |  | WF-05202025-002598 | 2026-02-17 | FT-FY26-01122026-002598-A | <2 | FT-FY26-01122026-002598-B | <2
WS- 002642 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In room 273 teacher collaboration |  |  | WF-05202025-002642 | 2026-02-17 | FT-FY26-01122026-002642-A | <2 | FT-FY26-01122026-002642-B | <2
WS- 002644 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 252 |  |  | WF-05202025-002644 | 2026-02-17 | FT-FY26-01122026-002644-A | <2 | FT-FY26-01122026-002644-B | <2
WS- 002646 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 251 |  |  | WF-05202025-002646 | 2026-02-17 | FT-FY26-01122026-002646-A | <2 | FT-FY26-01122026-002646-B | <2
WS- 002648 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 233 | High | Left | WF-05202025-002648 | 2026-02-17 | FT-FY26-01122026-002648-A | <2 | FT-FY26-01122026-002648-B | <2
WS- 002685 | 2025-09-22 | 2026-09-22 | 2 | Combo Faucet | In classroom 233 | Low | Right | WF-09222025-002685 | 2026-02-17 | FT-FY26-01122026-002685-A | <2 | FT-FY26-01122026-002685-B | <2
WS- 002686 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 233 | Low | Right | WF-05202025-002686 | 2026-02-17 | FT-FY26-01122026-002686-A | <2 | FT-FY26-01122026-002686-B | <2
WS- 002688 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 234 |  |  | WF-05202025-002688 | 2026-02-17 | FT-FY26-01122026-002688-A | <2 | FT-FY26-01122026-002688-B | <2
WS- 002698 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 237 | High | Left | WF-05202025-002698 | 2026-02-17 | FT-FY26-01122026-002698-A | <2 | FT-FY26-01122026-002698-B | <2
WS- 002909 | 2025-09-22 | 2026-09-22 | 2 | Combo Faucet | In classroom 237 | Low | Right | WF-09222025-002909 | 2026-02-17 | FT-FY26-01122026-002909-A | <2 | FT-FY26-01122026-002909-B | <2
WS- 002910 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 237 | Low | Right | WF-05202025-002910 | 2026-02-17 | FT-FY26-01122026-002910-A | <2 | FT-FY26-01122026-002910-B | <2
WS- 002911 | 2025-05-20 | 2026-05-20 | 2 | Bottle Filler | In hallway opposite 237 |  |  | WF-05202025-002911 | 2026-02-17 | FT-FY26-01122026-002911-A | <2 | FT-FY26-01122026-002911-B | <2
WS- 002912 | 2025-05-20 | 2026-05-20 | 2 | Cooler | In hallway opposite 237 | Low | Left | WF-05202025-002912 | 2026-02-17 | FT-FY26-01122026-002912-A | <2 | FT-FY26-01122026-002912-B | <2
WS- 002913 | 2025-05-20 | 2026-05-20 | 2 | Cooler | In hallway opposite 237 | High | Right | WF-05202025-002913 | 2026-02-17 | FT-FY26-01122026-002913-A | <2 | FT-FY26-01122026-002913-B | <2
WS- 002915 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 236 | High | Left | WF-05202025-002915 | 2026-02-17 | FT-FY26-01122026-002915-A | <2 | FT-FY26-01122026-002915-B | <2
WS- 002916 | 2025-09-22 | 2026-09-22 | 2 | Combo Faucet | In classroom 236 | Low | Right | WF-09222025-002916 | 2026-02-17 | FT-FY26-01122026-002916-A | <2 | FT-FY26-01122026-002916-B | <2
WS- 002917 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 236 | Low | Right | WF-05202025-002917 | 2026-02-17 | FT-FY26-01122026-002917-A | <2 | FT-FY26-01122026-002917-B | <2
WS- 002918 | 2025-09-22 | 2026-09-22 | 2 | Combo Faucet | In classroom 239 | Low | Left | WF-09222025-002918 | 2026-02-17 | FT-FY26-01122026-002918-A | 2.4 | FT-FY26-01122026-002918-B | <2
WS- 002919 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 239 | Low | Left | WF-05202025-002919 | 2026-02-17 | FT-FY26-01122026-002919-A | <2 | FT-FY26-01122026-002919-B | <2
WS- 002921 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In classroom 239 | High | Right | WF-05202025-002921 | 2026-02-17 | FT-FY26-01122026-002921-A | <2 | FT-FY26-01122026-002921-B | <2
WS- 002923 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In room 215 resources |  |  | WF-05202025-002923 | 2026-02-17 | FT-FY26-01122026-002923-A | <2 | FT-FY26-01122026-002923-B | <2
WS- 002924 | 2025-05-20 | 2026-05-20 | 2 | Break Room | In staff lounge 212 |  |  | WF-05202025-002924 | 2026-02-17 | FT-FY26-01122026-002924-A | <2 | FT-FY26-01122026-002924-B | <2
WS- 002925 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In staff lounge 212 |  |  | WF-05202025-002925 | 2026-02-17 | FT-FY26-01122026-002925-A | <2 | FT-FY26-01122026-002925-B | <2
WS- 002926 | 2025-05-20 | 2026-05-20 | 2 | Bottle Filler | In hallway adjacent to 212 |  |  | WF-05202025-002926 | 2026-02-17 | FT-FY26-01122026-002926-A | <2 | FT-FY26-01122026-002926-B | <2
WS- 002927 | 2025-05-20 | 2026-05-20 | 2 | Cooler | In hallway adjacent to 212 |  | Left | WF-05202025-002927 | 2026-02-17 | FT-FY26-01122026-002927-A | <2 | FT-FY26-01122026-002927-B | <2
WS- 002928 | 2025-05-20 | 2026-05-20 | 2 | Cooler | In hallway adjacent to 212 |  | Right | WF-05202025-002928 | 2026-02-17 | FT-FY26-01122026-002928-A | <2 | FT-FY26-01122026-002928-B | <2
WS- 002929 | 2025-05-20 | 2026-05-20 | 2 | Health Suite | In room 204 wellness |  |  | WF-05202025-002929 | 2026-02-17 | FT-FY26-01122026-002929-A | 2.5 | FT-FY26-01122026-002929-B | <2
WS- 002930 | 2025-05-20 | 2026-05-20 | 2 | Combo Fountain | In room 204 wellness |  |  | WF-05202025-002930 | 2026-02-17 | FT-FY26-01122026-002930-A | <2 | FT-FY26-01122026-002930-B | <2
WS- 002931 | 2025-05-20 | 2026-05-20 | 2 | Bottle Filler | In gym 220 |  |  | WF-05202025-002931 | 2026-02-17 | FT-FY26-01122026-002931-A | <2 | FT-FY26-01122026-002931-B | <2
WS- 002932 | 2025-05-20 | 2026-05-20 | 2 | Cooler | In gym 220 | High | Left | WF-05202025-002932 | 2026-02-17 | FT-FY26-01122026-002932-A | <2 | FT-FY26-01122026-002932-B | <2
WS- 002933 | 2025-05-20 | 2026-05-20 | 2 | Cooler | In gym 220 | Low | Right | WF-05202025-002933 | 2026-02-17 | FT-FY26-01122026-002933-A | <2 | FT-FY26-01122026-002933-B | <2
WS- 002935 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In teacher work room 025 |  |  | WF-05202025-002935 | 2026-02-17 | FT-FY26-01122026-002935-A | <2 | FT-FY26-01122026-002935-B | <2
WS- 002937 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In room 026 teacher collaboration |  |  | WF-05202025-002937 | 2026-02-17 | FT-FY26-01122026-002937-A | <2 | FT-FY26-01122026-002937-B | <2
WS- 002939 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In music room 030 |  |  | WF-05202025-002939 | 2026-02-17 | FT-FY26-01122026-002939-A | <2 | FT-FY26-01122026-002939-B | <2
WS- 002940 | 2025-05-20 | 2026-05-20 | Basement | Bottle Filler | In music room 030 |  |  | WF-05202025-002940 | 2026-02-17 | FT-FY26-01122026-002940-A | <2 | FT-FY26-01122026-002940-B | <2
WS- 002941 | 2025-05-20 | 2026-05-20 | Basement | Cooler | In music room 030 | Low | Left | WF-05202025-002941 | 2026-02-17 | FT-FY26-01122026-002941-A | <2 | FT-FY26-01122026-002941-B | <2
WS- 002987 | 2025-05-20 | 2026-05-20 | Basement | Cooler | In music room 030 | High | Right | WF-05202025-002987 | 2026-02-17 | FT-FY26-01122026-002987-A | <2 | FT-FY26-01122026-002987-B | <2
WS- 002988 | 2025-05-20 | 2026-05-20 | Basement | Bottle Filler | In hallway adjacent to 031A |  |  | WF-05202025-002988 | 2026-02-17 | FT-FY26-01122026-002988-A | <2 | FT-FY26-01122026-002988-B | <2
WS- 002989 | 2025-05-20 | 2026-05-20 | Basement | Cooler | In hallway adjacent to 031A | High | Left | WF-05202025-002989 | 2026-02-17 | FT-FY26-01122026-002989-A | <2 | FT-FY26-01122026-002989-B | <2
WS- 002990 | 2025-05-20 | 2026-05-20 | Basement | Cooler | In hallway adjacent to 031A | Low | Right | WF-05202025-002990 | 2026-02-17 | FT-FY26-01122026-002990-A | <2 | FT-FY26-01122026-002990-B | <2
WS- 002992 | 2025-06-05 | 2026-06-05 | Basement | Combo Fountain | In classroom 033 in Library |  |  | WF-06052025-002992 | 2026-02-17 | FT-FY26-01122026-002992-A | 2.3 | FT-FY26-01122026-002992-B | <2
WS- 002995 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In kiln room 003 | High | Left | WF-05202025-002995 | 2026-02-17 | FT-FY26-01122026-002995-A | <2 | FT-FY26-01122026-002995-B | <2
WS- 002996 | 2025-09-22 | 2026-09-22 | Basement | Combo Faucet | In kiln room 003 | Low | Right | WF-09222025-002996 | 2026-02-17 | FT-FY26-01122026-002996-A | <2 | FT-FY26-01122026-002996-B | <2
WS- 003055 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In kiln room 003 | Low | Right | WF-05202025-003055 | 2026-02-17 | FT-FY26-01122026-003055-A | <2 | FT-FY26-01122026-003055-B | <2
WS- 003056 | 2025-05-20 | 2026-05-20 | Basement | Bottle Filler | In hallway adjacent to 008 |  |  | WF-05202025-003056 | 2026-02-17 | FT-FY26-01122026-003056-A | <2 | FT-FY26-01122026-003056-B | <2
WS- 003057 | 2025-05-20 | 2026-05-20 | Basement | Cooler | In hallway adjacent to 008 | Low | Left | WF-05202025-003057 | 2026-02-17 | FT-FY26-01122026-003057-A | <2 | FT-FY26-01122026-003057-B | <2
WS- 003058 | 2025-05-20 | 2026-05-20 | Basement | Cooler | In hallway adjacent to 008 | High | Right | WF-05202025-003058 | 2026-02-17 | FT-FY26-01122026-003058-A | <2 | FT-FY26-01122026-003058-B | <2
WS- 003059 | 2025-05-20 | 2026-05-20 | Basement | Break Room | In room 011 |  | Left | WF-05202025-003059 | 2026-02-17 | FT-FY26-01122026-003059-A | <2 | FT-FY26-01122026-003059-B | <2
WS- 003060 | 2025-05-20 | 2026-05-20 | Basement | Break Room | In room 011 |  | Right | WF-05202025-003060 | 2026-02-17 | FT-FY26-01122026-003060-A | <2 | FT-FY26-01122026-003060-B | <2
WS- 003061 | 2025-09-22 | 2026-09-22 | Basement | Combo Faucet | In room 013 |  | Left | WF-09222025-003061 | 2026-02-17 | FT-FY26-01122026-003061-A | 9.2 | FT-FY26-01122026-003061-B | <2
WS- 003062 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In room 013 |  | Left | WF-05202025-003062 | 2026-02-17 | FT-FY26-01122026-003062-A | <2 | FT-FY26-01122026-003062-B | <2
WS- 003063 | 2025-09-22 | 2026-09-22 | Basement | Classroom Faucet | In room 013 |  | Right | WF-09222025-003063 | 2026-02-17 | FT-FY26-01122026-003063-A | <2 | FT-FY26-01122026-003063-B | <2
WS- 003064 | 2025-09-22 | 2026-09-22 | Basement | Combo Faucet | In classroom 015 |  | Left | WF-09222025-003064 | 2026-02-17 | FT-FY26-01122026-003064-A | <2 | FT-FY26-01122026-003064-B | <2
WS- 003065 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In classroom 015 |  | Left | WF-05202025-003065 | 2026-02-17 | FT-FY26-01122026-003065-A | <2 | FT-FY26-01122026-003065-B | <2
WS- 003066 | 2025-09-22 | 2026-09-22 | Basement | Combo Faucet | In classroom 022 |  | Right | WF-09222025-003066 | 2026-02-17 | FT-FY26-01122026-003066-A | <2 | FT-FY26-01122026-003066-B | <2
WS- 003067 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In classroom 015 |  | Right | WF-05202025-003067 | 2026-02-17 | FT-FY26-01122026-003067-A | <2 | FT-FY26-01122026-003067-B | <2
WS- 003069 | 2025-09-22 | 2026-09-22 | Basement | Combo Faucet | In classroom 017 |  | Left | WF-09222025-003069 | 2026-02-17 | FT-FY26-01122026-003069-A | <2 | FT-FY26-01122026-003069-B | <2
WS- 003070 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In classroom 017 |  | Left | WF-05202025-003070 | 2026-02-17 | FT-FY26-01122026-003070-A | <2 | FT-FY26-01122026-003070-B | <2
WS- 003071 | 2025-09-22 | 2026-09-22 | Basement | Combo Faucet | In classroom 017 |  | Right | WF-09222025-003071 | 2026-02-17 | FT-FY26-01122026-003071-A | <2 | FT-FY26-01122026-003071-B | <2
WS- 003072 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In classroom 017 |  | Right | WF-05202025-003072 | 2026-02-17 | FT-FY26-01122026-003072-A | 2.6 | FT-FY26-01122026-003072-B | <2
WS- 003073 | 2025-05-20 | 2026-05-20 | Basement | Break Room | In room 020 |  | Left | WF-05202025-003073 | 2026-02-17 | FT-FY26-01122026-003073-A | <2 | FT-FY26-01122026-003073-B | <2
WS- 003074 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In room 020 |  | Left | WF-05202025-003074 | 2026-02-17 | FT-FY26-01122026-003074-A | 2.9 | FT-FY26-01122026-003074-B | <2
WS- 003075 | 2025-05-20 | 2026-05-20 | Basement | Break Room | In room 020 |  | Right | WF-05202025-003075 | 2026-02-17 | FT-FY26-01122026-003075-A | <2 | FT-FY26-01122026-003075-B | <2
WS- 003076 | 2025-05-20 | 2026-05-20 | Basement | Combo Fountain | In room 020 |  | Right | WF-05202025-003076 | 2026-02-17 | FT-FY26-01122026-003076-A | <2 | FT-FY26-01122026-003076-B | <2

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002433 | 2025-12-16 | 2026-12-16 | 1 | Food Prep Sink | In kitchen |  | WF-12162025-002433 | 2026-02-17 | FT-FY26-01122026-002433-A | <2 | FT-FY26-01122026-002433-B | <2
WS- 002549 | 2025-12-16 | 2026-12-16 | 1 | Food Prep Sink | In 172 specials lab | Left | WF-12162025-002549 | 2026-02-17 | FT-FY26-01122026-002549-A | <2 | FT-FY26-01122026-002549-B | <2
WS- 002551 | 2025-12-16 | 2026-12-16 | 1 | Food Prep Sink | In 172 specials lab | Right | WF-12162025-002551 | 2026-02-17 | FT-FY26-01122026-002551-A | <2 | FT-FY26-01122026-002551-B | <2

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003061 | 2026-02-20 | 2027-02-20 | Basement | Combo Faucet | In room 013 | Left | WF-02202026-003061 | 2026-03-04 | FT-FY26-02202026-003061-A | <2 | FT-FY26-02202026-003061-B | <2