## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 008749 | 2023-04-26 | 2024-04-26 | 3 | Cooler | In hallway across from room 313 | High | Left | WF-04262023-008749 | 2023-11-13 | FT-FY24-10102023-008749-A | <1 | FT-FY24-10102023-008749-B | <1
WS- 008750 | 2023-04-26 | 2024-04-26 | 3 | Cooler | In hallway across from room 313 | Low | Right | WF-04262023-008750 | 2023-11-13 | FT-FY24-10102023-008750-A | <1 | FT-FY24-10102023-008750-B | <1
WS- 008753 | 2023-04-26 | 2024-04-26 | 3 | Break Room | In staff lounge 327 |  |  | WF-04262023-008753 | 2023-11-13 | FT-FY24-10102023-008753-A | <1 | FT-FY24-10102023-008753-B | <1
WS- 010860 | 2023-04-26 | 2024-04-26 | 1 | Cooler | In hallway adjacent to room 167 | High | Left | WF-04262023-010860 | 2023-11-13 | FT-FY24-10102023-010860-A | <1 | FT-FY24-10102023-010860-B | <1
WS- 010861 | 2023-04-26 | 2024-04-26 | 1 | Cooler | In hallway adjacent to room 167 | Low | Right | WF-04262023-010861 | 2023-11-13 | FT-FY24-10102023-010861-A | <1 | FT-FY24-10102023-010861-B | <1
WS- 010863 | 2023-04-26 | 2024-04-26 | 1 | Health Suite | In health suite 173 |  |  | WF-04262023-010863 | 2023-11-13 | FT-FY24-10102023-010863-A | <1 | FT-FY24-10102023-010863-B | <1
WS- 010867 | 2023-04-26 | 2024-04-26 | 1 | Bottle Filler | In cafeteria (bottle filler) |  |  | WF-04262023-010867 | 2023-11-13 | FT-FY24-10102023-010867-A | <1 | FT-FY24-10102023-010867-B | <1
WS- 010868 | 2023-04-26 | 2024-04-26 | 1 | Cooler | In cafeteria | Low | Right | WF-04262023-010868 | 2023-11-13 | FT-FY24-10102023-010868-A | <1 | FT-FY24-10102023-010868-B | <1
WS- 010869 | 2022-12-20 | 2023-12-20 | 1 | Food Prep Sink | In kitchen on island |  |  | WF-12202022-010869 | 2023-11-13 | FT-FY24-10102023-010869-A | 7.9 | FT-FY24-10102023-010869-B | <1
WS- 010880 | 2023-04-26 | 2024-04-26 | 1 | Cooler | In hallway adjacent to room 119 | High | Left | WF-04262023-010880 | 2023-11-13 | FT-FY24-10102023-010880-A | <1 | FT-FY24-10102023-010880-B | <1
WS- 010881 | 2023-04-26 | 2024-04-26 | 1 | Cooler | In hallway adjacent to room 119 | Low | Right | WF-04262023-010881 | 2023-11-13 | FT-FY24-10102023-010881-A | <1 | FT-FY24-10102023-010881-B | <1
WS- 010882 | 2023-04-26 | 2024-04-26 | 1 | Break Room | In staff lounge 134 |  |  | WF-04262023-010882 | 2023-11-13 | FT-FY24-10102023-010882-A | 1.1 | FT-FY24-10102023-010882-B | <1
WS- 010897 | 2023-04-26 | 2024-04-26 | 2 | Break Room | In staff lounge 229 |  |  | WF-04262023-010897 | 2023-11-13 | FT-FY24-10102023-010897-A | <1 | FT-FY24-10102023-010897-B | <1
WS- 010898 | 2023-04-26 | 2024-04-26 | 2 | Cooler | In hallway adjacent to room 212 | High | Left | WF-04262023-010898 | 2023-11-13 | FT-FY24-10102023-010898-A | <1 | FT-FY24-10102023-010898-B | <1
WS- 010899 | 2023-04-26 | 2024-04-26 | 2 | Cooler | In hallway adjacent to room 212 | Low | Right | WF-04262023-010899 | 2023-11-13 | FT-FY24-10102023-010899-A | <1 | FT-FY24-10102023-010899-B | <1
WS- 010901 | 2023-04-26 | 2024-04-26 | 2 | Cooler | In hallway adjacent to room 247 | High | Left | WF-04262023-010901 | 2023-11-13 | FT-FY24-10102023-010901-A | <1 | FT-FY24-10102023-010901-B | <1
WS- 010902 | 2023-04-26 | 2024-04-26 | 2 | Cooler | In hallway adjacent to room 247 | Low | Right | WF-04262023-010902 | 2023-11-13 | FT-FY24-10102023-010902-A | <1 | FT-FY24-10102023-010902-B | <1
WS- 010903 | 2023-04-26 | 2024-04-26 | 2 | Cooler | In gym | High | Left | WF-04262023-010903 | 2023-11-13 | FT-FY24-10102023-010903-A | <1 | FT-FY24-10102023-010903-B | <1
WS- 010904 | 2023-04-26 | 2024-04-26 | 2 | Cooler | In gym | Low | Right | WF-04262023-010904 | 2023-11-13 | FT-FY24-10102023-010904-A | <1 | FT-FY24-10102023-010904-B | <1
WS- 010906 | 2023-04-26 | 2024-04-26 | 1 | Cooler | In cafeteria | High | Left | WF-04262023-010906 | 2023-11-13 | FT-FY24-10102023-010906-A | <1 | FT-FY24-10102023-010906-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 010871 | 2022-12-20 | 2023-12-20 | 1 | Food Prep Sink | In kitchen adjacent to room 143 | WF-12202022-010871 | 2023-11-13 | FT-FY24-10102023-010871-A | <1 | FT-FY24-10102023-010871-B | <1
WS- 010872 | 2022-12-20 | 2023-12-20 | 1 | Food Prep Sink | In kitchen adjacent to ice maker | WF-12202022-010872 | 2023-11-13 | FT-FY24-10102023-010872-A | 4.7 | FT-FY24-10102023-010872-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 010869 | 2023-11-17 | 2024-11-17 | 1 | Food Prep Sink | In kitchen on island | WF-11172023-010869 | 2023-11-21 | FT-FY24-11192023-010869-A | 1.8 | FT-FY24-11192023-010869-B | <1