## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004742 | 2021-03-08 | 2022-03-08 | 1 | Health Suite | In health suite |  |  | WF-03082021-004742 | 2021-12-01 | FT-FY22-11192021-004742-A | <1 | FT-FY22-11192021-004742-B | <1
WS- 004743 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In health suite |  |  | WF-03082021-004743 | 2021-12-01 | FT-FY22-11192021-004743-A | <1 | FT-FY22-11192021-004743-B | <1
WS- 004744 | 2021-03-08 | 2022-03-08 | 1 | Health Suite | In health suite in exam room 2 |  |  | WF-03082021-004744 | 2021-12-01 | FT-FY22-11192021-004744-A | <1 | FT-FY22-11192021-004744-B | <1
WS- 004745 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In exam room 2 in health suite |  |  | WF-03082021-004745 | 2021-12-01 | FT-FY22-11192021-004745-A | <1 | FT-FY22-11192021-004745-B | <1
WS- 004746 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 122 |  |  | WF-08302021-004746 | 2021-12-01 | FT-FY22-11192021-004746-A | <1 | FT-FY22-11192021-004746-B | <1
WS- 004747 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 122 |  |  | WF-03082021-004747 | 2021-12-01 | FT-FY22-11192021-004747-A | <1 | FT-FY22-11192021-004747-B | 1.0
WS- 004748 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 110 |  |  | WF-08302021-004748 | 2021-12-01 | FT-FY22-11192021-004748-A | <1 | FT-FY22-11192021-004748-B | <1
WS- 004749 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 110 |  |  | WF-03082021-004749 | 2021-12-01 | FT-FY22-11192021-004749-A | <1 | FT-FY22-11192021-004749-B | <1
WS- 004750 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 114 |  |  | WF-08302021-004750 | 2021-12-01 | FT-FY22-11192021-004750-A | <1 | FT-FY22-11192021-004750-B | <1
WS- 004751 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 114 |  |  | WF-03082021-004751 | 2021-12-01 | FT-FY22-11192021-004751-A | <1 | FT-FY22-11192021-004751-B | <1
WS- 004752 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 118 |  |  | WF-08302021-004752 | 2021-12-01 | FT-FY22-11192021-004752-A | <1 | FT-FY22-11192021-004752-B | <1
WS- 004753 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 118 |  |  | WF-03082021-004753 | 2021-12-01 | FT-FY22-11192021-004753-A | <1 | FT-FY22-11192021-004753-B | <1
WS- 004754 | 2021-08-30 | 2022-08-30 | 1 | Classroom Faucet | In art room 173 |  | Left | WF-08302021-004754 | 2021-12-01 | FT-FY22-11192021-004754-A | <1 | FT-FY22-11192021-004754-B | <1
WS- 004755 | 2021-08-30 | 2022-08-30 | 1 | Classroom Faucet | In art room 173 |  | Right | WF-08302021-004755 | 2021-12-01 | FT-FY22-11192021-004755-A | <1 | FT-FY22-11192021-004755-B | <1
WS- 004756 | 2021-08-30 | 2022-08-30 | 1 | Classroom Faucet | In parent resource room 169 |  |  | WF-08302021-004756 | 2021-12-01 | FT-FY22-11192021-004756-A | <1 | FT-FY22-11192021-004756-B | <1
WS- 004757 | 2021-03-08 | 2022-03-08 | 1 | Cooler | In hallway adjacent room 170 | High | Left | WF-03082021-004757 | 2021-12-01 | FT-FY22-11192021-004757-A | <1 | FT-FY22-11192021-004757-B | <1
WS- 004758 | 2021-03-08 | 2022-03-08 | 1 | Cooler | In hallway adjacent room 170 | Low | Right | WF-03082021-004758 | 2021-12-01 | FT-FY22-11192021-004758-A | <1 | FT-FY22-11192021-004758-B | <1
WS- 004759 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 167 |  | Left | WF-08302021-004759 | 2021-12-01 | FT-FY22-11192021-004759-A | <1 | FT-FY22-11192021-004759-B | <1
WS- 004760 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 167 |  | Right | WF-03082021-004760 | 2021-12-01 | FT-FY22-11192021-004760-A | <1 | FT-FY22-11192021-004760-B | <1
WS- 004761 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 166 |  |  | WF-08302021-004761 | 2021-12-01 | FT-FY22-11192021-004761-A | <1 | FT-FY22-11192021-004761-B | <1
WS- 004762 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 166 |  |  | WF-03082021-004762 | 2021-12-01 | FT-FY22-11192021-004762-A | <1 | FT-FY22-11192021-004762-B | <1
WS- 004763 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 165 |  |  | WF-08302021-004763 | 2021-12-01 | FT-FY22-11192021-004763-A | <1 | FT-FY22-11192021-004763-B | <1
WS- 004764 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 165 |  |  | WF-03082021-004764 | 2021-12-01 | FT-FY22-11192021-004764-A | <1 | FT-FY22-11192021-004764-B | <1
WS- 004765 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 164 |  | Left | WF-08302021-004765 | 2021-12-01 | FT-FY22-11192021-004765-A | <1 | FT-FY22-11192021-004765-B | <1
WS- 004766 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 164 |  | Right | WF-03082021-004766 | 2021-12-01 | FT-FY22-11192021-004766-A | <1 | FT-FY22-11192021-004766-B | <1
WS- 004767 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 161 |  |  | WF-08302021-004767 | 2021-12-01 | FT-FY22-11192021-004767-A | <1 | FT-FY22-11192021-004767-B | <1
WS- 004768 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 161 |  |  | WF-03082021-004768 | 2021-12-01 | FT-FY22-11192021-004768-A | <1 | FT-FY22-11192021-004768-B | <1
WS- 004769 | 2021-08-30 | 2022-08-30 | 1 | Combo Faucet | In classroom 160 |  | Left | WF-08302021-004769 | 2021-12-01 | FT-FY22-11192021-004769-A | <1 | FT-FY22-11192021-004769-B | <1
WS- 004770 | 2021-03-08 | 2022-03-08 | 1 | Combo Fountain | In classroom 160 |  | Right | WF-03082021-004770 | 2021-12-01 | FT-FY22-11192021-004770-A | <1 | FT-FY22-11192021-004770-B | <1
WS- 004779 | 2021-03-08 | 2022-03-08 | 2 | Break Room | In teacher work room 221 |  |  | WF-03082021-004779 | 2021-12-01 | FT-FY22-11192021-004779-A | <1 | FT-FY22-11192021-004779-B | <1
WS- 004781 | 2021-08-30 | 2022-08-30 | 2 | Combo Faucet | In classroom 219 |  | Right | WF-08302021-004781 | 2021-12-01 | FT-FY22-11192021-004781-A | <1 | FT-FY22-11192021-004781-B | <1
WS- 004782 | 2021-03-08 | 2022-03-08 | 2 | Combo Fountain | In classroom 219 |  | Left | WF-03082021-004782 | 2021-12-01 | FT-FY22-11192021-004782-A | <1 | FT-FY22-11192021-004782-B | <1
WS- 004783 | 2021-08-30 | 2022-08-30 | 2 | Combo Faucet | In classroom 210 |  |  | WF-08302021-004783 | 2021-12-01 | FT-FY22-11192021-004783-A | <1 | FT-FY22-11192021-004783-B | <1
WS- 004784 | 2021-03-08 | 2022-03-08 | 2 | Combo Fountain | In classroom 210 |  |  | WF-03082021-004784 | 2021-12-01 | FT-FY22-11192021-004784-A | <1 | FT-FY22-11192021-004784-B | <1
WS- 004785 | 2021-08-30 | 2022-08-30 | 2 | Combo Faucet | In classroom 214 |  | Right | WF-08302021-004785 | 2021-12-01 | FT-FY22-11192021-004785-A | <1 | FT-FY22-11192021-004785-B | <1
WS- 004786 | 2021-03-08 | 2022-03-08 | 2 | Combo Fountain | In classroom 214 |  | Left | WF-03082021-004786 | 2021-12-01 | FT-FY22-11192021-004786-A | <1 | FT-FY22-11192021-004786-B | <1
WS- 004787 | 2021-08-30 | 2022-08-30 | 2 | Combo Faucet | In classroom 218 |  |  | WF-08302021-004787 | 2021-12-01 | FT-FY22-11192021-004787-A | <1 | FT-FY22-11192021-004787-B | <1
WS- 004788 | 2021-03-08 | 2022-03-08 | 2 | Combo Fountain | In classroom 218 |  |  | WF-03082021-004788 | 2021-12-01 | FT-FY22-11192021-004788-A | <1 | FT-FY22-11192021-004788-B | <1
WS- 004789 | 2021-08-30 | 2022-08-30 | 2 | Combo Faucet | In classroom 260 |  |  | WF-08302021-004789 | 2021-12-01 | FT-FY22-11192021-004789-A | <1 | FT-FY22-11192021-004789-B | <1
WS- 004790 | 2021-03-08 | 2022-03-08 | 2 | Combo Fountain | In classroom 260 |  |  | WF-03082021-004790 | 2021-12-01 | FT-FY22-11192021-004790-A | <1 | FT-FY22-11192021-004790-B | <1
WS- 004791 | 2021-03-08 | 2022-03-08 | 2 | Cooler | In entrance to boy/girl restroom near room 220 | High | Left | WF-03082021-004791 | 2021-12-01 | FT-FY22-11192021-004791-A | <1 | FT-FY22-11192021-004791-B | <1
WS- 004792 | 2021-03-08 | 2022-03-08 | 2 | Cooler | In entrance to boy/girl restroom near room 220 | Low | Right | WF-03082021-004792 | 2021-12-01 | FT-FY22-11192021-004792-A | <1 | FT-FY22-11192021-004792-B | <1
WS- 004793 | 2021-08-30 | 2022-08-30 | 2 | Combo Faucet | In classroom 261 |  |  | WF-08302021-004793 | 2021-12-01 | FT-FY22-11192021-004793-A | <1 | FT-FY22-11192021-004793-B | <1
WS- 004794 | 2021-03-08 | 2022-03-08 | 2 | Combo Fountain | In classroom 261 |  |  | WF-03082021-004794 | 2021-12-01 | FT-FY22-11192021-004794-A | <1 | FT-FY22-11192021-004794-B | <1
WS- 004795 | 2021-08-30 | 2022-08-30 | 2 | Combo Faucet | In classroom 264 |  |  | WF-08302021-004795 | 2021-12-01 | FT-FY22-11192021-004795-A | <1 | FT-FY22-11192021-004795-B | <1
WS- 004796 | 2021-03-08 | 2022-03-08 | 2 | Combo Fountain | In classroom 264 |  |  | WF-03082021-004796 | 2021-12-01 | FT-FY22-11192021-004796-A | <1 | FT-FY22-11192021-004796-B | <1
WS- 004797 | 2021-08-30 | 2022-08-30 | 2 | Combo Faucet | In classroom 265 |  | Left | WF-08302021-004797 | 2021-12-01 | FT-FY22-11192021-004797-A | <1 | FT-FY22-11192021-004797-B | <1
WS- 004798 | 2021-03-08 | 2022-03-08 | 2 | Combo Fountain | In classroom 265 |  | Right | WF-03082021-004798 | 2021-12-01 | FT-FY22-11192021-004798-A | <1 | FT-FY22-11192021-004798-B | <1
WS- 004799 | 2021-03-08 | 2022-03-08 | 2 | Break Room | In teacher work room 285 |  |  | WF-03082021-004799 | 2021-12-01 | FT-FY22-11192021-004799-A | <1 | FT-FY22-11192021-004799-B | <1
WS- 004800 | 2021-03-08 | 2022-03-08 | 1 | Cooler | In entrance to boy/girl restroom near main lobby | High | Left | WF-03082021-004800 | 2021-12-01 | FT-FY22-11192021-004800-A | <1 | FT-FY22-11192021-004800-B | <1
WS- 004801 | 2021-03-08 | 2022-03-08 | 1 | Cooler | In entrance to boy/girl restroom near main lobby | Low | Right | WF-03082021-004801 | 2021-12-01 | FT-FY22-11192021-004801-A | <1 | FT-FY22-11192021-004801-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004772 | 2021-01-22 | 2022-01-22 | Basement | Food Prep Sink | In kitchen on east wall | Left | WF-01222021-004772 | 2021-12-01 | FT-FY22-11192021-004772-A | <1 | FT-FY22-11192021-004772-B | <1
WS- 004773 | 2021-01-22 | 2022-01-22 | Basement | Food Prep Sink | In kitchen on east wall | Right | WF-01222021-004773 | 2021-12-01 | FT-FY22-11192021-004773-A | <1 | FT-FY22-11192021-004773-B | <1
WS- 004774 | 2021-01-22 | 2022-01-22 | Basement | Food Prep Sink | In kitchen on island | Left | WF-01222021-004774 | 2021-12-01 | FT-FY22-11192021-004774-A | <1 | FT-FY22-11192021-004774-B | <1
WS- 004775 | 2021-01-21 | 2022-01-21 | Basement | Food Prep Sink | In kitchen on island | Right | WF-01212021-004775 | 2021-12-01 | FT-FY22-11192021-004775-A | <1 | FT-FY22-11192021-004775-B | <1