## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002800 | 2021-02-17 | 2022-02-17 | Ground Floor | Food Prep Sink | In kitchen on north wall |  |  | WF-02172021-002800 | 2022-02-11 | FT-FY22-01182022-002800-A | 6.6 | FT-FY22-01182022-002800-B | <1
WS- 002803 | 2021-04-12 | 2022-04-12 | Ground Floor | Cooler | In hallway adjacent to room G10 |  |  | WF-04122021-002803 | 2022-02-11 | FT-FY22-01182022-002803-A | <1 | FT-FY22-01182022-002803-B | <1
WS- 002804 | 2021-08-25 | 2022-08-25 | Ground Floor | Combo Faucet | In classroom G11 |  |  | WF-08252021-002804 | 2022-02-11 | FT-FY22-01182022-002804-A | 1.4 | FT-FY22-01182022-002804-B | <1
WS- 002805 | 2021-04-12 | 2022-04-12 | Ground Floor | Combo Fountain | In classroom G11 |  |  | WF-04122021-002805 | 2022-02-11 | FT-FY22-01182022-002805-A | 1.1 | FT-FY22-01182022-002805-B | <1
WS- 002806 | 2021-08-25 | 2022-08-25 | Ground Floor | Combo Faucet | In classroom G13 |  |  | WF-08252021-002806 | 2022-02-11 | FT-FY22-01182022-002806-A | <1 | FT-FY22-01182022-002806-B | <1
WS- 002807 | 2021-04-12 | 2022-04-12 | Ground Floor | Combo Fountain | In classroom G13 |  |  | WF-04122021-002807 | 2022-02-11 | FT-FY22-01182022-002807-A | <1 | FT-FY22-01182022-002807-B | <1
WS- 002808 | 2021-08-25 | 2022-08-25 | 1 | Combo Faucet | In classroom 110 |  |  | WF-08252021-002808 | 2022-02-11 | FT-FY22-01182022-002808-A | <1 | FT-FY22-01182022-002808-B | <1
WS- 002809 | 2021-04-12 | 2022-04-12 | 1 | Combo Fountain | In classroom 110 |  |  | WF-04122021-002809 | 2022-02-11 | FT-FY22-01182022-002809-A | <1 | FT-FY22-01182022-002809-B | <1
WS- 002810 | 2021-04-12 | 2022-04-12 | 1 | Combo Fountain | In classroom 108 |  | Left | WF-04122021-002810 | 2022-02-11 | FT-FY22-01182022-002810-A | 1.7 | FT-FY22-01182022-002810-B | <1
WS- 002811 | 2021-08-25 | 2022-08-25 | 1 | Combo Faucet | In classroom 108 |  | Right | WF-08252021-002811 | 2022-02-11 | FT-FY22-01182022-002811-A | <1 | FT-FY22-01182022-002811-B | <1
WS- 002812 | 2021-08-25 | 2022-08-25 | 1 | Combo Faucet | In classroom 107 |  |  | WF-08252021-002812 | 2022-02-11 | FT-FY22-01182022-002812-A | 1.7 | FT-FY22-01182022-002812-B | <1
WS- 002813 | 2021-04-12 | 2022-04-12 | 1 | Combo Fountain | In classroom 107 |  |  | WF-04122021-002813 | 2022-02-11 | FT-FY22-01182022-002813-A | <1 | FT-FY22-01182022-002813-B | <1
WS- 002816 | 2021-04-12 | 2022-04-12 | 1 | Health Suite | In health suite 104 |  |  | WF-04122021-002816 | 2022-02-11 | FT-FY22-01182022-002816-A | <1 | FT-FY22-01182022-002816-B | <1
WS- 002822 | 2021-04-12 | 2022-04-12 | 2 | Cooler | In hallway adjacent to girls' restroom | Low | Right | WF-04122021-002822 | 2022-02-11 | FT-FY22-01182022-002822-A | <1 | FT-FY22-01182022-002822-B | <1
WS- 002823 | 2021-04-12 | 2022-04-12 | 2 | Cooler | In hallway adjacent to room 201 | Low | Right | WF-04122021-002823 | 2022-02-11 | FT-FY22-01182022-002823-A | <1 | FT-FY22-01182022-002823-B | <1
WS- 002824 | 2021-04-12 | 2022-04-12 | 2 | Cooler | In hallway adjacent to room 201 | High | Left | WF-04122021-002824 | 2022-02-11 | FT-FY22-01182022-002824-A | <1 | FT-FY22-01182022-002824-B | <1
WS- 002825 | 2021-04-12 | 2022-04-12 | 3 | Cooler | In hallway adjacent to girls' restroom | High | Left | WF-04122021-002825 | 2022-02-11 | FT-FY22-01182022-002825-A | <1 | FT-FY22-01182022-002825-B | <1
WS- 002826 | 2021-04-12 | 2022-04-12 | 3 | Cooler | In hallway adjacent to girls' restroom | Low | Right | WF-04122021-002826 | 2022-02-11 | FT-FY22-01182022-002826-A | <1 | FT-FY22-01182022-002826-B | <1
WS- 002827 | 2021-04-12 | 2022-04-12 | 3 | Cooler | In hallway adjacent to boys' restroom | High | Left | WF-04122021-002827 | 2022-02-11 | FT-FY22-01182022-002827-A | <1 | FT-FY22-01182022-002827-B | <1
WS- 002828 | 2021-04-12 | 2022-04-12 | 3 | Cooler | In hallway adjacent to boys' restroom | Low | Right | WF-04122021-002828 | 2022-02-11 | FT-FY22-01182022-002828-A | <1 | FT-FY22-01182022-002828-B | <1
WS- 002830 | 2021-08-25 | 2022-08-25 | Ground Floor | Combo Faucet | Annex, in classroom G17 |  |  | WF-08252021-002830 | 2022-02-11 | FT-FY22-01182022-002830-A | <1 | FT-FY22-01182022-002830-B | <1
WS- 002831 | 2021-04-12 | 2022-04-12 | Ground Floor | Combo Fountain | Annex, in classroom G17 |  |  | WF-04122021-002831 | 2022-02-11 | FT-FY22-01182022-002831-A | <1 | FT-FY22-01182022-002831-B | <1
WS- 002832 | 2021-04-12 | 2022-04-12 | Ground Floor | Combo Fountain | Annex, in classroom G16 |  |  | WF-04122021-002832 | 2022-02-11 | FT-FY22-01182022-002832-A | <1 | FT-FY22-01182022-002832-B | <1
WS- 002833 | 2021-08-25 | 2022-08-25 | Ground Floor | Combo Faucet | Annex, in classroom G16 |  |  | WF-08252021-002833 | 2022-02-11 | FT-FY22-01182022-002833-A | <1 | FT-FY22-01182022-002833-B | <1
WS- 002834 | 2021-04-12 | 2022-04-12 | Ground Floor | Combo Fountain | Annex, in classroom G14 |  |  | WF-04122021-002834 | 2022-02-11 | FT-FY22-01182022-002834-A | 1.0 | FT-FY22-01182022-002834-B | <1
WS- 002835 | 2021-08-25 | 2022-08-25 | Ground Floor | Combo Faucet | Annex, in classroom G14 |  |  | WF-08252021-002835 | 2022-02-11 | FT-FY22-01182022-002835-A | <1 | FT-FY22-01182022-002835-B | <1
WS- 002836 | 2021-08-25 | 2022-08-25 | Ground Floor | Combo Faucet | Annex, in music room G15 |  |  | WF-08252021-002836 | 2022-02-11 | FT-FY22-01182022-002836-A | <1 | FT-FY22-01182022-002836-B | <1
WS- 002837 | 2021-04-12 | 2022-04-12 | Ground Floor | Combo Fountain | Annex, in music room G15 |  |  | WF-04122021-002837 | 2022-02-11 | FT-FY22-01182022-002837-A | 5.5 | FT-FY22-01182022-002837-B | <1
WS- 002839 | 2021-08-25 | 2022-08-25 | 1 | Combo Faucet | Annex, in classroom 118 first clockwise from entry door |  | Right | WF-08252021-002839 | 2022-02-11 | FT-FY22-01182022-002839-A | <1 | FT-FY22-01182022-002839-B | <1
WS- 002840 | 2021-04-12 | 2022-04-12 | 1 | Combo Fountain | Annex, in classroom 118 second clockwise from entry door |  | Right | WF-04122021-002840 | 2022-02-11 | FT-FY22-01182022-002840-A | <1 | FT-FY22-01182022-002840-B | <1
WS- 002841 | 2021-08-25 | 2022-08-25 | 1 | Combo Faucet | Annex, in classroom 118 third clockwise from entry door |  | Left | WF-08252021-002841 | 2022-02-11 | FT-FY22-01182022-002841-A | <1 | FT-FY22-01182022-002841-B | <1
WS- 002842 | 2021-04-12 | 2022-04-12 | 1 | Combo Fountain | Annex, in classroom 118 fourth clockwise from entry door |  | Right | WF-04122021-002842 | 2022-02-11 | FT-FY22-01182022-002842-A | <1 | FT-FY22-01182022-002842-B | <1
WS- 002843 | 2021-04-12 | 2022-04-12 | 1 | Combo Fountain | Annex, in classroom 118 fifth clockwise from entry door |  |  | WF-04122021-002843 | 2022-02-11 | FT-FY22-01182022-002843-A | <1 | FT-FY22-01182022-002843-B | <1
WS- 002844 | 2021-08-25 | 2022-08-25 | 1 | Combo Faucet | Annex, in classroom 118 sixth clockwise from entry door |  |  | WF-08252021-002844 | 2022-02-11 | FT-FY22-01182022-002844-A | <1 | FT-FY22-01182022-002844-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002801 | 2021-02-17 | 2022-02-17 | Ground Floor | Food Prep Sink | In kitchen on south wall | WF-02172021-002801 | 2022-02-11 | FT-FY22-01182022-002801-A | <1 | FT-FY22-01182022-002801-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002800 | 2022-02-16 | 2023-02-16 | Ground Floor | Food Prep Sink | In kitchen on north wall | WF-02162022-002800 | 2022-03-13 | FT-FY22-02212022-002800-A | <1 | FT-FY22-02212022-002800-B | <1
WS- 002837 | 2022-02-16 | 2023-02-16 | Ground Floor | Combo Fountain | Annex, in music room G15 | WF-02162022-002837 | 2022-03-13 | FT-FY22-02212022-002837-A | <1 | FT-FY22-02212022-002837-B | <1