## FY26 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-014730 | 2025-09-16 | 2026-09-16 | 1 | Combo Faucet | In room H-100 classroom |  |  | WF-09162025-014730 | 2025-11-10 | FT-FY26-09302025-014730-A | <2 | FT-FY26-09302025-014730-B | <2
WS-014750 | 2025-04-28 | 2026-04-28 | Basement | Bottle Filler | In room 001 gym/cafeteria |  |  | WF-04282025-014750 | 2025-11-10 | FT-FY26-09302025-014750-A | <2 | FT-FY26-09302025-014750-B | <2
WS-014751 | 2025-04-28 | 2026-04-28 | Basement | Cooler | In room 001 gym/cafeteria | High | Left | WF-04282025-014751 | 2025-11-10 | FT-FY26-09302025-014751-A | <2 | FT-FY26-09302025-014751-B | <2
WS-014752 | 2025-04-28 | 2026-04-28 | Basement | Cooler | In room 001 gym/cafeteria | Low | Right | WF-04282025-014752 | 2025-11-10 | FT-FY26-09302025-014752-A | <2 | FT-FY26-09302025-014752-B | <2
WS-014761 | 2025-04-28 | 2026-04-28 | Basement | Bottle Filler | In mezzanine over looking the gym adjacent to 015 mechanical room |  |  | WF-04282025-014761 | 2025-11-10 | FT-FY26-09302025-014761-A | <2 | FT-FY26-09302025-014761-B | <2
WS-014762 | 2025-04-28 | 2026-04-28 | Basement | Cooler | In mezzanine over looking the gym adjacent to 015 mechanical room | High | Left | WF-04282025-014762 | 2025-11-10 | FT-FY26-09302025-014762-A | <2 | FT-FY26-09302025-014762-B | <2
WS-014763 | 2025-04-28 | 2026-04-28 | Basement | Cooler | In mezzanine over looking the gym adjacent to 015 mechanical room | Low | Right | WF-04282025-014763 | 2025-11-10 | FT-FY26-09302025-014763-A | <2 | FT-FY26-09302025-014763-B | <2
WS-014764 | 2025-04-28 | 2026-04-28 | 1 | Health Suite | In room 112 health suite |  |  | WF-04282025-014764 | 2025-11-10 | FT-FY26-09302025-014764-A | <2 | FT-FY26-09302025-014764-B | <2
WS-014766 | 2025-04-28 | 2026-04-28 | Basement | Combo Fountain | In room H-008 instruction coach |  |  | WF-04282025-014766 | 2025-11-10 | FT-FY26-09302025-014766-A | <2 | FT-FY26-09302025-014766-B | <2
WS-014767 | 2025-09-16 | 2026-09-16 | Basement | Combo Faucet | In room H-005 classroom |  |  | WF-09162025-014767 | 2025-11-10 | FT-FY26-09302025-014767-A | <2 | FT-FY26-09302025-014767-B | <2
WS-014768 | 2025-04-28 | 2026-04-28 | Basement | Combo Fountain | In room H-005 classroom |  |  | WF-04282025-014768 | 2025-11-10 | FT-FY26-09302025-014768-A | <2 | FT-FY26-09302025-014768-B | <2
WS-014773 | 2025-09-16 | 2026-09-16 | 1 | Combo Faucet | In room H-106 classroom |  |  | WF-09162025-014773 | 2025-11-10 | FT-FY26-09302025-014773-A | <2 | FT-FY26-09302025-014773-B | <2
WS-014774 | 2025-04-28 | 2026-04-28 | 1 | Combo Fountain | In room H-106 classroom |  |  | WF-04282025-014774 | 2025-11-10 | FT-FY26-09302025-014774-A | <2 | FT-FY26-09302025-014774-B | <2
WS-014775 | 2025-04-28 | 2026-04-28 | 1 | Combo Fountain | In room H-100 classroom |  |  | WF-04282025-014775 | 2025-11-10 | FT-FY26-09302025-014775-A | <2 | FT-FY26-09302025-014775-B | <2
WS-014776 | 2025-09-16 | 2026-09-16 | 1 | Combo Faucet | In room H-102 classroom |  |  | WF-09162025-014776 | 2025-11-10 | FT-FY26-09302025-014776-A | <2 | FT-FY26-09302025-014776-B | <2
WS-014777 | 2025-04-28 | 2026-04-28 | 1 | Combo Fountain | In room H-102 classroom |  |  | WF-04282025-014777 | 2025-11-10 | FT-FY26-09302025-014777-A | <2 | FT-FY26-09302025-014777-B | <2
WS-014778 | 2025-09-16 | 2026-09-16 | 1 | Combo Faucet | In room H-104 classroom |  |  | WF-09162025-014778 | 2025-11-10 | FT-FY26-09302025-014778-A | <2 | FT-FY26-09302025-014778-B | <2
WS-014779 | 2025-04-28 | 2026-04-28 | 1 | Combo Fountain | In room H-104 classroom |  |  | WF-04282025-014779 | 2025-11-10 | FT-FY26-09302025-014779-A | <2 | FT-FY26-09302025-014779-B | <2
WS-014781 | 2025-04-28 | 2026-04-28 | 2 | Combo Fountain | In room H-207 classroom |  |  | WF-04282025-014781 | 2025-11-10 | FT-FY26-09302025-014781-A | <2 | FT-FY26-09302025-014781-B | <2
WS-014783 | 2025-04-28 | 2026-04-28 | 2 | Combo Fountain | In room H-200 classroom |  |  | WF-04282025-014783 | 2025-11-10 | FT-FY26-09302025-014783-A | <2 | FT-FY26-09302025-014783-B | <2
WS-014784 | 2025-09-16 | 2026-09-16 | 2 | Combo Faucet | In room H-202 classroom |  |  | WF-09162025-014784 | 2025-11-10 | FT-FY26-09302025-014784-A | <2 | FT-FY26-09302025-014784-B | <2
WS-014785 | 2025-04-28 | 2026-04-28 | 2 | Combo Fountain | In room H-202 classroom |  |  | WF-04282025-014785 | 2025-11-10 | FT-FY26-09302025-014785-A | <2 | FT-FY26-09302025-014785-B | <2
WS-014787 | 2025-04-28 | 2026-04-28 | 2 | Combo Fountain | In room H-205 classroom |  |  | WF-04282025-014787 | 2025-11-10 | FT-FY26-09302025-014787-A | <2 | FT-FY26-09302025-014787-B | <2
WS-014788 | 2025-04-28 | 2026-04-28 | 1 | Bottle Filler | In lobby adjacent to 111 welcome center |  |  | WF-04282025-014788 | 2025-11-10 | FT-FY26-09302025-014788-A | <2 | FT-FY26-09302025-014788-B | <2
WS-014789 | 2025-04-28 | 2026-04-28 | 1 | Cooler | In lobby adjacent to 111 welcome center | High | Left | WF-04282025-014789 | 2025-11-10 | FT-FY26-09302025-014789-A | <2 | FT-FY26-09302025-014789-B | <2
WS-014790 | 2025-04-28 | 2026-04-28 | 1 | Cooler | In lobby adjacent to 111 welcome center | Low | Right | WF-04282025-014790 | 2025-11-10 | FT-FY26-09302025-014790-A | <2 | FT-FY26-09302025-014790-B | <2
WS-014791 | 2025-04-28 | 2026-04-28 | 1 | Break Room | In room A-129 staff lounge |  |  | WF-04282025-014791 | 2025-11-10 | FT-FY26-09302025-014791-A | <2 | FT-FY26-09302025-014791-B | <2
WS-014793 | 2025-04-28 | 2026-04-28 | 1 | Bottle Filler | In room A-125 music room |  |  | WF-04282025-014793 | 2025-11-10 | FT-FY26-09302025-014793-A | <2 | FT-FY26-09302025-014793-B | <2
WS-014794 | 2025-04-28 | 2026-04-28 | 1 | Cooler | In room A-125 music room | High | Left | WF-04282025-014794 | 2025-11-10 | FT-FY26-09302025-014794-A | <2 | FT-FY26-09302025-014794-B | <2
WS-014795 | 2025-04-28 | 2026-04-28 | 1 | Cooler | In room A-125 music room | Low | Right | WF-04282025-014795 | 2025-11-10 | FT-FY26-09302025-014795-A | <2 | FT-FY26-09302025-014795-B | <2
WS-014798 | 2025-04-28 | 2026-04-28 | 2 | Cooler | In hallway adjacent to room A-218 | High | Left | WF-04282025-014798 | 2025-11-10 | FT-FY26-09302025-014798-A | <2 | FT-FY26-09302025-014798-B | <2
WS-014799 | 2025-04-28 | 2026-04-28 | 2 | Cooler | In hallway adjacent to room A-218 | Low | Right | WF-04282025-014799 | 2025-11-10 | FT-FY26-09302025-014799-A | <2 | FT-FY26-09302025-014799-B | <2
WS-014802 | 2025-04-28 | 2026-04-28 | 3 | Bottle Filler | In hallway adjacent to room A-308 |  |  | WF-04282025-014802 | 2025-11-10 | FT-FY26-09302025-014802-A | <2 | FT-FY26-09302025-014802-B | <2
WS-014803 | 2025-04-28 | 2026-04-28 | 3 | Cooler | In hallway adjacent to room A-308 | High | Left | WF-04282025-014803 | 2025-11-10 | FT-FY26-09302025-014803-A | <2 | FT-FY26-09302025-014803-B | <2
WS-014804 | 2025-04-28 | 2026-04-28 | 3 | Cooler | In hallway adjacent to room A-308 | Low | Right | WF-04282025-014804 | 2025-11-10 | FT-FY26-09302025-014804-A | <2 | FT-FY26-09302025-014804-B | <2
WS-014809 | 2025-04-28 | 2026-04-28 | 2 | Cooler | In hallway across from elevator and room 216 | High | Left | WF-04282025-014809 | 2025-11-10 | FT-FY26-09302025-014809-A | <2 | FT-FY26-09302025-014809-B | <2
WS-014810 | 2025-04-28 | 2026-04-28 | 2 | Cooler | In hallway across from elevator and room 216 | Low | Right | WF-04282025-014810 | 2025-11-10 | FT-FY26-09302025-014810-A | <2 | FT-FY26-09302025-014810-B | <2
WS-014815 | 2025-04-28 | 2026-04-28 | 2 | Break Room | In room H-203 |  |  | WF-04282025-014815 | 2025-11-10 | FT-FY26-09302025-014815-A | <2 | FT-FY26-09302025-014815-B | <2

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-014754 | 2024-11-26 | 2025-11-26 | Basement | Food Prep Sink | In kitchen second clockwise from entry | WF-11262024-014754 | 2025-11-10 | FT-FY26-09302025-014754-A | <2 | FT-FY26-09302025-014754-B | <2