## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-014909 | 2020-08-12 | 2021-08-12 | Basement | Bottle Filler | In hallway adjacent to room L35 MDF |  |  | WF-08122020-014909 | 2021-04-12 | FT-FY21-042021-014909-A | <1 | FT-FY21-042021-014909-B | <1
WS-014910 | 2020-08-12 | 2021-08-12 | Basement | Cooler | In hallway adjacent to room L35 MDF | High | Left | WF-08122020-014910 | 2021-04-12 | FT-FY21-042021-014910-A | <1 | FT-FY21-042021-014910-B | <1
WS-014911 | 2020-08-12 | 2021-08-12 | Basement | Cooler | In hallway adjacent to room L35 MDF | Low | Right | WF-08122020-014911 | 2021-04-12 | FT-FY21-042021-014911-A | <1 | FT-FY21-042021-014911-B | <1
WS-014912 | 2020-05-13 | 2021-05-13 | Basement | Break Room | In room L36 teacher collaboration |  |  | WF-05132020-014912 | 2021-04-12 | FT-FY21-042021-014912-A | <1 | FT-FY21-042021-014912-B | <1
WS-014913 | 2020-05-13 | 2021-05-13 | Basement | Break Room | In room L16 staff lounge |  |  | WF-05132020-014913 | 2021-04-12 | FT-FY21-042021-014913-A | <1 | FT-FY21-042021-014913-B | <1
WS-014914 | 2020-05-13 | 2021-05-13 | Basement | Combo Fountain | In room L16 staff lounge |  |  | WF-05132020-014914 | 2021-04-12 | FT-FY21-042021-014914-A | <1 | FT-FY21-042021-014914-B | <1
WS-014916 | 2020-05-13 | 2021-05-13 | 1 | Combo Fountain | In room 113 reading in 114 office/workroom |  |  | WF-05132020-014916 | 2021-04-12 | FT-FY21-042021-014916-A | <1 | FT-FY21-042021-014916-B | <1
WS-014917 | 2020-05-13 | 2021-05-13 | 1 | Combo Fountain | In room 111 reading in 110 makerspace |  |  | WF-05132020-014917 | 2021-04-12 | FT-FY21-042021-014917-A | <1 | FT-FY21-042021-014917-B | <1
WS-014920 | 2020-05-13 | 2021-05-13 | 1 | Combo Fountain | In room 108 speech/ot/pt |  |  | WF-05132020-014920 | 2021-04-12 | FT-FY21-042021-014920-A | <1 | FT-FY21-042021-014920-B | <1
WS-014922 | 2020-05-13 | 2021-05-13 | 1 | Combo Fountain | In room 119 speech/ot/pt |  |  | WF-05132020-014922 | 2021-04-12 | FT-FY21-042021-014922-A | <1 | FT-FY21-042021-014922-B | <1
WS-014924 | 2020-05-13 | 2021-05-13 | 1 | Combo Fountain | In room 106 speech/ot/pt |  |  | WF-05132020-014924 | 2021-04-12 | FT-FY21-042021-014924-A | <1 | FT-FY21-042021-014924-B | <1
WS-014925 | 2020-05-13 | 2021-05-13 | 1 | Break Room | In room 103 teacher collaboration |  |  | WF-05132020-014925 | 2021-04-12 | FT-FY21-042021-014925-A | <1 | FT-FY21-042021-014925-B | <1
WS-014927 | 2020-05-13 | 2021-05-13 | 1 | Health Suite | In room 127 treatment |  |  | WF-05132020-014927 | 2021-04-12 | FT-FY21-042021-014927-A | <1 | FT-FY21-042021-014927-B | <1
WS-014928 | 2020-05-13 | 2021-05-13 | 1 | Combo Fountain | In room 127 treatment |  |  | WF-05132020-014928 | 2021-04-12 | FT-FY21-042021-014928-A | <1 | FT-FY21-042021-014928-B | <1
WS-014929 | 2020-05-13 | 2021-05-13 | 1 | Bottle Filler | In hallway adjacent to stair D level 1 |  |  | WF-05132020-014929 | 2021-04-12 | FT-FY21-042021-014929-A | <1 | FT-FY21-042021-014929-B | <1
WS-014930 | 2020-05-13 | 2021-05-13 | 1 | Cooler | In hallway adjacent to stair D level 1 | High | Left | WF-05132020-014930 | 2021-04-12 | FT-FY21-042021-014930-A | <1 | FT-FY21-042021-014930-B | <1
WS-014931 | 2020-05-13 | 2021-05-13 | 1 | Cooler | In hallway adjacent to stair D level 1 | Low | Right | WF-05132020-014931 | 2021-04-12 | FT-FY21-042021-014931-A | <1 | FT-FY21-042021-014931-B | <1
WS-014963 | 2020-05-13 | 2021-05-13 | 2 | Combo Fountain | In room 219 classroom |  |  | WF-05132020-014963 | 2021-04-12 | FT-FY21-042021-014963-A | <1 | FT-FY21-042021-014963-B | <1
WS-014964 | 2020-05-13 | 2021-05-13 | 2 | Break Room | In room 222 |  |  | WF-05132020-014964 | 2021-04-12 | FT-FY21-042021-014964-A | <1 | FT-FY21-042021-014964-B | <1
WS-014966 | 2020-05-13 | 2021-05-13 | 3 | Combo Fountain | In room 305 classroom |  |  | WF-05132020-014966 | 2021-04-12 | FT-FY21-042021-014966-A | <1 | FT-FY21-042021-014966-B | <1
WS-014967 | 2020-08-12 | 2021-08-12 | 3 | Bottle Filler | In hallway across from stair B level 3 |  |  | WF-08122020-014967 | 2021-04-12 | FT-FY21-042021-014967-A | <1 | FT-FY21-042021-014967-B | <1
WS-014968 | 2020-08-12 | 2021-08-12 | 3 | Cooler | In hallway across from stair B level 3 | High | Left | WF-08122020-014968 | 2021-04-12 | FT-FY21-042021-014968-A | <1 | FT-FY21-042021-014968-B | <1
WS-014969 | 2020-08-12 | 2021-08-12 | 3 | Cooler | In hallway across from stair B level 3 | Low | Right | WF-08122020-014969 | 2021-04-12 | FT-FY21-042021-014969-A | 1.0 | FT-FY21-042021-014969-B | <1
WS-014975 | 2020-05-13 | 2021-05-13 | 1 | Bottle Filler | In room 113 reading room |  |  | WF-05132020-014975 | 2021-04-12 | FT-FY21-042021-014975-A | <1 | FT-FY21-042021-014975-B | <1
WS-014976 | 2020-05-13 | 2021-05-13 | 1 | Cooler | In room 113 reading room | High | Left | WF-05132020-014976 | 2021-04-12 | FT-FY21-042021-014976-A | <1 | FT-FY21-042021-014976-B | <1
WS-014977 | 2020-05-13 | 2021-05-13 | 1 | Cooler | In room 113 reading room | Low | Right | WF-05132020-014977 | 2021-04-12 | FT-FY21-042021-014977-A | <1 | FT-FY21-042021-014977-B | <1
WS-014978 | 2020-08-12 | 2021-08-12 | 2 | Bottle Filler | In hallway adjacent to room 203 |  |  | WF-08122020-014978 | 2021-04-12 | FT-FY21-042021-014978-A | 15.0 | FT-FY21-042021-014978-B | <1
WS-014979 | 2020-08-12 | 2021-08-12 | 2 | Cooler | In hallway adjacent to room 203 | High | Left | WF-08122020-014979 | 2021-04-12 | FT-FY21-042021-014979-A | <1 | FT-FY21-042021-014979-B | <1
WS-014980 | 2020-08-12 | 2021-08-12 | 2 | Cooler | In hallway adjacent to room 203 | Low | Right | WF-08122020-014980 | 2021-04-12 | FT-FY21-042021-014980-A | <1 | FT-FY21-042021-014980-B | <1
WS-014982 | 2020-08-11 | 2021-08-11 | Basement | Combo Fountain | In classroom L48 instrumental |  |  | WF-08112020-014982 | 2021-04-12 | FT-FY21-042021-014982-A | <1 | FT-FY21-042021-014982-B | <1
WS-014984 | 2020-08-11 | 2021-08-11 | Basement | Combo Fountain | In classroom L43 |  |  | WF-08112020-014984 | 2021-04-12 | FT-FY21-042021-014984-A | <1 | FT-FY21-042021-014984-B | <1
WS-014987 | 2020-08-11 | 2021-08-11 | Basement | Combo Fountain | In classroom L39 |  |  | WF-08112020-014987 | 2021-04-12 | FT-FY21-042021-014987-A | <1 | FT-FY21-042021-014987-B | <1
WS-014988 | 2020-08-11 | 2021-08-11 | 1 | Bottle Filler | In gym on boy's locker room side |  |  | WF-08112020-014988 | 2021-04-12 | FT-FY21-042021-014988-A | <1 | FT-FY21-042021-014988-B | <1
WS-014989 | 2020-08-11 | 2021-08-11 | 1 | Cooler | In gym on boy's locker room side | High | Left | WF-08112020-014989 | 2021-04-12 | FT-FY21-042021-014989-A | <1 | FT-FY21-042021-014989-B | <1
WS-014990 | 2020-08-11 | 2021-08-11 | 1 | Cooler | In gym on boy's locker room side | Low | Right | WF-08112020-014990 | 2021-04-12 | FT-FY21-042021-014990-A | <1 | FT-FY21-042021-014990-B | <1
WS-014991 | 2020-08-11 | 2021-08-11 | 1 | Bottle Filler | In gym on girls's locker room side |  |  | WF-08112020-014991 | 2021-04-12 | FT-FY21-042021-014991-A | <1 | FT-FY21-042021-014991-B | <1
WS-014992 | 2020-08-11 | 2021-08-11 | 1 | Cooler | In gym on girls's locker room side | High | Left | WF-08112020-014992 | 2021-04-12 | FT-FY21-042021-014992-A | <1 | FT-FY21-042021-014992-B | <1
WS-014993 | 2020-08-11 | 2021-08-11 | 1 | Cooler | In gym on girls's locker room side | Low | Right | WF-08112020-014993 | 2021-04-12 | FT-FY21-042021-014993-A | <1 | FT-FY21-042021-014993-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-014902 | 2021-02-17 | 2022-02-17 | Basement | Food Prep Sink | In kitchen third clockwise from entry | WF-02172021-014902 | 2021-04-12 | FT-FY21-042021-014902-A | <1 | FT-FY21-042021-014902-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-014978 | 2021-04-12 | 2022-04-12 | 2 | Bottle Filler | In hallway adjacent to room 203 | WF-04122021-014978 | 2021-05-04 | FT-FY21-042021-014978-A | <1 | FT-FY21-042021-014978-B | <1