## FY26 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 006253 | 2026-08-03 | 2027-08-03 | Basement | Bottle Filler | In hallway adjacent to room 009 |  |  | WF-08032026-006253 | 2026-08-18 | FT-FY27-08062026-006253-A | <1 | FT-FY27-08062026-006253-B | <1
WS- 006254 | 2026-08-03 | 2027-08-03 | Basement | Cooler | In hallway adjacent to room 009 | High | Left | WF-08032026-006254 | 2026-08-18 | FT-FY27-08062026-006254-A | <1 | FT-FY27-08062026-006254-B | <1
WS- 006255 | 2026-08-03 | 2027-08-03 | Basement | Cooler | In hallway adjacent to room 009 | Low | Right | WF-08032026-006255 | 2026-08-18 | FT-FY27-08062026-006255-A | <1 | FT-FY27-08062026-006255-B | <1
WS- 006256 | 2026-08-03 | 2027-08-03 | 1 | Bottle Filler | In hallway adjacent to room 124 |  |  | WF-08032026-006256 | 2026-08-18 | FT-FY27-08062026-006256-A | <1 | FT-FY27-08062026-006256-B | <1
WS- 006257 | 2026-08-03 | 2027-08-03 | 1 | Cooler | In hallway adjacent to room 124 | High | Left | WF-08032026-006257 | 2026-08-18 | FT-FY27-08062026-006257-A | <1 | FT-FY27-08062026-006257-B | <1
WS- 006258 | 2026-08-03 | 2027-08-03 | 1 | Cooler | In hallway adjacent to room 124 | Low | Right | WF-08032026-006258 | 2026-08-18 | FT-FY27-08062026-006258-A | <1 | FT-FY27-08062026-006258-B | <1
WS- 006262 | 2026-08-03 | 2027-08-03 | 1 | Health Suite | In room 106 health suite |  |  | WF-08032026-006262 | 2026-08-18 | FT-FY27-08062026-006262-A | <1 | FT-FY27-08062026-006262-B | <1
WS- 006263 | 2026-08-03 | 2027-08-03 | 1 | Cooler | In hallway adjacent to room 131 gym | High | Left | WF-08032026-006263 | 2026-08-18 | FT-FY27-08062026-006263-A | <1 | FT-FY27-08062026-006263-B | <1
WS- 006264 | 2026-08-03 | 2027-08-03 | 1 | Cooler | In hallway adjacent to room 131 gym | Low | Right | WF-08032026-006264 | 2026-08-18 | FT-FY27-08062026-006264-A | <1 | FT-FY27-08062026-006264-B | <1
WS- 006265 | 2026-08-03 | 2027-08-03 | 2 | Bottle Filler | In hallway adjacent to room 209 |  |  | WF-08032026-006265 | 2026-08-18 | FT-FY27-08062026-006265-A | <1 | FT-FY27-08062026-006265-B | <1
WS- 006266 | 2026-08-03 | 2027-08-03 | 2 | Cooler | In hallway adjacent to room 209 | High | Left | WF-08032026-006266 | 2026-08-18 | FT-FY27-08062026-006266-A | <1 | FT-FY27-08062026-006266-B | <1
WS- 006267 | 2026-08-03 | 2027-08-03 | 2 | Cooler | In hallway adjacent to room 209 | Low | Right | WF-08032026-006267 | 2026-08-18 | FT-FY27-08062026-006267-A | <1 | FT-FY27-08062026-006267-B | <1
WS- 006270 | 2026-08-03 | 2027-08-03 | 3 | Break Room | In room 310 lactation |  |  | WF-08032026-006270 | 2026-08-18 | FT-FY27-08062026-006270-A | 1 | FT-FY27-08062026-006270-B | <1
WS- 006271 | 2026-08-03 | 2027-08-03 | 3 | Break Room | In room 301 staff lounge |  |  | WF-08032026-006271 | 2026-08-18 | FT-FY27-08062026-006271-A | <1 | FT-FY27-08062026-006271-B | <1