## FY23 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002691 | 2022-03-29 | 2023-03-29 | 1 | Bottle Filler | In auditorium |  |  | WF-03292022-002691 | 2022-12-19 | FT-FY23-11182022-002691-A | <1 | FT-FY23-11182022-002691-B | <1
WS- 009056 | 2022-03-29 | 2023-03-29 | 2 | Combo Fountain | In classroom 212 |  |  | WF-03292022-009056 | 2022-12-19 | FT-FY23-11182022-009056-A | <1 | FT-FY23-11182022-009056-B | <1
WS- 009061 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 101 | Low | Left | WF-09062022-009061 | 2022-12-19 | FT-FY23-11182022-009061-A | <1 | FT-FY23-11182022-009061-B | <1
WS- 009063 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 101 | High | Right | WF-09062022-009063 | 2022-12-19 | FT-FY23-11182022-009063-A | <1 | FT-FY23-11182022-009063-B | <1
WS- 009064 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 102 | High | Left | WF-09062022-009064 | 2022-12-19 | FT-FY23-11182022-009064-A | <1 | FT-FY23-11182022-009064-B | <1
WS- 009066 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 102 | Low | Right | WF-09062022-009066 | 2022-12-19 | FT-FY23-11182022-009066-A | <1 | FT-FY23-11182022-009066-B | <1
WS- 009067 | 2022-03-29 | 2023-03-29 | 1 | Break Room | In staff work room 113 |  |  | WF-03292022-009067 | 2022-12-19 | FT-FY23-11182022-009067-A | <1 | FT-FY23-11182022-009067-B | <1
WS- 009068 | 2022-03-29 | 2023-03-29 | 1 | Cooler | In hallway adjacent to room 104 | High | Left | WF-03292022-009068 | 2022-12-19 | FT-FY23-11182022-009068-A | <1 | FT-FY23-11182022-009068-B | <1
WS- 009069 | 2022-03-29 | 2023-03-29 | 1 | Cooler | In hallway adjacent to room 104 | Low | Right | WF-03292022-009069 | 2022-12-19 | FT-FY23-11182022-009069-A | <1 | FT-FY23-11182022-009069-B | <1
WS- 009072 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 104 | High | Right | WF-09062022-009072 | 2022-12-19 | FT-FY23-11182022-009072-A | <1 | FT-FY23-11182022-009072-B | <1
WS- 009073 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 106 | High | Left | WF-09062022-009073 | 2022-12-19 | FT-FY23-11182022-009073-A | <1 | FT-FY23-11182022-009073-B | <1
WS- 009074 | 2022-03-29 | 2023-03-29 | 1 | Combo Fountain | In classroom 106 | Low | Mid | WF-03292022-009074 | 2022-12-19 | FT-FY23-11182022-009074-A | <1 | FT-FY23-11182022-009074-B | <1
WS- 009075 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 106 | Low | Right | WF-09062022-009075 | 2022-12-19 | FT-FY23-11182022-009075-A | <1 | FT-FY23-11182022-009075-B | <1
WS- 009076 | 2022-03-29 | 2023-03-29 | 1 | Cooler | In hallway across from room 105 | High | Left | WF-03292022-009076 | 2022-12-19 | FT-FY23-11182022-009076-A | <1 | FT-FY23-11182022-009076-B | <1
WS- 009077 | 2022-03-29 | 2023-03-29 | 1 | Cooler | In hallway across from room 105 | Low | Right | WF-03292022-009077 | 2022-12-19 | FT-FY23-11182022-009077-A | <1 | FT-FY23-11182022-009077-B | <1
WS- 009078 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 107 | High | Left | WF-09062022-009078 | 2022-12-19 | FT-FY23-11182022-009078-A | <1 | FT-FY23-11182022-009078-B | <1
WS- 009080 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 107 | Low | Right | WF-09062022-009080 | 2022-12-19 | FT-FY23-11182022-009080-A | <1 | FT-FY23-11182022-009080-B | <1
WS- 009081 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 108 | Low | Left | WF-09062022-009081 | 2022-12-19 | FT-FY23-11182022-009081-A | <1 | FT-FY23-11182022-009081-B | <1
WS- 009083 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 108 | High | Right | WF-09062022-009083 | 2022-12-19 | FT-FY23-11182022-009083-A | <1 | FT-FY23-11182022-009083-B | <1
WS- 009084 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 109 | Low | Left | WF-09062022-009084 | 2022-12-19 | FT-FY23-11182022-009084-A | <1 | FT-FY23-11182022-009084-B | <1
WS- 009086 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 109 | High | Right | WF-09062022-009086 | 2022-12-19 | FT-FY23-11182022-009086-A | <1 | FT-FY23-11182022-009086-B | <1
WS- 009087 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 110 | Low | Left | WF-09062022-009087 | 2022-12-19 | FT-FY23-11182022-009087-A | <1 | FT-FY23-11182022-009087-B | <1
WS- 009089 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 110 | High | Right | WF-09062022-009089 | 2022-12-19 | FT-FY23-11182022-009089-A | <1 | FT-FY23-11182022-009089-B | <1
WS- 009090 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In resource room 103 | High | Left | WF-09062022-009090 | 2022-12-19 | FT-FY23-11182022-009090-A | <1 | FT-FY23-11182022-009090-B | <1
WS- 009094 | 2022-03-29 | 2023-03-29 | 1 | Cooler | In hallway across from room 154 | High | Left | WF-03292022-009094 | 2022-12-19 | FT-FY23-11182022-009094-A | <1 | FT-FY23-11182022-009094-B | <1
WS- 009095 | 2022-03-29 | 2023-03-29 | 1 | Cooler | In hallway across from room 154 | Low | Right | WF-03292022-009095 | 2022-12-19 | FT-FY23-11182022-009095-A | <1 | FT-FY23-11182022-009095-B | <1
WS- 009096 | 2022-03-29 | 2023-03-29 | 1 | Break Room | In staff work room 154 |  |  | WF-03292022-009096 | 2022-12-19 | FT-FY23-11182022-009096-A | <1 | FT-FY23-11182022-009096-B | <1
WS- 009097 | 2022-03-29 | 2023-03-29 | 2 | Cooler | In hallway across from room 254 | High | Left | WF-03292022-009097 | 2022-12-19 | FT-FY23-11182022-009097-A | <1 | FT-FY23-11182022-009097-B | <1
WS- 009098 | 2022-03-29 | 2023-03-29 | 2 | Cooler | In hallway across from room 254 | Low | Right | WF-03292022-009098 | 2022-12-19 | FT-FY23-11182022-009098-A | <1 | FT-FY23-11182022-009098-B | <1
WS- 009099 | 2022-03-29 | 2023-03-29 | 2 | Break Room | In staff work room 254 |  |  | WF-03292022-009099 | 2022-12-19 | FT-FY23-11182022-009099-A | <1 | FT-FY23-11182022-009099-B | <1
WS- 009102 | 2022-03-29 | 2023-03-29 | 2 | Combo Fountain | In science lab room 247 second clockwise from entry door |  |  | WF-03292022-009102 | 2022-12-19 | FT-FY23-11182022-009102-A | <1 | FT-FY23-11182022-009102-B | <1
WS- 009106 | 2022-03-29 | 2023-03-29 | 2 | Break Room | In classroom 209 |  |  | WF-03292022-009106 | 2022-12-19 | FT-FY23-11182022-009106-A | <1 | FT-FY23-11182022-009106-B | <1
WS- 009107 | 2022-03-29 | 2023-03-29 | 2 | Cooler | In hallway adjacent to room 204 | High | Left | WF-03292022-009107 | 2022-12-19 | FT-FY23-11182022-009107-A | <1 | FT-FY23-11182022-009107-B | <1
WS- 009109 | 2022-03-29 | 2023-03-29 | 2 | Cooler | In hallway across from room 212 | High | Left | WF-03292022-009109 | 2022-12-19 | FT-FY23-11182022-009109-A | <1 | FT-FY23-11182022-009109-B | <1
WS- 009110 | 2022-03-29 | 2023-03-29 | 2 | Cooler | In hallway across from room 212 | Low | Right | WF-03292022-009110 | 2022-12-19 | FT-FY23-11182022-009110-A | <1 | FT-FY23-11182022-009110-B | <1
WS- 009114 | 2022-03-29 | 2023-03-29 | 1 | Health Suite | In health suite 004 |  |  | WF-03292022-009114 | 2022-12-19 | FT-FY23-11182022-009114-A | <1 | FT-FY23-11182022-009114-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 009059 | 2022-01-12 | 2023-01-12 | Basement | Food Prep Sink | In kitchen first clockwise from entry | Right | WF-01122022-009059 | 2022-12-19 | FT-FY23-11182022-009059-A | <1 | FT-FY23-11182022-009059-B | <1