## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004109 | 2023-09-29 | 2024-09-29 | 2 | Bottle Filler | In hallway adjacent to room 204 | WF-09292023-004109 | 2023-12-12 | FT-FY24-11012023-004109-A | <1 | FT-FY24-11012023-004109-B | <1
WS- 004127 | 2023-08-31 | 2024-08-31 | 2 | Bottle Filler | In hallway adjacent to room 201 | WF-08312023-004127 | 2023-12-12 | FT-FY24-11012023-004127-A | <1 | FT-FY24-11012023-004127-B | <1
WS- 004217 | 2023-02-17 | 2024-02-17 | Basement | Cooler | In hallway adjacent to stairwell 4 | WF-02172023-004217 | 2023-12-12 | FT-FY24-11012023-004217-A | <1 | FT-FY24-11012023-004217-B | <1
WS- 004222 | 2023-02-17 | 2024-02-17 | Basement | Cooler | In hallway adjacent to stairwell 3 | WF-02172023-004222 | 2023-12-12 | FT-FY24-11012023-004222-A | <1 | FT-FY24-11012023-004222-B | <1
WS- 004223 | 2023-02-17 | 2024-02-17 | Basement | Cooler | In hallway adjacent to room B02 | WF-02172023-004223 | 2023-12-12 | FT-FY24-11012023-004223-A | <1 | FT-FY24-11012023-004223-B | <1
WS- 004224 | 2023-02-17 | 2024-02-17 | Basement | Cooler | In hallway adjacent to room B01 | WF-02172023-004224 | 2023-12-12 | FT-FY24-11012023-004224-A | <1 | FT-FY24-11012023-004224-B | <1
WS- 004225 | 2023-08-16 | 2024-08-16 | 1 | Combo Faucet | In classroom 125 | WF-08162023-004225 | 2023-12-12 | FT-FY24-11012023-004225-A | 1.1 | FT-FY24-11012023-004225-B | <1
WS- 004226 | 2023-02-17 | 2024-02-17 | 1 | Combo Fountain | In classroom 125 | WF-02172023-004226 | 2023-12-12 | FT-FY24-11012023-004226-A | <1 | FT-FY24-11012023-004226-B | <1
WS- 004227 | 2023-02-17 | 2024-02-17 | 1 | Break Room | In staff lounge | WF-02172023-004227 | 2023-12-12 | FT-FY24-11012023-004227-A | <1 | FT-FY24-11012023-004227-B | <1
WS- 004228 | 2023-02-17 | 2024-02-17 | 1 | Combo Fountain | In staff lounge | WF-02172023-004228 | 2023-12-12 | FT-FY24-11012023-004228-A | 4.0 | FT-FY24-11012023-004228-B | 1.3
WS- 004229 | 2023-02-17 | 2024-02-17 | 1 | Combo Fountain | In classroom 133 | WF-02172023-004229 | 2023-12-12 | FT-FY24-11012023-004229-A | <1 | FT-FY24-11012023-004229-B | <1
WS- 004230 | 2023-08-16 | 2024-08-16 | 1 | Combo Faucet | In classroom 133 | WF-08162023-004230 | 2023-12-12 | FT-FY24-11012023-004230-A | 1.2 | FT-FY24-11012023-004230-B | <1
WS- 004231 | 2023-08-16 | 2024-08-16 | 1 | Combo Faucet | In classroom 143 | WF-08162023-004231 | 2023-12-12 | FT-FY24-11012023-004231-A | <1 | FT-FY24-11012023-004231-B | 1.2
WS- 004232 | 2023-02-17 | 2024-02-17 | 1 | Combo Fountain | In classroom 143 | WF-02172023-004232 | 2023-12-12 | FT-FY24-11012023-004232-A | <1 | FT-FY24-11012023-004232-B | <1
WS- 004233 | 2023-08-16 | 2024-08-16 | 1 | Combo Faucet | In classroom 149 | WF-08162023-004233 | 2023-12-12 | FT-FY24-11012023-004233-A | 4.5 | FT-FY24-11012023-004233-B | <1
WS- 004234 | 2023-02-17 | 2024-02-17 | 1 | Combo Fountain | In classroom 149 | WF-02172023-004234 | 2023-12-12 | FT-FY24-11012023-004234-A | 4.0 | FT-FY24-11012023-004234-B | <1
WS- 004235 | 2023-02-17 | 2024-02-17 | 1 | Combo Fountain | In classroom 137 | WF-02172023-004235 | 2023-12-12 | FT-FY24-11012023-004235-A | 2.7 | FT-FY24-11012023-004235-B | <1
WS- 004236 | 2023-08-16 | 2024-08-16 | 1 | Combo Faucet | In classroom 137 | WF-08162023-004236 | 2023-12-12 | FT-FY24-11012023-004236-A | 5.2 | FT-FY24-11012023-004236-B | <1
WS- 004237 | 2023-02-17 | 2024-02-17 | 1 | Cooler | In hallway adjacent to principals office | WF-02172023-004237 | 2023-12-12 | FT-FY24-11012023-004237-A | <1 | FT-FY24-11012023-004237-B | <1
WS- 004238 | 2023-02-17 | 2024-02-17 | 1 | Cooler | In hallway adjacent to room 104 | WF-02172023-004238 | 2023-12-12 | FT-FY24-11012023-004238-A | <1 | FT-FY24-11012023-004238-B | <1
WS- 004239 | 2023-02-17 | 2024-02-17 | 1 | Health Suite | In health suite in treatment room 10 | WF-02172023-004239 | 2023-12-12 | FT-FY24-11012023-004239-A | 1.1 | FT-FY24-11012023-004239-B | <1
WS- 004240 | 2023-08-16 | 2024-08-16 | 1 | Combo Faucet | In classroom 113 | WF-08162023-004240 | 2023-12-12 | FT-FY24-11012023-004240-A | 3.9 | FT-FY24-11012023-004240-B | <1
WS- 004241 | 2023-02-17 | 2024-02-17 | 1 | Combo Fountain | In classroom 113 | WF-02172023-004241 | 2023-12-12 | FT-FY24-11012023-004241-A | <1 | FT-FY24-11012023-004241-B | <1
WS- 004242 | 2023-02-17 | 2024-02-17 | 1 | Combo Fountain | In classroom 122 | WF-02172023-004242 | 2023-12-12 | FT-FY24-11012023-004242-A | <1 | FT-FY24-11012023-004242-B | <1
WS- 004243 | 2023-08-16 | 2024-08-16 | 1 | Combo Faucet | In classroom 122 | WF-08162023-004243 | 2023-12-12 | FT-FY24-11012023-004243-A | 3.3 | FT-FY24-11012023-004243-B | <1
WS- 004244 | 2023-08-31 | 2024-08-31 | 2 | Cooler | In hallway adjacent to room 201 | WF-08312023-004244 | 2023-12-12 | FT-FY24-11012023-004244-A | <1 | FT-FY24-11012023-004244-B | <1
WS- 004245 | 2023-09-29 | 2024-09-29 | 2 | Cooler | In hallway adjacent to room 204 | WF-09292023-004245 | 2023-12-12 | FT-FY24-11012023-004245-A | <1 | FT-FY24-11012023-004245-B | <1
WS- 004247 | 2023-02-17 | 2024-02-17 | 2 | Combo Fountain | In classroom 208 | WF-02172023-004247 | 2023-12-12 | FT-FY24-11012023-004247-A | 2.4 | FT-FY24-11012023-004247-B | <1
WS- 004249 | 2023-02-17 | 2024-02-17 | 2 | Combo Fountain | In art room 217 | WF-02172023-004249 | 2023-12-12 | FT-FY24-11012023-004249-A | 1.3 | FT-FY24-11012023-004249-B | <1
WS- 004251 | 2023-02-17 | 2024-02-17 | 2 | Combo Fountain | In classroom 211 | WF-02172023-004251 | 2023-12-12 | FT-FY24-11012023-004251-A | <1 | FT-FY24-11012023-004251-B | <1
WS- 004261 | 2023-02-17 | 2024-02-17 | 3 | Classroom Faucet | In science lab room 332 on teachers island | WF-02172023-004261 | 2023-12-12 | FT-FY24-11012023-004261-A | <1 | FT-FY24-11012023-004261-B | <1
WS- 004265 | 2023-02-17 | 2024-02-17 | 3 | Cooler | In hallway adjacent to room 301 | WF-02172023-004265 | 2023-12-12 | FT-FY24-11012023-004265-A | <1 | FT-FY24-11012023-004265-B | <1
WS- 004268 | 2023-02-17 | 2024-02-17 | 3 | Combo Fountain | In room 312 | WF-02172023-004268 | 2023-12-12 | FT-FY24-11012023-004268-A | 1.0 | FT-FY24-11012023-004268-B | <1
WS- 007177 | 2023-02-17 | 2024-03-17 | 1 | Bottle Filler | In hallway adjacent to principals office | WF-02172023-007177 | 2023-12-12 | FT-FY24-11012023-007177-A | <1 | FT-FY24-11012023-007177-B | <1
WS- 012564 | 2023-02-17 | 2024-02-17 | 2 | Combo Fountain | In classroom 230 | WF-02172023-012564 | 2023-12-12 | FT-FY24-11012023-012564-A | 5.1 | FT-FY24-11012023-012564-B | 2.0
WS- 012566 | 2023-02-17 | 2024-02-17 | 3 | Classroom Faucet | In science lab prep room 333 | WF-02172023-012566 | 2023-12-12 | FT-FY24-11012023-012566-A | 21.9 | FT-FY24-11012023-012566-B | 6.9

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004221 | 2022-12-28 | 2023-12-28 | Basement | Food Prep Sink | In kitchen fourth clockwise from entry door | WF-12282022-004221 | 2023-12-12 | FT-FY24-11012023-004221-A | <1 | FT-FY24-11012023-004221-B | <1