## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000285 | 2021-04-13 | 2022-04-13 | 3 | Cooler | In hallway adjacent to room 310 |  |  | WF-04132021-000285 | 2022-02-16 | FT-FY22-01182022-000285-A | <1 | FT-FY22-01182022-000285-B | <1
WS- 000289 | 2021-04-13 | 2022-04-13 | 3 | Cooler | In hallway adjacent to custodial closet 303 |  |  | WF-04132021-000289 | 2022-02-16 | FT-FY22-01182022-000289-A | <1 | FT-FY22-01182022-000289-B | <1
WS- 000294 | 2021-04-13 | 2022-04-13 | 2 | Cooler | In hallway adjacent to room 213 |  |  | WF-04132021-000294 | 2022-02-16 | FT-FY22-01182022-000294-A | <1 | FT-FY22-01182022-000294-B | <1
WS- 000296 | 2021-04-13 | 2022-04-13 | 2 | Break Room | In staff lounge 207 |  |  | WF-04132021-000296 | 2022-02-16 | FT-FY22-01182022-000296-A | <1 | FT-FY22-01182022-000296-B | <1
WS- 000298 | 2021-04-13 | 2022-04-13 | 2 | Cooler | In hallway adjacent to custodial closet |  |  | WF-04132021-000298 | 2022-02-16 | FT-FY22-01182022-000298-A | <1 | FT-FY22-01182022-000298-B | <1
WS- 000299 | 2021-04-13 | 2022-04-13 | 1 | Combo Fountain | In classroom 122 |  |  | WF-04132021-000299 | 2022-02-16 | FT-FY22-01182022-000299-A | <1 | FT-FY22-01182022-000299-B | <1
WS- 000303 | 2021-09-20 | 2022-09-20 | 1 | Combo Faucet | In classroom 122 |  |  | WF-09202021-000303 | 2022-02-16 | FT-FY22-01182022-000303-A | <1 | FT-FY22-01182022-000303-B | <1
WS- 000307 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In hallway adjacent to room 115 | High | Left | WF-04132021-000307 | 2022-02-16 | FT-FY22-01182022-000307-A | <1 | FT-FY22-01182022-000307-B | <1
WS- 000308 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In hallway adjacent to room 115 | Low | Right | WF-04132021-000308 | 2022-02-16 | FT-FY22-01182022-000308-A | <1 | FT-FY22-01182022-000308-B | <1
WS- 000309 | 2021-04-13 | 2022-04-13 | 1 | Combo Fountain | In classroom 115 |  |  | WF-04132021-000309 | 2022-02-16 | FT-FY22-01182022-000309-A | <1 | FT-FY22-01182022-000309-B | <1
WS- 000310 | 2021-09-20 | 2022-09-20 | 1 | Combo Faucet | In classroom 115 |  |  | WF-09202021-000310 | 2022-02-16 | FT-FY22-01182022-000310-A | <1 | FT-FY22-01182022-000310-B | <1
WS- 000313 | 2021-04-13 | 2022-04-13 | 1 | Combo Fountain | In classroom 120 |  |  | WF-04132021-000313 | 2022-02-16 | FT-FY22-01182022-000313-A | <1 | FT-FY22-01182022-000313-B | <1
WS- 000315 | 2021-09-20 | 2022-09-20 | 1 | Combo Faucet | In classroom 120 |  |  | WF-09202021-000315 | 2022-02-16 | FT-FY22-01182022-000315-A | <1 | FT-FY22-01182022-000315-B | <1
WS- 000316 | 2021-04-13 | 2022-04-13 | 1 | Combo Fountain | In classroom 113 |  |  | WF-04132021-000316 | 2022-02-16 | FT-FY22-01182022-000316-A | <1 | FT-FY22-01182022-000316-B | <1
WS- 000318 | 2021-09-20 | 2022-09-20 | 1 | Combo Faucet | In classroom 113 |  |  | WF-09202021-000318 | 2022-02-16 | FT-FY22-01182022-000318-A | <1 | FT-FY22-01182022-000318-B | <1
WS- 000323 | 2021-04-13 | 2022-04-13 | 1 | Combo Fountain | In classroom 111 |  | Right | WF-04132021-000323 | 2022-02-16 | FT-FY22-01182022-000323-A | <1 | FT-FY22-01182022-000323-B | <1
WS- 000325 | 2021-09-20 | 2022-09-20 | 1 | Combo Faucet | In classroom 111 |  | Left | WF-09202021-000325 | 2022-02-16 | FT-FY22-01182022-000325-A | <1 | FT-FY22-01182022-000325-B | <1
WS- 000329 | 2021-04-13 | 2022-04-13 | Basement | Cooler | In hallway adjacent to staff restroom | High | Left | WF-04132021-000329 | 2022-02-16 | FT-FY22-01182022-000329-A | <1 | FT-FY22-01182022-000329-B | <1
WS- 000330 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In hallway adjacent to staff restroom | High | Left | WF-04132021-000330 | 2022-02-16 | FT-FY22-01182022-000330-A | <1 | FT-FY22-01182022-000330-B | <1
WS- 000331 | 2021-04-13 | 2022-04-13 | Basement | Cooler | In hallway adjacent to staff restroom | Low | Right | WF-04132021-000331 | 2022-02-16 | FT-FY22-01182022-000331-A | <1 | FT-FY22-01182022-000331-B | <1
WS- 000333 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In hallway adjacent to staff restroom | Low | Right | WF-04132021-000333 | 2022-02-16 | FT-FY22-01182022-000333-A | <1 | FT-FY22-01182022-000333-B | <1
WS- 000336 | 2021-09-20 | 2022-09-20 | Basement | Combo Faucet | In classroom 012 |  | Left | WF-09202021-000336 | 2022-02-16 | FT-FY22-01182022-000336-A | <1 | FT-FY22-01182022-000336-B | <1
WS- 000337 | 2021-04-13 | 2022-04-13 | Basement | Combo Fountain | In classroom 012 |  | Right | WF-04132021-000337 | 2022-02-16 | FT-FY22-01182022-000337-A | <1 | FT-FY22-01182022-000337-B | <1
WS- 000340 | 2021-09-20 | 2022-09-20 | Basement | Combo Faucet | In classroom 014 |  | Left | WF-09202021-000340 | 2022-02-16 | FT-FY22-01182022-000340-A | <1 | FT-FY22-01182022-000340-B | <1
WS- 000343 | 2021-04-13 | 2022-04-13 | Basement | Combo Fountain | In classroom 014 |  | Right | WF-04132021-000343 | 2022-02-16 | FT-FY22-01182022-000343-A | <1 | FT-FY22-01182022-000343-B | <1
WS- 000345 | 2021-09-20 | 2022-09-20 | Basement | Combo Faucet | In classroom 016 |  | Left | WF-09202021-000345 | 2022-02-16 | FT-FY22-01182022-000345-A | <1 | FT-FY22-01182022-000345-B | <1
WS- 000348 | 2021-04-13 | 2022-04-13 | Basement | Combo Fountain | In classroom 016 |  | Right | WF-04132021-000348 | 2022-02-16 | FT-FY22-01182022-000348-A | <1 | FT-FY22-01182022-000348-B | <1
WS- 000351 | 2021-09-20 | 2022-09-20 | Basement | Combo Faucet | In classroom 018 |  | Left | WF-09202021-000351 | 2022-02-16 | FT-FY22-01182022-000351-A | <1 | FT-FY22-01182022-000351-B | <1
WS- 000354 | 2021-04-13 | 2022-04-13 | Basement | Combo Fountain | In classroom 018 |  | Right | WF-04132021-000354 | 2022-02-16 | FT-FY22-01182022-000354-A | <1 | FT-FY22-01182022-000354-B | <1
WS- 000356 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In multi-purpose room |  |  | WF-04132021-000356 | 2022-02-16 | FT-FY22-01182022-000356-A | <1 | FT-FY22-01182022-000356-B | <1
WS- 000361 | 2021-04-13 | 2022-04-13 | 1 | Health Suite | In health suite 114 |  |  | WF-04132021-000361 | 2022-02-16 | FT-FY22-01182022-000361-A | <1 | FT-FY22-01182022-000361-B | <1
WS- 000363 | 2021-04-13 | 2022-04-13 | 1 | Cooler | Annex, adjacent to boys' restroom | High | Left | WF-04132021-000363 | 2022-02-16 | FT-FY22-01182022-000363-A | <1 | FT-FY22-01182022-000363-B | <1
WS- 000365 | 2021-04-13 | 2022-04-13 | 1 | Cooler | Annex, adjacent to boys' restroom | Low | Right | WF-04132021-000365 | 2022-02-16 | FT-FY22-01182022-000365-A | <1 | FT-FY22-01182022-000365-B | <1
WS- 000463 | 2021-04-13 | 2022-04-13 | 2 | Cooler | Double annex, in hallway adjacent to M202 | High | Left | WF-04132021-000463 | 2022-02-16 | FT-FY22-01182022-000463-A | <1 | FT-FY22-01182022-000463-B | <1
WS- 000464 | 2021-04-13 | 2022-04-13 | 2 | Cooler | Double annex, in hallway adjacent to M202 | Low | Right | WF-04132021-000464 | 2022-02-16 | FT-FY22-01182022-000464-A | <1 | FT-FY22-01182022-000464-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000347 | 2022-02-07 | 2023-02-07 | 1 | Food Prep Sink | In kitchen second clockwise from entry door | High | WF-02072022-000347 | 2022-02-16 | FT-FY22-01182022-000347-A | <1 | FT-FY22-01182022-000347-B | <1
WS- 000350 | 2022-02-07 | 2023-02-07 | 1 | Food Prep Sink | In kitchen third clockwise from entry door |  | WF-02072022-000350 | 2022-02-16 | FT-FY22-01182022-000350-A | <1 | FT-FY22-01182022-000350-B | <1