## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 008841 | 2021-04-13 | 2022-04-13 | 1 | Bottle Filler | In hallway across from infant/toddler child development center 103 |  |  | WF-04132021-008841 | 2022-02-18 | FT-FY22-01182022-008841-A | <1 | FT-FY22-01182022-008841-B | <1
WS- 008842 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In hallway across from infant/toddler child development center 103 | High | Left | WF-04132021-008842 | 2022-02-18 | FT-FY22-01182022-008842-A | <1 | FT-FY22-01182022-008842-B | <1
WS- 008843 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In hallway across from infant/toddler child development center 103 | Low | Right | WF-04132021-008843 | 2022-02-18 | FT-FY22-01182022-008843-A | <1 | FT-FY22-01182022-008843-B | <1
WS- 008845 | 2021-04-13 | 2022-04-13 | 1 | Classroom Faucet | In infant/toddler child development center 101 |  | Left | WF-04132021-008845 | 2022-02-18 | FT-FY22-01182022-008845-A | <1 | FT-FY22-01182022-008845-B | <1
WS- 008846 | 2021-04-13 | 2022-04-13 | 1 | Classroom Faucet | In infant/toddler child development center 103 |  | Right | WF-04132021-008846 | 2022-02-18 | FT-FY22-01182022-008846-A | <1 | FT-FY22-01182022-008846-B | <1
WS- 008849 | 2021-09-20 | 2022-09-20 | 1 | Bathroom | In the bathroom of classroom 123 |  |  | WF-09202021-008849 | 2022-02-18 | FT-FY22-01182022-008849-A | <1 | FT-FY22-01182022-008849-B | <1
WS- 009888 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In multi-purpose room |  |  | WF-04132021-009888 | 2022-02-18 | FT-FY22-01182022-009888-A | <1 | FT-FY22-01182022-009888-B | <1
WS- 009889 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In health suite |  |  | WF-04132021-009889 | 2022-02-18 | FT-FY22-01182022-009889-A | <1 | FT-FY22-01182022-009889-B | <1
WS- 009890 | 2021-04-13 | 2022-04-13 | 1 | Break Room | In classroom 138 |  |  | WF-04132021-009890 | 2022-02-18 | FT-FY22-01182022-009890-A | <1 | FT-FY22-01182022-009890-B | <1
WS- 009891 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In hallway adjacent to room 136 |  |  | WF-04132021-009891 | 2022-02-18 | FT-FY22-01182022-009891-A | <1 | FT-FY22-01182022-009891-B | <1
WS- 009892 | 2021-09-20 | 2022-09-20 | 1 | Classroom Faucet | In classroom 136 |  |  | WF-09202021-009892 | 2022-02-18 | FT-FY22-01182022-009892-A | 2.2 | FT-FY22-01182022-009892-B | <1
WS- 009893 | 2021-04-13 | 2022-04-13 | 1 | Cooler | In hallway across from health suite |  |  | WF-04132021-009893 | 2022-02-18 | FT-FY22-01182022-009893-A | <1 | FT-FY22-01182022-009893-B | <1
WS- 009901 | 2021-04-13 | 2022-04-13 | 2 | Cooler | In hallway across from room 213 |  |  | WF-04132021-009901 | 2022-02-18 | FT-FY22-01182022-009901-A | <1 | FT-FY22-01182022-009901-B | <1
WS- 009908 | 2021-04-13 | 2022-04-13 | 3 | Cooler | In hallway across from room 308 |  |  | WF-04132021-009908 | 2022-02-18 | FT-FY22-01182022-009908-A | <1 | FT-FY22-01182022-009908-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 009887 | 2022-01-10 | 2023-01-10 | 1 | Food Prep Sink | In kitchen second clockwise from entry door | WF-01102022-009887 | 2022-02-18 | FT-FY22-01182022-009887-A | <1 | FT-FY22-01182022-009887-B | <1