## FY23 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002591 | 2022-04-18 | 2023-04-18 | Basement | Cooler | In boy's' locker room adjacent to room G-124 |  |  | WF-04182022-002591 | 2023-02-02 | FT-FY23-01102023-002591-A | <1 | FT-FY23-01102023-002591-B | <1
WS- 010490 | 2022-04-18 | 2023-04-18 | 3 | Cooler | In hallway adjacent to room 365 |  |  | WF-04182022-010490 | 2023-02-02 | FT-FY23-01102023-010490-A | <1 | FT-FY23-01102023-010490-B | <1
WS- 010491 | 2022-04-18 | 2023-04-18 | 3 | Cooler | In hallway across from room 368 |  |  | WF-04182022-010491 | 2023-02-02 | FT-FY23-01102023-010491-A | <1 | FT-FY23-01102023-010491-B | <1
WS- 011747 | 2022-04-18 | 2023-04-18 | 2 | Cooler | In hallway across from boys' restroom |  |  | WF-04182022-011747 | 2023-02-02 | FT-FY23-01102023-011747-A | <1 | FT-FY23-01102023-011747-B | <1
WS- 011748 | 2022-04-18 | 2023-04-18 | 2 | Cooler | In hallway across from girl's restroom |  |  | WF-04182022-011748 | 2023-02-02 | FT-FY23-01102023-011748-A | <1 | FT-FY23-01102023-011748-B | <1
WS- 011800 | 2022-04-18 | 2023-04-18 | 1 | Health Suite | In health suite 156B |  |  | WF-04182022-011800 | 2023-02-02 | FT-FY23-01102023-011800-A | <1 | FT-FY23-01102023-011800-B | <1
WS- 011801 | 2022-04-18 | 2023-04-18 | 1 | Health Suite | In health suite 156D |  |  | WF-04182022-011801 | 2023-02-02 | FT-FY23-01102023-011801-A | <1 | FT-FY23-01102023-011801-B | <1
WS- 011802 | 2022-04-18 | 2023-04-18 | 1 | Health Suite | In health suite 156E |  |  | WF-04182022-011802 | 2023-02-02 | FT-FY23-01102023-011802-A | <1 | FT-FY23-01102023-011802-B | <1
WS- 011803 | 2022-04-18 | 2023-04-18 | 1 | Cooler | In hallway adjacent to restroom 163T |  |  | WF-04182022-011803 | 2023-02-02 | FT-FY23-01102023-011803-A | <1 | FT-FY23-01102023-011803-B | <1
WS- 011808 | 2022-11-30 | 2023-11-30 | 1 | Cooler | In gym adjacent to room G212 | Low | Left | WF-11302022-011808 | 2023-02-02 | FT-FY23-01102023-011808-A | <1 | FT-FY23-01102023-011808-B | <1
WS- 011809 | 2022-11-30 | 2023-11-30 | 1 | Cooler | In gym adjacent to room G212 | High | Right | WF-11302022-011809 | 2023-02-02 | FT-FY23-01102023-011809-A | <1 | FT-FY23-01102023-011809-B | <1
WS- 011810 | 2022-04-18 | 2023-04-18 | Basement | Cooler | In gym adjacent to room G115 | Low | Left | WF-04182022-011810 | 2023-02-02 | FT-FY23-01102023-011810-A | <1 | FT-FY23-01102023-011810-B | <1
WS- 011811 | 2022-04-18 | 2023-04-18 | Basement | Cooler | In gym adjacent to room G115 | High | Right | WF-04182022-011811 | 2023-02-02 | FT-FY23-01102023-011811-A | <1 | FT-FY23-01102023-011811-B | <1
WS- 011812 | 2022-04-18 | 2023-04-18 | Basement | Cooler | In hallway adjacent to room G102T | Low | Left | WF-04182022-011812 | 2023-02-02 | FT-FY23-01102023-011812-A | <1 | FT-FY23-01102023-011812-B | <1
WS- 011822 | 2022-04-18 | 2023-04-18 | Basement | Ice Maker | In kitchen (ice maker) |  |  | WF-04182022-011822 | 2023-02-02 | FT-FY23-01102023-011822-A | <1 | FT-FY23-01102023-011822-B | <1
WS- 011825 | 2022-04-18 | 2023-04-18 | 1 | Cooler | In hallway adjacent to room 161T |  |  | WF-04182022-011825 | 2023-02-02 | FT-FY23-01102023-011825-A | <1 | FT-FY23-01102023-011825-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011820 | 2023-01-11 | 2024-01-11 | Basement | Food Prep Sink | In kitchen east wall | Left | WF-01112023-011820 | 2023-02-02 | FT-FY23-01112023-011820-A | <1 | FT-FY23-01112023-011820-B | <1