## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011900 | 2022-04-13 | 2023-04-13 | Basement | Cooler | In cafeteria adjacent to kitchen area | WF-04132022-011900 | 2022-09-02 | FT-FY23-08242022-011900-A | <1 | FT-FY23-08242022-011900-B | <1
WS- 011929 | 2022-04-13 | 2023-04-13 | 1 | Cooler | In hallway adjacent to room 102 | WF-04132022-011929 | 2022-09-02 | FT-FY23-08242022-011929-A | <1 | FT-FY23-08242022-011929-B | <1
WS- 012040 | 2022-04-13 | 2023-04-13 | 2 | Bottle Filler | In hallway adjacent to stairwell 6 | WF-04132022-012040 | 2022-09-02 | FT-FY23-08242022-012040-A | <1 | FT-FY23-08242022-012040-B | <1
WS- 012041 | 2022-04-13 | 2023-04-13 | 2 | Cooler | In hallway adjacent to stairwell 6 | WF-04132022-012041 | 2022-09-02 | FT-FY23-08242022-012041-A | <1 | FT-FY23-08242022-012041-B | <1
WS- 012042 | 2022-04-13 | 2023-04-13 | 2 | Bottle Filler | In hallway adjacent to stairwell 1 | WF-04132022-012042 | 2022-09-02 | FT-FY23-08242022-012042-A | <1 | FT-FY23-08242022-012042-B | <1
WS- 012043 | 2022-04-13 | 2023-04-13 | 2 | Cooler | In hallway adjacent to stairwell 1 | WF-04132022-012043 | 2022-09-02 | FT-FY23-08242022-012043-A | <1 | FT-FY23-08242022-012043-B | <1
WS- 012499 | 2022-04-13 | 2023-04-13 | 2 | Cooler | In hallway across from stairwell 4 | WF-04132022-012499 | 2022-09-02 | FT-FY23-08242022-012499-A | <1 | FT-FY23-08242022-012499-B | <1
WS- 012500 | 2022-04-13 | 2023-04-13 | 2 | Break Room | In staff lounge | WF-04132022-012500 | 2022-09-02 | FT-FY23-08242022-012500-A | <1 | FT-FY23-08242022-012500-B | 17.1
WS- 012503 | 2022-04-13 | 2023-04-13 | 3 | Cooler | In hallway adjacent to room 305 | WF-04132022-012503 | 2022-09-02 | FT-FY23-08242022-012503-A | <1 | FT-FY23-08242022-012503-B | <1
WS- 012505 | 2022-04-13 | 2023-04-13 | 3 | Cooler | In hallway across from stairwell 3 | WF-04132022-012505 | 2022-09-02 | FT-FY23-08242022-012505-A | <1 | FT-FY23-08242022-012505-B | <1
WS- 012602 | 2022-08-24 | 2023-08-24 | Basement | Combo Fountain | In classroom 020B | WF-08242022-012602 | 2022-09-02 | FT-FY23-08242022-012602-A | <1 | FT-FY23-08242022-012602-B | <1
WS- 012604 | 2022-08-24 | 2023-08-24 | Basement | Combo Fountain | In classroom 020A | WF-08242022-012604 | 2022-09-02 | FT-FY23-08242022-012604-A | <1 | FT-FY23-08242022-012604-B | <1
WS- 012606 | 2022-08-24 | 2023-08-24 | Basement | Combo Fountain | In classroom 023 | WF-08242022-012606 | 2022-09-02 | FT-FY23-08242022-012606-A | <1 | FT-FY23-08242022-012606-B | <1
WS- 012608 | 2022-08-24 | 2023-08-24 | Basement | Combo Fountain | In classroom 09A | WF-08242022-012608 | 2022-09-02 | FT-FY23-08242022-012608-A | <1 | FT-FY23-08242022-012608-B | <1
WS- 012610 | 2022-08-24 | 2023-08-24 | Basement | Combo Fountain | In classroom 09B | WF-08242022-012610 | 2022-09-02 | FT-FY23-08242022-012610-A | <1 | FT-FY23-08242022-012610-B | <1
WS- 012612 | 2022-08-24 | 2023-08-24 | Basement | Combo Fountain | In classroom 05B | WF-08242022-012612 | 2022-09-02 | FT-FY23-08242022-012612-A | 2.2 | FT-FY23-08242022-012612-B | <1
WS- 012614 | 2022-08-24 | 2023-08-24 | Basement | Combo Fountain | In classroom 05A | WF-08242022-012614 | 2022-09-02 | FT-FY23-08242022-012614-A | <1 | FT-FY23-08242022-012614-B | <1
WS- 012618 | 2022-08-24 | 2023-08-24 | Basement | Combo Fountain | In test kitchen 010 along wall | WF-08242022-012618 | 2022-09-02 | FT-FY23-08242022-012618-A | <1 | FT-FY23-08242022-012618-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011902 | 2022-01-14 | 2023-01-14 | Basement | Food Prep Sink | In kitchen first clockwise from cafeteria entry door |  | WF-01142022-011902 | 2022-09-02 | FT-FY23-08242022-011902-A | 1.4 | FT-FY23-08242022-011902-B | <1
WS- 012615 | 2022-08-24 | 2023-08-24 | Basement | Food Prep Sink | In test kitchen 010 on island | Left | WF-08242022-012615 | 2022-09-02 | FT-FY23-08242022-012615-A | <1 | FT-FY23-08242022-012615-B | <1
WS- 012616 | 2022-08-24 | 2023-08-24 | Basement | Food Prep Sink | In test kitchen 010 on island | Right | WF-08242022-012616 | 2022-09-02 | FT-FY23-08242022-012616-A | <1 | FT-FY23-08242022-012616-B | <1
WS- 012617 | 2022-08-24 | 2023-08-24 | Basement | Food Prep Sink | In test kitchen 010 along wall |  | WF-08242022-012617 | 2022-09-02 | FT-FY23-08242022-012617-A | <1 | FT-FY23-08242022-012617-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 012500 | 2022-09-06 | 2023-09-06 | 2 | Break Room | In staff lounge | WF-09062022-012500 | 2022-09-13 | FT-FY23-09082022-012500-A | <1 | FT-FY23-09082022-012500-B | <1