## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011900 | 2023-04-04 | 2024-04-04 | Basement | Cooler | In cafeteria adjacent to kitchen area | WF-04042023-011900 | 2023-10-13 | FT-FY24-09182023-011900-A | <1 | FT-FY24-09182023-011900-B | <1
WS- 011929 | 2023-04-04 | 2024-04-04 | 1 | Cooler | In hallway adjacent to room 102 | WF-04042023-011929 | 2023-10-13 | FT-FY24-09182023-011929-A | <1 | FT-FY24-09182023-011929-B | <1
WS- 011940 | 2023-04-04 | 2024-04-04 | 1 | Cooler | In hallway across from gym | WF-04042023-011940 | 2023-10-13 | FT-FY24-09182023-011940-A | <1 | FT-FY24-09182023-011940-B | <1
WS- 011961 | 2023-04-04 | 2024-04-04 | 1 | Cooler | In hallway adjacent to guidance room 103 | WF-04042023-011961 | 2023-10-13 | FT-FY24-09182023-011961-A | <1 | FT-FY24-09182023-011961-B | <1
WS- 012040 | 2023-04-04 | 2024-04-04 | 2 | Bottle Filler | In hallway adjacent to stairwell 6 | WF-04042023-012040 | 2023-10-13 | FT-FY24-09182023-012040-A | <1 | FT-FY24-09182023-012040-B | <1
WS- 012041 | 2023-04-04 | 2024-04-04 | 2 | Cooler | In hallway adjacent to stairwell 6 | WF-04042023-012041 | 2023-10-13 | FT-FY24-09182023-012041-A | <1 | FT-FY24-09182023-012041-B | <1
WS- 012043 | 2023-04-04 | 2024-04-04 | 2 | Cooler | In hallway adjacent to stairwell 1 | WF-04042023-012043 | 2023-10-13 | FT-FY24-09182023-012043-A | <1 | FT-FY24-09182023-012043-B | <1
WS- 012044 | 2023-06-20 | 2024-06-20 | 2 | Break Room | In media center dining area 200 F | WF-06202023-012044 | 2023-10-13 | FT-FY24-09182023-012044-A | <1 | FT-FY24-09182023-012044-B | <1
WS- 012498 | 2023-04-04 | 2024-04-04 | 2 | Cooler | In hallway across from stairwell 3 | WF-04042023-012498 | 2023-10-13 | FT-FY24-09182023-012498-A | <1 | FT-FY24-09182023-012498-B | <1
WS- 012499 | 2023-04-04 | 2024-04-04 | 2 | Cooler | In hallway across from stairwell 4 | WF-04042023-012499 | 2023-10-13 | FT-FY24-09182023-012499-A | <1 | FT-FY24-09182023-012499-B | <1
WS- 012500 | 2023-04-04 | 2024-04-04 | 2 | Break Room | In staff lounge | WF-04042023-012500 | 2023-10-13 | FT-FY24-09182023-012500-A | <1 | FT-FY24-09182023-012500-B | <1
WS- 012503 | 2023-04-04 | 2024-04-04 | 3 | Cooler | In hallway adjacent to room 305 | WF-04042023-012503 | 2023-10-13 | FT-FY24-09182023-012503-A | <1 | FT-FY24-09182023-012503-B | <1
WS- 012505 | 2023-04-04 | 2024-04-04 | 3 | Cooler | In hallway across from stairwell 3 | WF-04042023-012505 | 2023-10-13 | FT-FY24-09182023-012505-A | <1 | FT-FY24-09182023-012505-B | <1
WS- 012506 | 2023-04-04 | 2024-04-04 | 3 | Cooler | In hallway across from stairwell 5 | WF-04042023-012506 | 2023-10-13 | FT-FY24-09182023-012506-A | <1 | FT-FY24-09182023-012506-B | <1
WS- 012526 | 2023-04-04 | 2024-04-04 | 3 | Cooler | In hallway adjacent to room 306 | WF-04042023-012526 | 2023-10-13 | FT-FY24-09182023-012526-A | <1 | FT-FY24-09182023-012526-B | <1
WS- 012568 | 2023-04-04 | 2024-04-04 | Basement | Cooler | In hallway adjacent to room 09A | WF-04042023-012568 | 2023-10-13 | FT-FY24-09182023-012568-A | <1 | FT-FY24-09182023-012568-B | <1
WS- 012602 | 2023-04-04 | 2024-04-04 | Basement | Combo Fountain | In classroom 020B | WF-04042023-012602 | 2023-10-13 | FT-FY24-09182023-012602-A | <1 | FT-FY24-09182023-012602-B | <1
WS- 012604 | 2023-04-04 | 2024-04-04 | Basement | Combo Fountain | In classroom 020A | WF-04042023-012604 | 2023-10-13 | FT-FY24-09182023-012604-A | <1 | FT-FY24-09182023-012604-B | <1
WS- 012606 | 2023-04-04 | 2024-04-04 | Basement | Combo Fountain | In classroom 023 | WF-04042023-012606 | 2023-10-13 | FT-FY24-09182023-012606-A | 1.8 | FT-FY24-09182023-012606-B | <1
WS- 012608 | 2023-04-04 | 2024-04-04 | Basement | Combo Fountain | In classroom 09A | WF-04042023-012608 | 2023-10-13 | FT-FY24-09182023-012608-A | <1 | FT-FY24-09182023-012608-B | <1
WS- 012610 | 2023-04-04 | 2024-04-04 | Basement | Combo Fountain | In classroom 09B | WF-04042023-012610 | 2023-10-13 | FT-FY24-09182023-012610-A | 1.1 | FT-FY24-09182023-012610-B | <1
WS- 012612 | 2023-04-04 | 2024-04-04 | Basement | Combo Fountain | In classroom 05B | WF-04042023-012612 | 2023-10-13 | FT-FY24-09182023-012612-A | 1.7 | FT-FY24-09182023-012612-B | <1
WS- 012614 | 2023-04-04 | 2024-04-04 | Basement | Combo Fountain | In classroom 05A | WF-04042023-012614 | 2023-10-13 | FT-FY24-09182023-012614-A | <1 | FT-FY24-09182023-012614-B | <1
WS- 012618 | 2023-04-04 | 2024-04-04 | Basement | Combo Fountain | In test kitchen 010 along wall | WF-04042023-012618 | 2023-10-13 | FT-FY24-09182023-012618-A | <1 | FT-FY24-09182023-012618-B | <1
WS- 012620 | 2023-06-23 | 2024-06-23 | 1 | Health Suite | In health suite 112 | WF-06232023-012620 | 2023-10-13 | FT-FY24-09182023-012620-A | 1.5 | FT-FY24-09182023-012620-B | <1
WS- 012621 | 2023-06-20 | 2024-06-20 | 1 | Health Suite | In health suite 112 | WF-06202023-012621 | 2023-10-13 | FT-FY24-09182023-012621-A | <1 | FT-FY24-09182023-012621-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011902 | 2022-12-22 | 2023-12-22 | Basement | Food Prep Sink | In kitchen first clockwise from cafeteria entry door |  | WF-12222022-011902 | 2023-10-13 | FT-FY24-09182023-011902-A | <1 | FT-FY24-09182023-011902-B | <1
WS- 012615 | 2022-12-22 | 2023-12-22 | Basement | Food Prep Sink | In test kitchen 010 on island | Left | WF-12222022-012615 | 2023-10-13 | FT-FY24-09182023-012615-A | 2.2 | FT-FY24-09182023-012615-B | <1
WS- 012616 | 2022-12-22 | 2023-12-22 | Basement | Food Prep Sink | In test kitchen 010 on island | Right | WF-12222022-012616 | 2023-10-13 | FT-FY24-09182023-012616-A | <1 | FT-FY24-09182023-012616-B | <1
WS- 012617 | 2022-12-22 | 2023-12-22 | Basement | Food Prep Sink | In test kitchen 010 along wall |  | WF-12222022-012617 | 2023-10-13 | FT-FY24-09182023-012617-A | 4.6 | FT-FY24-09182023-012617-B | <1