## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004276 | 2020-06-12 | 2021-06-12 | Ground Floor | Bottle Filler | In hallway next to boys and girls restroom |  |  | WF-06122020-004276 | 2021-03-19 | FT-FY21-032021-004276-A | <1 | FT-FY21-032021-004276-B | <1
WS- 004277 | 2020-06-12 | 2021-06-12 | Ground Floor | Cooler | In hallway next to boys and girls restroom | High | Left | WF-06122020-004277 | 2021-03-19 | FT-FY21-032021-004277-A | <1 | FT-FY21-032021-004277-B | <1
WS- 004278 | 2020-06-12 | 2021-06-12 | Ground Floor | Cooler | In hallway next to boys and girls restroom | Low | Right | WF-06122020-004278 | 2021-03-19 | FT-FY21-032021-004278-A | <1 | FT-FY21-032021-004278-B | <1
WS- 004280 | 2020-06-12 | 2021-06-12 | Ground Floor | Break Room | In break room |  |  | WF-06122020-004280 | 2021-03-19 | FT-FY21-032021-004280-A | <1 | FT-FY21-032021-004280-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 004279 | 2021-02-23 | 2022-02-23 | Ground Floor | Food Prep Sink | In kitchen | WF-02232021-004279 | 2021-03-19 | FT-FY21-032021-004279-A | <1 | FT-FY21-032021-004279-B | <1