## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000115 | 2023-02-15 | 2024-02-15 | 1 | Cooler | In hallway adjacent to cafeteria | Low | Right | WF-02152023-000115 | 2024-01-02 | FT-FY24-11012023-000115-A | <1 | FT-FY24-11012023-000115-B | <1
WS- 000116 | 2023-02-15 | 2024-02-15 | 1 | Bottle Filler | In hallway adjacent to cafeteria (bottle filler) |  |  | WF-02152023-000116 | 2024-01-02 | FT-FY24-11012023-000116-A | <1 | FT-FY24-11012023-000116-B | <1
WS- 000117 | 2023-02-15 | 2024-02-15 | 1 | Cooler | In hallway adjacent to cafeteria | Low | Left | WF-02152023-000117 | 2024-01-02 | FT-FY24-11012023-000117-A | <1 | FT-FY24-11012023-000117-B | <1
WS- 000118 | 2023-02-15 | 2024-02-15 | 1 | Break Room | In break room 115B |  | Left | WF-02152023-000118 | 2024-01-02 | FT-FY24-11012023-000118-A | <1 | FT-FY24-11012023-000118-B | <1
WS- 000122 | 2023-02-15 | 2024-02-15 | 1 | Cooler | In hallway adjacent to room 102 | Low | Right | WF-02152023-000122 | 2024-01-02 | FT-FY24-11012023-000122-A | <1 | FT-FY24-11012023-000122-B | <1
WS- 000123 | 2023-08-07 | 2024-08-07 | 1 | Combo Faucet | In parent resource room 104 |  | Left | WF-08072023-000123 | 2024-01-02 | FT-FY24-11012023-000123-A | 2.9 | FT-FY24-11012023-000123-B | <1
WS- 000124 | 2023-02-15 | 2024-02-15 | 1 | Cooler | In hallway adjacent to room 102 | Low | Left | WF-02152023-000124 | 2024-01-02 | FT-FY24-11012023-000124-A | <1 | FT-FY24-11012023-000124-B | <1
WS- 000126 | 2023-02-15 | 2024-02-15 | 1 | Bottle Filler | In hallway adjacent to room 102 (bottle filler) |  |  | WF-02152023-000126 | 2024-01-02 | FT-FY24-11012023-000126-A | <1 | FT-FY24-11012023-000126-B | <1
WS- 000130 | 2023-02-15 | 2024-02-15 | 1 | Health Suite | In health suite in unisex restroom 103 |  |  | WF-02152023-000130 | 2024-01-02 | FT-FY24-11012023-000130-A | <1 | FT-FY24-11012023-000130-B | <1
WS- 000131 | 2023-02-15 | 2024-02-15 | 1 | Health Suite | In health suite 103 |  | Left | WF-02152023-000131 | 2024-01-02 | FT-FY24-11012023-000131-A | 3.8 | FT-FY24-11012023-000131-B | <1
WS- 000134 | 2023-08-07 | 2024-08-07 | 1 | Combo Faucet | In classroom 130 | Low | Left | WF-08072023-000134 | 2024-01-02 | FT-FY24-11012023-000134-A | <1 | FT-FY24-11012023-000134-B | <1
WS- 000137 | 2023-02-15 | 2024-02-15 | 1 | Combo Fountain | In classroom 130 | Low | Left | WF-02152023-000137 | 2024-01-02 | FT-FY24-11012023-000137-A | 1.2 | FT-FY24-11012023-000137-B | <1
WS- 000138 | 2023-08-07 | 2024-08-07 | 1 | Classroom Faucet | In classroom 130 | High | Right | WF-08072023-000138 | 2024-01-02 | FT-FY24-11012023-000138-A | 2.2 | FT-FY24-11012023-000138-B | <1
WS- 000141 | 2023-08-07 | 2024-08-07 | 1 | Combo Faucet | In classroom 134 |  | Right | WF-08072023-000141 | 2024-01-02 | FT-FY24-11012023-000141-A | 2.4 | FT-FY24-11012023-000141-B | <1
WS- 000142 | 2023-08-07 | 2024-08-07 | 1 | Classroom Faucet | In classroom 134 | High | Left | WF-08072023-000142 | 2024-01-02 | FT-FY24-11012023-000142-A | 2.3 | FT-FY24-11012023-000142-B | <1
WS- 000143 | 2023-02-15 | 2024-02-15 | 1 | Combo Fountain | In classroom 134 | Low | Right | WF-02152023-000143 | 2024-01-02 | FT-FY24-11012023-000143-A | <1 | FT-FY24-11012023-000143-B | <1
WS- 000144 | 2023-08-07 | 2024-08-07 | 1 | Combo Faucet | In classroom 136 | Low | Left | WF-08072023-000144 | 2024-01-02 | FT-FY24-11012023-000144-A | <1 | FT-FY24-11012023-000144-B | <1
WS- 000146 | 2023-02-15 | 2024-02-15 | 1 | Combo Fountain | In classroom 136 | Low | Left | WF-02152023-000146 | 2024-01-02 | FT-FY24-11012023-000146-A | 1.0 | FT-FY24-11012023-000146-B | <1
WS- 000147 | 2023-02-15 | 2024-02-15 | 1 | Bottle Filler | In hallway across from room 138 (bottle filler) |  |  | WF-02152023-000147 | 2024-01-02 | FT-FY24-11012023-000147-A | <1 | FT-FY24-11012023-000147-B | <1
WS- 000148 | 2023-08-07 | 2024-08-07 | 1 | Classroom Faucet | In classroom 136 | High | Right | WF-08072023-000148 | 2024-01-02 | FT-FY24-11012023-000148-A | 4.9 | FT-FY24-11012023-000148-B | <1
WS- 000149 | 2023-08-07 | 2024-08-07 | 1 | Classroom Faucet | In classroom 137 | High | Left | WF-08072023-000149 | 2024-01-02 | FT-FY24-11012023-000149-A | 5.6 | FT-FY24-11012023-000149-B | <1
WS- 000150 | 2023-08-07 | 2024-08-07 | 1 | Combo Faucet | In classroom 137 | Low | Right | WF-08072023-000150 | 2024-01-02 | FT-FY24-11012023-000150-A | <1 | FT-FY24-11012023-000150-B | <1
WS- 000151 | 2023-02-15 | 2024-02-15 | 1 | Cooler | In hallway across from room 138 | Low | Right | WF-02152023-000151 | 2024-01-02 | FT-FY24-11012023-000151-A | <1 | FT-FY24-11012023-000151-B | <1
WS- 000153 | 2023-02-15 | 2024-02-15 | 1 | Combo Fountain | In classroom 137 | Low | Right | WF-02152023-000153 | 2024-01-02 | FT-FY24-11012023-000153-A | <1 | FT-FY24-11012023-000153-B | <1
WS- 000154 | 2023-02-15 | 2024-02-15 | 1 | Cooler | In hallway across from room 138 | Low | Left | WF-02152023-000154 | 2024-01-02 | FT-FY24-11012023-000154-A | <1 | FT-FY24-11012023-000154-B | <1
WS- 000155 | 2023-08-07 | 2024-08-07 | 1 | Classroom Faucet | In classroom 138 | High | Left | WF-08072023-000155 | 2024-01-02 | FT-FY24-11012023-000155-A | 1.0 | FT-FY24-11012023-000155-B | <1
WS- 000156 | 2023-08-07 | 2024-08-07 | 1 | Combo Faucet | In classroom 138 | Low | Right | WF-08072023-000156 | 2024-01-02 | FT-FY24-11012023-000156-A | 2.0 | FT-FY24-11012023-000156-B | <1
WS- 000158 | 2023-02-15 | 2024-02-15 | 1 | Combo Fountain | In classroom 138 | Low | Right | WF-02152023-000158 | 2024-01-02 | FT-FY24-11012023-000158-A | 1.6 | FT-FY24-11012023-000158-B | <1
WS- 000161 | 2023-08-07 | 2024-08-07 | 1 | Classroom Faucet | In classroom 139 | High | Left | WF-08072023-000161 | 2024-01-02 | FT-FY24-11012023-000161-A | <1 | FT-FY24-11012023-000161-B | <1
WS- 000162 | 2023-08-07 | 2024-08-07 | 1 | Combo Faucet | In classroom 142 | Low | Left | WF-08072023-000162 | 2024-01-02 | FT-FY24-11012023-000162-A | <1 | FT-FY24-11012023-000162-B | <1
WS- 000163 | 2023-08-07 | 2024-08-07 | 1 | Combo Faucet | In classroom 139 | Low | Right | WF-08072023-000163 | 2024-01-02 | FT-FY24-11012023-000163-A | <1 | FT-FY24-11012023-000163-B | <1
WS- 000164 | 2023-02-15 | 2024-02-15 | 1 | Combo Fountain | In classroom 142 | Low | Left | WF-02152023-000164 | 2024-01-02 | FT-FY24-11012023-000164-A | <1 | FT-FY24-11012023-000164-B | <1
WS- 000165 | 2023-08-07 | 2024-08-07 | 1 | Classroom Faucet | In classroom 142 | High | Right | WF-08072023-000165 | 2024-01-02 | FT-FY24-11012023-000165-A | 3.9 | FT-FY24-11012023-000165-B | <1
WS- 000167 | 2023-02-15 | 2024-02-15 | 1 | Combo Fountain | In classroom 139 | Low | Right | WF-02152023-000167 | 2024-01-02 | FT-FY24-11012023-000167-A | 1.2 | FT-FY24-11012023-000167-B | 1.2
WS- 000168 | 2023-02-15 | 2024-02-15 | 1 | Bottle Filler | In hallway adjacent to room 142 (bottle filler) |  |  | WF-02152023-000168 | 2024-01-02 | FT-FY24-11012023-000168-A | <1 | FT-FY24-11012023-000168-B | <1
WS- 000169 | 2023-02-15 | 2024-02-15 | 1 | Cooler | In hallway adjacent to room 142 | Low | Right | WF-02152023-000169 | 2024-01-02 | FT-FY24-11012023-000169-A | <1 | FT-FY24-11012023-000169-B | <1
WS- 000170 | 2023-02-15 | 2024-02-15 | 1 | Cooler | In hallway adjacent to room 142 | Low | Left | WF-02152023-000170 | 2024-01-02 | FT-FY24-11012023-000170-A | <1 | FT-FY24-11012023-000170-B | <1
WS- 000171 | 2023-08-07 | 2024-08-07 | 2 | Combo Faucet | In classroom 204 | High | Left | WF-08072023-000171 | 2024-01-02 | FT-FY24-11012023-000171-A | 2.4 | FT-FY24-11012023-000171-B | <1
WS- 000173 | 2023-02-15 | 2024-02-15 | 2 | Combo Fountain | In classroom 204 | High | Left | WF-02152023-000173 | 2024-01-02 | FT-FY24-11012023-000173-A | 2.4 | FT-FY24-11012023-000173-B | <1
WS- 000177 | 2023-02-15 | 2024-02-15 | 2 | Bottle Filler | In classroom 204 (bottle filler) |  |  | WF-02152023-000177 | 2024-01-02 | FT-FY24-11012023-000177-A | <1 | FT-FY24-11012023-000177-B | <1
WS- 000178 | 2023-08-07 | 2024-08-07 | 2 | Combo Faucet | In classroom 205 |  | Left | WF-08072023-000178 | 2024-01-02 | FT-FY24-11012023-000178-A | 1.7 | FT-FY24-11012023-000178-B | <1
WS- 000179 | 2023-02-15 | 2024-02-15 | 2 | Cooler | In classroom 204 | Low | Left | WF-02152023-000179 | 2024-01-02 | FT-FY24-11012023-000179-A | <1 | FT-FY24-11012023-000179-B | <1
WS- 000180 | 2023-02-15 | 2024-02-15 | 2 | Combo Fountain | In classroom 205 |  | Right | WF-02152023-000180 | 2024-01-02 | FT-FY24-11012023-000180-A | <1 | FT-FY24-11012023-000180-B | <1
WS- 000181 | 2023-02-15 | 2024-02-15 | 2 | Cooler | In classroom 204 | Low | Right | WF-02152023-000181 | 2024-01-02 | FT-FY24-11012023-000181-A | <1 | FT-FY24-11012023-000181-B | <1
WS- 000182 | 2023-02-15 | 2024-02-15 | 2 | Cooler | In hallway adjacent to boys' restroom | Low | Left | WF-02152023-000182 | 2024-01-02 | FT-FY24-11012023-000182-A | <1 | FT-FY24-11012023-000182-B | <1
WS- 000185 | 2023-02-15 | 2024-02-15 | 2 | Cooler | In hallway adjacent to boys' restroom | Low | Right | WF-02152023-000185 | 2024-01-02 | FT-FY24-11012023-000185-A | <1 | FT-FY24-11012023-000185-B | <1
WS- 000188 | 2023-02-15 | 2024-02-15 | 2 | Bottle Filler | In hallway adjacent to boys' restroom (bottle filler) |  |  | WF-02152023-000188 | 2024-01-02 | FT-FY24-11012023-000188-A | <1 | FT-FY24-11012023-000188-B | <1
WS- 000189 | 2023-08-07 | 2024-08-07 | 2 | Combo Faucet | In classroom 209 |  | Left | WF-08072023-000189 | 2024-01-02 | FT-FY24-11012023-000189-A | 1.0 | FT-FY24-11012023-000189-B | <1
WS- 000191 | 2023-02-15 | 2024-02-15 | 2 | Combo Fountain | In classroom 209 |  | Right | WF-02152023-000191 | 2024-01-02 | FT-FY24-11012023-000191-A | 2.9 | FT-FY24-11012023-000191-B | <1
WS- 000194 | 2023-02-15 | 2024-02-15 | 3 | Cooler | In hallway adjacent to girls' restroom | Low | Right | WF-02152023-000194 | 2024-01-02 | FT-FY24-11012023-000194-A | <1 | FT-FY24-11012023-000194-B | <1
WS- 000198 | 2023-02-15 | 2024-02-15 | 3 | Cooler | In hallway adjacent to girls' restroom | High | Left | WF-02152023-000198 | 2024-01-02 | FT-FY24-11012023-000198-A | <1 | FT-FY24-11012023-000198-B | <1
WS- 000200 | 2023-02-15 | 2024-02-15 | 3 | Bottle Filler | In hallway adjacent to girls' restroom (bottle filler) |  |  | WF-02152023-000200 | 2024-01-02 | FT-FY24-11012023-000200-A | <1 | FT-FY24-11012023-000200-B | <1
WS- 000203 | 2023-02-15 | 2024-02-15 | 3 | Break Room | In break room 306 |  |  | WF-02152023-000203 | 2024-01-02 | FT-FY24-11012023-000203-A | 1.0 | FT-FY24-11012023-000203-B | <1
WS- 000205 | 2023-02-15 | 2024-02-15 | 1 | Ice Maker | In kitchen (ice maker) |  |  | WF-02152023-000205 | 2024-01-02 | FT-FY24-11012023-000205-A | <1 | FT-FY24-11012023-000205-B | <1
WS- 000206 | 2023-08-07 | 2024-08-07 | 2 | Combo Faucet | In classroom 240 |  | Left | WF-08072023-000206 | 2024-01-02 | FT-FY24-11012023-000206-A | 1.6 | FT-FY24-11012023-000206-B | <1
WS- 000209 | 2023-02-15 | 2024-02-15 | 2 | Cooler | In hallway adjacent to room 236 | Low | Left | WF-02152023-000209 | 2024-01-02 | FT-FY24-11012023-000209-A | <1 | FT-FY24-11012023-000209-B | <1
WS- 000210 | 2023-02-15 | 2024-02-15 | 2 | Combo Fountain | In classroom 240 |  |  | WF-02152023-000210 | 2024-01-02 | FT-FY24-11012023-000210-A | 5.0 | FT-FY24-11012023-000210-B | <1
WS- 000211 | 2023-02-15 | 2024-02-15 | 2 | Bottle Filler | In hallway adjacent to room 236 (bottle filler) |  |  | WF-02152023-000211 | 2024-01-02 | FT-FY24-11012023-000211-A | <1 | FT-FY24-11012023-000211-B | <1
WS- 000214 | 2023-02-15 | 2024-02-15 | 2 | Cooler | In hallway adjacent to room 236 | Low | Right | WF-02152023-000214 | 2024-01-02 | FT-FY24-11012023-000214-A | <1 | FT-FY24-11012023-000214-B | <1
WS- 000217 | 2023-02-15 | 2024-02-15 | 2 | Break Room | In breakroom 224 |  |  | WF-02152023-000217 | 2024-01-02 | FT-FY24-11012023-000217-A | 1.1 | FT-FY24-11012023-000217-B | <1
WS- 000222 | 2023-02-15 | 2024-02-15 | 2 | Cooler | In hallway adjacent to room 224 | Low | Left | WF-02152023-000222 | 2024-01-02 | FT-FY24-11012023-000222-A | <1 | FT-FY24-11012023-000222-B | <1
WS- 000223 | 2023-02-15 | 2024-02-15 | 2 | Bottle Filler | In hallway adjacent to room 224 (bottle filler) |  |  | WF-02152023-000223 | 2024-01-02 | FT-FY24-11012023-000223-A | <1 | FT-FY24-11012023-000223-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000111 | 2023-01-19 | 2024-01-19 | 1 | Food Prep Sink | In kitchen sixth clockwise from entry door | Right | WF-01192023-000111 | 2024-01-02 | FT-FY24-11012023-000111-A | <1 | FT-FY24-11012023-000111-B | <1