## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002601 | 2022-08-03 | 2023-08-03 | 2 | Combo Faucet | In classroom E201 | Low | Left | WF-08032022-002601 | 2022-08-30 | FT-FY23-08192022-002601-A | 1.9 | FT-FY23-08192022-002601-B | <1
WS- 002602 | 2022-08-03 | 2023-08-03 | 2 | Combo Fountain | In classroom E201 |  |  | WF-08032022-002602 | 2022-08-30 | FT-FY23-08192022-002602-A | <1 | FT-FY23-08192022-002602-B | <1
WS- 002604 | 2022-08-03 | 2023-08-03 | 2 | Combo Faucet | In classroom E207 | Low | Left | WF-08032022-002604 | 2022-08-30 | FT-FY23-08192022-002604-A | <1 | FT-FY23-08192022-002604-B | <1
WS- 002605 | 2022-08-03 | 2023-08-03 | 2 | Combo Fountain | In classroom E207 |  |  | WF-08032022-002605 | 2022-08-30 | FT-FY23-08192022-002605-A | <1 | FT-FY23-08192022-002605-B | <1
WS- 002606 | 2022-08-03 | 2023-08-03 | 2 | Break Room | In staff lounge E223 |  |  | WF-08032022-002606 | 2022-08-30 | FT-FY23-08192022-002606-A | <1 | FT-FY23-08192022-002606-B | <1
WS- 002608 | 2022-08-03 | 2023-08-03 | 2 | Combo Faucet | In classroom E216 | Low | Left | WF-08032022-002608 | 2022-08-30 | FT-FY23-08192022-002608-A | <1 | FT-FY23-08192022-002608-B | <1
WS- 002609 | 2022-08-03 | 2023-08-03 | 2 | Combo Fountain | In classroom E216 |  |  | WF-08032022-002609 | 2022-08-30 | FT-FY23-08192022-002609-A | <1 | FT-FY23-08192022-002609-B | <1
WS- 002610 | 2022-08-03 | 2023-08-03 | 2 | Health Suite | In wellness room E215 |  |  | WF-08032022-002610 | 2022-08-30 | FT-FY23-08192022-002610-A | <1 | FT-FY23-08192022-002610-B | <1
WS- 002612 | 2022-08-03 | 2023-08-03 | 3 | Combo Faucet | In classroom E301 | Low | Left | WF-08032022-002612 | 2022-08-30 | FT-FY23-08192022-002612-A | <1 | FT-FY23-08192022-002612-B | <1
WS- 002613 | 2022-08-03 | 2023-08-03 | 3 | Combo Fountain | In classroom E301 |  |  | WF-08032022-002613 | 2022-08-30 | FT-FY23-08192022-002613-A | <1 | FT-FY23-08192022-002613-B | <1
WS- 002615 | 2022-08-03 | 2023-08-03 | 3 | Combo Faucet | In classroom E305 | Low | Left | WF-08032022-002615 | 2022-08-30 | FT-FY23-08192022-002615-A | <1 | FT-FY23-08192022-002615-B | <1
WS- 002616 | 2022-08-03 | 2023-08-03 | 3 | Combo Fountain | In classroom E305 |  |  | WF-08032022-002616 | 2022-08-30 | FT-FY23-08192022-002616-A | 1.3 | FT-FY23-08192022-002616-B | <1
WS- 002618 | 2022-08-03 | 2023-08-03 | 3 | Combo Faucet | In classroom E319 | Low | Left | WF-08032022-002618 | 2022-08-30 | FT-FY23-08192022-002618-A | 1.4 | FT-FY23-08192022-002618-B | <1
WS- 002619 | 2022-08-03 | 2023-08-03 | 3 | Combo Fountain | In classroom E319 |  |  | WF-08032022-002619 | 2022-08-30 | FT-FY23-08192022-002619-A | <1 | FT-FY23-08192022-002619-B | <1
WS- 002621 | 2022-08-03 | 2023-08-03 | 3 | Combo Faucet | In classroom E313 | Low | Left | WF-08032022-002621 | 2022-08-30 | FT-FY23-08192022-002621-A | <1 | FT-FY23-08192022-002621-B | <1
WS- 002622 | 2022-08-03 | 2023-08-03 | 3 | Combo Fountain | In classroom E313 |  |  | WF-08032022-002622 | 2022-08-30 | FT-FY23-08192022-002622-A | <1 | FT-FY23-08192022-002622-B | <1
WS- 002623 | 2022-08-03 | 2023-08-03 | 3 | Bottle Filler | In open area adjacent to E313 |  |  | WF-08032022-002623 | 2022-08-30 | FT-FY23-08192022-002623-A | <1 | FT-FY23-08192022-002623-B | <1
WS- 002624 | 2022-08-03 | 2023-08-03 | 3 | Cooler | In open area adjacent to E313 | High | Left | WF-08032022-002624 | 2022-08-30 | FT-FY23-08192022-002624-A | <1 | FT-FY23-08192022-002624-B | <1
WS- 002625 | 2022-08-03 | 2023-08-03 | 3 | Cooler | In open area adjacent to E313 | Low | Right | WF-08032022-002625 | 2022-08-30 | FT-FY23-08192022-002625-A | <1 | FT-FY23-08192022-002625-B | <1
WS- 002626 | 2022-08-03 | 2023-08-03 | 2 | Bottle Filler | In open area adjacent to E216 |  |  | WF-08032022-002626 | 2022-08-30 | FT-FY23-08192022-002626-A | <1 | FT-FY23-08192022-002626-B | <1
WS- 002627 | 2022-08-03 | 2023-08-03 | 2 | Cooler | In open area adjacent to E216 | High | Left | WF-08032022-002627 | 2022-08-30 | FT-FY23-08192022-002627-A | <1 | FT-FY23-08192022-002627-B | <1
WS- 002628 | 2022-08-03 | 2023-08-03 | 2 | Cooler | In open area adjacent to E216 | Low | Right | WF-08032022-002628 | 2022-08-30 | FT-FY23-08192022-002628-A | <1 | FT-FY23-08192022-002628-B | <1
WS- 002631 | 2022-08-17 | 2023-08-17 | 1 | Bottle Filler | In common area |  |  | WF-08172022-002631 | 2022-08-30 | FT-FY23-08192022-002631-A | <1 | FT-FY23-08192022-002631-B | <1
WS- 002632 | 2022-08-17 | 2023-08-17 | 1 | Cooler | In common area | High | Left | WF-08172022-002632 | 2022-08-30 | FT-FY23-08192022-002632-A | <1 | FT-FY23-08192022-002632-B | <1
WS- 002633 | 2022-08-17 | 2023-08-17 | 1 | Cooler | In common area | Low | Right | WF-08172022-002633 | 2022-08-30 | FT-FY23-08192022-002633-A | <1 | FT-FY23-08192022-002633-B | <1
WS- 002634 | 2022-08-17 | 2023-08-17 | 1 | Combo Faucet | In toddler room C102 |  |  | WF-08172022-002634 | 2022-08-30 | FT-FY23-08192022-002634-A | <1 | FT-FY23-08192022-002634-B | <1
WS- 002635 | 2022-08-17 | 2023-08-17 | 1 | Combo Fountain | In toddler room C102 |  |  | WF-08172022-002635 | 2022-08-30 | FT-FY23-08192022-002635-A | <1 | FT-FY23-08192022-002635-B | <1
WS- 002638 | 2022-08-17 | 2023-08-17 | 1 | Combo Faucet | In infant room C101 |  |  | WF-08172022-002638 | 2022-08-30 | FT-FY23-08192022-002638-A | <1 | FT-FY23-08192022-002638-B | <1
WS- 002639 | 2022-08-17 | 2023-08-17 | 1 | Combo Fountain | In infant room C101 |  |  | WF-08172022-002639 | 2022-08-30 | FT-FY23-08192022-002639-A | <1 | FT-FY23-08192022-002639-B | <1
WS- 004142 | 2022-05-18 | 2023-05-18 | 2 | Cooler | In hallway adjacent to 2214 | High | Left | WF-05182022-004142 | 2022-08-30 | FT-FY23-08192022-004142-A | <1 | FT-FY23-08192022-004142-B | <1
WS- 004143 | 2022-05-18 | 2023-05-18 | 2 | Cooler | In hallway adjacent to 2214 | Low | Right | WF-05182022-004143 | 2022-08-30 | FT-FY23-08192022-004143-A | <1 | FT-FY23-08192022-004143-B | <1
WS- 004145 | 2022-05-18 | 2023-05-18 | 2 | Cooler | In classroom 2201 connecting hallway | High | Left | WF-05182022-004145 | 2022-08-30 | FT-FY23-08192022-004145-A | <1 | FT-FY23-08192022-004145-B | <1
WS- 004146 | 2022-05-18 | 2023-05-18 | 2 | Cooler | In classroom 2201 connecting hallway | Low | Right | WF-05182022-004146 | 2022-08-30 | FT-FY23-08192022-004146-A | <1 | FT-FY23-08192022-004146-B | <1
WS- 004151 | 2022-05-18 | 2023-05-18 | 1 | Cooler | In classroom 2109 connecting hallway | Low | Right | WF-05182022-004151 | 2022-08-30 | FT-FY23-08192022-004151-A | <1 | FT-FY23-08192022-004151-B | <1
WS- 004153 | 2022-05-18 | 2023-05-18 | 1 | Cooler | In hallway adjacent to room 2114 | High | Left | WF-05182022-004153 | 2022-08-30 | FT-FY23-08192022-004153-A | <1 | FT-FY23-08192022-004153-B | <1
WS- 004154 | 2022-05-18 | 2023-05-18 | 1 | Cooler | In hallway adjacent to room 2114 | Low | Right | WF-05182022-004154 | 2022-08-30 | FT-FY23-08192022-004154-A | <1 | FT-FY23-08192022-004154-B | <1
WS- 004158 | 2022-05-18 | 2023-05-18 | 1 | Cooler | In classroom 2104 connecting hallway | Low | Right | WF-05182022-004158 | 2022-08-30 | FT-FY23-08192022-004158-A | <1 | FT-FY23-08192022-004158-B | <1
WS- 004161 | 2022-05-18 | 2023-05-18 | 1 | Cooler | In classroom 2101 connecting hallway | High | Left | WF-05182022-004161 | 2022-08-30 | FT-FY23-08192022-004161-A | <1 | FT-FY23-08192022-004161-B | <1
WS- 004162 | 2022-05-18 | 2023-05-18 | 1 | Cooler | In classroom 2101 connecting hallway | High | Left | WF-05182022-004162 | 2022-08-30 | FT-FY23-08192022-004162-A | <1 | FT-FY23-08192022-004162-B | <1
WS- 004175 | 2022-05-18 | 2023-05-18 | 2 | Cooler | In classroom 2209 connecting hallway | High | Left | WF-05182022-004175 | 2022-08-30 | FT-FY23-08192022-004175-A | <1 | FT-FY23-08192022-004175-B | <1
WS- 004176 | 2022-05-18 | 2023-05-18 | 2 | Cooler | In classroom 2209 connecting hallway | Low | Right | WF-05182022-004176 | 2022-08-30 | FT-FY23-08192022-004176-A | <1 | FT-FY23-08192022-004176-B | <1
WS- 004178 | 2022-05-18 | 2023-05-18 | 2 | Break Room | In staff lounge 2207 |  |  | WF-05182022-004178 | 2022-08-30 | FT-FY23-08192022-004178-A | 2.3 | FT-FY23-08192022-004178-B | <1
WS- 004180 | 2022-05-18 | 2023-05-18 | 2 | Cooler | In classroom 2204 connecting hallway | High | Left | WF-05182022-004180 | 2022-08-30 | FT-FY23-08192022-004180-A | <1 | FT-FY23-08192022-004180-B | <1
WS- 004181 | 2022-05-18 | 2023-05-18 | 2 | Cooler | In classroom 2204 connecting hallway | Low | Right | WF-05182022-004181 | 2022-08-30 | FT-FY23-08192022-004181-A | <1 | FT-FY23-08192022-004181-B | <1
WS- 004183 | 2021-08-30 | 2022-08-30 | Ground Floor | Classroom Faucet | In classroom 2011 |  |  | WF-08302021-004183 | 2022-08-30 | FT-FY23-08192022-004183-A | <1 | FT-FY23-08192022-004183-B | <1
WS- 004184 | 2022-05-18 | 2023-05-18 | Ground Floor | Cooler | In classroom 2009 connecting hallway | High | Left | WF-05182022-004184 | 2022-08-30 | FT-FY23-08192022-004184-A | <1 | FT-FY23-08192022-004184-B | <1
WS- 004185 | 2022-05-18 | 2023-05-18 | Ground Floor | Cooler | In classroom 2009 connecting hallway | Low | Right | WF-05182022-004185 | 2022-08-30 | FT-FY23-08192022-004185-A | <1 | FT-FY23-08192022-004185-B | <1
WS- 004186 | 2021-08-30 | 2022-08-30 | Ground Floor | Classroom Faucet | In classroom 2009 |  |  | WF-08302021-004186 | 2022-08-30 | FT-FY23-08192022-004186-A | <1 | FT-FY23-08192022-004186-B | <1
WS- 004187 | 2022-05-18 | 2023-05-18 | Ground Floor | Health Suite | In health suite 2007 |  |  | WF-05182022-004187 | 2022-08-30 | FT-FY23-08192022-004187-A | <1 | FT-FY23-08192022-004187-B | <1
WS- 004188 | 2021-08-30 | 2022-08-30 | Ground Floor | Classroom Faucet | In classroom 2006 |  |  | WF-08302021-004188 | 2022-08-30 | FT-FY23-08192022-004188-A | <1 | FT-FY23-08192022-004188-B | <1
WS- 004189 | 2022-05-18 | 2023-05-18 | Ground Floor | Cooler | In classroom 2004 connecting hallway | High | Left | WF-05182022-004189 | 2022-08-30 | FT-FY23-08192022-004189-A | <1 | FT-FY23-08192022-004189-B | <1
WS- 004190 | 2022-05-18 | 2023-05-18 | Ground Floor | Cooler | In classroom 2004 connecting hallway | Low | Right | WF-05182022-004190 | 2022-08-30 | FT-FY23-08192022-004190-A | <1 | FT-FY23-08192022-004190-B | <1
WS- 004191 | 2021-08-30 | 2022-08-30 | Ground Floor | Classroom Faucet | In classroom 2004 |  |  | WF-08302021-004191 | 2022-08-30 | FT-FY23-08192022-004191-A | <1 | FT-FY23-08192022-004191-B | <1
WS- 004192 | 2021-08-30 | 2022-08-30 | Ground Floor | Classroom Faucet | In classroom 2003 |  |  | WF-08302021-004192 | 2022-08-30 | FT-FY23-08192022-004192-A | <1 | FT-FY23-08192022-004192-B | <1
WS- 004193 | 2022-05-18 | 2023-05-18 | Ground Floor | Cooler | In classroom 2001 connecting hallway | High | Left | WF-05182022-004193 | 2022-08-30 | FT-FY23-08192022-004193-A | <1 | FT-FY23-08192022-004193-B | <1
WS- 004195 | 2021-08-30 | 2022-08-30 | Ground Floor | Classroom Faucet | In classroom 2001 |  |  | WF-08302021-004195 | 2022-08-30 | FT-FY23-08192022-004195-A | <1 | FT-FY23-08192022-004195-B | <1
WS- 004196 | 2022-05-18 | 2023-05-18 | Ground Floor | Cooler | In hallway adjacent to room 2014 | High | Left | WF-05182022-004196 | 2022-08-30 | FT-FY23-08192022-004196-A | <1 | FT-FY23-08192022-004196-B | <1
WS- 004197 | 2022-05-18 | 2023-05-18 | Ground Floor | Cooler | In hallway adjacent to room 2014 | Low | Right | WF-05182022-004197 | 2022-08-30 | FT-FY23-08192022-004197-A | <1 | FT-FY23-08192022-004197-B | <1
WS- 004198 | 2022-05-18 | 2023-05-18 | Basement | Cooler | In hallway adjacent to room 2B14 | High | Left | WF-05182022-004198 | 2022-08-30 | FT-FY23-08192022-004198-A | <1 | FT-FY23-08192022-004198-B | <1
WS- 004199 | 2022-05-18 | 2023-05-18 | Basement | Cooler | In hallway adjacent to room 2B14 | Low | Right | WF-05182022-004199 | 2022-08-30 | FT-FY23-08192022-004199-A | <1 | FT-FY23-08192022-004199-B | <1
WS- 004201 | 2021-09-03 | 2022-09-03 | Basement | Classroom Faucet | In classroom 2B11 |  |  | WF-09032021-004201 | 2022-08-30 | FT-FY23-08192022-004201-A | <1 | FT-FY23-08192022-004201-B | <1
WS- 004202 | 2022-05-18 | 2023-05-18 | Basement | Cooler | In classroom 2B09 connecting hallway | High | Left | WF-05182022-004202 | 2022-08-30 | FT-FY23-08192022-004202-A | <1 | FT-FY23-08192022-004202-B | <1
WS- 004203 | 2022-05-18 | 2023-05-18 | Basement | Cooler | In classroom 2B09 connecting hallway | Low | Right | WF-05182022-004203 | 2022-08-30 | FT-FY23-08192022-004203-A | <1 | FT-FY23-08192022-004203-B | <1
WS- 004204 | 2021-09-03 | 2022-09-03 | Basement | Classroom Faucet | In classroom 2B09 |  |  | WF-09032021-004204 | 2022-08-30 | FT-FY23-08192022-004204-A | 2.3 | FT-FY23-08192022-004204-B | <1
WS- 004205 | 2022-05-18 | 2023-05-18 | Basement | Cooler | In classroom 2B04 connecting hallway | High | Left | WF-05182022-004205 | 2022-08-30 | FT-FY23-08192022-004205-A | <1 | FT-FY23-08192022-004205-B | <1
WS- 004206 | 2022-05-18 | 2023-05-18 | Basement | Cooler | In classroom 2B04 connecting hallway | Low | Right | WF-05182022-004206 | 2022-08-30 | FT-FY23-08192022-004206-A | <1 | FT-FY23-08192022-004206-B | <1
WS- 004208 | 2022-05-18 | 2023-05-18 | Ground Floor | Bottle Filler | In hallway adjacent to 3001 |  |  | WF-05182022-004208 | 2022-08-30 | FT-FY23-08192022-004208-A | <1 | FT-FY23-08192022-004208-B | <1
WS- 004210 | 2022-05-18 | 2023-05-18 | Basement | Cooler | In classroom 2B01 connecting hallway | High | Left | WF-05182022-004210 | 2022-08-30 | FT-FY23-08192022-004210-A | <1 | FT-FY23-08192022-004210-B | <1
WS- 004211 | 2022-05-18 | 2023-05-18 | Basement | Cooler | In classroom 2B01 connecting hallway | Low | Right | WF-05182022-004211 | 2022-08-30 | FT-FY23-08192022-004211-A | <1 | FT-FY23-08192022-004211-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002641 | 2022-08-17 | 2023-08-17 | 1 | Food Prep Sink | In meal distribution E108 |  | WF-08172022-002641 | 2022-08-30 | FT-FY23-08192022-002641-A | <1 | FT-FY23-08192022-002641-B | <1
WS- 004213 | 2022-01-10 | 2023-01-10 | Ground Floor | Food Prep Sink | In kitchen room 2038 | Left | WF-01102022-004213 | 2022-08-30 | FT-FY23-08192022-004213-A | <1 | FT-FY23-08192022-004213-B | <1
WS- 004214 | 2022-01-10 | 2023-01-10 | Ground Floor | Food Prep Sink | In kitchen 2038 | Right | WF-01102022-004214 | 2022-08-30 | FT-FY23-08192022-004214-A | <1 | FT-FY23-08192022-004214-B | <1