## FY26 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003183 | 2025-02-26 | 2026-02-26 | 1 | Ice Maker | In kitchen (Icemaker) |  | WF-02262025-003183 | 2026-01-30 | FT-FY26-01122026-003183-A | <2 | FT-FY26-01122026-003183-B | <2
WS- 003184 | 2025-02-26 | 2026-02-26 | 1 | Cooler | In hallway across from athletic storage 1241 |  | WF-02262025-003184 | 2026-01-30 | FT-FY26-01122026-003184-A | <2 | FT-FY26-01122026-003184-B | <2
WS- 003185 | 2025-02-26 | 2026-02-26 | 1 | Bottle Filler | In hallway across from athletic storage 1241 (bottle filler) |  | WF-02262025-003185 | 2026-01-30 | FT-FY26-01122026-003185-A | <2 | FT-FY26-01122026-003185-B | <2
WS- 003186 | 2025-02-26 | 2026-02-26 | 1 | Cooler | In hallway across from coaches room 1245 |  | WF-02262025-003186 | 2026-01-30 | FT-FY26-01122026-003186-A | <2 | FT-FY26-01122026-003186-B | <2
WS- 003187 | 2025-02-26 | 2026-02-26 | 1 | Bottle Filler | In hallway across from coaches room 1245 (bottle filler) |  | WF-02262025-003187 | 2026-01-30 | FT-FY26-01122026-003187-A | <2 | FT-FY26-01122026-003187-B | <2
WS- 003188 | 2025-02-26 | 2026-02-26 | 1 | Cooler | In hallway adjacent to restroom 1181 |  | WF-02262025-003188 | 2026-01-30 | FT-FY26-01122026-003188-A | <2 | FT-FY26-01122026-003188-B | <2
WS- 003190 | 2025-02-26 | 2026-02-26 | 1 | Cooler | In hallway adjacent to restroom 1141 |  | WF-02262025-003190 | 2026-01-30 | FT-FY26-01122026-003190-A | <2 | FT-FY26-01122026-003190-B | <2
WS- 003191 | 2025-02-26 | 2026-02-26 | 1 | Bottle Filler | In hallway adjacent to restroom 1141 (bottle filler) |  | WF-02262025-003191 | 2026-01-30 | FT-FY26-01122026-003191-A | <2 | FT-FY26-01122026-003191-B | <2
WS- 003192 | 2025-02-26 | 2026-02-26 | 1 | Health Suite | In health suite in treatment room 113 |  | WF-02262025-003192 | 2026-01-30 | FT-FY26-01122026-003192-A | <2 | FT-FY26-01122026-003192-B | <2
WS- 003193 | 2025-02-26 | 2026-02-26 | 1 | Break Room | In staff lounge 1174 |  | WF-02262025-003193 | 2026-01-30 | FT-FY26-01122026-003193-A | <2 | FT-FY26-01122026-003193-B | <2
WS- 003210 | 2025-02-26 | 2026-02-26 | 2 | Bottle Filler | In hallway adjacent to room 2131 |  | WF-02262025-003210 | 2026-01-30 | FT-FY26-01122026-003210-A | <2 | FT-FY26-01122026-003210-B | <2
WS- 003211 | 2025-02-26 | 2026-02-26 | 2 | Cooler | In hallway adjacent to room 2131 | Low | WF-02262025-003211 | 2026-01-30 | FT-FY26-01122026-003211-A | <2 | FT-FY26-01122026-003211-B | <2
WS- 003212 | 2025-02-26 | 2026-02-26 | 2 | Bottle Filler | In hallway adjacent to room 2171 |  | WF-02262025-003212 | 2026-01-30 | FT-FY26-01122026-003212-A | <2 | FT-FY26-01122026-003212-B | <2
WS- 003213 | 2025-02-26 | 2026-02-26 | 2 | Cooler | In hallway adjacent to room 2171 |  | WF-02262025-003213 | 2026-01-30 | FT-FY26-01122026-003213-A | <2 | FT-FY26-01122026-003213-B | <2
WS- 003214 | 2025-02-26 | 2026-02-26 | 2 | Bottle Filler | In hallway adjacent to stairwell B7 |  | WF-02262025-003214 | 2026-01-30 | FT-FY26-01122026-003214-A | <2 | FT-FY26-01122026-003214-B | <2
WS- 003215 | 2025-02-26 | 2026-02-26 | 2 | Cooler | In hallway adjacent to stairwell B7 |  | WF-02262025-003215 | 2026-01-30 | FT-FY26-01122026-003215-A | <2 | FT-FY26-01122026-003215-B | <2
WS- 003219 | 2025-02-26 | 2026-02-26 | 3 | Cooler | In hallway adjacent to stairwell A1 |  | WF-02262025-003219 | 2026-01-30 | FT-FY26-01122026-003219-A | <2 | FT-FY26-01122026-003219-B | <2
WS- 003221 | 2025-02-26 | 2026-02-26 | 3 | Cooler | In hallway adjacent to room 3182 |  | WF-02262025-003221 | 2026-01-30 | FT-FY26-01122026-003221-A | <2 | FT-FY26-01122026-003221-B | <2
WS- 003222 | 2025-02-26 | 2026-02-26 | 2 | Break Room | In staff lounge 2183 |  | WF-02262025-003222 | 2026-01-30 | FT-FY26-01122026-003222-A | <2 | FT-FY26-01122026-003222-B | <2
WS- 007217 | 2025-02-26 | 2026-02-26 | 1 | Cooler | In hallway opposite to room E103 in early stage office |  | WF-02262025-007217 | 2026-01-30 | FT-FY26-01122026-007217-A | <2 | FT-FY26-01122026-007217-B | <2
WS- 007218 | 2025-02-26 | 2026-02-26 | 1 | Bottle Filler | In hallway opposite to room E103 in early stage office |  | WF-02262025-007218 | 2026-01-30 | FT-FY26-01122026-007218-A | <2 | FT-FY26-01122026-007218-B | <2

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003182 | 2025-12-10 | 2026-12-10 | 1 | Food Prep Sink | In kitchen adjacent to the freezer | WF-12102025-003182 | 2026-01-30 | FT-FY26-01122026-003182-A | <2 | FT-FY26-01122026-003182-B | <2
WS- 007220 | 2025-12-10 | 2026-12-10 | 1 | Food Prep Sink | In kitchenette E115 in early stage office | WF-12102025-007220 | 2026-01-30 | FT-FY26-01122026-007220-A | <2 | FT-FY26-01122026-007220-B | <2