## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003183 | 2023-03-07 | 2024-03-07 | 1 | Ice Maker | In kitchen (Icemaker) |  | WF-03072023-003183 | 2024-01-19 | FT-FY24-11272023-003183-A | <1 | FT-FY24-11272023-003183-B | <1
WS- 003184 | 2023-03-07 | 2024-03-07 | 1 | Cooler | In hallway across from athletic storage 1241 |  | WF-03072023-003184 | 2024-01-19 | FT-FY24-11272023-003184-A | <1 | FT-FY24-11272023-003184-B | <1
WS- 003185 | 2023-03-07 | 2024-03-07 | 1 | Bottle Filler | In hallway across from athletic storage 1241 (bottle filler) |  | WF-03072023-003185 | 2024-01-19 | FT-FY24-11272023-003185-A | <1 | FT-FY24-11272023-003185-B | <1
WS- 003186 | 2023-03-07 | 2024-03-07 | 1 | Cooler | In hallway across from coaches room 1245 |  | WF-03072023-003186 | 2024-01-19 | FT-FY24-11272023-003186-A | <1 | FT-FY24-11272023-003186-B | <1
WS- 003187 | 2023-03-07 | 2024-03-07 | 1 | Bottle Filler | In hallway across from coaches room 1245 (bottle filler) |  | WF-03072023-003187 | 2024-01-19 | FT-FY24-11272023-003187-A | <1 | FT-FY24-11272023-003187-B | <1
WS- 003190 | 2023-03-07 | 2024-03-07 | 1 | Cooler | In hallway adjacent to restroom 1141 |  | WF-03072023-003190 | 2024-01-19 | FT-FY24-11272023-003190-A | <1 | FT-FY24-11272023-003190-B | <1
WS- 003191 | 2023-03-07 | 2024-03-07 | 1 | Bottle Filler | In hallway adjacent to restroom 1141 (bottle filler) |  | WF-03072023-003191 | 2024-01-19 | FT-FY24-11272023-003191-A | <1 | FT-FY24-11272023-003191-B | <1
WS- 003192 | 2023-03-07 | 2024-03-07 | 1 | Health Suite | In health suite in treatment room 113 |  | WF-03072023-003192 | 2024-01-19 | FT-FY24-11272023-003192-A | 1.1 | FT-FY24-11272023-003192-B | <1
WS- 003193 | 2023-03-07 | 2024-03-07 | 1 | Break Room | In staff lounge 1174 |  | WF-03072023-003193 | 2024-01-19 | FT-FY24-11272023-003193-A | <1 | FT-FY24-11272023-003193-B | <1
WS- 003210 | 2023-03-07 | 2024-03-07 | 2 | Bottle Filler | In hallway adjacent to room 2131 |  | WF-03072023-003210 | 2024-01-19 | FT-FY24-11272023-003210-A | <1 | FT-FY24-11272023-003210-B | <1
WS- 003211 | 2023-03-07 | 2024-03-07 | 2 | Cooler | In hallway adjacent to room 2131 | Low | WF-03072023-003211 | 2024-01-19 | FT-FY24-11272023-003211-A | <1 | FT-FY24-11272023-003211-B | <1
WS- 003212 | 2023-03-07 | 2024-03-07 | 2 | Bottle Filler | In hallway adjacent to room 2171 |  | WF-03072023-003212 | 2024-01-19 | FT-FY24-11272023-003212-A | <1 | FT-FY24-11272023-003212-B | <1
WS- 003213 | 2023-03-07 | 2024-03-07 | 2 | Cooler | In hallway adjacent to room 2171 |  | WF-03072023-003213 | 2024-01-19 | FT-FY24-11272023-003213-A | <1 | FT-FY24-11272023-003213-B | <1
WS- 003214 | 2023-03-07 | 2024-03-07 | 2 | Bottle Filler | In hallway adjacent to stairwell B7 |  | WF-03072023-003214 | 2024-01-19 | FT-FY24-11272023-003214-A | <1 | FT-FY24-11272023-003214-B | <1
WS- 003215 | 2023-03-07 | 2024-03-07 | 2 | Cooler | In hallway adjacent to stairwell B7 |  | WF-03072023-003215 | 2024-01-19 | FT-FY24-11272023-003215-A | <1 | FT-FY24-11272023-003215-B | <1
WS- 003217 | 2023-03-07 | 2024-03-07 | 2 | Cooler | In hallway adjacent to auditorium |  | WF-03072023-003217 | 2024-01-19 | FT-FY24-11272023-003217-A | <1 | FT-FY24-11272023-003217-B | <1
WS- 003219 | 2023-03-07 | 2024-03-07 | 3 | Cooler | In hallway adjacent to stairwell A1 |  | WF-03072023-003219 | 2024-01-19 | FT-FY24-11272023-003219-A | <1 | FT-FY24-11272023-003219-B | <1
WS- 003220 | 2023-03-07 | 2024-03-07 | 3 | Bottle Filler | In hallway adjacent to room 3182 |  | WF-03072023-003220 | 2024-01-19 | FT-FY24-11272023-003220-A | <1 | FT-FY24-11272023-003220-B | <1
WS- 003221 | 2023-03-07 | 2024-03-07 | 3 | Cooler | In hallway adjacent to room 3182 |  | WF-03072023-003221 | 2024-01-19 | FT-FY24-11272023-003221-A | <1 | FT-FY24-11272023-003221-B | <1
WS- 003222 | 2023-03-07 | 2024-03-07 | 2 | Break Room | In staff lounge 2183 |  | WF-03072023-003222 | 2024-01-19 | FT-FY24-11272023-003222-A | 1.9 | FT-FY24-11272023-003222-B | <1
WS- 003223 | 2023-03-07 | 2024-03-07 | 3 | Break Room | In staff lounge 3183 |  | WF-03072023-003223 | 2024-01-19 | FT-FY24-11272023-003223-A | <1 | FT-FY24-11272023-003223-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003182 | 2023-01-23 | 2024-01-23 | 1 | Food Prep Sink | In kitchen adjacent to the freezer | WF-01232023-003182 | 2024-01-19 | FT-FY24-11272023-003182-A | <1 | FT-FY24-11272023-003182-B | <1