## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003002 | 2021-04-12 | 2022-04-12 | Ground Floor | Cooler | In hallway across from room BG09 | High | Left | WF-04122021-003002 | 2022-03-14 | FT-FY22-02212022-003002-A | <1 | FT-FY22-02212022-003002-B | <1
WS- 003003 | 2021-04-12 | 2022-04-12 | Ground Floor | Cooler | In hallway across from room BG09 | Low | Right | WF-04122021-003003 | 2022-03-14 | FT-FY22-02212022-003003-A | <1 | FT-FY22-02212022-003003-B | <1
WS- 003004 | 2021-04-12 | 2022-04-12 | Ground Floor | Cooler | In hallway across from room BG07 | High | Left | WF-04122021-003004 | 2022-03-14 | FT-FY22-02212022-003004-A | <1 | FT-FY22-02212022-003004-B | <1
WS- 003005 | 2021-04-12 | 2022-04-12 | Ground Floor | Cooler | In hallway across from room BG07 | Low | Right | WF-04122021-003005 | 2022-03-14 | FT-FY22-02212022-003005-A | <1 | FT-FY22-02212022-003005-B | <1
WS- 003017 | 2021-04-12 | 2022-04-12 | Ground Floor | Health Suite | In health suite CG08 |  |  | WF-04122021-003017 | 2022-03-14 | FT-FY22-02212022-003017-A | <1 | FT-FY22-02212022-003017-B | <1
WS- 003018 | 2021-04-12 | 2022-04-12 | Ground Floor | Health Suite | In health suite in break room across from CG20 |  |  | WF-04122021-003018 | 2022-03-14 | FT-FY22-02212022-003018-A | <1 | FT-FY22-02212022-003018-B | <1
WS- 003019 | 2021-04-12 | 2022-04-12 | Ground Floor | Health Suite | In health suite in dentist room CG30 |  |  | WF-04122021-003019 | 2022-03-14 | FT-FY22-02212022-003019-A | <1 | FT-FY22-02212022-003019-B | <1
WS- 003020 | 2021-04-12 | 2022-04-12 | Basement | Cooler | In poolside adjacent to women's locker | High | Left | WF-04122021-003020 | 2022-03-14 | FT-FY22-02212022-003020-A | <1 | FT-FY22-02212022-003020-B | <1
WS- 003022 | 2021-04-12 | 2022-04-12 | Basement | Cooler | In poolside adjacent to men's locker room | High | Left | WF-04122021-003022 | 2022-03-14 | FT-FY22-02212022-003022-A | <1 | FT-FY22-02212022-003022-B | <1
WS- 003023 | 2021-04-12 | 2022-04-12 | Basement | Cooler | In poolside adjacent to men's locker room | Low | Right | WF-04122021-003023 | 2022-03-14 | FT-FY22-02212022-003023-A | <1 | FT-FY22-02212022-003023-B | <1
WS- 003024 | 2021-04-12 | 2022-04-12 | Basement | Cooler | In poolside adjacent to women's locker room | Low | Right | WF-04122021-003024 | 2022-03-14 | FT-FY22-02212022-003024-A | <1 | FT-FY22-02212022-003024-B | <1
WS- 003025 | 2021-04-12 | 2022-04-12 | Ground Floor | Cooler | In poolside hallway across from stair c1 | High | Left | WF-04122021-003025 | 2022-03-14 | FT-FY22-02212022-003025-A | <1 | FT-FY22-02212022-003025-B | <1
WS- 003026 | 2021-04-12 | 2022-04-12 | Ground Floor | Cooler | In poolside hallway across from stair C1 | Low | Right | WF-04122021-003026 | 2022-03-14 | FT-FY22-02212022-003026-A | <1 | FT-FY22-02212022-003026-B | <1
WS- 003027 | 2021-04-12 | 2022-04-12 | 1 | Cooler | In hallway adjacent to restroom A108 | High | Left | WF-04122021-003027 | 2022-03-14 | FT-FY22-02212022-003027-A | <1 | FT-FY22-02212022-003027-B | <1
WS- 003028 | 2021-04-12 | 2022-04-12 | 1 | Cooler | In hallway adjacent to restroom A108 | Low | Right | WF-04122021-003028 | 2022-03-14 | FT-FY22-02212022-003028-A | <1 | FT-FY22-02212022-003028-B | <1
WS- 003029 | 2021-04-12 | 2022-04-12 | 1 | Cooler | In hallway adjacent to restroom B120 | High | Left | WF-04122021-003029 | 2022-03-14 | FT-FY22-02212022-003029-A | <1 | FT-FY22-02212022-003029-B | <1
WS- 003030 | 2021-04-12 | 2022-04-12 | 1 | Cooler | In hallway adjacent to restroom B120 | Low | Right | WF-04122021-003030 | 2022-03-14 | FT-FY22-02212022-003030-A | <1 | FT-FY22-02212022-003030-B | <1
WS- 003031 | 2021-04-12 | 2022-04-12 | 1 | Cooler | In hallway adjacent to restroom B156 | High | Left | WF-04122021-003031 | 2022-03-14 | FT-FY22-02212022-003031-A | <1 | FT-FY22-02212022-003031-B | <1
WS- 003032 | 2021-04-12 | 2022-04-12 | 1 | Cooler | In hallway adjacent to restroom B156 | Low | Right | WF-04122021-003032 | 2022-03-14 | FT-FY22-02212022-003032-A | <1 | FT-FY22-02212022-003032-B | <1
WS- 003037 | 2021-04-12 | 2022-04-12 | 1 | Cooler | In hallway across from restroom C110 | High | Left | WF-04122021-003037 | 2022-03-14 | FT-FY22-02212022-003037-A | <1 | FT-FY22-02212022-003037-B | <1
WS- 003038 | 2021-04-12 | 2022-04-12 | 1 | Cooler | In hallway across from restroom C110 | Low | Right | WF-04122021-003038 | 2022-03-14 | FT-FY22-02212022-003038-A | <1 | FT-FY22-02212022-003038-B | <1
WS- 003039 | 2021-11-22 | 2022-11-22 | 1 | Cooler | In hallway across from restroom C118 | High | Left | WF-11222021-003039 | 2022-03-14 | FT-FY22-02212022-003039-A | <1 | FT-FY22-02212022-003039-B | <1
WS- 003041 | 2021-11-22 | 2022-11-22 | 1 | Cooler | In hallway across from restroom C118 | Low | Right | WF-11222021-003041 | 2022-03-14 | FT-FY22-02212022-003041-A | <1 | FT-FY22-02212022-003041-B | <1
WS- 003045 | 2021-04-12 | 2022-04-12 | 2 | Cooler | In hallway adjacent to restroom B214 | High | Left | WF-04122021-003045 | 2022-03-14 | FT-FY22-02212022-003045-A | <1 | FT-FY22-02212022-003045-B | <1
WS- 003046 | 2021-04-12 | 2022-04-12 | 2 | Cooler | In hallway adjacent to restroom B214 | Low | Right | WF-04122021-003046 | 2022-03-14 | FT-FY22-02212022-003046-A | <1 | FT-FY22-02212022-003046-B | <1
WS- 003047 | 2021-04-12 | 2022-04-12 | 3 | Cooler | In hallway adjacent to restroom B344 | High | Left | WF-04122021-003047 | 2022-03-14 | FT-FY22-02212022-003047-A | <1 | FT-FY22-02212022-003047-B | <1
WS- 003048 | 2021-04-12 | 2022-04-12 | 3 | Cooler | In hallway adjacent to restroom B344 | Low | Right | WF-04122021-003048 | 2022-03-14 | FT-FY22-02212022-003048-A | <1 | FT-FY22-02212022-003048-B | <1
WS- 003049 | 2021-04-12 | 2022-04-12 | 3 | Cooler | In hallway adjacent to restroom B316 | High | Left | WF-04122021-003049 | 2022-03-14 | FT-FY22-02212022-003049-A | <1 | FT-FY22-02212022-003049-B | <1
WS- 003050 | 2021-04-12 | 2022-04-12 | 3 | Cooler | In hallway adjacent to restroom B316 | Low | Right | WF-04122021-003050 | 2022-03-14 | FT-FY22-02212022-003050-A | <1 | FT-FY22-02212022-003050-B | <1
WS- 003052 | 2021-10-06 | 2022-10-06 | 1 | Classroom Faucet | In classroom (life skills) A149 |  | Left | WF-10062021-003052 | 2022-03-14 | FT-FY22-02212022-003052-A | <1 | FT-FY22-02212022-003052-B | <1
WS- 003054 | 2021-04-12 | 2022-04-12 | Basement | Bottle Filler | In poolside adjacent to men's locker room |  |  | WF-04122021-003054 | 2022-03-14 | FT-FY22-02212022-003054-A | <1 | FT-FY22-02212022-003054-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003008 | 2022-01-24 | 2023-01-24 | Basement | Food Prep Sink | In kitchen BG19 on island | WF-01242022-003008 | 2022-03-14 | FT-FY22-02212022-003008-A | <1 | FT-FY22-02212022-003008-B | <1
WS- 003009 | 2022-01-24 | 2023-01-24 | Basement | Food Prep Sink | In kitchen BG19 across from freezer | WF-01242022-003009 | 2022-03-14 | FT-FY22-02212022-003009-A | <1 | FT-FY22-02212022-003009-B | <1
WS- 003010 | 2022-01-24 | 2023-01-24 | Basement | Food Prep Sink | In kitchen BG19 buffet sink | WF-01242022-003010 | 2022-03-14 | FT-FY22-02212022-003010-A | <1 | FT-FY22-02212022-003010-B | <1
WS- 003014 | 2022-02-01 | 2023-02-01 | Basement | Food Prep Sink | In kitchen AG39 | WF-02012022-003014 | 2022-03-14 | FT-FY22-02212022-003014-A | <1 | FT-FY22-02212022-003014-B | <1
WS- 003015 | 2022-01-24 | 2023-01-24 | Basement | Food Prep Sink | In kitchen AG39 across from freezer | WF-01242022-003015 | 2022-03-14 | FT-FY22-02212022-003015-A | <1 | FT-FY22-02212022-003015-B | <1