## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 008705 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In hallway adjacent to southwest stairwell |  |  | WF-03172020-008705 | 2021-02-10 | FT-FY21-022021-008705-A | <1 | FT-FY21-022021-008705-B | <1
WS- 008706 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In hallway adjacent to library |  |  | WF-03172020-008706 | 2021-02-10 | FT-FY21-022021-008706-A | <1 | FT-FY21-022021-008706-B | <1
WS- 008707 | 2020-03-17 | 2021-03-17 | 1 | Bottle Filler | In cafeteria (bottle filler) |  |  | WF-03172020-008707 | 2021-02-10 | FT-FY21-022021-008707-A | <1 | FT-FY21-022021-008707-B | <1
WS- 008708 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In cafeteria | High | Left | WF-03172020-008708 | 2021-02-10 | FT-FY21-022021-008708-A | <1 | FT-FY21-022021-008708-B | <1
WS- 008709 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In cafeteria | Low | Right | WF-03172020-008709 | 2021-02-10 | FT-FY21-022021-008709-A | <1 | FT-FY21-022021-008709-B | <1
WS- 008716 | 2020-03-17 | 2021-03-17 | 1 | Ice Maker | In kitchen (ice maker) |  |  | WF-03172020-008716 | 2021-02-10 | FT-FY21-022021-008716-A | <1 | FT-FY21-022021-008716-B | <1
WS- 008717 | 2020-10-07 | 2021-10-07 | 1 | Classroom Faucet | In classroom 104 |  |  | WF-10072020-008717 | 2021-02-10 | FT-FY21-022021-008717-A | <1 | FT-FY21-022021-008717-B | <1
WS- 008718 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In classroom 104 |  |  | WF-03172020-008718 | 2021-02-10 | FT-FY21-022021-008718-A | <1 | FT-FY21-022021-008718-B | <1
WS- 008719 | 2020-10-07 | 2021-10-07 | 1 | Classroom Faucet | In classroom 102 |  |  | WF-10072020-008719 | 2021-02-10 | FT-FY21-022021-008719-A | <1 | FT-FY21-022021-008719-B | <1
WS- 008720 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In classroom 102 |  |  | WF-03172020-008720 | 2021-02-10 | FT-FY21-022021-008720-A | <1 | FT-FY21-022021-008720-B | <1
WS- 008721 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In classroom 101 |  |  | WF-03172020-008721 | 2021-02-10 | FT-FY21-022021-008721-A | <1 | FT-FY21-022021-008721-B | <1
WS- 008722 | 2020-10-07 | 2021-10-07 | 1 | Classroom Faucet | In classroom 101 |  |  | WF-10072020-008722 | 2021-02-10 | FT-FY21-022021-008722-A | <1 | FT-FY21-022021-008722-B | <1
WS- 008732 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In classroom 110 |  |  | WF-03172020-008732 | 2021-02-10 | FT-FY21-022021-008732-A | <1 | FT-FY21-022021-008732-B | <1
WS- 008733 | 2020-10-07 | 2021-10-07 | 1 | Classroom Faucet | In classroom 110 |  |  | WF-10072020-008733 | 2021-02-10 | FT-FY21-022021-008733-A | <1 | FT-FY21-022021-008733-B | <1
WS- 008734 | 2020-03-17 | 2021-03-17 | 1 | Cooler | In classroom 109 |  |  | WF-03172020-008734 | 2021-02-10 | FT-FY21-022021-008734-A | <1 | FT-FY21-022021-008734-B | <1
WS- 008735 | 2020-10-07 | 2021-10-07 | 1 | Classroom Faucet | In classroom 109 |  |  | WF-10072020-008735 | 2021-02-10 | FT-FY21-022021-008735-A | <1 | FT-FY21-022021-008735-B | <1
WS- 008736 | 2020-03-17 | 2021-03-17 | 2 | Cooler | In hallway adjacent to southwest stairwell |  |  | WF-03172020-008736 | 2021-02-10 | FT-FY21-022021-008736-A | <1 | FT-FY21-022021-008736-B | <1
WS- 008737 | 2020-03-17 | 2021-03-17 | 2 | Cooler | In hallway adjacent to room 206 |  |  | WF-03172020-008737 | 2021-02-10 | FT-FY21-022021-008737-A | <1 | FT-FY21-022021-008737-B | <1
WS- 008738 | 2020-03-17 | 2021-03-17 | 2 | Health Suite | In health suite 215 |  |  | WF-03172020-008738 | 2021-02-10 | FT-FY21-022021-008738-A | 4.0 | FT-FY21-022021-008738-B | 2.8
WS- 008739 | 2020-03-17 | 2021-03-17 | 3 | Cooler | In hallway adjacent to room 309 |  |  | WF-03172020-008739 | 2021-02-10 | FT-FY21-022021-008739-A | <1 | FT-FY21-022021-008739-B | <1
WS- 008746 | 2020-03-17 | 2021-03-17 | 3 | Cooler | In hallway adjacent to room 305 |  |  | WF-03172020-008746 | 2021-02-10 | FT-FY21-022021-008746-A | <1 | FT-FY21-022021-008746-B | <1
WS- 008829 | 2020-03-17 | 2021-03-17 | 2 | Cooler | In hallway adjacent to gym | High | Left | WF-03172020-008829 | 2021-02-10 | FT-FY21-022021-008829-A | <1 | FT-FY21-022021-008829-B | <1
WS- 008830 | 2020-03-17 | 2021-03-17 | 2 | Cooler | In hallway adjacent to gym | Low | Right | WF-03172020-008830 | 2021-02-10 | FT-FY21-022021-008830-A | <1 | FT-FY21-022021-008830-B | <1
WS- 008831 | 2020-03-17 | 2021-03-17 | 2 | Bottle Filler | In hallway adjacent to gym |  |  | WF-03172020-008831 | 2021-02-10 | FT-FY21-022021-008831-A | <1 | FT-FY21-022021-008831-B | <1
WS- 008860 | 2020-10-09 | 2021-10-09 | Ground Floor | Bottle Filler | In trailer hallway adjacent to room P-01 |  |  | WF-10092020-008860 | 2021-02-10 | FT-FY21-022021-008860-A | <1 | FT-FY21-022021-008860-B | <1
WS- 008861 | 2020-10-09 | 2021-10-09 | Ground Floor | Cooler | In trailer hallway adjacent to room P-01 | High | Left | WF-10092020-008861 | 2021-02-10 | FT-FY21-022021-008861-A | <1 | FT-FY21-022021-008861-B | <1
WS- 008862 | 2020-10-09 | 2021-10-09 | Ground Floor | Cooler | In trailer hallway adjacent to room P-01 | Low | Right | WF-10092020-008862 | 2021-02-10 | FT-FY21-022021-008862-A | <1 | FT-FY21-022021-008862-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 008710 | 2021-01-14 | 2022-01-14 | 1 | Food Prep Sink | In kitchen first clockwise from entry door | WF-01142021-008710 | 2021-02-10 | FT-FY21-022021-008710-A | <1 | FT-FY21-022021-008710-B | <1
WS- 008712 | 2021-01-14 | 2022-01-14 | 1 | Food Prep Sink | In kitchen second clockwise from entry door | WF-01142021-008712 | 2021-02-10 | FT-FY21-022021-008712-A | <1 | FT-FY21-022021-008712-B | <1
WS- 008713 | 2021-01-14 | 2022-01-14 | 1 | Food Prep Sink | In kitchen third clockwise from entry door | WF-01142021-008713 | 2021-02-10 | FT-FY21-022021-008713-A | <1 | FT-FY21-022021-008713-B | <1
WS- 008714 | 2021-01-14 | 2022-01-14 | 1 | Food Prep Sink | In kitchen fourth clockwise from entry door | WF-01142021-008714 | 2021-02-10 | FT-FY21-022021-008714-A | <1 | FT-FY21-022021-008714-B | <1
WS- 008715 | 2021-01-14 | 2022-01-14 | 1 | Food Prep Sink | In kitchen fifth clockwise from entry door | WF-01142021-008715 | 2021-02-10 | FT-FY21-022021-008715-A | <1 | FT-FY21-022021-008715-B | <1