## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002690 | 2023-03-20 | 2024-03-20 | 1 | Bottle Filler | In hallway adjacent to room 105 |  |  | WF-03202023-002690 | 2023-08-21 | FT-FY24-08082023-002690-A | <1 | FT-FY24-08082023-002690-B | <1
WS- 002692 | 2023-03-20 | 2024-03-20 | 1 | Bottle Filler | In hallway adjacent to classroom 119 |  |  | WF-03202023-002692 | 2023-08-21 | FT-FY24-08082023-002692-A | <1 | FT-FY24-08082023-002692-B | <1
WS- 005251 | 2023-08-02 | 2024-08-02 | 1 | Combo Faucet | In classroom 101 | Low | Right | WF-08022023-005251 | 2023-08-21 | FT-FY24-08082023-005251-A | 26.9 | FT-FY24-08082023-005251-B | 16.1
WS- 005252 | 2023-08-02 | 2024-08-02 | 1 | Combo Fountain | In classroom 101 | High | Left | WF-08022023-005252 | 2023-08-21 | FT-FY24-08082023-005252-A | <1 | FT-FY24-08082023-005252-B | <1
WS- 005253 | 2023-08-02 | 2024-08-02 | 1 | Combo Fountain | In classroom 101 | Low | Right | WF-08022023-005253 | 2023-08-21 | FT-FY24-08082023-005253-A | <1 | FT-FY24-08082023-005253-B | <1
WS- 005255 | 2023-08-02 | 2024-08-02 | 1 | Combo Fountain | In classroom 102 | High | Left | WF-08022023-005255 | 2023-08-21 | FT-FY24-08082023-005255-A | <1 | FT-FY24-08082023-005255-B | <1
WS- 005256 | 2023-08-02 | 2024-08-02 | 1 | Combo Faucet | In classroom 102 | Low | Right | WF-08022023-005256 | 2023-08-21 | FT-FY24-08082023-005256-A | <1 | FT-FY24-08082023-005256-B | <1
WS- 005257 | 2023-08-02 | 2024-08-02 | 1 | Combo Fountain | In classroom 102 | Low | Right | WF-08022023-005257 | 2023-08-21 | FT-FY24-08082023-005257-A | <1 | FT-FY24-08082023-005257-B | <1
WS- 005258 | 2023-08-02 | 2024-08-02 | 1 | Combo Faucet | In classroom 103 | Low | Left | WF-08022023-005258 | 2023-08-21 | FT-FY24-08082023-005258-A | <1 | FT-FY24-08082023-005258-B | <1
WS- 005259 | 2023-08-02 | 2024-08-02 | 1 | Combo Fountain | In classroom 103 | Low | Left | WF-08022023-005259 | 2023-08-21 | FT-FY24-08082023-005259-A | <1 | FT-FY24-08082023-005259-B | <1
WS- 005261 | 2023-08-02 | 2024-08-02 | 1 | Combo Fountain | In classroom 103 | High | Right | WF-08022023-005261 | 2023-08-21 | FT-FY24-08082023-005261-A | <1 | FT-FY24-08082023-005261-B | <1
WS- 008562 | 2023-03-20 | 2024-03-20 | 1 | Cooler | In hallway adjacent to room 301 |  |  | WF-03202023-008562 | 2023-08-21 | FT-FY24-08082023-008562-A | <1 | FT-FY24-08082023-008562-B | <1
WS- 008565 | 2023-03-20 | 2024-03-20 | 1 | Cooler | In hallway adjacent to room 314 |  |  | WF-03202023-008565 | 2023-08-21 | FT-FY24-08082023-008565-A | <1 | FT-FY24-08082023-008565-B | <1
WS- 008580 | 2023-03-20 | 2024-03-20 | 1 | Cooler | In hallway adjacent to room 213 |  |  | WF-03202023-008580 | 2023-08-21 | FT-FY24-08082023-008580-A | <1 | FT-FY24-08082023-008580-B | <1
WS- 008586 | 2022-09-26 | 2023-09-26 | 1 | Classroom Faucet | In classroom 116 |  |  | WF-09262022-008586 | 2023-08-21 | FT-FY24-08082023-008586-A | <1 | FT-FY24-08082023-008586-B | <1
WS- 008587 | 2022-09-26 | 2023-09-26 | 1 | Classroom Faucet | In classroom 121 |  |  | WF-09262022-008587 | 2023-08-21 | FT-FY24-08082023-008587-A | <1 | FT-FY24-08082023-008587-B | <1
WS- 008588 | 2022-09-26 | 2023-09-26 | 1 | Classroom Faucet | In classroom 114 |  |  | WF-09262022-008588 | 2023-08-21 | FT-FY24-08082023-008588-A | <1 | FT-FY24-08082023-008588-B | <1
WS- 008593 | 2023-03-20 | 2024-03-20 | 1 | Cooler | In hallway adjacent to classroom 119 |  |  | WF-03202023-008593 | 2023-08-21 | FT-FY24-08082023-008593-A | <1 | FT-FY24-08082023-008593-B | <1
WS- 008595 | 2022-09-26 | 2023-09-26 | 1 | Classroom Faucet | In classroom 112 |  |  | WF-09262022-008595 | 2023-08-21 | FT-FY24-08082023-008595-A | <1 | FT-FY24-08082023-008595-B | <1
WS- 008600 | 2022-09-26 | 2023-09-26 | 1 | Classroom Faucet | In classroom 108 |  |  | WF-09262022-008600 | 2023-08-21 | FT-FY24-08082023-008600-A | <1 | FT-FY24-08082023-008600-B | <1
WS- 008601 | 2022-09-26 | 2023-09-26 | 1 | Classroom Faucet | In classroom 105 |  |  | WF-09262022-008601 | 2023-08-21 | FT-FY24-08082023-008601-A | <1 | FT-FY24-08082023-008601-B | <1
WS- 008602 | 2023-03-20 | 2024-03-20 | 1 | Cooler | In hallway adjacent to room 105 |  |  | WF-03202023-008602 | 2023-08-21 | FT-FY24-08082023-008602-A | <1 | FT-FY24-08082023-008602-B | <1
WS- 008850 | 2023-03-20 | 2024-03-20 | 1 | Break Room | In room 111 in back of school |  |  | WF-03202023-008850 | 2023-08-21 | FT-FY24-08082023-008850-A | <1 | FT-FY24-08082023-008850-B | <1
WS- 008853 | 2023-03-20 | 2024-03-20 | 1 | Bottle Filler | In hallway adjacent to room 314 |  |  | WF-03202023-008853 | 2023-08-21 | FT-FY24-08082023-008853-A | <1 | FT-FY24-08082023-008853-B | <1
WS- 008859 | 2023-03-20 | 2024-03-20 | 1 | Bottle Filler | In hallway adjacent to room 301 |  |  | WF-03202023-008859 | 2023-08-21 | FT-FY24-08082023-008859-A | <1 | FT-FY24-08082023-008859-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 008574 | 2023-01-03 | 2024-01-03 | 1 | Food Prep Sink | In kitchen 2nd clockwise from entry | WF-01032023-008574 | 2023-08-21 | FT-FY24-08082023-008574-A | <1 | FT-FY24-08082023-008574-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 005251 | 2023-08-23 | 2024-08-23 | 1 | Combo Faucet | In classroom 101 | Low | Right | WF-08232023-005251 | 2023-08-24 | FT-FY24-08232023-005251-A | 1.4 | FT-FY24-08232023-005251-B | 1.2