## FY23 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000601 | 2022-03-10 | 2023-03-10 | Basement | Bottle Filler | In hallway adjacent to room 111 all gender restroom |  |  | WF-03102022-000601 | 2023-01-07 | FT-FY23-11182022-000601-A | <1 | FT-FY23-11182022-000601-B | <1
WS- 000602 | 2022-03-10 | 2023-03-10 | Basement | Cooler | In hallway adjacent to room 111 all gender restroom | High | Left | WF-03102022-000602 | 2023-01-07 | FT-FY23-11182022-000602-A | <1 | FT-FY23-11182022-000602-B | <1
WS- 000603 | 2022-03-10 | 2023-03-10 | Basement | Cooler | In hallway adjacent to room 111 all gender restroom | Low | Right | WF-03102022-000603 | 2023-01-07 | FT-FY23-11182022-000603-A | <1 | FT-FY23-11182022-000603-B | <1
WS- 000604 | 2022-03-10 | 2023-03-10 | Basement | Bottle Filler | In cafeteria |  |  | WF-03102022-000604 | 2023-01-07 | FT-FY23-11182022-000604-A | <1 | FT-FY23-11182022-000604-B | <1
WS- 000605 | 2022-03-10 | 2023-03-10 | Basement | Cooler | In cafeteria | High | Left | WF-03102022-000605 | 2023-01-07 | FT-FY23-11182022-000605-A | <1 | FT-FY23-11182022-000605-B | <1
WS- 000606 | 2022-03-10 | 2023-03-10 | Basement | Cooler | In cafeteria | Low | Right | WF-03102022-000606 | 2023-01-07 | FT-FY23-11182022-000606-A | <1 | FT-FY23-11182022-000606-B | <1
WS- 000607 | 2022-03-10 | 2023-03-10 | 1 | Bottle Filler | In hallway adjacent to room B105 |  |  | WF-03102022-000607 | 2023-01-07 | FT-FY23-11182022-000607-A | <1 | FT-FY23-11182022-000607-B | <1
WS- 000608 | 2022-09-06 | 2023-09-06 | Basement | Classroom Faucet | In classroom BG05 |  |  | WF-09062022-000608 | 2023-01-07 | FT-FY23-11182022-000608-A | <1 | FT-FY23-11182022-000608-B | <1
WS- 000612 | 2021-03-30 | 2022-03-30 | Basement | Break Room | In staff lounge AG06 |  |  | WF-03302021-000612 | 2023-01-07 | FT-FY23-11182022-000612-A | <1 | FT-FY23-11182022-000612-B | <1
WS- 000618 | 2022-03-10 | 2023-03-10 | 1 | Combo Fountain | In classroom A106 |  | Right | WF-03102022-000618 | 2023-01-07 | FT-FY23-11182022-000618-A | <1 | FT-FY23-11182022-000618-B | <1
WS- 000619 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom A106 |  | Left | WF-09062022-000619 | 2023-01-07 | FT-FY23-11182022-000619-A | <1 | FT-FY23-11182022-000619-B | <1
WS- 000620 | 2022-03-10 | 2023-03-10 | 1 | Cooler | In hallway adjacent to room A106 |  |  | WF-03102022-000620 | 2023-01-07 | FT-FY23-11182022-000620-A | <1 | FT-FY23-11182022-000620-B | <1
WS- 000621 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom A103 |  | Left | WF-09062022-000621 | 2023-01-07 | FT-FY23-11182022-000621-A | 1.5 | FT-FY23-11182022-000621-B | <1
WS- 000622 | 2022-03-10 | 2023-03-10 | 1 | Combo Fountain | In classroom A103 |  | Right | WF-03102022-000622 | 2023-01-07 | FT-FY23-11182022-000622-A | <1 | FT-FY23-11182022-000622-B | <1
WS- 000623 | 2022-03-10 | 2023-03-10 | 1 | Cooler | In hallway adjacent to room A101 |  |  | WF-03102022-000623 | 2023-01-07 | FT-FY23-11182022-000623-A | <1 | FT-FY23-11182022-000623-B | <1
WS- 000624 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom A101 |  | Left | WF-09062022-000624 | 2023-01-07 | FT-FY23-11182022-000624-A | <1 | FT-FY23-11182022-000624-B | <1
WS- 000625 | 2022-03-10 | 2023-03-10 | 1 | Combo Fountain | In classroom A101 |  | Right | WF-03102022-000625 | 2023-01-07 | FT-FY23-11182022-000625-A | <1 | FT-FY23-11182022-000625-B | <1
WS- 000626 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom A102 |  | Left | WF-09062022-000626 | 2023-01-07 | FT-FY23-11182022-000626-A | <1 | FT-FY23-11182022-000626-B | <1
WS- 000627 | 2022-03-10 | 2023-03-10 | 1 | Combo Fountain | In classroom A102 |  | Right | WF-03102022-000627 | 2023-01-07 | FT-FY23-11182022-000627-A | <1 | FT-FY23-11182022-000627-B | <1
WS- 000633 | 2022-03-10 | 2023-03-10 | 1 | Cooler | In hallway adjacent to room C109 | High | Left | WF-03102022-000633 | 2023-01-07 | FT-FY23-11182022-000633-A | <1 | FT-FY23-11182022-000633-B | <1
WS- 000634 | 2022-03-10 | 2023-03-10 | 1 | Cooler | In hallway adjacent to room C109 | Low | Right | WF-03102022-000634 | 2023-01-07 | FT-FY23-11182022-000634-A | <1 | FT-FY23-11182022-000634-B | <1
WS- 000635 | 2022-03-10 | 2023-03-10 | 1 | Health Suite | In health suite C108B |  | Left | WF-03102022-000635 | 2023-01-07 | FT-FY23-11182022-000635-A | <1 | FT-FY23-11182022-000635-B | <1
WS- 000637 | 2022-03-10 | 2023-03-10 | 1 | Combo Fountain | In health suite C108B |  | Right | WF-03102022-000637 | 2023-01-07 | FT-FY23-11182022-000637-A | <1 | FT-FY23-11182022-000637-B | <1
WS- 000638 | 2022-03-10 | 2023-03-10 | 1 | Combo Fountain | In classroom C111 |  | Right | WF-03102022-000638 | 2023-01-07 | FT-FY23-11182022-000638-A | <1 | FT-FY23-11182022-000638-B | <1
WS- 000639 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom C111 |  | Left | WF-09062022-000639 | 2023-01-07 | FT-FY23-11182022-000639-A | <1 | FT-FY23-11182022-000639-B | <1
WS- 000642 | 2022-03-10 | 2023-03-10 | 2 | Cooler | In hallway adjacent to room C211 | High | Left | WF-03102022-000642 | 2023-01-07 | FT-FY23-11182022-000642-A | <1 | FT-FY23-11182022-000642-B | <1
WS- 000643 | 2022-03-10 | 2023-03-10 | 2 | Cooler | In hallway adjacent to room C211 | Low | Right | WF-03102022-000643 | 2023-01-07 | FT-FY23-11182022-000643-A | <1 | FT-FY23-11182022-000643-B | <1
WS- 000644 | 2022-09-06 | 2023-09-06 | 2 | Combo Faucet | In classroom C204 |  | Left | WF-09062022-000644 | 2023-01-07 | FT-FY23-11182022-000644-A | 1.9 | FT-FY23-11182022-000644-B | <1
WS- 000645 | 2022-03-10 | 2023-03-10 | 2 | Combo Fountain | In classroom C204 |  | Right | WF-03102022-000645 | 2023-01-07 | FT-FY23-11182022-000645-A | <1 | FT-FY23-11182022-000645-B | <1
WS- 000646 | 2022-09-06 | 2023-09-06 | 2 | Combo Faucet | In classroom C203 |  | Left | WF-09062022-000646 | 2023-01-07 | FT-FY23-11182022-000646-A | <1 | FT-FY23-11182022-000646-B | <1
WS- 000647 | 2022-03-10 | 2023-03-10 | 2 | Combo Fountain | In classroom C203 |  | Right | WF-03102022-000647 | 2023-01-07 | FT-FY23-11182022-000647-A | 1.7 | FT-FY23-11182022-000647-B | <1
WS- 000648 | 2022-03-10 | 2023-03-10 | 2 | Cooler | In hallway adjacent to room C203 | High | Left | WF-03102022-000648 | 2023-01-07 | FT-FY23-11182022-000648-A | <1 | FT-FY23-11182022-000648-B | <1
WS- 000649 | 2022-03-10 | 2023-03-10 | 2 | Cooler | In hallway adjacent to room C203 | Low | Right | WF-03102022-000649 | 2023-01-07 | FT-FY23-11182022-000649-A | <1 | FT-FY23-11182022-000649-B | <1
WS- 000650 | 2022-08-23 | 2023-08-23 | 2 | Cooler | In hallway adjacent to room A210 |  |  | WF-08232022-000650 | 2023-01-07 | FT-FY23-11182022-000650-A | <1 | FT-FY23-11182022-000650-B | <1
WS- 000651 | 2022-09-06 | 2023-09-06 | 2 | Combo Faucet | In classroom A205 |  | Left | WF-09062022-000651 | 2023-01-07 | FT-FY23-11182022-000651-A | 1.6 | FT-FY23-11182022-000651-B | <1
WS- 000653 | 2022-08-23 | 2023-08-23 | 2 | Cooler | In hallway adjacent to room A201 |  |  | WF-08232022-000653 | 2023-01-07 | FT-FY23-11182022-000653-A | <1 | FT-FY23-11182022-000653-B | <1
WS- 002561 | 2022-03-10 | 2023-03-10 | 2 | Cooler | in hallway adjacent to room B205 | High | Left | WF-03102022-002561 | 2023-01-07 | FT-FY23-11182022-002561-A | <1 | FT-FY23-11182022-002561-B | <1
WS- 002562 | 2022-03-10 | 2023-03-10 | 2 | Cooler | in hallway adjacent to room B205 | Low | Right | WF-03102022-002562 | 2023-01-07 | FT-FY23-11182022-002562-A | <1 | FT-FY23-11182022-002562-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 000615 | 2022-02-23 | 2023-02-23 | Basement | Food Prep Sink | In kitchen | Low | WF-02232022-000615 | 2023-01-07 | FT-FY23-11182022-000615-A | <1 | FT-FY23-11182022-000615-B | <1