## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 009642 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway adjacent to room A102 | Low | Left | WF-05012023-009642 | 2023-10-25 | FT-FY24-09282023-009642-A | <1 | FT-FY24-09282023-009642-B | <1
WS- 009643 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway adjacent to room A102 | High | Right | WF-05012023-009643 | 2023-10-25 | FT-FY24-09282023-009643-A | <1 | FT-FY24-09282023-009643-B | <1
WS- 009644 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway adjacent to room B122 | High | Right | WF-05012023-009644 | 2023-10-25 | FT-FY24-09282023-009644-A | <1 | FT-FY24-09282023-009644-B | <1
WS- 009645 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway adjacent to room B122 | Low | Left | WF-05012023-009645 | 2023-10-25 | FT-FY24-09282023-009645-A | <1 | FT-FY24-09282023-009645-B | <1
WS- 009646 | 2023-05-01 | 2024-05-01 | 1 | Health Suite | In health suite B122 |  |  | WF-05012023-009646 | 2023-10-25 | FT-FY24-09282023-009646-A | <1 | FT-FY24-09282023-009646-B | <1
WS- 010987 | 2023-05-01 | 2024-05-01 | 1 | Break Room | In mailroom B130 |  |  | WF-05012023-010987 | 2023-10-25 | FT-FY24-09282023-010987-A | <1 | FT-FY24-09282023-010987-B | 16.6
WS- 010988 | 2023-05-01 | 2024-05-01 | 1 | Health Suite | In health suite B122 in restroom |  |  | WF-05012023-010988 | 2023-10-25 | FT-FY24-09282023-010988-A | <1 | FT-FY24-09282023-010988-B | <1
WS- 011015 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway adjacent to room C101 | Low | Left | WF-05012023-011015 | 2023-10-25 | FT-FY24-09282023-011015-A | <1 | FT-FY24-09282023-011015-B | <1
WS- 011016 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway adjacent to room C101 | High | Right | WF-05012023-011016 | 2023-10-25 | FT-FY24-09282023-011016-A | <1 | FT-FY24-09282023-011016-B | <1
WS- 011017 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway adjacent to gym D111 | Low | Left | WF-05012023-011017 | 2023-10-25 | FT-FY24-09282023-011017-A | <1 | FT-FY24-09282023-011017-B | <1
WS- 011019 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway across from backstage D101 | Low | Left | WF-05012023-011019 | 2023-10-25 | FT-FY24-09282023-011019-A | <1 | FT-FY24-09282023-011019-B | <1
WS- 011020 | 2023-05-01 | 2024-05-01 | 1 | Cooler | In hallway across from backstage D101 | High | Right | WF-05012023-011020 | 2023-10-25 | FT-FY24-09282023-011020-A | <1 | FT-FY24-09282023-011020-B | <1
WS- 011025 | 2023-05-01 | 2024-05-01 | Basement | Ice Maker | In kitchen (ice maker) |  |  | WF-05012023-011025 | 2023-10-25 | FT-FY24-09282023-011025-A | <1 | FT-FY24-09282023-011025-B | <1
WS- 011031 | 2023-05-01 | 2024-05-01 | 2 | Cooler | In hallway adjacent to room C201 | High | Left | WF-05012023-011031 | 2023-10-25 | FT-FY24-09282023-011031-A | <1 | FT-FY24-09282023-011031-B | <1
WS- 011032 | 2023-05-01 | 2024-05-01 | 2 | Cooler | In hallway adjacent to room C201 | High | Right | WF-05012023-011032 | 2023-10-25 | FT-FY24-09282023-011032-A | <1 | FT-FY24-09282023-011032-B | <1
WS- 011062 | 2023-05-01 | 2024-05-01 | 2 | Cooler | In hallway adjacent to room A202 | High | Right | WF-05012023-011062 | 2023-10-25 | FT-FY24-09282023-011062-A | <1 | FT-FY24-09282023-011062-B | <1
WS- 011063 | 2023-05-01 | 2024-05-01 | 2 | Cooler | In hallway adjacent to room A202 | Low | Left | WF-05012023-011063 | 2023-10-25 | FT-FY24-09282023-011063-A | <1 | FT-FY24-09282023-011063-B | <1
WS- 011068 | 2023-05-01 | 2024-05-01 | 3 | Break Room | In staff lounge B314 |  |  | WF-05012023-011068 | 2023-10-25 | FT-FY24-09282023-011068-A | <1 | FT-FY24-09282023-011068-B | <1
WS- 011069 | 2023-05-01 | 2024-05-01 | 3 | Cooler | In hallway adjacent to room A302 | Low | Left | WF-05012023-011069 | 2023-10-25 | FT-FY24-09282023-011069-A | <1 | FT-FY24-09282023-011069-B | <1
WS- 011085 | 2023-05-01 | 2024-05-01 | 3 | Cooler | In hallway adjacent to room C301 |  |  | WF-05012023-011085 | 2023-10-25 | FT-FY24-09282023-011085-A | <1 | FT-FY24-09282023-011085-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011027 | 2023-01-23 | 2024-01-23 | Basement | Food Prep Sink | In kitchen on north wall | Left | WF-01232023-011027 | 2023-10-25 | FT-FY24-09282023-011027-A | <1 | FT-FY24-09282023-011027-B | <1