## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002536 | 2022-04-04 | 2023-04-04 | 1 | Break Room | In break room 130F |  |  | WF-04042022-002536 | 2022-11-07 | FT-FY23-10102022-002536-A | <1 | FT-FY23-10102022-002536-B | <1
WS- 009848 | 2022-04-04 | 2023-04-04 | Basement | Cooler | In hallway adjacent to cafeteria | High | Left | WF-04042022-009848 | 2022-11-07 | FT-FY23-10102022-009848-A | <1 | FT-FY23-10102022-009848-B | <1
WS- 009849 | 2022-04-04 | 2023-04-04 | Basement | Cooler | In hallway adjacent to cafeteria | Low | Right | WF-04042022-009849 | 2022-11-07 | FT-FY23-10102022-009849-A | <1 | FT-FY23-10102022-009849-B | <1
WS- 009850 | 2022-04-04 | 2023-04-04 | Basement | Cooler | In cafeteria |  |  | WF-04042022-009850 | 2022-11-07 | FT-FY23-10102022-009850-A | <1 | FT-FY23-10102022-009850-B | <1
WS- 009853 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 102 |  |  | WF-09062022-009853 | 2022-11-07 | FT-FY23-10102022-009853-A | <1 | FT-FY23-10102022-009853-B | <1
WS- 009854 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 106 |  |  | WF-09062022-009854 | 2022-11-07 | FT-FY23-10102022-009854-A | <1 | FT-FY23-10102022-009854-B | <1
WS- 009856 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 120 |  |  | WF-09062022-009856 | 2022-11-07 | FT-FY23-10102022-009856-A | <1 | FT-FY23-10102022-009856-B | <1
WS- 009857 | 2022-04-04 | 2023-04-04 | 1 | Cooler | In hallway across from room 116 | High | Left | WF-04042022-009857 | 2022-11-07 | FT-FY23-10102022-009857-A | <1 | FT-FY23-10102022-009857-B | <1
WS- 009858 | 2022-04-04 | 2023-04-04 | 1 | Cooler | In hallway across from room 116 | Low | Right | WF-04042022-009858 | 2022-11-07 | FT-FY23-10102022-009858-A | <1 | FT-FY23-10102022-009858-B | <1
WS- 009859 | 2022-04-04 | 2023-04-04 | 1 | Cooler | In hallway across from room 106 | High | Left | WF-04042022-009859 | 2022-11-07 | FT-FY23-10102022-009859-A | <1 | FT-FY23-10102022-009859-B | <1
WS- 009860 | 2022-04-04 | 2023-04-04 | 1 | Cooler | In hallway across from room 106 | Low | Right | WF-04042022-009860 | 2022-11-07 | FT-FY23-10102022-009860-A | <1 | FT-FY23-10102022-009860-B | <1
WS- 009861 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 131 | Low | Left | WF-09062022-009861 | 2022-11-07 | FT-FY23-10102022-009861-A | <1 | FT-FY23-10102022-009861-B | <1
WS- 009862 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 131 | High | Right | WF-09062022-009862 | 2022-11-07 | FT-FY23-10102022-009862-A | <1 | FT-FY23-10102022-009862-B | <1
WS- 009863 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 132 | High | Left | WF-09062022-009863 | 2022-11-07 | FT-FY23-10102022-009863-A | <1 | FT-FY23-10102022-009863-B | <1
WS- 009864 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 132 | Low | Right | WF-09062022-009864 | 2022-11-07 | FT-FY23-10102022-009864-A | <1 | FT-FY23-10102022-009864-B | <1
WS- 009865 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 133 | Low | Left | WF-09062022-009865 | 2022-11-07 | FT-FY23-10102022-009865-A | <1 | FT-FY23-10102022-009865-B | <1
WS- 009866 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 133 | High | Right | WF-09062022-009866 | 2022-11-07 | FT-FY23-10102022-009866-A | <1 | FT-FY23-10102022-009866-B | <1
WS- 009867 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 134 | High | Left | WF-09062022-009867 | 2022-11-07 | FT-FY23-10102022-009867-A | <1 | FT-FY23-10102022-009867-B | <1
WS- 009868 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 134 | Low | Right | WF-09062022-009868 | 2022-11-07 | FT-FY23-10102022-009868-A | <1 | FT-FY23-10102022-009868-B | <1
WS- 009869 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 135 | Low | Left | WF-09062022-009869 | 2022-11-07 | FT-FY23-10102022-009869-A | <1 | FT-FY23-10102022-009869-B | <1
WS- 009871 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 136 | High | Left | WF-09062022-009871 | 2022-11-07 | FT-FY23-10102022-009871-A | <1 | FT-FY23-10102022-009871-B | <1
WS- 009872 | 2022-09-06 | 2023-09-06 | 1 | Classroom Faucet | In classroom 136 | Low | Right | WF-09062022-009872 | 2022-11-07 | FT-FY23-10102022-009872-A | <1 | FT-FY23-10102022-009872-B | <1
WS- 009873 | 2022-04-04 | 2023-04-04 | 2 | Break Room | In teacher workroom 223 |  |  | WF-04042022-009873 | 2022-11-07 | FT-FY23-10102022-009873-A | <1 | FT-FY23-10102022-009873-B | <1
WS- 009874 | 2022-09-06 | 2023-09-06 | 2 | Classroom Faucet | In classroom 207 |  | Left | WF-09062022-009874 | 2022-11-07 | FT-FY23-10102022-009874-A | <1 | FT-FY23-10102022-009874-B | <1
WS- 009875 | 2022-09-06 | 2023-09-06 | 2 | Classroom Faucet | In classroom 207 |  | Right | WF-09062022-009875 | 2022-11-07 | FT-FY23-10102022-009875-A | <1 | FT-FY23-10102022-009875-B | <1
WS- 009877 | 2022-04-04 | 2023-04-04 | 2 | Cooler | In hallway across from room 207 | Low | Right | WF-04042022-009877 | 2022-11-07 | FT-FY23-10102022-009877-A | <1 | FT-FY23-10102022-009877-B | <1
WS- 009878 | 2022-04-04 | 2023-04-04 | 2 | Cooler | In hallway across from room 214 | High | Left | WF-04042022-009878 | 2022-11-07 | FT-FY23-10102022-009878-A | <1 | FT-FY23-10102022-009878-B | <1
WS- 009879 | 2022-04-04 | 2023-04-04 | 2 | Cooler | In hallway across from room 214 | Low | Right | WF-04042022-009879 | 2022-11-07 | FT-FY23-10102022-009879-A | <1 | FT-FY23-10102022-009879-B | <1
WS- 009880 | 2022-04-04 | 2023-04-04 | 3 | Cooler | In hallway across from room 307 | High | Left | WF-04042022-009880 | 2022-11-07 | FT-FY23-10102022-009880-A | <1 | FT-FY23-10102022-009880-B | <1
WS- 009881 | 2022-04-04 | 2023-04-04 | 3 | Cooler | In hallway across from room 307 | Low | Right | WF-04042022-009881 | 2022-11-07 | FT-FY23-10102022-009881-A | <1 | FT-FY23-10102022-009881-B | <1
WS- 009882 | 2022-04-04 | 2023-04-04 | 3 | Break Room | In staff lounge 312 |  |  | WF-04042022-009882 | 2022-11-07 | FT-FY23-10102022-009882-A | <1 | FT-FY23-10102022-009882-B | <1
WS- 009884 | 2022-04-04 | 2023-04-04 | 3 | Cooler | In hallway across from room 315 | Low | Right | WF-04042022-009884 | 2022-11-07 | FT-FY23-10102022-009884-A | <1 | FT-FY23-10102022-009884-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 009851 | 2022-01-10 | 2023-01-10 | Basement | Food Prep Sink | In kitchen first clockwise from entry door | WF-01102022-009851 | 2022-11-07 | FT-FY23-10102022-009851-A | <1 | FT-FY23-10102022-009851-B | <1