## FY24 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002535 | 2023-07-11 | 2024-07-11 | 1 | Health Suite | In health suite 101 |  |  | WF-07112023-002535 | 2023-11-29 | FT-FY24-10102023-002535-A | <1 | FT-FY24-10102023-002535-B | <1
WS- 002536 | 2023-07-11 | 2024-07-11 | 1 | Break Room | In break room 130F |  |  | WF-07112023-002536 | 2023-11-29 | FT-FY24-10102023-002536-A | <1 | FT-FY24-10102023-002536-B | <1
WS- 009850 | 2023-07-11 | 2024-07-11 | Basement | Cooler | In cafeteria |  |  | WF-07112023-009850 | 2023-11-29 | FT-FY24-10102023-009850-A | <1 | FT-FY24-10102023-009850-B | <1
WS- 009853 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 102 |  |  | WF-08282023-009853 | 2023-11-29 | FT-FY24-10102023-009853-A | <1 | FT-FY24-10102023-009853-B | <1
WS- 009854 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 106 |  |  | WF-08282023-009854 | 2023-11-29 | FT-FY24-10102023-009854-A | 1.2 | FT-FY24-10102023-009854-B | <1
WS- 009855 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 116 |  |  | WF-08282023-009855 | 2023-11-29 | FT-FY24-10102023-009855-A | 2.5 | FT-FY24-10102023-009855-B | <1
WS- 009856 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 120 |  |  | WF-08282023-009856 | 2023-11-29 | FT-FY24-10102023-009856-A | <1 | FT-FY24-10102023-009856-B | <1
WS- 009857 | 2023-07-11 | 2024-07-11 | 1 | Cooler | In hallway across from room 116 | High | Left | WF-07112023-009857 | 2023-11-29 | FT-FY24-10102023-009857-A | <1 | FT-FY24-10102023-009857-B | <1
WS- 009858 | 2023-07-11 | 2024-07-11 | 1 | Cooler | In hallway across from room 116 | Low | Right | WF-07112023-009858 | 2023-11-29 | FT-FY24-10102023-009858-A | <1 | FT-FY24-10102023-009858-B | <1
WS- 009859 | 2023-07-11 | 2024-07-11 | 1 | Cooler | In hallway across from room 106 | High | Left | WF-07112023-009859 | 2023-11-29 | FT-FY24-10102023-009859-A | <1 | FT-FY24-10102023-009859-B | <1
WS- 009860 | 2023-07-11 | 2024-07-11 | 1 | Cooler | In hallway across from room 106 | Low | Right | WF-07112023-009860 | 2023-11-29 | FT-FY24-10102023-009860-A | <1 | FT-FY24-10102023-009860-B | <1
WS- 009861 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 131 | Low | Left | WF-08282023-009861 | 2023-11-29 | FT-FY24-10102023-009861-A | <1 | FT-FY24-10102023-009861-B | <1
WS- 009862 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 131 | High | Right | WF-08282023-009862 | 2023-11-29 | FT-FY24-10102023-009862-A | 4.1 | FT-FY24-10102023-009862-B | <1
WS- 009863 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 132 | High | Left | WF-08282023-009863 | 2023-11-29 | FT-FY24-10102023-009863-A | 1.6 | FT-FY24-10102023-009863-B | <1
WS- 009864 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 132 | Low | Right | WF-08282023-009864 | 2023-11-29 | FT-FY24-10102023-009864-A | 1.0 | FT-FY24-10102023-009864-B | <1
WS- 009865 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 133 | Low | Left | WF-08282023-009865 | 2023-11-29 | FT-FY24-10102023-009865-A | 2.0 | FT-FY24-10102023-009865-B | <1
WS- 009866 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 133 | High | Right | WF-08282023-009866 | 2023-11-29 | FT-FY24-10102023-009866-A | 5.8 | FT-FY24-10102023-009866-B | 2.6
WS- 009867 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 134 | High | Left | WF-08282023-009867 | 2023-11-29 | FT-FY24-10102023-009867-A | 1.7 | FT-FY24-10102023-009867-B | <1
WS- 009868 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 134 | Low | Right | WF-08282023-009868 | 2023-11-29 | FT-FY24-10102023-009868-A | 3.2 | FT-FY24-10102023-009868-B | <1
WS- 009869 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 135 | Low | Left | WF-08282023-009869 | 2023-11-29 | FT-FY24-10102023-009869-A | 3.1 | FT-FY24-10102023-009869-B | <1
WS- 009870 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 135 | High | Right | WF-08282023-009870 | 2023-11-29 | FT-FY24-10102023-009870-A | 2.6 | FT-FY24-10102023-009870-B | <1
WS- 009871 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 136 | High | Left | WF-08282023-009871 | 2023-11-29 | FT-FY24-10102023-009871-A | 2.7 | FT-FY24-10102023-009871-B | <1
WS- 009872 | 2023-08-28 | 2024-08-28 | 1 | Classroom Faucet | In classroom 136 | Low | Right | WF-08282023-009872 | 2023-11-29 | FT-FY24-10102023-009872-A | 2.2 | FT-FY24-10102023-009872-B | <1
WS- 009873 | 2023-07-11 | 2024-07-11 | 2 | Break Room | In teacher workroom 223 |  |  | WF-07112023-009873 | 2023-11-29 | FT-FY24-10102023-009873-A | <1 | FT-FY24-10102023-009873-B | <1
WS- 009874 | 2023-08-28 | 2024-08-28 | 2 | Classroom Faucet | In classroom 207 |  | Left | WF-08282023-009874 | 2023-11-29 | FT-FY24-10102023-009874-A | 1.1 | FT-FY24-10102023-009874-B | <1
WS- 009875 | 2023-08-28 | 2024-08-28 | 2 | Classroom Faucet | In classroom 207 |  | Right | WF-08282023-009875 | 2023-11-29 | FT-FY24-10102023-009875-A | 1.5 | FT-FY24-10102023-009875-B | <1
WS- 009876 | 2023-07-11 | 2024-07-11 | 2 | Cooler | In hallway across from room 207 | High | Left | WF-07112023-009876 | 2023-11-29 | FT-FY24-10102023-009876-A | <1 | FT-FY24-10102023-009876-B | <1
WS- 009877 | 2023-07-11 | 2024-07-11 | 2 | Cooler | In hallway across from room 207 | Low | Right | WF-07112023-009877 | 2023-11-29 | FT-FY24-10102023-009877-A | <1 | FT-FY24-10102023-009877-B | <1
WS- 009878 | 2023-07-11 | 2024-07-11 | 2 | Cooler | In hallway across from room 214 | High | Left | WF-07112023-009878 | 2023-11-29 | FT-FY24-10102023-009878-A | <1 | FT-FY24-10102023-009878-B | <1
WS- 009879 | 2023-07-11 | 2024-07-11 | 2 | Cooler | In hallway across from room 214 | Low | Right | WF-07112023-009879 | 2023-11-29 | FT-FY24-10102023-009879-A | <1 | FT-FY24-10102023-009879-B | <1
WS- 009880 | 2023-07-11 | 2024-07-11 | 3 | Cooler | In hallway across from room 307 | High | Left | WF-07112023-009880 | 2023-11-29 | FT-FY24-10102023-009880-A | <1 | FT-FY24-10102023-009880-B | <1
WS- 009881 | 2023-07-11 | 2024-07-11 | 3 | Cooler | In hallway across from room 307 | Low | Right | WF-07112023-009881 | 2023-11-29 | FT-FY24-10102023-009881-A | <1 | FT-FY24-10102023-009881-B | 1.5
WS- 009882 | 2023-07-11 | 2024-07-11 | 3 | Break Room | In staff lounge 312 |  |  | WF-07112023-009882 | 2023-11-29 | FT-FY24-10102023-009882-A | <1 | FT-FY24-10102023-009882-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 009851 | 2022-12-21 | 2023-12-21 | Basement | Food Prep Sink | In kitchen first clockwise from entry door | WF-12212022-009851 | 2023-11-29 | FT-FY24-10102023-009851-A | <1 | FT-FY24-10102023-009851-B | <1

## plumbing check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 009866 | 2023-12-01 | 2024-12-01 | 1 | Classroom Faucet | In classroom 133 | High | Right | WF-12012023-009866 | 2023-12-11 | FT-FY24-12052023-009866-A | 2.6 | FT-FY24-12052023-009866-B | <1