## FY23 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002306 | 2022-03-22 | 2023-03-22 | 1 | Health Suite | In health suite in treatment room 117 |  | Left | WF-03222022-002306 | 2023-01-09 | FT-FY23-11182022-002306-A | 8.6 | FT-FY23-11182022-002306-B | 2.6
WS- 002307 | 2022-03-22 | 2023-03-22 | 1 | Bathroom | In classroom 119 in bathroom |  |  | WF-03222022-002307 | 2023-01-09 | FT-FY23-11182022-002307-A | <1 | FT-FY23-11182022-002307-B | <1
WS- 002308 | 2022-03-22 | 2023-03-22 | 1 | Bathroom | In classroom 132 in bathroom |  |  | WF-03222022-002308 | 2023-01-09 | FT-FY23-11182022-002308-A | <1 | FT-FY23-11182022-002308-B | <1
WS- 002309 | 2022-03-22 | 2023-03-22 | 1 | Bathroom | In classroom 133 in bathroom |  |  | WF-03222022-002309 | 2023-01-09 | FT-FY23-11182022-002309-A | <1 | FT-FY23-11182022-002309-B | <1
WS- 002310 | 2022-03-22 | 2023-03-22 | 1 | Bathroom | In classroom 134 in bathroom |  |  | WF-03222022-002310 | 2023-01-09 | FT-FY23-11182022-002310-A | <1 | FT-FY23-11182022-002310-B | <1
WS- 002311 | 2022-03-22 | 2023-03-22 | 1 | Bottle Filler | In hallway adjacent to restrooms |  |  | WF-03222022-002311 | 2023-01-09 | FT-FY23-11182022-002311-A | <1 | FT-FY23-11182022-002311-B | <1
WS- 002318 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In treatment room 117 in health suite |  | Right | WF-03222022-002318 | 2023-01-09 | FT-FY23-11182022-002318-A | <1 | FT-FY23-11182022-002318-B | <1
WS- 003614 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In classroom 131 |  |  | WF-03222022-003614 | 2023-01-09 | FT-FY23-11182022-003614-A | <1 | FT-FY23-11182022-003614-B | <1
WS- 003615 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 132 |  |  | WF-09062022-003615 | 2023-01-09 | FT-FY23-11182022-003615-A | 4.4 | FT-FY23-11182022-003615-B | <1
WS- 003616 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In classroom 132 |  |  | WF-03222022-003616 | 2023-01-09 | FT-FY23-11182022-003616-A | <1 | FT-FY23-11182022-003616-B | <1
WS- 003617 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 133 |  |  | WF-09062022-003617 | 2023-01-09 | FT-FY23-11182022-003617-A | <1 | FT-FY23-11182022-003617-B | <1
WS- 003618 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In classroom 133 |  |  | WF-03222022-003618 | 2023-01-09 | FT-FY23-11182022-003618-A | <1 | FT-FY23-11182022-003618-B | <1
WS- 003619 | 2022-09-06 | 2023-09-06 | 1 | Combo Faucet | In classroom 134 |  |  | WF-09062022-003619 | 2023-01-09 | FT-FY23-11182022-003619-A | <1 | FT-FY23-11182022-003619-B | <1
WS- 003620 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In classroom 134 |  |  | WF-03222022-003620 | 2023-01-09 | FT-FY23-11182022-003620-A | <1 | FT-FY23-11182022-003620-B | <1
WS- 003622 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In classroom 142 |  |  | WF-03222022-003622 | 2023-01-09 | FT-FY23-11182022-003622-A | <1 | FT-FY23-11182022-003622-B | <1
WS- 003624 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In classroom 144 |  |  | WF-03222022-003624 | 2023-01-09 | FT-FY23-11182022-003624-A | <1 | FT-FY23-11182022-003624-B | <1
WS- 003626 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In classroom 147 |  |  | WF-03222022-003626 | 2023-01-09 | FT-FY23-11182022-003626-A | <1 | FT-FY23-11182022-003626-B | <1
WS- 003630 | 2022-03-22 | 2023-03-22 | 1 | Combo Fountain | In classroom 145 |  |  | WF-03222022-003630 | 2023-01-09 | FT-FY23-11182022-003630-A | <1 | FT-FY23-11182022-003630-B | <1
WS- 003631 | 2022-03-22 | 2023-03-22 | 1 | Cooler | In hallway adjacent to restrooms | High | Left | WF-03222022-003631 | 2023-01-09 | FT-FY23-11182022-003631-A | <1 | FT-FY23-11182022-003631-B | <1
WS- 003632 | 2022-03-22 | 2023-03-22 | 1 | Cooler | In hallway adjacent to restrooms | Low | Right | WF-03222022-003632 | 2023-01-09 | FT-FY23-11182022-003632-A | <1 | FT-FY23-11182022-003632-B | <1
WS- 003633 | 2022-10-07 | 2023-10-07 | 2 | Cooler | In hallway adjacent to restrooms | High | Left | WF-10072022-003633 | 2023-01-09 | FT-FY23-11182022-003633-A | <1 | FT-FY23-11182022-003633-B | <1
WS- 003634 | 2022-10-07 | 2023-10-07 | 2 | Cooler | In hallway adjacent to restrooms | Low | Right | WF-10072022-003634 | 2023-01-09 | FT-FY23-11182022-003634-A | <1 | FT-FY23-11182022-003634-B | <1
WS- 003636 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 227 first clockwise from entry door |  |  | WF-03222022-003636 | 2023-01-09 | FT-FY23-11182022-003636-A | <1 | FT-FY23-11182022-003636-B | <1
WS- 003638 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 227 second clockwise from entry door |  | Mid | WF-03222022-003638 | 2023-01-09 | FT-FY23-11182022-003638-A | <1 | FT-FY23-11182022-003638-B | <1
WS- 003640 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 227 third clockwise from entry door |  |  | WF-03222022-003640 | 2023-01-09 | FT-FY23-11182022-003640-A | <1 | FT-FY23-11182022-003640-B | <1
WS- 003642 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 247 |  |  | WF-03222022-003642 | 2023-01-09 | FT-FY23-11182022-003642-A | <1 | FT-FY23-11182022-003642-B | <1
WS- 003644 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 244 |  |  | WF-03222022-003644 | 2023-01-09 | FT-FY23-11182022-003644-A | <1 | FT-FY23-11182022-003644-B | <1
WS- 003646 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 245 |  |  | WF-03222022-003646 | 2023-01-09 | FT-FY23-11182022-003646-A | <1 | FT-FY23-11182022-003646-B | <1
WS- 003648 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 246 |  |  | WF-03222022-003648 | 2023-01-09 | FT-FY23-11182022-003648-A | <1 | FT-FY23-11182022-003648-B | <1
WS- 003649 | 2022-03-22 | 2023-03-22 | 2 | Break Room | In break room 230 |  |  | WF-03222022-003649 | 2023-01-09 | FT-FY23-11182022-003649-A | <1 | FT-FY23-11182022-003649-B | <1
WS- 003652 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 231 |  |  | WF-03222022-003652 | 2023-01-09 | FT-FY23-11182022-003652-A | <1 | FT-FY23-11182022-003652-B | <1
WS- 003654 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 232 |  |  | WF-03222022-003654 | 2023-01-09 | FT-FY23-11182022-003654-A | <1 | FT-FY23-11182022-003654-B | <1
WS- 003656 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 233 |  |  | WF-03222022-003656 | 2023-01-09 | FT-FY23-11182022-003656-A | <1 | FT-FY23-11182022-003656-B | <1
WS- 003658 | 2022-03-22 | 2023-03-22 | 2 | Combo Fountain | In classroom 234 |  |  | WF-03222022-003658 | 2023-01-09 | FT-FY23-11182022-003658-A | <1 | FT-FY23-11182022-003658-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 003608 | 2022-01-19 | 2023-01-19 | 1 | Food Prep Sink | In kitchen | WF-01192022-003608 | 2023-01-09 | FT-FY23-11182022-003608-A | <1 | FT-FY23-11182022-003608-B | <1
WS- 003609 | 2022-01-19 | 2023-01-19 | 1 | Food Prep Sink | In servers room 127A in kitchen third clockwise from entry door | WF-01192022-003609 | 2023-01-09 | FT-FY23-11182022-003609-A | <1 | FT-FY23-11182022-003609-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002306 | 2023-01-19 | 2024-01-19 | 1 | Health Suite | In health suite in treatment room 117 | Left | WF-01192023-002306 | 2023-01-27 | FT-FY23-01232023-002306-A | <1 | FT-FY23-01232023-002306-B | <1