## FY23 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-015350 | 2022-05-24 | 2023-05-24 | 1 | Bottle Filler | In hallway adjacent to 127 all gender restroom |  |  | WF-05242022-015350 | 2023-01-19 | FT-FY23-12292022-015350-A | <1 | FT-FY23-12292022-015350-B | <1
WS-015351 | 2022-05-24 | 2023-05-24 | 1 | Cooler | In hallway adjacent to 127 all gender restroom | High | Left | WF-05242022-015351 | 2023-01-19 | FT-FY23-12292022-015351-A | <1 | FT-FY23-12292022-015351-B | <1
WS-015352 | 2022-05-24 | 2023-05-24 | 1 | Cooler | In hallway adjacent to 127 all gender restroom | Low | Right | WF-05242022-015352 | 2023-01-19 | FT-FY23-12292022-015352-A | <1 | FT-FY23-12292022-015352-B | <1
WS-015353 | 2022-05-24 | 2023-05-24 | 1 | Health Suite | In room 130 inside health suite 131 |  |  | WF-05242022-015353 | 2023-01-19 | FT-FY23-12292022-015353-A | <1 | FT-FY23-12292022-015353-B | <1
WS-015361 | 2022-05-24 | 2023-05-24 | 1 | Combo Fountain | In room 100 infant |  | Left | WF-05242022-015361 | 2023-01-19 | FT-FY23-12292022-015361-A | <1 | FT-FY23-12292022-015361-B | <1
WS-015362 | 2022-05-24 | 2023-05-24 | 1 | Combo Fountain | In room 100 infant |  | Right | WF-05242022-015362 | 2023-01-19 | FT-FY23-12292022-015362-A | <1 | FT-FY23-12292022-015362-B | <1
WS-015363 | 2022-10-04 | 2023-10-04 | 1 | Combo Faucet | In room 100 infant |  | Right | WF-10042022-015363 | 2023-01-19 | FT-FY23-12292022-015363-A | <1 | FT-FY23-12292022-015363-B | <1
WS-015365 | 2022-05-24 | 2023-05-24 | 1 | Combo Fountain | In room 101 toddler room 1 |  |  | WF-05242022-015365 | 2023-01-19 | FT-FY23-12292022-015365-A | <1 | FT-FY23-12292022-015365-B | <1
WS-015366 | 2022-10-04 | 2023-10-04 | 1 | Combo Faucet | In room 101 toddler room 1 |  |  | WF-10042022-015366 | 2023-01-19 | FT-FY23-12292022-015366-A | <1 | FT-FY23-12292022-015366-B | <1
WS-015367 | 2022-05-24 | 2023-05-24 | 1 | Break Room | In room 105 workroom |  |  | WF-05242022-015367 | 2023-01-19 | FT-FY23-12292022-015367-A | <1 | FT-FY23-12292022-015367-B | <1
WS-015368 | 2022-10-04 | 2023-10-04 | 2 | Combo Faucet | In room 215 pre-s/pre-k 4 |  |  | WF-10042022-015368 | 2023-01-19 | FT-FY23-12292022-015368-A | <1 | FT-FY23-12292022-015368-B | <1
WS-015370 | 2022-10-04 | 2023-10-04 | 2 | Combo Faucet | In room 218 pre-s/pre-k 5 |  |  | WF-10042022-015370 | 2023-01-19 | FT-FY23-12292022-015370-A | <1 | FT-FY23-12292022-015370-B | <1
WS-015371 | 2022-05-24 | 2023-05-24 | 2 | Combo Fountain | In room 218 pre-s/pre-k 5 |  |  | WF-05242022-015371 | 2023-01-19 | FT-FY23-12292022-015371-A | <1 | FT-FY23-12292022-015371-B | <1
WS-015372 | 2022-10-04 | 2023-10-04 | 2 | Combo Faucet | In room 200 toddler room 2 |  |  | WF-10042022-015372 | 2023-01-19 | FT-FY23-12292022-015372-A | <1 | FT-FY23-12292022-015372-B | <1
WS-015373 | 2022-05-24 | 2023-05-24 | 2 | Combo Fountain | In room 200 toddler room 2 |  |  | WF-05242022-015373 | 2023-01-19 | FT-FY23-12292022-015373-A | <1 | FT-FY23-12292022-015373-B | <1
WS-015376 | 2022-05-24 | 2023-05-24 | 2 | Combo Fountain | In room 206 toddler room 3 |  |  | WF-05242022-015376 | 2023-01-19 | FT-FY23-12292022-015376-A | <1 | FT-FY23-12292022-015376-B | <1
WS-015377 | 2022-10-04 | 2023-10-04 | 2 | Combo Faucet | In room 206 toddler room 3 |  |  | WF-10042022-015377 | 2023-01-19 | FT-FY23-12292022-015377-A | <1 | FT-FY23-12292022-015377-B | <1
WS-015378 | 2022-05-24 | 2023-05-24 | 2 | Bottle Filler | In hallway adjacent to room 212 |  |  | WF-05242022-015378 | 2023-01-19 | FT-FY23-12292022-015378-A | <1 | FT-FY23-12292022-015378-B | <1
WS-015379 | 2022-05-24 | 2023-05-24 | 2 | Cooler | In hallway adjacent to room 212 | High | Left | WF-05242022-015379 | 2023-01-19 | FT-FY23-12292022-015379-A | <1 | FT-FY23-12292022-015379-B | <1
WS-015380 | 2022-05-24 | 2023-05-24 | 2 | Cooler | In hallway adjacent to room 212 | Low | Right | WF-05242022-015380 | 2023-01-19 | FT-FY23-12292022-015380-A | <1 | FT-FY23-12292022-015380-B | <1
WS-015381 | 2022-10-04 | 2023-10-04 | 2 | Combo Faucet | In room 209 pre-s/pre-k 3 |  |  | WF-10042022-015381 | 2023-01-19 | FT-FY23-12292022-015381-A | <1 | FT-FY23-12292022-015381-B | <1
WS-015382 | 2022-05-24 | 2023-05-24 | 2 | Combo Fountain | In room 209 pre-s/pre-k 3 |  |  | WF-05242022-015382 | 2023-01-19 | FT-FY23-12292022-015382-A | <1 | FT-FY23-12292022-015382-B | <1
WS-015383 | 2022-10-04 | 2023-10-04 | 3 | Combo Faucet | In room 312 pre-s/pre-k 7 |  |  | WF-10042022-015383 | 2023-01-19 | FT-FY23-12292022-015383-A | <1 | FT-FY23-12292022-015383-B | <1
WS-015384 | 2022-05-24 | 2023-05-24 | 3 | Combo Fountain | In room 312 pre-s/pre-k 7 |  |  | WF-05242022-015384 | 2023-01-19 | FT-FY23-12292022-015384-A | <1 | FT-FY23-12292022-015384-B | <1
WS-015385 | 2022-10-04 | 2023-10-04 | 3 | Combo Faucet | In room 315 pre-s/pre-k 8 |  |  | WF-10042022-015385 | 2023-01-19 | FT-FY23-12292022-015385-A | <1 | FT-FY23-12292022-015385-B | <1
WS-015388 | 2022-05-24 | 2023-05-24 | 3 | Combo Fountain | In room 324 pre-s/pre-k 8 |  |  | WF-05242022-015388 | 2023-01-19 | FT-FY23-12292022-015388-A | <1 | FT-FY23-12292022-015388-B | <1
WS-015389 | 2022-10-04 | 2023-10-04 | 3 | Combo Faucet | In room 300 pre-s/pre-k 6 |  |  | WF-10042022-015389 | 2023-01-19 | FT-FY23-12292022-015389-A | <1 | FT-FY23-12292022-015389-B | <1
WS-015392 | 2022-05-24 | 2023-05-24 | 3 | Combo Fountain | In room 304 music |  |  | WF-05242022-015392 | 2023-01-19 | FT-FY23-12292022-015392-A | <1 | FT-FY23-12292022-015392-B | <1
WS-015393 | 2022-05-24 | 2023-05-24 | 3 | Bottle Filler | In hallway adjacent to room 304 |  |  | WF-05242022-015393 | 2023-01-19 | FT-FY23-12292022-015393-A | <1 | FT-FY23-12292022-015393-B | <1
WS-015394 | 2022-05-24 | 2023-05-24 | 3 | Cooler | In hallway adjacent to room 304 | High | Left | WF-05242022-015394 | 2023-01-19 | FT-FY23-12292022-015394-A | <1 | FT-FY23-12292022-015394-B | <1
WS-015395 | 2022-05-24 | 2023-05-24 | 3 | Cooler | In hallway adjacent to room 304 | Low | Right | WF-05242022-015395 | 2023-01-19 | FT-FY23-12292022-015395-A | <1 | FT-FY23-12292022-015395-B | <1
WS-015397 | 2022-05-24 | 2023-05-24 | 3 | Combo Fountain | In room 308 art lab |  |  | WF-05242022-015397 | 2023-01-19 | FT-FY23-12292022-015397-A | <1 | FT-FY23-12292022-015397-B | <1
WS-015399 | 2022-10-04 | 2023-10-04 | 4 | Combo Faucet | In room 413 pre-s/pre-k 9 |  |  | WF-10042022-015399 | 2023-01-19 | FT-FY23-12292022-015399-A | <1 | FT-FY23-12292022-015399-B | <1
WS-015401 | 2022-10-04 | 2023-10-04 | 4 | Combo Faucet | In room 419 pre-s/pre-k 10 |  |  | WF-10042022-015401 | 2023-01-19 | FT-FY23-12292022-015401-A | <1 | FT-FY23-12292022-015401-B | <1
WS-015405 | 2022-05-24 | 2023-05-24 | 4 | Break Room | In break room area across from room 404 |  |  | WF-05242022-015405 | 2023-01-19 | FT-FY23-12292022-015405-A | <1 | FT-FY23-12292022-015405-B | <1
WS-015406 | 2022-05-24 | 2023-05-24 | 4 | Break Room | In room 403 lactation |  |  | WF-05242022-015406 | 2023-01-19 | FT-FY23-12292022-015406-A | <1 | FT-FY23-12292022-015406-B | <1
WS-015407 | 2022-11-14 | 2023-11-14 | 4 | Bottle Filler | In hallway adjacent to room 410 |  |  | WF-11142022-015407 | 2023-01-19 | FT-FY23-12292022-015407-A | <1 | FT-FY23-12292022-015407-B | <1
WS-015408 | 2022-11-14 | 2023-11-14 | 4 | Cooler | In hallway adjacent to room 410 | High | Left | WF-11142022-015408 | 2023-01-19 | FT-FY23-12292022-015408-A | <1 | FT-FY23-12292022-015408-B | <1
WS-015409 | 2022-11-14 | 2023-11-14 | 4 | Cooler | In hallway adjacent to room 410 | Low | Right | WF-11142022-015409 | 2023-01-19 | FT-FY23-12292022-015409-A | <1 | FT-FY23-12292022-015409-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS-015358 | 2022-02-17 | 2023-02-17 | 1 | Food Prep Sink | In kitchen fifth clockwise from entry | WF-02172022-015358 | 2023-01-19 | FT-FY23-12292022-015358-A | <1 | FT-FY23-12292022-015358-B | <1